## OBSP Data
Method | analytename | Parm+Method Code | Login Date | Laboratory ID | REPORTING LEVEL | Expected Conc. | Remark Code | Lab Value | reportunit | Pct Recovery | labequipment | analystsinitials | rlq | Analysis Date | spikemix
4433 | PARA-NONYLPHENOL (TOTAL) (BRANCHED) | 62829GCM99 | 2014-07-17 06:00 | 20141990081 | 1.6 | 3.216 | E | 2.78 | ug/L | 0.86443 | B | sgs | mc | 2014-08-20 | Abs 032814: 30 µl & ERA 0227-14-07.1: 30 µl
4433 | PARA-NONYLPHENOL (TOTAL) (BRANCHED) | 62829GCM99 | 2014-09-25 06:30 | 20142720001 | 1.6 | 3.216 | E | 2.52 | ug/L | 0.78358 | B | sgs | mc | 2014-10-20 | Abs 032814: 30 µl & ERA 0227-14-07.1: 30 µl
4433 | PARA-NONYLPHENOL (TOTAL) (BRANCHED) | 62829GCM99 | 2014-11-13 07:00 | 20143180046 | 1.6 | 6.432 | E | 5.82 | ug/L | 0.90485 | B | sgs | mc | 2014-12-03 | Abs 032814: 60 µl & Supelco LC06436: 60 µl
4433 | PARA-NONYLPHENOL (TOTAL) (BRANCHED) | 62829GCM99 | 2015-08-13 09:00 | 20152250271 | 1.6 | 4.84 | E | 1.62 | ug/L | 0.33471 |  | sgs | mc | 2015-10-01 | Abs 041615: 40 µl & ERA 0406-15-02: 40 µl
4433 | PARA-NONYLPHENOL (TOTAL) (BRANCHED) | 62829GCM99 | 2015-10-29 08:30 | 20153030067 | 1.6 | 2.42 | E | 2.06 | ug/L | 0.85124 |  | sgs | mc | 2015-11-17 | Abs 041615: 20 µl & ERA 0406-15-02: 20 µl
4433 | PARA-NONYLPHENOL (TOTAL) (BRANCHED) | 62829GCM99 | 2015-04-30 07:30 | 20151210038 | 1.6 | 2.398 | E | 2.26 | ug/L | 0.94245 | B | sgs | mc | 2015-05-08 | Abs 041615: 20 µl & Supelco LC13546: 20 µl
4433 | PARA-NONYLPHENOL (TOTAL) (BRANCHED) | 62829GCM99 | 2016-01-28 08:00 | 20160280053 | 1.6 | 2.398 | E | 1.92 | ug/L | 0.80067 |  | rcr | mc | 2016-02-24 | Abs 041615: 20 µl & Supelco LC13546: 20 µl
4433 | PARA-NONYLPHENOL (TOTAL) (BRANCHED) | 62829GCM99 | 2016-09-21 07:30 | 20162660006 | 1.6 | 4 | E | 2.49 | ug/L | 0.6225 | B | sgs | mc | 2016-09-28 | Abs 061716WW: 40 µl & Crescent 03FF070: 40 µl
4433 | PARA-NONYLPHENOL (TOTAL) (BRANCHED) | 62829GCM99 | 2016-12-07 07:30 | 20163420127 | 1.6 | 8 | E | 6 | ug/L | 0.75 | B | sgs | mc | 2017-01-05 | Abs 061716WW: 80 µl & Crescent 03FF070: 80 µl
4433 | PARA-NONYLPHENOL (TOTAL) (BRANCHED) | 62829GCM99 | 2016-08-24 07:15 | 20162380005 | 1.6 | 9.95 | E | 6.2 | ug/L | 0.62312 | B | sgs | mc | 2016-09-26 | Abs 061716WW: 100 µl & NSI 042916WW: 100 µl
4433 | PARA-NONYLPHENOL (TOTAL) (BRANCHED) | 62829GCM99 | 2016-10-19 06:30 | 20162930160 | 1.6 | 7.96 | E | 4.98 | ug/L | 0.62563 | B | sgs | mc | 2016-12-06 | Abs 061716WW: 80 µl & NSI 042916WW: 80 µl
4433 | PARA-NONYLPHENOL (TOTAL) (BRANCHED) | 62829GCM99 | 2013-09-25 07:30 | 20132690008 | 1.6 | 3.144 | E | 1.9 | ug/L | 0.60433 | B | sgs | mc | 2013-10-22 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl
4433 | PARA-NONYLPHENOL (TOTAL) (BRANCHED) | 62829GCM99 | 2014-01-30 08:00 | 20140300033 | 1.6 | 3.144 | E | 2.08 | ug/L | 0.66158 | B | sgs | mc | 2014-04-23 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl
4433 | PARA-NONYLPHENOL (TOTAL) (BRANCHED) | 62829GCM99 | 2014-05-08 07:30 | 20141290007 | 1.6 | 3.216 | E | 2.49 | ug/L | 0.77425 | B | sgs | mc | 2014-06-05 | ChemService 2616300: 30 µl & Abs 032814: 30 µl
4433 | PARA-NONYLPHENOL (TOTAL) (BRANCHED) | 62829GCM99 | 2014-09-04 07:00 | 20142480001 | 1.6 | 6.432 | E | 4.45 | ug/L | 0.69185 | B | sgs | mc | 2014-09-23 | ChemService 2616300: 60 µl & Abs 032814: 60 µl
4433 | PARA-NONYLPHENOL (TOTAL) (BRANCHED) | 62829GCM99 | 2015-04-23 06:00 | 20151140152 | 1.6 | 3.216 | E | 2.87 | ug/L | 0.89241 | B | sgs | mc | 2015-05-07 | ChemService 2616300: 30 µl & Abs 032814: 30 µl
4433 | PARA-NONYLPHENOL (TOTAL) (BRANCHED) | 62829GCM99 | 2014-07-10 06:30 | 20141910242 | 1.6 | 6.402 | E | 4.07 | ug/L | 0.63574 | B | sgs | mc | 2014-08-20 | ChemService 2616300: 60 µl & Crescent 03DD005: 60 µl
4433 | PARA-NONYLPHENOL (TOTAL) (BRANCHED) | 62829GCM99 | 2015-02-26 06:00 | 20150570009 | 1.6 | 3.201 | E | 1.4 | ug/L | 0.43736 | B | sgs | mnc | 2015-04-20 | ChemService 2616300: 30 µl & Crescent 03DD005: 30 µl
4433 | PARA-NONYLPHENOL (TOTAL) (BRANCHED) | 62829GCM99 | 2013-01-10 07:00 | 20130100068 | 1.6 | 8 | E | 4.33 | ug/L | 0.54125 | B | sgs | mc | 2013-02-06 | ChemService 426100: 80 µl & Crescent 05BB045: 80 µl
4433 | PARA-NONYLPHENOL (TOTAL) (BRANCHED) | 62829GCM99 | 2016-05-18 06:00 | 20161400194 | 1.6 | 4 | E | 2.47 | ug/L | 0.6175 | B | sgs | mc | 2016-06-14 | ChemService 5016000: 40 µl & Crescent 03FF070: 40 µl
4433 | PARA-NONYLPHENOL (TOTAL) (BRANCHED) | 62829GCM99 | 2016-07-27 06:30 | 20162100008 | 1.6 | 8 | E | 6.3 | ug/L | 0.7875 | B | sgs | mc | 2016-08-10 | ChemService 5016000: 80 µl & Crescent 03FF070: 80 µl
4433 | PARA-NONYLPHENOL (TOTAL) (BRANCHED) | 62829GCM99 | 2016-11-09 07:30 | 20163150005 | 1.6 | 3.98 | E | 2.34 | ug/L | 0.58794 | B | sgs | mc | 2016-12-07 | ChemService 5016000: 40 µl & NSI 042916WW: 40 µl
4433 | PARA-NONYLPHENOL (TOTAL) (BRANCHED) | 62829GCM99 | 2014-08-18 06:45 | 20142340162 | 1.6 | 3.201 | E | 1.96 | ug/L | 0.61231 | B | sgs | mc | 2014-09-17 | Crescent 03DD005: 30 µl & ERA 0227-14-07.1: 30 µl
4433 | PARA-NONYLPHENOL (TOTAL) (BRANCHED) | 62829GCM99 | 2015-01-29 07:00 | 20150290077 | 1.6 | 6.402 | E | 2.91 | ug/L | 0.45455 | B | sgs | mc | 2015-02-26 | Crescent 03DD005: 60 µl & ERA 0227-14-07.1: 60 µl
4433 | PARA-NONYLPHENOL (TOTAL) (BRANCHED) | 62829GCM99 | 2014-06-19 07:00 | 20141710103 | 1.6 | 6.402 | E | 3.36 | ug/L | 0.52484 | B | sgs | mc | 2014-07-16 | Crescent 03DD005: 60 µl & Supelco LC06436: 60 µl
4433 | PARA-NONYLPHENOL (TOTAL) (BRANCHED) | 62829GCM99 | 2016-08-02 07:30 | 20162150212 | 1.6 | 4 | E | 2.96 | ug/L | 0.74 | B | sgs | @mc | 2016-08-24 | Crescent 03FF070: 40 µl & Phenova B20160306: 40 µl
4433 | PARA-NONYLPHENOL (TOTAL) (BRANCHED) | 62829GCM99 | 2016-11-21 08:00 | 20163280007 | 1.6 | 8 | E | 5.76 | ug/L | 0.72 | B | sgs | mc | 2016-12-06 | Crescent 03FF070: 80 µl & Supelco LC20139V: 80 µl
4433 | PARA-NONYLPHENOL (TOTAL) (BRANCHED) | 62829GCM99 | 2013-11-21 07:00 | 20133260003 | 1.6 | 3 | E | 2.12 | ug/L | 0.70667 | B | sgs | mc | 2013-12-04 | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl
4433 | PARA-NONYLPHENOL (TOTAL) (BRANCHED) | 62829GCM99 | 2014-03-27 07:00 | 20140860103 | 1.6 | 3 | E | 1.3 | ug/L | 0.43333 | B | sgs | mnc | 2014-04-23 | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl
4433 | PARA-NONYLPHENOL (TOTAL) (BRANCHED) | 62829GCM99 | 2013-07-25 07:30 | 20132070037 | 1.6 | 30.72 | E | 12.1 | ug/L | 0.39388 | B | sgs | mc | 2013-08-15 | Crescent 04CC095: 100 µl & Supelco LC00152: 100 µl
4433 | PARA-NONYLPHENOL (TOTAL) (BRANCHED) | 62829GCM99 | 2015-09-24 09:00 | 20152670134 | 1.6 | 9.68 | E | 10.6 | ug/L | 1.095 |  | sgs | mc | 2015-10-16 | Crescent 04EE006: 80 µl & ERA 0406-15-02: 80 µl
4433 | PARA-NONYLPHENOL (TOTAL) (BRANCHED) | 62829GCM99 | 2016-03-24 08:00 | 20160840086 | 1.6 | 2.42 | E | 2.03 | ug/L | 0.83884 | V | rcr | mc | 2016-04-16 | Crescent 04EE006: 20 µl & ERA 0406-15-02: 20 µl
4433 | PARA-NONYLPHENOL (TOTAL) (BRANCHED) | 62829GCM99 | 2015-12-03 08:30 | 20153370177 | 1.6 | 4.796 | E | 2.75 | ug/L | 0.57339 |  | sgs | mc | 2016-01-13 | Crescent 04EE006: 40 µl & Supelco LC13546: 40 µl
4433 | PARA-NONYLPHENOL (TOTAL) (BRANCHED) | 62829GCM99 | 2012-08-07 07:00 | 20122210008 | 1.6 | 2 | E | 1.04 | ug/L | 0.52 | R | jiv | mnc | 2012-08-24 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl
4433 | PARA-NONYLPHENOL (TOTAL) (BRANCHED) | 62829GCM99 | 2012-10-30 08:00 | 20123040158 | 1.6 | 2 | E | 1.34 | ug/L | 0.67 | B | sgs | mnc | 2012-12-18 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl
4433 | PARA-NONYLPHENOL (TOTAL) (BRANCHED) | 62829GCM99 | 2012-06-21 07:00 | 20121730124 | 1.6 | 4 | E | 2.8 | ug/L | 0.7 | R | jiv | mc | 2012-07-29 | Crescent 05BB045: 40 µl
4433 | PARA-NONYLPHENOL (TOTAL) (BRANCHED) | 62829GCM99 | 2011-03-10 07:30 | 20110690080 | 1.6 | 3.9507 | E | 3.02 | ug/L | 0.76443 | R | jiv | mc | 2011-04-14 | Crescent 06MM136: 20 µl
4433 | PARA-NONYLPHENOL (TOTAL) (BRANCHED) | 62829GCM99 | 2011-06-23 08:30 | 20111750002 | 1.6 | 3.94 | E | 2.09 | ug/L | 0.53046 | B | sgs | mc | 2011-07-07 | Crescent 06MM136: 20 µl
4433 | PARA-NONYLPHENOL (TOTAL) (BRANCHED) | 62829GCM99 | 2011-08-04 09:30 | 20112170170 | 1.6 | 15.76 | E | 10.5 | ug/L | 0.66624 | R | jiv | mc | 2011-08-17 | Crescent 06MM136: 80 µl
4433 | PARA-NONYLPHENOL (TOTAL) (BRANCHED) | 62829GCM99 | 2011-09-01 09:00 | 20112450021 | 1.6 | 3.94 | E | 2.56 | ug/L | 0.64975 | R | jiv | mc | 2011-11-22 | Crescent 06MM136: 20 µl
4433 | PARA-NONYLPHENOL (TOTAL) (BRANCHED) | 62829GCM99 | 2011-11-03 07:30 | 20113080004 | 1.6 | 15.76 | E | 11 | ug/L | 0.69797 | E | cli | mc | 2012-01-16 | Crescent 06MM136: 80 µl
4433 | PARA-NONYLPHENOL (TOTAL) (BRANCHED) | 62829GCM99 | 2012-01-19 08:00 | 20120200071 | 1.6 | 9.85 | E | 6.81 | ug/L | 0.69137 | B | sgs | mc | 2012-03-06 | Crescent 06MM136: 50 µl
4433 | PARA-NONYLPHENOL (TOTAL) (BRANCHED) | 62829GCM99 | 2012-02-16 09:00 | 20120470077 | 1.6 | 3.94 | E | 2.89 | ug/L | 0.7335 | B | sgs | mc | 2012-03-07 | Crescent 06MM136: 20 µl
4433 | PARA-NONYLPHENOL (TOTAL) (BRANCHED) | 62829GCM99 | 2012-03-08 07:30 | 20120690028 | 1.6 | 9.85 | E | 9.39 | ug/L | 0.9533 | B | fww | mc | 2012-04-10 | Crescent 06MM136: 50 µl
4433 | PARA-NONYLPHENOL (TOTAL) (BRANCHED) | 62829GCM99 | 2012-05-17 07:30 | 20121390007 | 1.6 | 15.76 | E | 9.46 | ug/L | 0.60025 | Y | awh | mc | 2012-07-27 | Crescent 06MM136: 80 µl
4433 | PARA-NONYLPHENOL (TOTAL) (BRANCHED) | 62829GCM99 | 2015-07-30 09:00 | 20152110199 | 1.6 | 4.84 | E | 4.06 | ug/L | 0.83884 |  | sgs | mc | 2015-09-30 | ERA 0406-15-02: 40 µl & ChemService 3982800: 40 µl
4433 | PARA-NONYLPHENOL (TOTAL) (BRANCHED) | 62829GCM99 | 2015-11-10 08:30 | 20153160002 | 1.6 | 9.68 | E | 7.66 | ug/L | 0.79132 |  | sgs | mc | 2016-01-12 | ERA 0406-15-02: 80 µl & ChemService 3982800: 80 µl
4433 | PARA-NONYLPHENOL (TOTAL) (BRANCHED) | 62829GCM99 | 2015-09-10 09:00 | 20152530087 | 1.6 | 2.42 | E | 0.86 | ug/L | 0.35537 |  | sgs | mnc | 2015-10-15 | ERA 0406-15-02: 20 µl & Spex Organics EN150529012: 20 µl
4433 | PARA-NONYLPHENOL (TOTAL) (BRANCHED) | 62829GCM99 | 2016-02-18 08:30 | 20160490032 | 1.6 | 2.42 | E | 1.36 | ug/L | 0.56198 |  | rcr | mnc | 2016-02-25 | ERA 0406-15-02: 20 µl & Spex Organics EN150529012: 20 µl
4433 | PARA-NONYLPHENOL (TOTAL) (BRANCHED) | 62829GCM99 | 2016-08-31 07:00 | 20162440114 | 1.6 | 3.98 | E | 2.37 | ug/L | 0.59548 | B | sgs | mc | 2016-09-27 | NSI 042916WW: 40 µl & Phenova B20160306: 40 µl
4433 | PARA-NONYLPHENOL (TOTAL) (BRANCHED) | 62829GCM99 | 2016-12-14 08:00 | 20163500003 | 1.6 | 3.98 | E | 1.86 | ug/L | 0.46734 | B | sgs | mc | 2017-01-06 | NSI 042916WW: 40 µl & Phenova B20160306: 40 µl
4433 | PARA-NONYLPHENOL (TOTAL) (BRANCHED) | 62829GCM99 | 2016-07-06 07:00 | 20161880110 | 1.6 | 3.98 | E | 2.52 | ug/L | 0.63317 | B | sgs | mc | 2016-08-03 | NSI 042916WW: 40 µl & Supelco LC20139V: 40 µl
4433 | PARA-NONYLPHENOL (TOTAL) (BRANCHED) | 62829GCM99 | 2016-10-25 07:00 | 20162990149 | 1.6 | 7.96 | E | 4.43 | ug/L | 0.55653 | B | sgs | mc | 2016-12-06 | NSI 042916WW: 80 µl & Supelco LC20139V: 80 µl
4433 | PARA-NONYLPHENOL (TOTAL) (BRANCHED) | 62829GCM99 | 2013-10-17 07:30 | 20132910006 | 1.6 | 3 | E | 1.47 | ug/L | 0.49 | B | sgs | mnc | 2013-11-14 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl
4433 | PARA-NONYLPHENOL (TOTAL) (BRANCHED) | 62829GCM99 | 2014-02-06 07:30 | 20140370076 | 1.6 | 3 | E | 1.51 | ug/L | 0.50333 | B | sgs | mnc | 2014-04-23 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl
4433 | PARA-NONYLPHENOL (TOTAL) (BRANCHED) | 62829GCM99 | 2013-05-23 07:30 | 20131440104 | 1.6 | 7.86 | E | 5.71 | ug/L | 0.72646 | B | sgs | mc | 2013-06-14 | NSI 042213WWUF: 50 µl & Supelco LC00152: 50 µl
4433 | PARA-NONYLPHENOL (TOTAL) (BRANCHED) | 62829GCM99 | 2013-03-27 07:00 | 20130870086 | 1.6 | 2 | E | 1.29 | ug/L | 0.645 | B | sgs | mnc | 2013-05-29 | NSI 061412-01: 20 µl & Crescent 05BB045: 20 µl
4433 | PARA-NONYLPHENOL (TOTAL) (BRANCHED) | 62829GCM99 | 2012-08-23 07:30 | 20122370103 | 1.6 | 2.008 | E | 1.59 | ug/L | 0.79183 | R | jiv | mnc | 2012-09-18 | NSI 061412-01: 20 µl & Supelco LB92782: 20 µl
4433 | PARA-NONYLPHENOL (TOTAL) (BRANCHED) | 62829GCM99 | 2011-05-05 08:30 | 20111260151 | 1.6 | 1.6116 | E | 1.7 | ug/L | 1.0548 | B | sgs | mc | 2011-05-19 | NWQL BNA2SP124B: 50 µl
4433 | PARA-NONYLPHENOL (TOTAL) (BRANCHED) | 62829GCM99 | 2011-08-25 11:10 | 20112380056 | 1.6 | 2.56 | E | 2.2 | ug/L | 0.85938 | E | jiv | mc | 2011-10-18 | NWQL BNA2SP124B: 80 µl
4433 | PARA-NONYLPHENOL (TOTAL) (BRANCHED) | 62829GCM99 | 2016-06-08 08:00 | 20161600088 | 1.6 | 4 | E | 2.39 | ug/L | 0.5975 | B | sgs | mc | 2016-06-16 | Phenova B20160306: 40 µl & Crescent 03FF070: 40 µl
4433 | PARA-NONYLPHENOL (TOTAL) (BRANCHED) | 62829GCM99 | 2014-05-29 06:30 | 20141490201 | 1.6 | 6.432 | E | 3.71 | ug/L | 0.5768 | B | sgs | mc | 2014-07-08 | Spex Organics E1140402006: 60 µl & Abs 032814: 60 µl
4433 | PARA-NONYLPHENOL (TOTAL) (BRANCHED) | 62829GCM99 | 2014-08-14 06:30 | 20142270002 | 1.6 | 3.216 | E | 3.01 | ug/L | 0.93595 | B | sgs | mc | 2014-09-11 | Spex Organics E1140402006: 30 µl & Abs 032814: 30 µl
4433 | PARA-NONYLPHENOL (TOTAL) (BRANCHED) | 62829GCM99 | 2014-10-23 06:30 | 20142960087 | 1.6 | 6.402 | E | 4.08 | ug/L | 0.6373 | B | sgs | mc | 2014-11-05 | Spex Organics E1140402006: 60 µl & Crescent 03DD005: 60 µl
4433 | PARA-NONYLPHENOL (TOTAL) (BRANCHED) | 62829GCM99 | 2014-12-18 06:00 | 20143520107 | 1.6 | 3.201 | E | 1.99 | ug/L | 0.62168 | B | sgs | mc | 2015-01-27 | Spex Organics E1140402006: 30 µl & Crescent 03DD005: 30 µl
4433 | PARA-NONYLPHENOL (TOTAL) (BRANCHED) | 62829GCM99 | 2012-11-08 07:30 | 20123140092 | 1.6 | 8.032 | E | 5.23 | ug/L | 0.65115 | B | sgs | mc | 2012-12-19 | Spex Organics T1120521007: 80 µl & Supelco LB92782: 80 µl
4433 | PARA-NONYLPHENOL (TOTAL) (BRANCHED) | 62829GCM99 | 2013-01-24 06:30 | 20130250062 | 1.6 | 4.016 | E | 2.38 | ug/L | 0.59263 | B | sgs | mc | 2013-02-07 | Spex Organics T1120521007: 40 µl & Supelco LB92782: 40 µl
4433 | PARA-NONYLPHENOL (TOTAL) (BRANCHED) | 62829GCM99 | 2014-01-02 06:15 | 20140030013 | 1.6 | 7.5 | E | 4.46 | ug/L | 0.59467 | B | sgs | mc | 2014-02-05 | Spex Organics T1130419010: 50 µl & Crescent 04CC095: 50 µl
4433 | PARA-NONYLPHENOL (TOTAL) (BRANCHED) | 62829GCM99 | 2014-04-03 08:00 | 20140930054 | 1.6 | 3.144 | E | 1.78 | ug/L | 0.56616 | B | sgs | mc | 2014-04-24 | Spex Organics T1130419010: 20 µl & Supelco LC00152: 20 µl
4433 | PARA-NONYLPHENOL (TOTAL) (BRANCHED) | 62829GCM99 | 2013-02-28 07:30 | 20130590064 | 1.6 | 8.032 | E | 5.08 | ug/L | 0.63247 | B | sgs | mc | 2013-03-28 | Supelco LB92782: 80 µl & Restek A088824: 80 µl
4433 | PARA-NONYLPHENOL (TOTAL) (BRANCHED) | 62829GCM99 | 2014-05-01 06:30 | 20141220026 | 1.6 | 3.216 | E | 2.04 | ug/L | 0.63433 | B | sgs | mc | 2014-05-22 | Supelco LC06436: 30 µl & Abs 032814: 30 µl
4433 | PARA-NONYLPHENOL (TOTAL) (BRANCHED) | 62829GCM99 | 2014-04-10 06:00 | 20141010007 | 1.6 | 3.201 | E | 1.2 | ug/L | 0.37488 | B | sgs | mnc | 2014-04-24 | Supelco LC06436: 30 µl & Crescent 03DD005: 30 µl
4433 | PARA-NONYLPHENOL (TOTAL) (BRANCHED) | 62829GCM99 | 2015-10-08 08:00 | 20152810121 | 1.6 | 9.592 | E | 8.79 | ug/L | 0.91639 |  | sgs | mc | 2015-11-05 | Supelco LC13546: 80 µl & ChemService 3982800: 80 µl
4433 | PARA-NONYLPHENOL (TOTAL) (BRANCHED) | 62829GCM99 | 2015-05-21 06:30 | 20151410210 | 1.6 | 2.398 | E | 2.13 | ug/L | 0.88824 | B | sgs | mc | 2015-07-09 | Supelco LC13546: 20 µl & Crescent 04EE006: 20 µl
4433 | PARA-NONYLPHENOL (TOTAL) (BRANCHED) | 62829GCM99 | 2015-06-25 06:30 | 20151760207 | 1.6 | 2.398 | E | 2.05 | ug/L | 0.85488 |  | sgs | mc | 2015-09-29 | Supelco LC13546: 20 µl & Spex Organics EN150529012: 20 µl
4433 | PARA-NONYLPHENOL (TOTAL) (BRANCHED) | 62829GCM99 | 2015-12-17 08:00 | 20153510110 | 1.6 | 4.796 | E | 2.09 | ug/L | 0.43578 |  | sgs | mc | 2016-01-14 | Supelco LC13546: 40 µl & Spex Organics EN150529012: 40 µl
4433 | PARA-NONYLPHENOL (TOTAL) (BRANCHED) | 62829GCM99 | 2012-06-07 08:00 | 20121600155 | 1.6 | 2.008 | E | 1.64 | ug/L | 0.81673 | R | jiv | mc | 2012-07-28 | Supelco LB92782: 20 µl