## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20112170170 | 2011-08-04 09:30 | PHENOL | 34694GCM99 | 0.16 |  | E | ug/L |  | 0.059 | False Positive | 4433 | R | jiv | tc | 2011-08-17 | Crescent 06MM136: 80 µl
20113080004 | 2011-11-03 07:30 | PHENOL | 34694GCM99 | 0.16 |  | E | ug/L |  | 0.048 | False Positive | 4433 | E | cli | tc | 2012-01-16 | Crescent 06MM136: 80 µl
20132210039 | 2013-08-08 08:00 | PHENOL | 34694GCM99 | 0.16 |  | R | ug/L |  |  | Deleted Values | 4433 |  |  |  | 2013-08-08 08:00 | Spex Organics T1130419010: 20 µl & Supelco LC00152: 20 µl
20153370177 | 2015-12-03 08:30 | PHENOL | 34694GCM99 | 0.16 |  | . | ug/L |  | 0.066 | False Positive | 4433 |  | sgs | t | 2016-01-13 | Crescent 04EE006: 40 µl & Supelco LC13546: 40 µl
20161820002 | 2016-06-29 08:00 | PHENOL | 34694GCM99 | 0.16 |  | R | ug/L |  |  | Deleted Values | 4433 | B | sgs |  | 2016-08-01 | ChemService 5016000: 40 µl & NSI 042916WW: 40 µl
20151760207 | 2015-06-25 06:30 | PHENOL | 34694GCM99 | 0.16 | 0.24 | < | ug/L |  |  | False Negative | 4433 |  | sgs |  | 2015-09-29 | Supelco LC13546: 20 µl & Spex Organics EN150529012: 20 µl
20153640095 | 2015-12-30 08:30 | PHENOL | 34694GCM99 | 0.16 | 0.24 | < | ug/L |  |  | False Negative | 4433 |  | rcr | v | 2016-02-23 | Spex Organics EN150529012: 20 µl & Crescent 04EE006: 20 µl
20160980150 | 2016-04-07 06:30 | PHENOL | 34694GCM99 | 0.16 | 0.244 | < | ug/L |  |  | False Negative | 4433 | B | sgs |  | 2016-05-03 | Supelco LC13546: 20 µl & ChemService 3982800: 20 µl
20150850162 | 2015-03-26 06:00 | PHENOL | 34694GCM99 | 0.16 | 0.3201 | < | ug/L |  |  | False Negative | 4433 | B | sgs | v | 2015-04-21 | Supelco LC06436: 30 µl & ChemService 2616300: 30 µl
20162860080 | 2016-10-12 07:30 | PHENOL | 34694GCM99 | 0.16 | 0.4 | < | ug/L |  |  | False Negative | 4433 | B | sgs | v | 2016-12-05 | Phenova B20160306: 40 µl & Abs 061716WW: 40 µl
20152530087 | 2015-09-10 09:00 | PHENOL | 34694GCM99 | 0.16 | 0.24 | . | ug/L | 0.85833 | 0.206 | Recoverable Result | 4433 |  | sgs |  | 2015-10-15 | ERA 0406-15-02: 20 µl & Spex Organics EN150529012: 20 µl
20152950079 | 2015-10-22 08:30 | PHENOL | 34694GCM99 | 0.16 | 0.24 | . | ug/L | 0.80833 | 0.194 | Recoverable Result | 4433 |  | sgs |  | 2015-11-17 | Spex Organics EN150529012: 20 µl & Crescent 04EE006: 20 µl
20160490032 | 2016-02-18 08:30 | PHENOL | 34694GCM99 | 0.16 | 0.24 | E | ug/L | 0.675 | 0.162 | Estimated Values | 4433 |  | rcr | v | 2016-02-25 | ERA 0406-15-02: 20 µl & Spex Organics EN150529012: 20 µl
20151970168 | 2015-07-16 06:30 | PHENOL | 34694GCM99 | 0.16 | 0.244 | . | ug/L | 0.97541 | 0.238 | Recoverable Result | 4433 |  | sgs |  | 2015-09-29 | ChemService 3982800: 20 µl & Abs 041615: 20 µl
20152390223 | 2015-08-27 09:00 | PHENOL | 34694GCM99 | 0.16 | 0.244 | . | ug/L | 0.54918 | 0.134 | Recoverable Result | 4433 |  | sgs | n | 2015-10-02 | ChemService 3982800: 20 µl & Crescent 04EE006: 20 µl
20122210008 | 2012-08-07 07:00 | PHENOL | 34694GCM99 | 0.16 | 0.3 | . | ug/L | 0.56333 | 0.169 | Recoverable Result | 4433 | R | jiv |  | 2012-08-24 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl
20123040158 | 2012-10-30 08:00 | PHENOL | 34694GCM99 | 0.16 | 0.3 | . | ug/L | 0.88667 | 0.266 | Recoverable Result | 4433 | B | sgs |  | 2012-12-18 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl
20132690008 | 2013-09-25 07:30 | PHENOL | 34694GCM99 | 0.16 | 0.3 | . | ug/L | 0.81333 | 0.244 | Recoverable Result | 4433 | B | sgs |  | 2013-10-22 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl
20133110109 | 2013-11-07 07:30 | PHENOL | 34694GCM99 | 0.16 | 0.3 | . | ug/L | 0.87 | 0.261 | Recoverable Result | 4433 | B | sgs |  | 2013-11-14 | Spex Organics T1130419010: 20 µl & ChemService 1466200: 20 µl
20140160088 | 2014-01-16 08:00 | PHENOL | 34694GCM99 | 0.16 | 0.3 | . | ug/L | 0.56667 | 0.17 | Recoverable Result | 4433 | B | sgs | v | 2014-02-05 | NSI 042213WWUF: 20 µl & ChemService 1466200: 20 µl
20140300033 | 2014-01-30 08:00 | PHENOL | 34694GCM99 | 0.16 | 0.3 | . | ug/L | 0.58 | 0.174 | Recoverable Result | 4433 | B | sgs | v | 2014-04-23 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl
20132560002 | 2013-09-12 08:00 | PHENOL | 34694GCM99 | 0.16 | 0.3006 | . | ug/L | 0.74518 | 0.224 | Recoverable Result | 4433 | B | sgs | v | 2013-09-26 | NSI 042213WWUF: 20 µl & Abs 050613WWUF: 20 µl
20133260003 | 2013-11-21 07:00 | PHENOL | 34694GCM99 | 0.16 | 0.3006 | . | ug/L | 0.80838 | 0.243 | Recoverable Result | 4433 | B | sgs |  | 2013-12-04 | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl
20140650080 | 2014-03-06 08:00 | PHENOL | 34694GCM99 | 0.16 | 0.3006 | . | ug/L | 0.54225 | 0.163 | Recoverable Result | 4433 | B | sgs | v | 2014-04-22 | Spex Organics T1130419010: 20 µl & Abs 050613WWUF: 20 µl
20140860103 | 2014-03-27 07:00 | PHENOL | 34694GCM99 | 0.16 | 0.3006 | . | ug/L | 0.77179 | 0.232 | Recoverable Result | 4433 | B | sgs |  | 2014-04-23 | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl
20121950066 | 2012-07-12 08:00 | PHENOL | 34694GCM99 | 0.16 | 0.3072 | . | ug/L | 0.81055 | 0.249 | Recoverable Result | 4433 | R | jiv |  | 2012-07-31 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl
20130460007 | 2013-02-14 08:00 | PHENOL | 34694GCM99 | 0.16 | 0.3072 | . | ug/L | 0.41016 | 0.126 | Recoverable Result | 4433 | B | sgs | n | 2013-03-27 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl
20141010007 | 2014-04-10 06:00 | PHENOL | 34694GCM99 | 0.16 | 0.3201 | E | ug/L | 0.54983 | 0.176 | Estimated Values | 4433 | B | sgs | v | 2014-04-24 | Supelco LC06436: 30 µl & Crescent 03DD005: 30 µl
20141220026 | 2014-05-01 06:30 | PHENOL | 34694GCM99 | 0.16 | 0.3201 | . | ug/L | 0.59981 | 0.192 | Recoverable Result | 4433 | B | sgs |  | 2014-05-22 | Supelco LC06436: 30 µl & Abs 032814: 30 µl
20141640077 | 2014-06-12 06:30 | PHENOL | 34694GCM99 | 0.16 | 0.3201 | . | ug/L | 0.6248 | 0.2 | Recoverable Result | 4433 | B | sgs |  | 2014-07-09 | Supelco LC06436: 30 µl & ChemService 2616300: 30 µl
20141770150 | 2014-06-26 06:30 | PHENOL | 34694GCM99 | 0.16 | 0.324 | . | ug/L | 0.44753 | 0.145 | Recoverable Result | 4433 | B | sgs | n | 2014-07-17 | ERA 0227-14-07.1: 30 µl & ChemService 2616300: 30 µl
20141990081 | 2014-07-17 06:00 | PHENOL | 34694GCM99 | 0.16 | 0.324 | . | ug/L | 0.66975 | 0.217 | Recoverable Result | 4433 | B | sgs |  | 2014-08-20 | Abs 032814: 30 µl & ERA 0227-14-07.1: 30 µl
20142130131 | 2014-07-31 06:00 | PHENOL | 34694GCM99 | 0.16 | 0.324 | . | ug/L | 0.66667 | 0.216 | Recoverable Result | 4433 | B | sgs |  | 2014-08-21 | ERA 0227-14-07.1: 30 µl & Spex Organics E1140402006: 30 µl
20142340162 | 2014-08-18 06:45 | PHENOL | 34694GCM99 | 0.16 | 0.324 | . | ug/L | 0.62346 | 0.202 | Recoverable Result | 4433 | B | sgs |  | 2014-09-17 | Crescent 03DD005: 30 µl & ERA 0227-14-07.1: 30 µl
20142720001 | 2014-09-25 06:30 | PHENOL | 34694GCM99 | 0.16 | 0.324 | . | ug/L | 0.79321 | 0.257 | Recoverable Result | 4433 | B | sgs |  | 2014-10-20 | Abs 032814: 30 µl & ERA 0227-14-07.1: 30 µl
20150990066 | 2015-04-09 06:00 | PHENOL | 34694GCM99 | 0.16 | 0.324 | . | ug/L | 1.0648 | 0.345 | Recoverable Result | 4433 | B | sgs |  | 2015-04-22 | ERA 0227-14-07.1: 30 µl & Spex Organics E1140402006: 30 µl
20110340009 | 2011-02-02 07:30 | PHENOL | 34694GCM99 | 0.16 | 0.32794 | . | ug/L | 0.80502 | 0.264 | Recoverable Result | 4433 | B | sgs |  | 2011-02-18 | ChemService 448-12A: 20 µl
20111050151 | 2011-04-14 08:30 | PHENOL | 34694GCM99 | 0.16 | 0.33101 | E | ug/L | 0.93351 | 0.309 | Estimated Values | 4433 | R | jiv |  | 2011-05-03 | Abs 090910WW: 20 µl
20112220129 | 2011-08-10 09:30 | PHENOL | 34694GCM99 | 0.16 | 0.3346 | . | ug/L | 0.75015 | 0.251 | Recoverable Result | 4433 | R | jiv |  | 2011-08-17 | ChemService 448-12A: 20 µl
20120400055 | 2012-02-09 07:30 | PHENOL | 34694GCM99 | 0.16 | 0.3346 | . | ug/L | 0.72923 | 0.244 | Recoverable Result | 4433 | B | sgs |  | 2012-03-07 | ChemService 448-12A: 20 µl
20112100004 | 2011-07-28 08:30 | PHENOL | 34694GCM99 | 0.16 | 0.337 | . | ug/L | 0.68546 | 0.231 | Recoverable Result | 4433 | R | jiv |  | 2011-08-16 | Abs 090910WW: 20 µl
20112930084 | 2011-10-20 07:30 | PHENOL | 34694GCM99 | 0.16 | 0.337 | . | ug/L | 0.49852 | 0.168 | Recoverable Result | 4433 | E | cli |  | 2011-12-08 | Abs 090910WW: 20 µl
20120620013 | 2012-03-01 08:30 | PHENOL | 34694GCM99 | 0.16 | 0.337 | . | ug/L | 0.82196 | 0.277 | Recoverable Result | 4433 | B | fww |  | 2012-04-10 | Abs 090910WW: 20 µl
20161600088 | 2016-06-08 08:00 | PHENOL | 34694GCM99 | 0.16 | 0.4 | E | ug/L | 0.82 | 0.328 | Estimated Values | 4433 | B | sgs |  | 2016-06-16 | Phenova B20160306: 40 µl & Crescent 03FF070: 40 µl
20161680360 | 2016-06-15 08:00 | PHENOL | 34694GCM99 | 0.16 | 0.4 | . | ug/L | 0.8725 | 0.349 | Recoverable Result | 4433 | B | sgs |  | 2016-07-14 | Phenova B20160306: 40 µl & ChemService 5016000: 40 µl
20162150212 | 2016-08-02 07:30 | PHENOL | 34694GCM99 | 0.16 | 0.4 | . | ug/L | 0.825 | 0.33 | Recoverable Result | 4433 | B | sgs | @c | 2016-08-24 | Crescent 03FF070: 40 µl & Phenova B20160306: 40 µl
20162440114 | 2016-08-31 07:00 | PHENOL | 34694GCM99 | 0.16 | 0.4 | . | ug/L | 0.635 | 0.254 | Recoverable Result | 4433 | B | sgs |  | 2016-09-27 | NSI 042916WW: 40 µl & Phenova B20160306: 40 µl
20163500003 | 2016-12-14 08:00 | PHENOL | 34694GCM99 | 0.16 | 0.4 | . | ug/L | 0.6225 | 0.249 | Recoverable Result | 4433 | B | sgs |  | 2017-01-06 | NSI 042916WW: 40 µl & Phenova B20160306: 40 µl
20161880110 | 2016-07-06 07:00 | PHENOL | 34694GCM99 | 0.16 | 0.402 | . | ug/L | 0.87313 | 0.351 | Recoverable Result | 4433 | B | sgs |  | 2016-08-03 | NSI 042916WW: 40 µl & Supelco LC20139V: 40 µl
20163070096 | 2016-11-02 07:00 | PHENOL | 34694GCM99 | 0.16 | 0.402 | . | ug/L | 0.60945 | 0.245 | Recoverable Result | 4433 | B | sgs |  | 2016-12-07 | Supelco LC20139V: 40 µl & Abs 061716WW: 40 µl
20163370002 | 2016-11-30 07:00 | PHENOL | 34694GCM99 | 0.16 | 0.402 | . | ug/L | 0.6791 | 0.273 | Recoverable Result | 4433 | B | sgs |  | 2017-01-05 | Supelco LC20139V: 40 µl & Abs 061716WW: 40 µl
20111260151 | 2011-05-05 08:30 | PHENOL | 34694GCM99 | 0.16 | 0.4029 | . | ug/L | 0.77687 | 0.313 | Recoverable Result | 4433 | B | sgs |  | 2011-05-19 | NWQL BNA2SP124B: 50 µl
20151620180 | 2015-06-11 06:00 | PHENOL | 34694GCM99 | 0.16 | 0.48 | . | ug/L | 0.79375 | 0.381 | Recoverable Result | 4433 | B | sgs |  | 2015-07-22 | Spex Organics EN150529012: 40 µl & Abs 041615: 40 µl
20153510110 | 2015-12-17 08:00 | PHENOL | 34694GCM99 | 0.16 | 0.48 | . | ug/L | 0.725 | 0.348 | Recoverable Result | 4433 |  | sgs |  | 2016-01-14 | Supelco LC13546: 40 µl & Spex Organics EN150529012: 40 µl
20152110199 | 2015-07-30 09:00 | PHENOL | 34694GCM99 | 0.16 | 0.488 | . | ug/L | 0.91598 | 0.447 | Recoverable Result | 4433 |  | sgs |  | 2015-09-30 | ERA 0406-15-02: 40 µl & ChemService 3982800: 40 µl
20153280156 | 2015-11-24 08:00 | PHENOL | 34694GCM99 | 0.16 | 0.488 | . | ug/L | 0.76025 | 0.371 | Recoverable Result | 4433 |  | sgs |  | 2016-01-26 | ChemService 3982800: 40 µl & Abs 041615: 40 µl
20160710218 | 2016-03-10 08:30 | PHENOL | 34694GCM99 | 0.16 | 0.488 | E | ug/L | 0.79918 | 0.39 | Estimated Values | 4433 | V | rcr | v | 2016-04-15 | ChemService 3982800: 40 µl & Abs 041615: 40 µl
20161190076 | 2016-04-28 07:00 | PHENOL | 34694GCM99 | 0.16 | 0.488 | . | ug/L | 0.85041 | 0.415 | Recoverable Result | 4433 | B | sgs |  | 2016-06-13 | ChemService 3982800: 40 µl & Crescent 04EE006: 40 µl
20123420075 | 2012-12-06 07:00 | PHENOL | 34694GCM99 | 0.16 | 0.6 | . | ug/L | 0.56833 | 0.341 | Recoverable Result | 4433 | B | sgs |  | 2012-12-20 | NSI 061412-01: 40 µl & Restek A088824: 40 µl
20122720049 | 2012-09-27 06:30 | PHENOL | 34694GCM99 | 0.16 | 0.6144 | . | ug/L | 0.55664 | 0.342 | Recoverable Result | 4433 | B | sgs |  | 2012-12-12 | NSI 061412-01: 40 µl & ChemService 426100: 40 µl
20131020082 | 2013-04-11 07:00 | PHENOL | 34694GCM99 | 0.16 | 0.6144 | . | ug/L | 0.86914 | 0.534 | Recoverable Result | 4433 | B | sgs |  | 2013-05-30 | ChemService 426100: 40 µl & Spex Organics T1120521007: 40 µl
20112380056 | 2011-08-25 11:10 | PHENOL | 34694GCM99 | 0.16 | 0.64 | . | ug/L | 0.9875 | 0.632 | Recoverable Result | 4433 | E | jiv |  | 2011-10-18 | NWQL BNA2SP124B: 80 µl
20141360095 | 2014-05-16 06:30 | PHENOL | 34694GCM99 | 0.16 | 0.6402 | E | ug/L | 0.41706 | 0.267 | Estimated Values | 4433 | B | sgs |  | 2014-06-04 | Supelco LC06436: 60 µl & Spex Organics E1140402006: 60 µl
20141710103 | 2014-06-19 07:00 | PHENOL | 34694GCM99 | 0.16 | 0.6402 | . | ug/L | 0.54514 | 0.349 | Recoverable Result | 4433 | B | sgs |  | 2014-07-16 | Crescent 03DD005: 60 µl & Supelco LC06436: 60 µl
20142760025 | 2014-10-02 07:00 | PHENOL | 34694GCM99 | 0.16 | 0.6402 | . | ug/L | 0.76539 | 0.49 | Recoverable Result | 4433 | B | sgs |  | 2014-10-21 | Supelco LC06436: 60 µl & Spex Organics E1140402006: 60 µl
20143180046 | 2014-11-13 07:00 | PHENOL | 34694GCM99 | 0.16 | 0.6402 | . | ug/L | 0.89035 | 0.57 | Recoverable Result | 4433 | B | sgs |  | 2014-12-03 | Abs 032814: 60 µl & Supelco LC06436: 60 µl
20142470040 | 2014-09-03 06:30 | PHENOL | 34694GCM99 | 0.16 | 0.648 | . | ug/L | 0.72531 | 0.47 | Recoverable Result | 4433 | B | sgs |  | 2014-09-23 | ERA 0227-14-07.1: 60 µl & Spex Organics E1140402006: 60 µl
20143300047 | 2014-11-26 07:00 | PHENOL | 34694GCM99 | 0.16 | 0.648 | . | ug/L | 0.77932 | 0.505 | Recoverable Result | 4433 | B | sgs |  | 2014-12-04 | ERA 0227-14-07.1: 60 µl & ChemService 2616300: 60 µl
20150290077 | 2015-01-29 07:00 | PHENOL | 34694GCM99 | 0.16 | 0.648 | . | ug/L | 0.86574 | 0.561 | Recoverable Result | 4433 | B | sgs |  | 2015-02-26 | Crescent 03DD005: 60 µl & ERA 0227-14-07.1: 60 µl
20131290118 | 2013-05-09 07:30 | PHENOL | 34694GCM99 | 0.16 | 0.75 | . | ug/L | 0.60667 | 0.455 | Recoverable Result | 4433 | B | sgs |  | 2013-06-12 | NSI 042213WWUF: 50 µl & ChemService 1466200: 50 µl
20162230167 | 2016-08-10 07:00 | PHENOL | 34694GCM99 | 0.16 | 0.8 | . | ug/L | 0.81 | 0.648 | Recoverable Result | 4433 | B | sgs |  | 2016-08-25 | Phenova B20160306: 80 µl & ChemService 5016000: 80 µl
20162580142 | 2016-09-14 06:30 | PHENOL | 34694GCM99 | 0.16 | 0.804 | . | ug/L | 0.81095 | 0.652 | Recoverable Result | 4433 | B | sgs |  | 2016-09-28 | Supelco LC20139V: 80 µl & Abs 061716WW: 80 µl
20163280007 | 2016-11-21 08:00 | PHENOL | 34694GCM99 | 0.16 | 0.804 | . | ug/L | 0.75498 | 0.607 | Recoverable Result | 4433 | B | sgs |  | 2016-12-06 | Crescent 03FF070: 80 µl & Supelco LC20139V: 80 µl
20162990149 | 2016-10-25 07:00 | PHENOL | 34694GCM99 | 0.16 | 0.804 | . | ug/L | 0.68284 | 0.549 | Recoverable Result | 4433 | B | sgs |  | 2016-12-06 | NSI 042916WW: 80 µl & Supelco LC20139V: 80 µl
20111890007 | 2011-07-07 08:30 | PHENOL | 34694GCM99 | 0.16 | 0.8365 | . | ug/L | 0.65989 | 0.552 | Recoverable Result | 4433 | E | jiv |  | 2011-08-06 | ChemService 448-12A: 50 µl
20113340047 | 2011-11-29 07:30 | PHENOL | 34694GCM99 | 0.16 | 0.8365 | E | ug/L | 0.1841 | 0.154 | Estimated Values | 4433 | R | jiv | nc | 2012-02-01 | ChemService 448-12A: 50 µl
20120830078 | 2012-03-22 07:30 | PHENOL | 34694GCM99 | 0.16 | 0.8365 | . | ug/L | 0.60251 | 0.504 | Recoverable Result | 4433 | Y | awh |  | 2012-05-04 | ChemService 448-12A: 50 µl
20110840109 | 2011-03-24 07:30 | PHENOL | 34694GCM99 | 0.16 | 0.84216 | . | ug/L | 0.92975 | 0.783 | Recoverable Result | 4433 | R | jiv |  | 2011-04-15 | Abs 090910WW: 50 µl
20120260060 | 2012-01-26 08:00 | PHENOL | 34694GCM99 | 0.16 | 0.8425 | . | ug/L | 0.95074 | 0.801 | Recoverable Result | 4433 | B | sgs |  | 2012-03-07 | Abs 090910WW: 50 µl
20120960124 | 2012-04-05 06:30 | PHENOL | 34694GCM99 | 0.16 | 0.8425 | . | ug/L | 0.62671 | 0.528 | Recoverable Result | 4433 | Y | awh |  | 2012-05-04 | Abs 090910WW: 50 µl
20111680036 | 2011-06-16 09:30 | PHENOL | 34694GCM99 | 0.16 | 0.8458 | . | ug/L | 0.76969 | 0.651 | Recoverable Result | 4433 | B | sgs |  | 2011-07-07 | Abs 090910WW: 50 µl
20160140040 | 2016-01-14 08:30 | PHENOL | 34694GCM99 | 0.16 | 0.96 | . | ug/L | 0.77813 | 0.747 | Recoverable Result | 4433 |  | rcr |  | 2016-02-24 | Spex Organics EN150529012: 80 µl & Crescent 04EE006: 80 µl
20152810121 | 2015-10-08 08:00 | PHENOL | 34694GCM99 | 0.16 | 0.976 | . | ug/L | 0.61783 | 0.603 | Recoverable Result | 4433 |  | sgs |  | 2015-11-05 | Supelco LC13546: 80 µl & ChemService 3982800: 80 µl
20153160002 | 2015-11-10 08:30 | PHENOL | 34694GCM99 | 0.16 | 0.976 | . | ug/L | 0.76639 | 0.748 | Recoverable Result | 4433 |  | sgs |  | 2016-01-12 | ERA 0406-15-02: 80 µl & ChemService 3982800: 80 µl
20163560020 | 2016-12-21 07:00 | PHENOL | 34694GCM99 | 0.16 | 1 | . | ug/L | 0.776 | 0.776 | Recoverable Result | 4433 | B | sgs |  | 2017-01-06 | Phenova B20160306: 100 µl & Abs 061716WW: 100 µl
20161960001 | 2016-07-13 08:00 | PHENOL | 34694GCM99 | 0.16 | 1.005 | . | ug/L | 0.62587 | 0.629 | Recoverable Result | 4433 | B | sgs |  | 2016-08-09 | Supelco LC20139V: 100 µl & ChemService 5016000: 100 µl
20130590064 | 2013-02-28 07:30 | PHENOL | 34694GCM99 | 0.16 | 1.2 | . | ug/L | 0.46333 | 0.556 | Recoverable Result | 4433 | B | sgs |  | 2013-03-28 | Supelco LB92782: 80 µl & Restek A088824: 80 µl
20130100068 | 2013-01-10 07:00 | PHENOL | 34694GCM99 | 0.16 | 1.2288 | . | ug/L | 0.7373 | 0.906 | Recoverable Result | 4433 | B | sgs |  | 2013-02-06 | ChemService 426100: 80 µl & Crescent 05BB045: 80 µl
20111390173 | 2011-05-19 08:30 | PHENOL | 34694GCM99 | 0.16 | 1.3304 | . | ug/L | 0.55772 | 0.742 | Recoverable Result | 4433 | R | jiv |  | 2011-06-28 | ChemService 448-12A: 80 µl
20120120069 | 2012-01-12 08:00 | PHENOL | 34694GCM99 | 0.16 | 1.3384 | . | ug/L | 0.70607 | 0.945 | Recoverable Result | 4433 | B | sgs |  | 2012-03-06 | ChemService 448-12A: 80 µl
20121110020 | 2012-04-19 07:00 | PHENOL | 34694GCM99 | 0.16 | 1.3384 | . | ug/L | 0.7113 | 0.952 | Recoverable Result | 4433 | E | cli |  | 2012-05-22 | ChemService 448-12A: 80 µl
20112520211 | 2011-09-08 09:30 | PHENOL | 34694GCM99 | 0.16 | 1.348 | . | ug/L | 0.55267 | 0.745 | Recoverable Result | 4433 | R | jiv |  | 2011-11-22 | Abs 090910WW: 80 µl
20131650075 | 2013-06-13 07:30 | PHENOL | 34694GCM99 | 0.16 | 1.5015 | . | ug/L | 0.57676 | 0.866 | Recoverable Result | 4433 | B | sgs |  | 2013-08-06 | ChemService 1466200: 50 µl & Abs 050613WWUF: 50 µl
20131920148 | 2013-07-11 07:00 | PHENOL | 34694GCM99 | 0.16 | 1.503 | . | ug/L | 0.27811 | 0.418 | Recoverable Result | 4433 | B | sgs |  | 2013-08-01 | Spex Organics T1130419010: 100 µl & Abs 050613WWUF: 100 µl