## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20132210039 | 2013-08-08 08:00 | PROMETON | 39056GCM99 | 0.16 |  | R | ug/L |  |  | Deleted Values | 4433 |  |  |  | 2013-08-08 08:00 | Spex Organics T1130419010: 20 µl & Supelco LC00152: 20 µl
20161820002 | 2016-06-29 08:00 | PROMETON | 39056GCM99 | 0.16 |  | R | ug/L |  |  | Deleted Values | 4433 | B | sgs |  | 2016-08-01 | ChemService 5016000: 40 µl & NSI 042916WW: 40 µl
20110340009 | 2011-02-02 07:30 | PROMETON | 39056GCM99 | 0.16 | 0.22503 | . | ug/L | 1.0176 | 0.229 | Recoverable Result | 4433 | B | sgs |  | 2011-02-18 | ChemService 448-12A: 20 µl
20111050151 | 2011-04-14 08:30 | PROMETON | 39056GCM99 | 0.16 | 0.22768 | . | ug/L | 1.0058 | 0.229 | Recoverable Result | 4433 | R | jiv |  | 2011-05-03 | Abs 090910WW: 20 µl
20112220129 | 2011-08-10 09:30 | PROMETON | 39056GCM99 | 0.16 | 0.2296 | . | ug/L | 0.98868 | 0.227 | Recoverable Result | 4433 | R | jiv |  | 2011-08-17 | ChemService 448-12A: 20 µl
20120400055 | 2012-02-09 07:30 | PROMETON | 39056GCM99 | 0.16 | 0.2296 | . | ug/L | 1.0105 | 0.232 | Recoverable Result | 4433 | B | sgs |  | 2012-03-07 | ChemService 448-12A: 20 µl
20112100004 | 2011-07-28 08:30 | PROMETON | 39056GCM99 | 0.16 | 0.2318 | . | ug/L | 1.0181 | 0.236 | Recoverable Result | 4433 | R | jiv |  | 2011-08-16 | Abs 090910WW: 20 µl
20112930084 | 2011-10-20 07:30 | PROMETON | 39056GCM99 | 0.16 | 0.2318 | . | ug/L | 0.65574 | 0.152 | Recoverable Result | 4433 | E | cli | n | 2011-12-08 | Abs 090910WW: 20 µl
20120620013 | 2012-03-01 08:30 | PROMETON | 39056GCM99 | 0.16 | 0.2318 | . | ug/L | 1.1475 | 0.266 | Recoverable Result | 4433 | B | fww |  | 2012-04-10 | Abs 090910WW: 20 µl
20151210038 | 2015-04-30 07:30 | PROMETON | 39056GCM99 | 0.16 | 0.24 | . | ug/L | 1.2333 | 0.296 | Recoverable Result | 4433 | B | sgs |  | 2015-05-08 | Abs 041615: 20 µl & Supelco LC13546: 20 µl
20151410210 | 2015-05-21 06:30 | PROMETON | 39056GCM99 | 0.16 | 0.24 | . | ug/L | 0.96667 | 0.232 | Recoverable Result | 4433 | B | sgs |  | 2015-07-09 | Supelco LC13546: 20 µl & Crescent 04EE006: 20 µl
20151760207 | 2015-06-25 06:30 | PROMETON | 39056GCM99 | 0.16 | 0.24 | . | ug/L | 1.1167 | 0.268 | Recoverable Result | 4433 |  | sgs |  | 2015-09-29 | Supelco LC13546: 20 µl & Spex Organics EN150529012: 20 µl
20152530087 | 2015-09-10 09:00 | PROMETON | 39056GCM99 | 0.16 | 0.24 | . | ug/L | 0.99167 | 0.238 | Recoverable Result | 4433 |  | sgs |  | 2015-10-15 | ERA 0406-15-02: 20 µl & Spex Organics EN150529012: 20 µl
20153030067 | 2015-10-29 08:30 | PROMETON | 39056GCM99 | 0.16 | 0.24 | . | ug/L | 1.2 | 0.288 | Recoverable Result | 4433 |  | sgs |  | 2015-11-17 | Abs 041615: 20 µl & ERA 0406-15-02: 20 µl
20160280053 | 2016-01-28 08:00 | PROMETON | 39056GCM99 | 0.16 | 0.24 | . | ug/L | 1.0708 | 0.257 | Recoverable Result | 4433 |  | rcr |  | 2016-02-24 | Abs 041615: 20 µl & Supelco LC13546: 20 µl
20160490032 | 2016-02-18 08:30 | PROMETON | 39056GCM99 | 0.16 | 0.24 | . | ug/L | 1.2292 | 0.295 | Recoverable Result | 4433 |  | rcr |  | 2016-02-25 | ERA 0406-15-02: 20 µl & Spex Organics EN150529012: 20 µl
20160840086 | 2016-03-24 08:00 | PROMETON | 39056GCM99 | 0.16 | 0.24 | . | ug/L | 0.9375 | 0.225 | Recoverable Result | 4433 | V | rcr |  | 2016-04-16 | Crescent 04EE006: 20 µl & ERA 0406-15-02: 20 µl
20160980150 | 2016-04-07 06:30 | PROMETON | 39056GCM99 | 0.16 | 0.24 | . | ug/L | 0.9 | 0.216 | Recoverable Result | 4433 | B | sgs |  | 2016-05-03 | Supelco LC13546: 20 µl & ChemService 3982800: 20 µl
20141290007 | 2014-05-08 07:30 | PROMETON | 39056GCM99 | 0.16 | 0.321 | . | ug/L | 0.78816 | 0.253 | Recoverable Result | 4433 | B | sgs | v | 2014-06-05 | ChemService 2616300: 30 µl & Abs 032814: 30 µl
20141640077 | 2014-06-12 06:30 | PROMETON | 39056GCM99 | 0.16 | 0.321 | . | ug/L | 0.6729 | 0.216 | Recoverable Result | 4433 | B | sgs |  | 2014-07-09 | Supelco LC06436: 30 µl & ChemService 2616300: 30 µl
20141770150 | 2014-06-26 06:30 | PROMETON | 39056GCM99 | 0.16 | 0.321 | . | ug/L | 0.69159 | 0.222 | Recoverable Result | 4433 | B | sgs |  | 2014-07-17 | ERA 0227-14-07.1: 30 µl & ChemService 2616300: 30 µl
20150570009 | 2015-02-26 06:00 | PROMETON | 39056GCM99 | 0.16 | 0.321 | . | ug/L | 0.83801 | 0.269 | Recoverable Result | 4433 | B | sgs |  | 2015-04-20 | ChemService 2616300: 30 µl & Crescent 03DD005: 30 µl
20150850162 | 2015-03-26 06:00 | PROMETON | 39056GCM99 | 0.16 | 0.321 | . | ug/L | 0.96573 | 0.31 | Recoverable Result | 4433 | B | sgs |  | 2015-04-21 | Supelco LC06436: 30 µl & ChemService 2616300: 30 µl
20151140152 | 2015-04-23 06:00 | PROMETON | 39056GCM99 | 0.16 | 0.321 | . | ug/L | 1.1402 | 0.366 | Recoverable Result | 4433 | B | sgs |  | 2015-05-07 | ChemService 2616300: 30 µl & Abs 032814: 30 µl
20132690008 | 2013-09-25 07:30 | PROMETON | 39056GCM99 | 0.16 | 0.33 | . | ug/L | 0.78788 | 0.26 | Recoverable Result | 4433 | B | sgs |  | 2013-10-22 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl
20133110109 | 2013-11-07 07:30 | PROMETON | 39056GCM99 | 0.16 | 0.33 | . | ug/L | 0.84545 | 0.279 | Recoverable Result | 4433 | B | sgs |  | 2013-11-14 | Spex Organics T1130419010: 20 µl & ChemService 1466200: 20 µl
20140160088 | 2014-01-16 08:00 | PROMETON | 39056GCM99 | 0.16 | 0.33 | . | ug/L | 0.65758 | 0.217 | Recoverable Result | 4433 | B | sgs |  | 2014-02-05 | NSI 042213WWUF: 20 µl & ChemService 1466200: 20 µl
20140300033 | 2014-01-30 08:00 | PROMETON | 39056GCM99 | 0.16 | 0.33 | . | ug/L | 0.75455 | 0.249 | Recoverable Result | 4433 | B | sgs |  | 2014-04-23 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl
20142130131 | 2014-07-31 06:00 | PROMETON | 39056GCM99 | 0.16 | 0.33 | . | ug/L | 0.8697 | 0.287 | Recoverable Result | 4433 | B | sgs |  | 2014-08-21 | ERA 0227-14-07.1: 30 µl & Spex Organics E1140402006: 30 µl
20142270002 | 2014-08-14 06:30 | PROMETON | 39056GCM99 | 0.16 | 0.33 | . | ug/L | 0.98788 | 0.326 | Recoverable Result | 4433 | B | sgs |  | 2014-09-11 | Spex Organics E1140402006: 30 µl & Abs 032814: 30 µl
20143520107 | 2014-12-18 06:00 | PROMETON | 39056GCM99 | 0.16 | 0.33 | . | ug/L | 1.1242 | 0.371 | Recoverable Result | 4433 | B | sgs |  | 2015-01-27 | Spex Organics E1140402006: 30 µl & Crescent 03DD005: 30 µl
20150990066 | 2015-04-09 06:00 | PROMETON | 39056GCM99 | 0.16 | 0.33 | . | ug/L | 1 | 0.33 | Recoverable Result | 4433 | B | sgs |  | 2015-04-22 | ERA 0227-14-07.1: 30 µl & Spex Organics E1140402006: 30 µl
20132560002 | 2013-09-12 08:00 | PROMETON | 39056GCM99 | 0.16 | 0.331 | . | ug/L | 0.8852 | 0.293 | Recoverable Result | 4433 | B | sgs |  | 2013-09-26 | NSI 042213WWUF: 20 µl & Abs 050613WWUF: 20 µl
20133260003 | 2013-11-21 07:00 | PROMETON | 39056GCM99 | 0.16 | 0.331 | . | ug/L | 0.91843 | 0.304 | Recoverable Result | 4433 | B | sgs |  | 2013-12-04 | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl
20140650080 | 2014-03-06 08:00 | PROMETON | 39056GCM99 | 0.16 | 0.331 | . | ug/L | 0.66465 | 0.22 | Recoverable Result | 4433 | B | sgs |  | 2014-04-22 | Spex Organics T1130419010: 20 µl & Abs 050613WWUF: 20 µl
20140860103 | 2014-03-27 07:00 | PROMETON | 39056GCM99 | 0.16 | 0.331 | . | ug/L | 0.7281 | 0.241 | Recoverable Result | 4433 | B | sgs |  | 2014-04-23 | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl
20161880110 | 2016-07-06 07:00 | PROMETON | 39056GCM99 | 0.16 | 0.4 | . | ug/L | 0.955 | 0.382 | Recoverable Result | 4433 | B | sgs |  | 2016-08-03 | NSI 042916WW: 40 µl & Supelco LC20139V: 40 µl
20163070096 | 2016-11-02 07:00 | PROMETON | 39056GCM99 | 0.16 | 0.4 | . | ug/L | 0.6925 | 0.277 | Recoverable Result | 4433 | B | sgs |  | 2016-12-07 | Supelco LC20139V: 40 µl & Abs 061716WW: 40 µl
20163370002 | 2016-11-30 07:00 | PROMETON | 39056GCM99 | 0.16 | 0.4 | . | ug/L | 0.85 | 0.34 | Recoverable Result | 4433 | B | sgs |  | 2017-01-05 | Supelco LC20139V: 40 µl & Abs 061716WW: 40 µl
20161600088 | 2016-06-08 08:00 | PROMETON | 39056GCM99 | 0.16 | 0.412 | . | ug/L | 1.0388 | 0.428 | Recoverable Result | 4433 | B | sgs |  | 2016-06-16 | Phenova B20160306: 40 µl & Crescent 03FF070: 40 µl
20161680360 | 2016-06-15 08:00 | PROMETON | 39056GCM99 | 0.16 | 0.412 | . | ug/L | 1.2888 | 0.531 | Recoverable Result | 4433 | B | sgs |  | 2016-07-14 | Phenova B20160306: 40 µl & ChemService 5016000: 40 µl
20162150212 | 2016-08-02 07:30 | PROMETON | 39056GCM99 | 0.16 | 0.412 | . | ug/L | 1.1165 | 0.46 | Recoverable Result | 4433 | B | sgs | @c | 2016-08-24 | Crescent 03FF070: 40 µl & Phenova B20160306: 40 µl
20162440114 | 2016-08-31 07:00 | PROMETON | 39056GCM99 | 0.16 | 0.412 | . | ug/L | 1.0073 | 0.415 | Recoverable Result | 4433 | B | sgs |  | 2016-09-27 | NSI 042916WW: 40 µl & Phenova B20160306: 40 µl
20162860080 | 2016-10-12 07:30 | PROMETON | 39056GCM99 | 0.16 | 0.412 | E | ug/L | 0.43689 | 0.18 | Estimated Values | 4433 | B | sgs |  | 2016-12-05 | Phenova B20160306: 40 µl & Abs 061716WW: 40 µl
20163500003 | 2016-12-14 08:00 | PROMETON | 39056GCM99 | 0.16 | 0.412 | . | ug/L | 0.91262 | 0.376 | Recoverable Result | 4433 | B | sgs |  | 2017-01-06 | NSI 042916WW: 40 µl & Phenova B20160306: 40 µl
20152110199 | 2015-07-30 09:00 | PROMETON | 39056GCM99 | 0.16 | 0.48 | . | ug/L | 1.1042 | 0.53 | Recoverable Result | 4433 |  | sgs |  | 2015-09-30 | ERA 0406-15-02: 40 µl & ChemService 3982800: 40 µl
20152250271 | 2015-08-13 09:00 | PROMETON | 39056GCM99 | 0.16 | 0.48 | . | ug/L | 0.90417 | 0.434 | Recoverable Result | 4433 |  | sgs |  | 2015-10-01 | Abs 041615: 40 µl & ERA 0406-15-02: 40 µl
20153370177 | 2015-12-03 08:30 | PROMETON | 39056GCM99 | 0.16 | 0.48 | . | ug/L | 1.0417 | 0.5 | Recoverable Result | 4433 |  | sgs |  | 2016-01-13 | Crescent 04EE006: 40 µl & Supelco LC13546: 40 µl
20153510110 | 2015-12-17 08:00 | PROMETON | 39056GCM99 | 0.16 | 0.48 | . | ug/L | 0.85833 | 0.412 | Recoverable Result | 4433 |  | sgs |  | 2016-01-14 | Supelco LC13546: 40 µl & Spex Organics EN150529012: 40 µl
20122210008 | 2012-08-07 07:00 | PROMETON | 39056GCM99 | 0.16 | 0.5 | . | ug/L | 0.818 | 0.409 | Recoverable Result | 4433 | R | jiv |  | 2012-08-24 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl
20123040158 | 2012-10-30 08:00 | PROMETON | 39056GCM99 | 0.16 | 0.5 | . | ug/L | 0.804 | 0.402 | Recoverable Result | 4433 | B | sgs |  | 2012-12-18 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl
20121950066 | 2012-07-12 08:00 | PROMETON | 39056GCM99 | 0.16 | 0.512 | . | ug/L | 1.0156 | 0.52 | Recoverable Result | 4433 | R | jiv |  | 2012-07-31 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl
20130460007 | 2013-02-14 08:00 | PROMETON | 39056GCM99 | 0.16 | 0.512 | . | ug/L | 0.62891 | 0.322 | Recoverable Result | 4433 | B | sgs |  | 2013-03-27 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl
20111890007 | 2011-07-07 08:30 | PROMETON | 39056GCM99 | 0.16 | 0.574 | . | ug/L | 0.79268 | 0.455 | Recoverable Result | 4433 | E | jiv |  | 2011-08-06 | ChemService 448-12A: 50 µl
20113340047 | 2011-11-29 07:30 | PROMETON | 39056GCM99 | 0.16 | 0.574 | E | ug/L | 0.49477 | 0.284 | Estimated Values | 4433 | R | jiv |  | 2012-02-01 | ChemService 448-12A: 50 µl
20120830078 | 2012-03-22 07:30 | PROMETON | 39056GCM99 | 0.16 | 0.574 | . | ug/L | 0.95122 | 0.546 | Recoverable Result | 4433 | Y | awh |  | 2012-05-04 | ChemService 448-12A: 50 µl
20110840109 | 2011-03-24 07:30 | PROMETON | 39056GCM99 | 0.16 | 0.57927 | . | ug/L | 1.1238 | 0.651 | Recoverable Result | 4433 | R | jiv |  | 2011-04-15 | Abs 090910WW: 50 µl
20120260060 | 2012-01-26 08:00 | PROMETON | 39056GCM99 | 0.16 | 0.5795 | . | ug/L | 1.189 | 0.689 | Recoverable Result | 4433 | B | sgs |  | 2012-03-07 | Abs 090910WW: 50 µl
20120960124 | 2012-04-05 06:30 | PROMETON | 39056GCM99 | 0.16 | 0.5795 | . | ug/L | 0.91803 | 0.532 | Recoverable Result | 4433 | Y | awh |  | 2012-05-04 | Abs 090910WW: 50 µl
20111680036 | 2011-06-16 09:30 | PROMETON | 39056GCM99 | 0.16 | 0.58177 | . | ug/L | 0.93852 | 0.546 | Recoverable Result | 4433 | B | sgs |  | 2011-07-07 | Abs 090910WW: 50 µl
20141910242 | 2014-07-10 06:30 | PROMETON | 39056GCM99 | 0.16 | 0.642 | . | ug/L | 1.0202 | 0.655 | Recoverable Result | 4433 | B | sgs |  | 2014-08-20 | ChemService 2616300: 60 µl & Crescent 03DD005: 60 µl
20142480001 | 2014-09-04 07:00 | PROMETON | 39056GCM99 | 0.16 | 0.642 | . | ug/L | 0.94081 | 0.604 | Recoverable Result | 4433 | B | sgs |  | 2014-09-23 | ChemService 2616300: 60 µl & Abs 032814: 60 µl
20143300047 | 2014-11-26 07:00 | PROMETON | 39056GCM99 | 0.16 | 0.642 | . | ug/L | 1.0187 | 0.654 | Recoverable Result | 4433 | B | sgs |  | 2014-12-04 | ERA 0227-14-07.1: 60 µl & ChemService 2616300: 60 µl
20141360095 | 2014-05-16 06:30 | PROMETON | 39056GCM99 | 0.16 | 0.66 | E | ug/L | 0.53485 | 0.353 | Estimated Values | 4433 | B | sgs | v | 2014-06-04 | Supelco LC06436: 60 µl & Spex Organics E1140402006: 60 µl
20141490201 | 2014-05-29 06:30 | PROMETON | 39056GCM99 | 0.16 | 0.66 | . | ug/L | 0.68939 | 0.455 | Recoverable Result | 4433 | B | sgs |  | 2014-07-08 | Spex Organics E1140402006: 60 µl & Abs 032814: 60 µl
20142470040 | 2014-09-03 06:30 | PROMETON | 39056GCM99 | 0.16 | 0.66 | . | ug/L | 0.96364 | 0.636 | Recoverable Result | 4433 | B | sgs |  | 2014-09-23 | ERA 0227-14-07.1: 60 µl & Spex Organics E1140402006: 60 µl
20142760025 | 2014-10-02 07:00 | PROMETON | 39056GCM99 | 0.16 | 0.66 | . | ug/L | 0.86212 | 0.569 | Recoverable Result | 4433 | B | sgs |  | 2014-10-21 | Supelco LC06436: 60 µl & Spex Organics E1140402006: 60 µl
20142960087 | 2014-10-23 06:30 | PROMETON | 39056GCM99 | 0.16 | 0.66 | . | ug/L | 1.0848 | 0.716 | Recoverable Result | 4433 | B | sgs |  | 2014-11-05 | Spex Organics E1140402006: 60 µl & Crescent 03DD005: 60 µl
20162580142 | 2016-09-14 06:30 | PROMETON | 39056GCM99 | 0.16 | 0.8 | . | ug/L | 0.81875 | 0.655 | Recoverable Result | 4433 | B | sgs |  | 2016-09-28 | Supelco LC20139V: 80 µl & Abs 061716WW: 80 µl
20163280007 | 2016-11-21 08:00 | PROMETON | 39056GCM99 | 0.16 | 0.8 | . | ug/L | 0.995 | 0.796 | Recoverable Result | 4433 | B | sgs |  | 2016-12-06 | Crescent 03FF070: 80 µl & Supelco LC20139V: 80 µl
20162990149 | 2016-10-25 07:00 | PROMETON | 39056GCM99 | 0.16 | 0.8 | . | ug/L | 0.825 | 0.66 | Recoverable Result | 4433 | B | sgs |  | 2016-12-06 | NSI 042916WW: 80 µl & Supelco LC20139V: 80 µl
20111260151 | 2011-05-05 08:30 | PROMETON | 39056GCM99 | 0.16 | 0.8058 | . | ug/L | 0.97667 | 0.787 | Recoverable Result | 4433 | B | sgs |  | 2011-05-19 | NWQL BNA2SP124B: 50 µl
20162230167 | 2016-08-10 07:00 | PROMETON | 39056GCM99 | 0.16 | 0.824 | . | ug/L | 0.97209 | 0.801 | Recoverable Result | 4433 | B | sgs |  | 2016-08-25 | Phenova B20160306: 80 µl & ChemService 5016000: 80 µl
20131290118 | 2013-05-09 07:30 | PROMETON | 39056GCM99 | 0.16 | 0.825 | . | ug/L | 0.79394 | 0.655 | Recoverable Result | 4433 | B | sgs |  | 2013-06-12 | NSI 042213WWUF: 50 µl & ChemService 1466200: 50 µl
20111390173 | 2011-05-19 08:30 | PROMETON | 39056GCM99 | 0.16 | 0.91292 | . | ug/L | 0.88945 | 0.812 | Recoverable Result | 4433 | R | jiv |  | 2011-06-28 | ChemService 448-12A: 80 µl
20120120069 | 2012-01-12 08:00 | PROMETON | 39056GCM99 | 0.16 | 0.9184 | . | ug/L | 0.93097 | 0.855 | Recoverable Result | 4433 | B | sgs |  | 2012-03-06 | ChemService 448-12A: 80 µl
20121110020 | 2012-04-19 07:00 | PROMETON | 39056GCM99 | 0.16 | 0.9184 | . | ug/L | 0.83188 | 0.764 | Recoverable Result | 4433 | E | cli |  | 2012-05-22 | ChemService 448-12A: 80 µl
20112520211 | 2011-09-08 09:30 | PROMETON | 39056GCM99 | 0.16 | 0.9272 | . | ug/L | 0.95449 | 0.885 | Recoverable Result | 4433 | R | jiv |  | 2011-11-22 | Abs 090910WW: 80 µl
20152670134 | 2015-09-24 09:00 | PROMETON | 39056GCM99 | 0.16 | 0.96 | . | ug/L | 1.0833 | 1.04 | Recoverable Result | 4433 |  | sgs |  | 2015-10-16 | Crescent 04EE006: 80 µl & ERA 0406-15-02: 80 µl
20152810121 | 2015-10-08 08:00 | PROMETON | 39056GCM99 | 0.16 | 0.96 | . | ug/L | 1.0938 | 1.05 | Recoverable Result | 4433 |  | sgs |  | 2015-11-05 | Supelco LC13546: 80 µl & ChemService 3982800: 80 µl
20153160002 | 2015-11-10 08:30 | PROMETON | 39056GCM99 | 0.16 | 0.96 | . | ug/L | 0.96458 | 0.926 | Recoverable Result | 4433 |  | sgs |  | 2016-01-12 | ERA 0406-15-02: 80 µl & ChemService 3982800: 80 µl
20123420075 | 2012-12-06 07:00 | PROMETON | 39056GCM99 | 0.16 | 1 | . | ug/L | 0.708 | 0.708 | Recoverable Result | 4433 | B | sgs |  | 2012-12-20 | NSI 061412-01: 40 µl & Restek A088824: 40 µl
20161960001 | 2016-07-13 08:00 | PROMETON | 39056GCM99 | 0.16 | 1 | . | ug/L | 0.996 | 0.996 | Recoverable Result | 4433 | B | sgs |  | 2016-08-09 | Supelco LC20139V: 100 µl & ChemService 5016000: 100 µl
20122720049 | 2012-09-27 06:30 | PROMETON | 39056GCM99 | 0.16 | 1.024 | . | ug/L | 0.76367 | 0.782 | Recoverable Result | 4433 | B | sgs |  | 2012-12-12 | NSI 061412-01: 40 µl & ChemService 426100: 40 µl
20131020082 | 2013-04-11 07:00 | PROMETON | 39056GCM99 | 0.16 | 1.024 | . | ug/L | 0.81641 | 0.836 | Recoverable Result | 4433 | B | sgs |  | 2013-05-30 | ChemService 426100: 40 µl & Spex Organics T1120521007: 40 µl
20163560020 | 2016-12-21 07:00 | PROMETON | 39056GCM99 | 0.16 | 1.03 | . | ug/L | 1.0485 | 1.08 | Recoverable Result | 4433 | B | sgs |  | 2017-01-06 | Phenova B20160306: 100 µl & Abs 061716WW: 100 µl
20112380056 | 2011-08-25 11:10 | PROMETON | 39056GCM99 | 0.16 | 1.28 | . | ug/L | 0.875 | 1.12 | Recoverable Result | 4433 | E | jiv |  | 2011-10-18 | NWQL BNA2SP124B: 80 µl
20131650075 | 2013-06-13 07:30 | PROMETON | 39056GCM99 | 0.16 | 1.6525 | . | ug/L | 0.70197 | 1.16 | Recoverable Result | 4433 | B | sgs |  | 2013-08-06 | ChemService 1466200: 50 µl & Abs 050613WWUF: 50 µl
20131920148 | 2013-07-11 07:00 | PROMETON | 39056GCM99 | 0.16 | 1.655 | . | ug/L | 0.57885 | 0.958 | Recoverable Result | 4433 | B | sgs |  | 2013-08-01 | Spex Organics T1130419010: 100 µl & Abs 050613WWUF: 100 µl
20130590064 | 2013-02-28 07:30 | PROMETON | 39056GCM99 | 0.16 | 2 | . | ug/L | 0.69 | 1.38 | Recoverable Result | 4433 | B | sgs |  | 2013-03-28 | Supelco LB92782: 80 µl & Restek A088824: 80 µl
20130100068 | 2013-01-10 07:00 | PROMETON | 39056GCM99 | 0.16 | 2.048 | . | ug/L | 0.78125 | 1.6 | Recoverable Result | 4433 | B | sgs |  | 2013-02-06 | ChemService 426100: 80 µl & Crescent 05BB045: 80 µl