## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20132210039 | 2013-08-08 08:00 | PYRENE | 34469GCM99 | 0.02 | 0.04 | R | ug/L |  |  | Deleted Values | 4433 |  |  |  | 2013-08-08 08:00 | Spex Organics T1130419010: 20 µl & Supelco LC00152: 20 µl
20161820002 | 2016-06-29 08:00 | PYRENE | 34469GCM99 | 0.02 | 0.048 | R | ug/L |  |  | Deleted Values | 4433 | B | sgs |  | 2016-08-01 | ChemService 5016000: 40 µl & NSI 042916WW: 40 µl
20151210038 | 2015-04-30 07:30 | PYRENE | 34469GCM99 | 0.02 | 0.03 | . | ug/L | 1.3333 | 0.04 | Recoverable Result | 4433 | B | sgs |  | 2015-05-08 | Abs 041615: 20 µl & Supelco LC13546: 20 µl
20151410210 | 2015-05-21 06:30 | PYRENE | 34469GCM99 | 0.02 | 0.03 | . | ug/L | 1.2333 | 0.037 | Recoverable Result | 4433 | B | sgs |  | 2015-07-09 | Supelco LC13546: 20 µl & Crescent 04EE006: 20 µl
20151970168 | 2015-07-16 06:30 | PYRENE | 34469GCM99 | 0.02 | 0.03 | . | ug/L | 1.3667 | 0.041 | Recoverable Result | 4433 |  | sgs |  | 2015-09-29 | ChemService 3982800: 20 µl & Abs 041615: 20 µl
20152390223 | 2015-08-27 09:00 | PYRENE | 34469GCM99 | 0.02 | 0.03 | . | ug/L | 1.1667 | 0.035 | Recoverable Result | 4433 |  | sgs |  | 2015-10-02 | ChemService 3982800: 20 µl & Crescent 04EE006: 20 µl
20153030067 | 2015-10-29 08:30 | PYRENE | 34469GCM99 | 0.02 | 0.03 | . | ug/L | 0.96667 | 0.029 | Recoverable Result | 4433 |  | sgs |  | 2015-11-17 | Abs 041615: 20 µl & ERA 0406-15-02: 20 µl
20152950079 | 2015-10-22 08:30 | PYRENE | 34469GCM99 | 0.02 | 0.03 | . | ug/L | 0.96667 | 0.029 | Recoverable Result | 4433 |  | sgs |  | 2015-11-17 | Spex Organics EN150529012: 20 µl & Crescent 04EE006: 20 µl
20153640095 | 2015-12-30 08:30 | PYRENE | 34469GCM99 | 0.02 | 0.03 | . | ug/L | 0.86667 | 0.026 | Recoverable Result | 4433 |  | rcr |  | 2016-02-23 | Spex Organics EN150529012: 20 µl & Crescent 04EE006: 20 µl
20160280053 | 2016-01-28 08:00 | PYRENE | 34469GCM99 | 0.02 | 0.03 | . | ug/L | 1.0667 | 0.032 | Recoverable Result | 4433 |  | rcr |  | 2016-02-24 | Abs 041615: 20 µl & Supelco LC13546: 20 µl
20160840086 | 2016-03-24 08:00 | PYRENE | 34469GCM99 | 0.02 | 0.03 | . | ug/L | 0.83333 | 0.025 | Recoverable Result | 4433 | V | rcr |  | 2016-04-16 | Crescent 04EE006: 20 µl & ERA 0406-15-02: 20 µl
20142130131 | 2014-07-31 06:00 | PYRENE | 34469GCM99 | 0.02 | 0.039 | . | ug/L | 1.2308 | 0.048 | Recoverable Result | 4433 | B | sgs |  | 2014-08-21 | ERA 0227-14-07.1: 30 µl & Spex Organics E1140402006: 30 µl
20142270002 | 2014-08-14 06:30 | PYRENE | 34469GCM99 | 0.02 | 0.039 | . | ug/L | 1.3077 | 0.051 | Recoverable Result | 4433 | B | sgs |  | 2014-09-11 | Spex Organics E1140402006: 30 µl & Abs 032814: 30 µl
20143520107 | 2014-12-18 06:00 | PYRENE | 34469GCM99 | 0.02 | 0.039 | . | ug/L | 1.1538 | 0.045 | Recoverable Result | 4433 | B | sgs |  | 2015-01-27 | Spex Organics E1140402006: 30 µl & Crescent 03DD005: 30 µl
20150990066 | 2015-04-09 06:00 | PYRENE | 34469GCM99 | 0.02 | 0.039 | . | ug/L | 1.2564 | 0.049 | Recoverable Result | 4433 | B | sgs |  | 2015-04-22 | ERA 0227-14-07.1: 30 µl & Spex Organics E1140402006: 30 µl
20132560002 | 2013-09-12 08:00 | PYRENE | 34469GCM99 | 0.02 | 0.04 | . | ug/L | 1 | 0.04 | Recoverable Result | 4433 | B | sgs |  | 2013-09-26 | NSI 042213WWUF: 20 µl & Abs 050613WWUF: 20 µl
20133110109 | 2013-11-07 07:30 | PYRENE | 34469GCM99 | 0.02 | 0.04 | . | ug/L | 1 | 0.04 | Recoverable Result | 4433 | B | sgs |  | 2013-11-14 | Spex Organics T1130419010: 20 µl & ChemService 1466200: 20 µl
20132910006 | 2013-10-17 07:30 | PYRENE | 34469GCM99 | 0.02 | 0.04 | . | ug/L | 0.85 | 0.034 | Recoverable Result | 4433 | B | sgs |  | 2013-11-14 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl
20140160088 | 2014-01-16 08:00 | PYRENE | 34469GCM99 | 0.02 | 0.04 | . | ug/L | 0.825 | 0.033 | Recoverable Result | 4433 | B | sgs |  | 2014-02-05 | NSI 042213WWUF: 20 µl & ChemService 1466200: 20 µl
20140650080 | 2014-03-06 08:00 | PYRENE | 34469GCM99 | 0.02 | 0.04 | . | ug/L | 0.85 | 0.034 | Recoverable Result | 4433 | B | sgs |  | 2014-04-22 | Spex Organics T1130419010: 20 µl & Abs 050613WWUF: 20 µl
20140370076 | 2014-02-06 07:30 | PYRENE | 34469GCM99 | 0.02 | 0.04 | . | ug/L | 0.925 | 0.037 | Recoverable Result | 4433 | B | sgs |  | 2014-04-23 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl
20140930054 | 2014-04-03 08:00 | PYRENE | 34469GCM99 | 0.02 | 0.04 | . | ug/L | 0.875 | 0.035 | Recoverable Result | 4433 | B | sgs |  | 2014-04-24 | Spex Organics T1130419010: 20 µl & Supelco LC00152: 20 µl
20141290007 | 2014-05-08 07:30 | PYRENE | 34469GCM99 | 0.02 | 0.0402 | . | ug/L | 0.94527 | 0.038 | Recoverable Result | 4433 | B | sgs |  | 2014-06-05 | ChemService 2616300: 30 µl & Abs 032814: 30 µl
20141640077 | 2014-06-12 06:30 | PYRENE | 34469GCM99 | 0.02 | 0.0402 | . | ug/L | 0.87065 | 0.035 | Recoverable Result | 4433 | B | sgs |  | 2014-07-09 | Supelco LC06436: 30 µl & ChemService 2616300: 30 µl
20141770150 | 2014-06-26 06:30 | PYRENE | 34469GCM99 | 0.02 | 0.0402 | . | ug/L | 0.9204 | 0.037 | Recoverable Result | 4433 | B | sgs |  | 2014-07-17 | ERA 0227-14-07.1: 30 µl & ChemService 2616300: 30 µl
20150570009 | 2015-02-26 06:00 | PYRENE | 34469GCM99 | 0.02 | 0.0402 | . | ug/L | 0.9204 | 0.037 | Recoverable Result | 4433 | B | sgs |  | 2015-04-20 | ChemService 2616300: 30 µl & Crescent 03DD005: 30 µl
20150850162 | 2015-03-26 06:00 | PYRENE | 34469GCM99 | 0.02 | 0.0402 | . | ug/L | 1.1194 | 0.045 | Recoverable Result | 4433 | B | sgs |  | 2015-04-21 | Supelco LC06436: 30 µl & ChemService 2616300: 30 µl
20151140152 | 2015-04-23 06:00 | PYRENE | 34469GCM99 | 0.02 | 0.0402 | . | ug/L | 1.3433 | 0.054 | Recoverable Result | 4433 | B | sgs |  | 2015-05-07 | ChemService 2616300: 30 µl & Abs 032814: 30 µl
20161880110 | 2016-07-06 07:00 | PYRENE | 34469GCM99 | 0.02 | 0.048 | . | ug/L | 0.91667 | 0.044 | Recoverable Result | 4433 | B | sgs |  | 2016-08-03 | NSI 042916WW: 40 µl & Supelco LC20139V: 40 µl
20162440114 | 2016-08-31 07:00 | PYRENE | 34469GCM99 | 0.02 | 0.048 | . | ug/L | 0.77083 | 0.037 | Recoverable Result | 4433 | B | sgs |  | 2016-09-27 | NSI 042916WW: 40 µl & Phenova B20160306: 40 µl
20163150005 | 2016-11-09 07:30 | PYRENE | 34469GCM99 | 0.02 | 0.048 | . | ug/L | 0.6875 | 0.033 | Recoverable Result | 4433 | B | sgs |  | 2016-12-07 | ChemService 5016000: 40 µl & NSI 042916WW: 40 µl
20163500003 | 2016-12-14 08:00 | PYRENE | 34469GCM99 | 0.02 | 0.048 | . | ug/L | 0.75 | 0.036 | Recoverable Result | 4433 | B | sgs |  | 2017-01-06 | NSI 042916WW: 40 µl & Phenova B20160306: 40 µl
20161400194 | 2016-05-18 06:00 | PYRENE | 34469GCM99 | 0.02 | 0.0496 | . | ug/L | 0.92742 | 0.046 | Recoverable Result | 4433 | B | sgs |  | 2016-06-14 | ChemService 5016000: 40 µl & Crescent 03FF070: 40 µl
20161600088 | 2016-06-08 08:00 | PYRENE | 34469GCM99 | 0.02 | 0.0496 | . | ug/L | 0.82661 | 0.041 | Recoverable Result | 4433 | B | sgs |  | 2016-06-16 | Phenova B20160306: 40 µl & Crescent 03FF070: 40 µl
20162150212 | 2016-08-02 07:30 | PYRENE | 34469GCM99 | 0.02 | 0.0496 | . | ug/L | 0.86694 | 0.043 | Recoverable Result | 4433 | B | sgs | @c | 2016-08-24 | Crescent 03FF070: 40 µl & Phenova B20160306: 40 µl
20162660006 | 2016-09-21 07:30 | PYRENE | 34469GCM99 | 0.02 | 0.0496 | . | ug/L | 0.8871 | 0.044 | Recoverable Result | 4433 | B | sgs |  | 2016-09-28 | Abs 061716WW: 40 µl & Crescent 03FF070: 40 µl
20151620180 | 2015-06-11 06:00 | PYRENE | 34469GCM99 | 0.02 | 0.06 | . | ug/L | 1.3333 | 0.08 | Recoverable Result | 4433 | B | sgs |  | 2015-07-22 | Spex Organics EN150529012: 40 µl & Abs 041615: 40 µl
20152250271 | 2015-08-13 09:00 | PYRENE | 34469GCM99 | 0.02 | 0.06 | . | ug/L | 1.1833 | 0.071 | Recoverable Result | 4433 |  | sgs |  | 2015-10-01 | Abs 041615: 40 µl & ERA 0406-15-02: 40 µl
20153370177 | 2015-12-03 08:30 | PYRENE | 34469GCM99 | 0.02 | 0.06 | . | ug/L | 1 | 0.06 | Recoverable Result | 4433 |  | sgs |  | 2016-01-13 | Crescent 04EE006: 40 µl & Supelco LC13546: 40 µl
20153280156 | 2015-11-24 08:00 | PYRENE | 34469GCM99 | 0.02 | 0.06 | . | ug/L | 0.91667 | 0.055 | Recoverable Result | 4433 |  | sgs |  | 2016-01-26 | ChemService 3982800: 40 µl & Abs 041615: 40 µl
20160710218 | 2016-03-10 08:30 | PYRENE | 34469GCM99 | 0.02 | 0.06 | . | ug/L | 0.93333 | 0.056 | Recoverable Result | 4433 | V | rcr |  | 2016-04-15 | ChemService 3982800: 40 µl & Abs 041615: 40 µl
20161190076 | 2016-04-28 07:00 | PYRENE | 34469GCM99 | 0.02 | 0.06 | . | ug/L | 0.8 | 0.048 | Recoverable Result | 4433 | B | sgs |  | 2016-06-13 | ChemService 3982800: 40 µl & Crescent 04EE006: 40 µl
20141360095 | 2014-05-16 06:30 | PYRENE | 34469GCM99 | 0.02 | 0.078 | E | ug/L | 0.65385 | 0.051 | Estimated Values | 4433 | B | sgs |  | 2014-06-04 | Supelco LC06436: 60 µl & Spex Organics E1140402006: 60 µl
20141490201 | 2014-05-29 06:30 | PYRENE | 34469GCM99 | 0.02 | 0.078 | . | ug/L | 0.87179 | 0.068 | Recoverable Result | 4433 | B | sgs |  | 2014-07-08 | Spex Organics E1140402006: 60 µl & Abs 032814: 60 µl
20142470040 | 2014-09-03 06:30 | PYRENE | 34469GCM99 | 0.02 | 0.078 | . | ug/L | 1.1923 | 0.093 | Recoverable Result | 4433 | B | sgs |  | 2014-09-23 | ERA 0227-14-07.1: 60 µl & Spex Organics E1140402006: 60 µl
20142760025 | 2014-10-02 07:00 | PYRENE | 34469GCM99 | 0.02 | 0.078 | . | ug/L | 0.98718 | 0.077 | Recoverable Result | 4433 | B | sgs |  | 2014-10-21 | Supelco LC06436: 60 µl & Spex Organics E1140402006: 60 µl
20142960087 | 2014-10-23 06:30 | PYRENE | 34469GCM99 | 0.02 | 0.078 | . | ug/L | 1.3205 | 0.103 | Recoverable Result | 4433 | B | sgs |  | 2014-11-05 | Spex Organics E1140402006: 60 µl & Crescent 03DD005: 60 µl
20141910242 | 2014-07-10 06:30 | PYRENE | 34469GCM99 | 0.02 | 0.0804 | . | ug/L | 1.1692 | 0.094 | Recoverable Result | 4433 | B | sgs |  | 2014-08-20 | ChemService 2616300: 60 µl & Crescent 03DD005: 60 µl
20142480001 | 2014-09-04 07:00 | PYRENE | 34469GCM99 | 0.02 | 0.0804 | . | ug/L | 1.2065 | 0.097 | Recoverable Result | 4433 | B | sgs |  | 2014-09-23 | ChemService 2616300: 60 µl & Abs 032814: 60 µl
20143300047 | 2014-11-26 07:00 | PYRENE | 34469GCM99 | 0.02 | 0.0804 | . | ug/L | 1.1194 | 0.09 | Recoverable Result | 4433 | B | sgs |  | 2014-12-04 | ERA 0227-14-07.1: 60 µl & ChemService 2616300: 60 µl
20162990149 | 2016-10-25 07:00 | PYRENE | 34469GCM99 | 0.02 | 0.096 | . | ug/L | 0.63542 | 0.061 | Recoverable Result | 4433 | B | sgs |  | 2016-12-06 | NSI 042916WW: 80 µl & Supelco LC20139V: 80 µl
20162930160 | 2016-10-19 06:30 | PYRENE | 34469GCM99 | 0.02 | 0.096 | . | ug/L | 0.76042 | 0.073 | Recoverable Result | 4433 | B | sgs |  | 2016-12-06 | Abs 061716WW: 80 µl & NSI 042916WW: 80 µl
20162100008 | 2016-07-27 06:30 | PYRENE | 34469GCM99 | 0.02 | 0.0992 | . | ug/L | 0.8871 | 0.088 | Recoverable Result | 4433 | B | sgs |  | 2016-08-10 | ChemService 5016000: 80 µl & Crescent 03FF070: 80 µl
20163280007 | 2016-11-21 08:00 | PYRENE | 34469GCM99 | 0.02 | 0.0992 | . | ug/L | 0.85685 | 0.085 | Recoverable Result | 4433 | B | sgs |  | 2016-12-06 | Crescent 03FF070: 80 µl & Supelco LC20139V: 80 µl
20163420127 | 2016-12-07 07:30 | PYRENE | 34469GCM99 | 0.02 | 0.0992 | . | ug/L | 0.96774 | 0.096 | Recoverable Result | 4433 | B | sgs |  | 2017-01-05 | Abs 061716WW: 80 µl & Crescent 03FF070: 80 µl
20131290118 | 2013-05-09 07:30 | PYRENE | 34469GCM99 | 0.02 | 0.1 | . | ug/L | 0.97 | 0.097 | Recoverable Result | 4433 | B | sgs |  | 2013-06-12 | NSI 042213WWUF: 50 µl & ChemService 1466200: 50 µl
20131440104 | 2013-05-23 07:30 | PYRENE | 34469GCM99 | 0.02 | 0.1 | . | ug/L | 1 | 0.1 | Recoverable Result | 4433 | B | sgs |  | 2013-06-14 | NSI 042213WWUF: 50 µl & Supelco LC00152: 50 µl
20140030013 | 2014-01-02 06:15 | PYRENE | 34469GCM99 | 0.02 | 0.1 | . | ug/L | 1.03 | 0.103 | Recoverable Result | 4433 | B | sgs |  | 2014-02-05 | Spex Organics T1130419010: 50 µl & Crescent 04CC095: 50 µl
20111260151 | 2011-05-05 08:30 | PYRENE | 34469GCM99 | 0.02 | 0.10073 | . | ug/L | 1.1318 | 0.114 | Recoverable Result | 4433 | B | sgs |  | 2011-05-19 | NWQL BNA2SP124B: 50 µl
20152670134 | 2015-09-24 09:00 | PYRENE | 34469GCM99 | 0.02 | 0.12 | . | ug/L | 1.1917 | 0.143 | Recoverable Result | 4433 |  | sgs |  | 2015-10-16 | Crescent 04EE006: 80 µl & ERA 0406-15-02: 80 µl
20160140040 | 2016-01-14 08:30 | PYRENE | 34469GCM99 | 0.02 | 0.12 | . | ug/L | 0.8 | 0.096 | Recoverable Result | 4433 |  | rcr |  | 2016-02-24 | Spex Organics EN150529012: 80 µl & Crescent 04EE006: 80 µl
20162380005 | 2016-08-24 07:15 | PYRENE | 34469GCM99 | 0.02 | 0.12 | . | ug/L | 0.66667 | 0.08 | Recoverable Result | 4433 | B | sgs |  | 2016-09-26 | Abs 061716WW: 100 µl & NSI 042916WW: 100 µl
20112380056 | 2011-08-25 11:10 | PYRENE | 34469GCM99 | 0.02 | 0.16 | . | ug/L | 1.0437 | 0.167 | Recoverable Result | 4433 | E | jiv |  | 2011-10-18 | NWQL BNA2SP124B: 80 µl
20121950066 | 2012-07-12 08:00 | PYRENE | 34469GCM99 | 0.02 | 0.1992 | . | ug/L | 1.0843 | 0.216 | Recoverable Result | 4433 | R | jiv |  | 2012-07-31 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl
20130460007 | 2013-02-14 08:00 | PYRENE | 34469GCM99 | 0.02 | 0.1992 | . | ug/L | 0.81827 | 0.163 | Recoverable Result | 4433 | B | sgs |  | 2013-03-27 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl
20122370103 | 2012-08-23 07:30 | PYRENE | 34469GCM99 | 0.02 | 0.2 | . | ug/L | 0.94 | 0.188 | Recoverable Result | 4433 | R | jiv |  | 2012-09-18 | NSI 061412-01: 20 µl & Supelco LB92782: 20 µl
20130870086 | 2013-03-27 07:00 | PYRENE | 34469GCM99 | 0.02 | 0.2 | . | ug/L | 0.865 | 0.173 | Recoverable Result | 4433 | B | sgs |  | 2013-05-29 | NSI 061412-01: 20 µl & Crescent 05BB045: 20 µl
20131920148 | 2013-07-11 07:00 | PYRENE | 34469GCM99 | 0.02 | 0.2 | . | ug/L | 0.785 | 0.157 | Recoverable Result | 4433 | B | sgs |  | 2013-08-01 | Spex Organics T1130419010: 100 µl & Abs 050613WWUF: 100 µl
20130250062 | 2013-01-24 06:30 | PYRENE | 34469GCM99 | 0.02 | 0.3984 | . | ug/L | 0.82831 | 0.33 | Recoverable Result | 4433 | B | sgs |  | 2013-02-07 | Spex Organics T1120521007: 40 µl & Supelco LB92782: 40 µl
20131020082 | 2013-04-11 07:00 | PYRENE | 34469GCM99 | 0.02 | 0.3984 | . | ug/L | 1.0417 | 0.415 | Recoverable Result | 4433 | B | sgs |  | 2013-05-30 | ChemService 426100: 40 µl & Spex Organics T1120521007: 40 µl
20122720049 | 2012-09-27 06:30 | PYRENE | 34469GCM99 | 0.02 | 0.4 | . | ug/L | 0.8025 | 0.321 | Recoverable Result | 4433 | B | sgs |  | 2012-12-12 | NSI 061412-01: 40 µl & ChemService 426100: 40 µl
20123420075 | 2012-12-06 07:00 | PYRENE | 34469GCM99 | 0.02 | 0.4 | . | ug/L | 0.71 | 0.284 | Recoverable Result | 4433 | B | sgs |  | 2012-12-20 | NSI 061412-01: 40 µl & Restek A088824: 40 µl
20110340009 | 2011-02-02 07:30 | PYRENE | 34469GCM99 | 0.02 | 0.62099 | . | ug/L | 0.91949 | 0.571 | Recoverable Result | 4433 | B | sgs |  | 2011-02-18 | ChemService 448-12A: 20 µl
20111050151 | 2011-04-14 08:30 | PYRENE | 34469GCM99 | 0.02 | 0.62528 | . | ug/L | 0.85401 | 0.534 | Recoverable Result | 4433 | R | jiv |  | 2011-05-03 | Abs 090910WW: 20 µl
20112220129 | 2011-08-10 09:30 | PYRENE | 34469GCM99 | 0.02 | 0.6336 | . | ug/L | 0.89489 | 0.567 | Recoverable Result | 4433 | R | jiv |  | 2011-08-17 | ChemService 448-12A: 20 µl
20120400055 | 2012-02-09 07:30 | PYRENE | 34469GCM99 | 0.02 | 0.6336 | . | ug/L | 0.84438 | 0.535 | Recoverable Result | 4433 | B | sgs |  | 2012-03-07 | ChemService 448-12A: 20 µl
20112100004 | 2011-07-28 08:30 | PYRENE | 34469GCM99 | 0.02 | 0.6366 | . | ug/L | 0.83883 | 0.534 | Recoverable Result | 4433 | R | jiv |  | 2011-08-16 | Abs 090910WW: 20 µl
20112930084 | 2011-10-20 07:30 | PYRENE | 34469GCM99 | 0.02 | 0.6366 | . | ug/L | 0.73044 | 0.465 | Recoverable Result | 4433 | E | cli |  | 2011-12-08 | Abs 090910WW: 20 µl
20120620013 | 2012-03-01 08:30 | PYRENE | 34469GCM99 | 0.02 | 0.6366 | . | ug/L | 1.0116 | 0.644 | Recoverable Result | 4433 | B | fww |  | 2012-04-10 | Abs 090910WW: 20 µl
20123140092 | 2012-11-08 07:30 | PYRENE | 34469GCM99 | 0.02 | 0.7968 | . | ug/L | 0.82706 | 0.659 | Recoverable Result | 4433 | B | sgs |  | 2012-12-19 | Spex Organics T1120521007: 80 µl & Supelco LB92782: 80 µl
20111890007 | 2011-07-07 08:30 | PYRENE | 34469GCM99 | 0.02 | 1.584 | . | ug/L | 0.71338 | 1.13 | Recoverable Result | 4433 | E | jiv |  | 2011-08-06 | ChemService 448-12A: 50 µl
20113340047 | 2011-11-29 07:30 | PYRENE | 34469GCM99 | 0.02 | 1.584 | E | ug/L | 0.55682 | 0.882 | Estimated Values | 4433 | R | jiv |  | 2012-02-01 | ChemService 448-12A: 50 µl
20120830078 | 2012-03-22 07:30 | PYRENE | 34469GCM99 | 0.02 | 1.584 | . | ug/L | 0.82071 | 1.3 | Recoverable Result | 4433 | Y | awh |  | 2012-05-04 | ChemService 448-12A: 50 µl
20110840109 | 2011-03-24 07:30 | PYRENE | 34469GCM99 | 0.02 | 1.5909 | . | ug/L | 0.93031 | 1.48 | Recoverable Result | 4433 | R | jiv |  | 2011-04-15 | Abs 090910WW: 50 µl
20120260060 | 2012-01-26 08:00 | PYRENE | 34469GCM99 | 0.02 | 1.5915 | . | ug/L | 0.94251 | 1.5 | Recoverable Result | 4433 | B | sgs |  | 2012-03-07 | Abs 090910WW: 50 µl
20120960124 | 2012-04-05 06:30 | PYRENE | 34469GCM99 | 0.02 | 1.5915 | . | ug/L | 0.84826 | 1.35 | Recoverable Result | 4433 | Y | awh |  | 2012-05-04 | Abs 090910WW: 50 µl
20111680036 | 2011-06-16 09:30 | PYRENE | 34469GCM99 | 0.02 | 1.5977 | . | ug/L | 0.83869 | 1.34 | Recoverable Result | 4433 | B | sgs |  | 2011-07-07 | Abs 090910WW: 50 µl
20111390173 | 2011-05-19 08:30 | PYRENE | 34469GCM99 | 0.02 | 2.5193 | . | ug/L | 0.80975 | 2.04 | Recoverable Result | 4433 | R | jiv |  | 2011-06-28 | ChemService 448-12A: 80 µl
20120120069 | 2012-01-12 08:00 | PYRENE | 34469GCM99 | 0.02 | 2.5344 | . | ug/L | 0.81676 | 2.07 | Recoverable Result | 4433 | B | sgs |  | 2012-03-06 | ChemService 448-12A: 80 µl
20121110020 | 2012-04-19 07:00 | PYRENE | 34469GCM99 | 0.02 | 2.5344 | . | ug/L | 0.62342 | 1.58 | Recoverable Result | 4433 | E | cli |  | 2012-05-22 | ChemService 448-12A: 80 µl
20112520211 | 2011-09-08 09:30 | PYRENE | 34469GCM99 | 0.02 | 2.5464 | . | ug/L | 0.89538 | 2.28 | Recoverable Result | 4433 | R | jiv |  | 2011-11-22 | Abs 090910WW: 80 µl