## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20132210039 | 2013-08-08 08:00 | TETRACHLOROETHYLENE | 34475GCM99 | 0.16 |  | R | ug/L |  |  | Deleted Values | 4433 |  |  |  | 2013-08-08 08:00 | Spex Organics T1130419010: 20 µl & Supelco LC00152: 20 µl
20161820002 | 2016-06-29 08:00 | TETRACHLOROETHYLENE | 34475GCM99 | 0.16 |  | R | ug/L |  |  | Deleted Values | 4433 | B | sgs | mc | 2016-08-01 | ChemService 5016000: 40 µl & NSI 042916WW: 40 µl
20151210038 | 2015-04-30 07:30 | TETRACHLOROETHYLENE | 34475GCM99 | 0.16 | 0.24 | E | ug/L | 0.65 | 0.156 | Estimated Values | 4433 | B | sgs | mnc | 2015-05-08 | Abs 041615: 20 µl & Supelco LC13546: 20 µl
20151410210 | 2015-05-21 06:30 | TETRACHLOROETHYLENE | 34475GCM99 | 0.16 | 0.24 | E | ug/L | 0.6875 | 0.165 | Estimated Values | 4433 | B | sgs | mc | 2015-07-09 | Supelco LC13546: 20 µl & Crescent 04EE006: 20 µl
20151970168 | 2015-07-16 06:30 | TETRACHLOROETHYLENE | 34475GCM99 | 0.16 | 0.24 | E | ug/L | 0.60417 | 0.145 | Estimated Values | 4433 |  | sgs | mnc | 2015-09-29 | ChemService 3982800: 20 µl & Abs 041615: 20 µl
20152390223 | 2015-08-27 09:00 | TETRACHLOROETHYLENE | 34475GCM99 | 0.16 | 0.24 | E | ug/L | 1.0708 | 0.257 | Estimated Values | 4433 |  | sgs | mc | 2015-10-02 | ChemService 3982800: 20 µl & Crescent 04EE006: 20 µl
20153030067 | 2015-10-29 08:30 | TETRACHLOROETHYLENE | 34475GCM99 | 0.16 | 0.24 | E | ug/L | 0.59583 | 0.143 | Estimated Values | 4433 |  | sgs | mnc | 2015-11-17 | Abs 041615: 20 µl & ERA 0406-15-02: 20 µl
20152950079 | 2015-10-22 08:30 | TETRACHLOROETHYLENE | 34475GCM99 | 0.16 | 0.24 | E | ug/L | 0.66667 | 0.16 | Estimated Values | 4433 |  | sgs | mc | 2015-11-17 | Spex Organics EN150529012: 20 µl & Crescent 04EE006: 20 µl
20153640095 | 2015-12-30 08:30 | TETRACHLOROETHYLENE | 34475GCM99 | 0.16 | 0.24 | E | ug/L | 0.58333 | 0.14 | Estimated Values | 4433 |  | rcr | mnc | 2016-02-23 | Spex Organics EN150529012: 20 µl & Crescent 04EE006: 20 µl
20160280053 | 2016-01-28 08:00 | TETRACHLOROETHYLENE | 34475GCM99 | 0.16 | 0.24 | E | ug/L | 0.59167 | 0.142 | Estimated Values | 4433 |  | rcr | mnc | 2016-02-24 | Abs 041615: 20 µl & Supelco LC13546: 20 µl
20160840086 | 2016-03-24 08:00 | TETRACHLOROETHYLENE | 34475GCM99 | 0.16 | 0.24 | E | ug/L | 0.57083 | 0.137 | Estimated Values | 4433 | V | rcr | mnc | 2016-04-16 | Crescent 04EE006: 20 µl & ERA 0406-15-02: 20 µl
20141010007 | 2014-04-10 06:00 | TETRACHLOROETHYLENE | 34475GCM99 | 0.16 | 0.3198 | E | ug/L | 0.58474 | 0.187 | Estimated Values | 4433 | B | sgs | mc | 2014-04-24 | Supelco LC06436: 30 µl & Crescent 03DD005: 30 µl
20142340162 | 2014-08-18 06:45 | TETRACHLOROETHYLENE | 34475GCM99 | 0.16 | 0.3198 | E | ug/L | 0.67542 | 0.216 | Estimated Values | 4433 | B | sgs | mc | 2014-09-17 | Crescent 03DD005: 30 µl & ERA 0227-14-07.1: 30 µl
20143520107 | 2014-12-18 06:00 | TETRACHLOROETHYLENE | 34475GCM99 | 0.16 | 0.3198 | E | ug/L | 0.59099 | 0.189 | Estimated Values | 4433 | B | sgs | mc | 2015-01-27 | Spex Organics E1140402006: 30 µl & Crescent 03DD005: 30 µl
20150570009 | 2015-02-26 06:00 | TETRACHLOROETHYLENE | 34475GCM99 | 0.16 | 0.3198 | E | ug/L | 0.5222 | 0.167 | Estimated Values | 4433 | B | sgs | mc | 2015-04-20 | ChemService 2616300: 30 µl & Crescent 03DD005: 30 µl
20141220026 | 2014-05-01 06:30 | TETRACHLOROETHYLENE | 34475GCM99 | 0.16 | 0.3216 | E | ug/L | 0.53172 | 0.171 | Estimated Values | 4433 | B | sgs | mc | 2014-05-22 | Supelco LC06436: 30 µl & Abs 032814: 30 µl
20141290007 | 2014-05-08 07:30 | TETRACHLOROETHYLENE | 34475GCM99 | 0.16 | 0.3216 | E | ug/L | 0.60945 | 0.196 | Estimated Values | 4433 | B | sgs | mc | 2014-06-05 | ChemService 2616300: 30 µl & Abs 032814: 30 µl
20141990081 | 2014-07-17 06:00 | TETRACHLOROETHYLENE | 34475GCM99 | 0.16 | 0.3216 | E | ug/L | 0.78047 | 0.251 | Estimated Values | 4433 | B | sgs | mc | 2014-08-20 | Abs 032814: 30 µl & ERA 0227-14-07.1: 30 µl
20142270002 | 2014-08-14 06:30 | TETRACHLOROETHYLENE | 34475GCM99 | 0.16 | 0.3216 | E | ug/L | 0.63744 | 0.205 | Estimated Values | 4433 | B | sgs | mc | 2014-09-11 | Spex Organics E1140402006: 30 µl & Abs 032814: 30 µl
20142720001 | 2014-09-25 06:30 | TETRACHLOROETHYLENE | 34475GCM99 | 0.16 | 0.3216 | E | ug/L | 0.74627 | 0.24 | Estimated Values | 4433 | B | sgs | mc | 2014-10-20 | Abs 032814: 30 µl & ERA 0227-14-07.1: 30 µl
20151140152 | 2015-04-23 06:00 | TETRACHLOROETHYLENE | 34475GCM99 | 0.16 | 0.3216 | E | ug/L | 0.67475 | 0.217 | Estimated Values | 4433 | B | sgs | mc | 2015-05-07 | ChemService 2616300: 30 µl & Abs 032814: 30 µl
20132560002 | 2013-09-12 08:00 | TETRACHLOROETHYLENE | 34475GCM99 | 0.16 | 0.3814 | E | ug/L | 0.57682 | 0.22 | Estimated Values | 4433 | B | sgs | mc | 2013-09-26 | NSI 042213WWUF: 20 µl & Abs 050613WWUF: 20 µl
20133260003 | 2013-11-21 07:00 | TETRACHLOROETHYLENE | 34475GCM99 | 0.16 | 0.3814 | E | ug/L | 0.66597 | 0.254 | Estimated Values | 4433 | B | sgs | mc | 2013-12-04 | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl
20140650080 | 2014-03-06 08:00 | TETRACHLOROETHYLENE | 34475GCM99 | 0.16 | 0.3814 | E | ug/L | 0.44835 | 0.171 | Estimated Values | 4433 | B | sgs | mc | 2014-04-22 | Spex Organics T1130419010: 20 µl & Abs 050613WWUF: 20 µl
20140860103 | 2014-03-27 07:00 | TETRACHLOROETHYLENE | 34475GCM99 | 0.16 | 0.3814 | E | ug/L | 0.48768 | 0.186 | Estimated Values | 4433 | B | sgs | mc | 2014-04-23 | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl
20132690008 | 2013-09-25 07:30 | TETRACHLOROETHYLENE | 34475GCM99 | 0.16 | 0.384 | E | ug/L | 0.54688 | 0.21 | Estimated Values | 4433 | B | sgs | mc | 2013-10-22 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl
20133110109 | 2013-11-07 07:30 | TETRACHLOROETHYLENE | 34475GCM99 | 0.16 | 0.384 | E | ug/L | 0.63802 | 0.245 | Estimated Values | 4433 | B | sgs | mc | 2013-11-14 | Spex Organics T1130419010: 20 µl & ChemService 1466200: 20 µl
20140160088 | 2014-01-16 08:00 | TETRACHLOROETHYLENE | 34475GCM99 | 0.16 | 0.384 | E | ug/L | 0.4974 | 0.191 | Estimated Values | 4433 | B | sgs | mc | 2014-02-05 | NSI 042213WWUF: 20 µl & ChemService 1466200: 20 µl
20140300033 | 2014-01-30 08:00 | TETRACHLOROETHYLENE | 34475GCM99 | 0.16 | 0.384 | E | ug/L | 0.53646 | 0.206 | Estimated Values | 4433 | B | sgs | mc | 2014-04-23 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl
20161880110 | 2016-07-06 07:00 | TETRACHLOROETHYLENE | 34475GCM99 | 0.16 | 0.402 | E | ug/L | 0.66169 | 0.266 | Estimated Values | 4433 | B | sgs | mc | 2016-08-03 | NSI 042916WW: 40 µl & Supelco LC20139V: 40 µl
20163070096 | 2016-11-02 07:00 | TETRACHLOROETHYLENE | 34475GCM99 | 0.16 | 0.402 | E | ug/L | 0.5995 | 0.241 | Estimated Values | 4433 | B | sgs | mc | 2016-12-07 | Supelco LC20139V: 40 µl & Abs 061716WW: 40 µl
20163370002 | 2016-11-30 07:00 | TETRACHLOROETHYLENE | 34475GCM99 | 0.16 | 0.402 | E | ug/L | 0.74129 | 0.298 | Estimated Values | 4433 | B | sgs | mc | 2017-01-05 | Supelco LC20139V: 40 µl & Abs 061716WW: 40 µl
20161600088 | 2016-06-08 08:00 | TETRACHLOROETHYLENE | 34475GCM99 | 0.16 | 0.404 | E | ug/L | 0.63366 | 0.256 | Estimated Values | 4433 | B | sgs | mc | 2016-06-16 | Phenova B20160306: 40 µl & Crescent 03FF070: 40 µl
20161680360 | 2016-06-15 08:00 | TETRACHLOROETHYLENE | 34475GCM99 | 0.16 | 0.404 | E | ug/L | 0.58663 | 0.237 | Estimated Values | 4433 | B | sgs | mc | 2016-07-14 | Phenova B20160306: 40 µl & ChemService 5016000: 40 µl
20162150212 | 2016-08-02 07:30 | TETRACHLOROETHYLENE | 34475GCM99 | 0.16 | 0.404 | E | ug/L | 0.68564 | 0.277 | Estimated Values | 4433 | B | sgs | @mc | 2016-08-24 | Crescent 03FF070: 40 µl & Phenova B20160306: 40 µl
20162440114 | 2016-08-31 07:00 | TETRACHLOROETHYLENE | 34475GCM99 | 0.16 | 0.404 | E | ug/L | 0.56683 | 0.229 | Estimated Values | 4433 | B | sgs | mc | 2016-09-27 | NSI 042916WW: 40 µl & Phenova B20160306: 40 µl
20162860080 | 2016-10-12 07:30 | TETRACHLOROETHYLENE | 34475GCM99 | 0.16 | 0.404 | E | ug/L | 0.46782 | 0.189 | Estimated Values | 4433 | B | sgs | mc | 2016-12-05 | Phenova B20160306: 40 µl & Abs 061716WW: 40 µl
20163500003 | 2016-12-14 08:00 | TETRACHLOROETHYLENE | 34475GCM99 | 0.16 | 0.404 | E | ug/L | 0.53465 | 0.216 | Estimated Values | 4433 | B | sgs | mc | 2017-01-06 | NSI 042916WW: 40 µl & Phenova B20160306: 40 µl
20151620180 | 2015-06-11 06:00 | TETRACHLOROETHYLENE | 34475GCM99 | 0.16 | 0.48 | E | ug/L | 0.72708 | 0.349 | Estimated Values | 4433 | B | sgs | mc | 2015-07-22 | Spex Organics EN150529012: 40 µl & Abs 041615: 40 µl
20152250271 | 2015-08-13 09:00 | TETRACHLOROETHYLENE | 34475GCM99 | 0.16 | 0.48 | E | ug/L | 0.80625 | 0.387 | Estimated Values | 4433 |  | sgs | mc | 2015-10-01 | Abs 041615: 40 µl & ERA 0406-15-02: 40 µl
20153370177 | 2015-12-03 08:30 | TETRACHLOROETHYLENE | 34475GCM99 | 0.16 | 0.48 | E | ug/L | 0.6625 | 0.318 | Estimated Values | 4433 |  | sgs | mc | 2016-01-13 | Crescent 04EE006: 40 µl & Supelco LC13546: 40 µl
20153280156 | 2015-11-24 08:00 | TETRACHLOROETHYLENE | 34475GCM99 | 0.16 | 0.48 | E | ug/L | 0.62917 | 0.302 | Estimated Values | 4433 |  | sgs | mc | 2016-01-26 | ChemService 3982800: 40 µl & Abs 041615: 40 µl
20160710218 | 2016-03-10 08:30 | TETRACHLOROETHYLENE | 34475GCM99 | 0.16 | 0.48 | E | ug/L | 0.68125 | 0.327 | Estimated Values | 4433 | V | rcr | mc | 2016-04-15 | ChemService 3982800: 40 µl & Abs 041615: 40 µl
20161190076 | 2016-04-28 07:00 | TETRACHLOROETHYLENE | 34475GCM99 | 0.16 | 0.48 | E | ug/L | 0.60208 | 0.289 | Estimated Values | 4433 | B | sgs | mc | 2016-06-13 | ChemService 3982800: 40 µl & Crescent 04EE006: 40 µl
20121950066 | 2012-07-12 08:00 | TETRACHLOROETHYLENE | 34475GCM99 | 0.16 | 0.5 | E | ug/L | 0.692 | 0.346 | Estimated Values | 4433 | R | jiv | mc | 2012-07-31 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl
20122210008 | 2012-08-07 07:00 | TETRACHLOROETHYLENE | 34475GCM99 | 0.16 | 0.5 | E | ug/L | 0.498 | 0.249 | Estimated Values | 4433 | R | jiv | mc | 2012-08-24 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl
20123040158 | 2012-10-30 08:00 | TETRACHLOROETHYLENE | 34475GCM99 | 0.16 | 0.5 | E | ug/L | 0.6 | 0.3 | Estimated Values | 4433 | B | sgs | mc | 2012-12-18 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl
20130460007 | 2013-02-14 08:00 | TETRACHLOROETHYLENE | 34475GCM99 | 0.16 | 0.5 | E | ug/L | 0.526 | 0.263 | Estimated Values | 4433 | B | sgs | mc | 2013-03-27 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl
20141710103 | 2014-06-19 07:00 | TETRACHLOROETHYLENE | 34475GCM99 | 0.16 | 0.6396 | E | ug/L | 0.59881 | 0.383 | Estimated Values | 4433 | B | sgs | mc | 2014-07-16 | Crescent 03DD005: 60 µl & Supelco LC06436: 60 µl
20141910242 | 2014-07-10 06:30 | TETRACHLOROETHYLENE | 34475GCM99 | 0.16 | 0.6396 | E | ug/L | 0.64884 | 0.415 | Estimated Values | 4433 | B | sgs | mc | 2014-08-20 | ChemService 2616300: 60 µl & Crescent 03DD005: 60 µl
20142960087 | 2014-10-23 06:30 | TETRACHLOROETHYLENE | 34475GCM99 | 0.16 | 0.6396 | E | ug/L | 0.76141 | 0.487 | Estimated Values | 4433 | B | sgs | mc | 2014-11-05 | Spex Organics E1140402006: 60 µl & Crescent 03DD005: 60 µl
20150290077 | 2015-01-29 07:00 | TETRACHLOROETHYLENE | 34475GCM99 | 0.16 | 0.6396 | E | ug/L | 0.58005 | 0.371 | Estimated Values | 4433 | B | sgs | mc | 2015-02-26 | Crescent 03DD005: 60 µl & ERA 0227-14-07.1: 60 µl
20141490201 | 2014-05-29 06:30 | TETRACHLOROETHYLENE | 34475GCM99 | 0.16 | 0.6432 | E | ug/L | 0.4944 | 0.318 | Estimated Values | 4433 | B | sgs | mc | 2014-07-08 | Spex Organics E1140402006: 60 µl & Abs 032814: 60 µl
20142480001 | 2014-09-04 07:00 | TETRACHLOROETHYLENE | 34475GCM99 | 0.16 | 0.6432 | E | ug/L | 0.9033 | 0.581 | Estimated Values | 4433 | B | sgs | mc | 2014-09-23 | ChemService 2616300: 60 µl & Abs 032814: 60 µl
20143180046 | 2014-11-13 07:00 | TETRACHLOROETHYLENE | 34475GCM99 | 0.16 | 0.6432 | E | ug/L | 0.57058 | 0.367 | Estimated Values | 4433 | B | sgs | mc | 2014-12-03 | Abs 032814: 60 µl & Supelco LC06436: 60 µl
20110910083 | 2011-03-31 08:30 | TETRACHLOROETHYLENE | 34475GCM99 | 0.16 | 0.64321 | E | ug/L | 0.70584 | 0.454 | Estimated Values | 4433 | R | jiv | mc | 2011-04-26 | Supelco LB77171: 20 µl
20112310029 | 2011-08-18 08:50 | TETRACHLOROETHYLENE | 34475GCM99 | 0.16 | 0.6434 | E | ug/L | 0.54088 | 0.348 | Estimated Values | 4433 | B | sgs | mc | 2011-10-04 | Supelco LB77171: 20 µl
20113500022 | 2011-12-15 08:30 | TETRACHLOROETHYLENE | 34475GCM99 | 0.16 | 0.6434 | E | ug/L | 0.54865 | 0.353 | Estimated Values | 4433 | B | sgs | mc | 2012-03-01 | Supelco LB77171: 20 µl
20121250043 | 2012-05-03 07:00 | TETRACHLOROETHYLENE | 34475GCM99 | 0.16 | 0.6434 | E | ug/L | 0.62481 | 0.402 | Estimated Values | 4433 | Y | awh | mc | 2012-07-26 | Supelco LB77171: 20 µl
20111750002 | 2011-06-23 08:30 | TETRACHLOROETHYLENE | 34475GCM99 | 0.16 | 0.656 | E | ug/L | 0.48171 | 0.316 | Estimated Values | 4433 | B | sgs | mc | 2011-07-07 | Crescent 06MM136: 20 µl
20112450021 | 2011-09-01 09:00 | TETRACHLOROETHYLENE | 34475GCM99 | 0.16 | 0.656 | E | ug/L | 0.60518 | 0.397 | Estimated Values | 4433 | R | jiv | mc | 2011-11-22 | Crescent 06MM136: 20 µl
20120470077 | 2012-02-16 09:00 | TETRACHLOROETHYLENE | 34475GCM99 | 0.16 | 0.656 | E | ug/L | 0.54116 | 0.355 | Estimated Values | 4433 | B | sgs | mc | 2012-03-07 | Crescent 06MM136: 20 µl
20110690080 | 2011-03-10 07:30 | TETRACHLOROETHYLENE | 34475GCM99 | 0.16 | 0.65778 | E | ug/L | 0.54882 | 0.361 | Estimated Values | 4433 | R | jiv | mc | 2011-04-14 | Crescent 06MM136: 20 µl
20162580142 | 2016-09-14 06:30 | TETRACHLOROETHYLENE | 34475GCM99 | 0.16 | 0.804 | E | ug/L | 0.63557 | 0.511 | Estimated Values | 4433 | B | sgs | mc | 2016-09-28 | Supelco LC20139V: 80 µl & Abs 061716WW: 80 µl
20163280007 | 2016-11-21 08:00 | TETRACHLOROETHYLENE | 34475GCM99 | 0.16 | 0.804 | E | ug/L | 0.62935 | 0.506 | Estimated Values | 4433 | B | sgs | mc | 2016-12-06 | Crescent 03FF070: 80 µl & Supelco LC20139V: 80 µl
20162990149 | 2016-10-25 07:00 | TETRACHLOROETHYLENE | 34475GCM99 | 0.16 | 0.804 | E | ug/L | 0.52612 | 0.423 | Estimated Values | 4433 | B | sgs | mc | 2016-12-06 | NSI 042916WW: 80 µl & Supelco LC20139V: 80 µl
20111260151 | 2011-05-05 08:30 | TETRACHLOROETHYLENE | 34475GCM99 | 0.16 | 0.8058 | E | ug/L | 0.72723 | 0.586 | Estimated Values | 4433 | B | sgs | mc | 2011-05-19 | NWQL BNA2SP124B: 50 µl
20162230167 | 2016-08-10 07:00 | TETRACHLOROETHYLENE | 34475GCM99 | 0.16 | 0.808 | E | ug/L | 0.55941 | 0.452 | Estimated Values | 4433 | B | sgs | mc | 2016-08-25 | Phenova B20160306: 80 µl & ChemService 5016000: 80 µl
20131290118 | 2013-05-09 07:30 | TETRACHLOROETHYLENE | 34475GCM99 | 0.16 | 0.96 | E | ug/L | 0.59167 | 0.568 | Estimated Values | 4433 | B | sgs | mc | 2013-06-12 | NSI 042213WWUF: 50 µl & ChemService 1466200: 50 µl
20152670134 | 2015-09-24 09:00 | TETRACHLOROETHYLENE | 34475GCM99 | 0.16 | 0.96 | E | ug/L | 0.73542 | 0.706 | Estimated Values | 4433 |  | sgs | mc | 2015-10-16 | Crescent 04EE006: 80 µl & ERA 0406-15-02: 80 µl
20160140040 | 2016-01-14 08:30 | TETRACHLOROETHYLENE | 34475GCM99 | 0.16 | 0.96 | E | ug/L | 0.55625 | 0.534 | Estimated Values | 4433 |  | rcr | mc | 2016-02-24 | Spex Organics EN150529012: 80 µl & Crescent 04EE006: 80 µl
20122720049 | 2012-09-27 06:30 | TETRACHLOROETHYLENE | 34475GCM99 | 0.16 | 1 | E | ug/L | 0.556 | 0.556 | Estimated Values | 4433 | B | sgs | mc | 2012-12-12 | NSI 061412-01: 40 µl & ChemService 426100: 40 µl
20123420075 | 2012-12-06 07:00 | TETRACHLOROETHYLENE | 34475GCM99 | 0.16 | 1 | E | ug/L | 0.636 | 0.636 | Estimated Values | 4433 | B | sgs | mc | 2012-12-20 | NSI 061412-01: 40 µl & Restek A088824: 40 µl
20131020082 | 2013-04-11 07:00 | TETRACHLOROETHYLENE | 34475GCM99 | 0.16 | 1 | E | ug/L | 0.488 | 0.488 | Estimated Values | 4433 | B | sgs | mc | 2013-05-30 | ChemService 426100: 40 µl & Spex Organics T1120521007: 40 µl
20161960001 | 2016-07-13 08:00 | TETRACHLOROETHYLENE | 34475GCM99 | 0.16 | 1.005 | E | ug/L | 0.67562 | 0.679 | Estimated Values | 4433 | B | sgs | mc | 2016-08-09 | Supelco LC20139V: 100 µl & ChemService 5016000: 100 µl
20163560020 | 2016-12-21 07:00 | TETRACHLOROETHYLENE | 34475GCM99 | 0.16 | 1.01 | E | ug/L | 0.73465 | 0.742 | Estimated Values | 4433 | B | sgs | mc | 2017-01-06 | Phenova B20160306: 100 µl & Abs 061716WW: 100 µl
20112380056 | 2011-08-25 11:10 | TETRACHLOROETHYLENE | 34475GCM99 | 0.16 | 1.28 | E | ug/L | 0.74687 | 0.956 | Estimated Values | 4433 | E | jiv | mc | 2011-10-18 | NWQL BNA2SP124B: 80 µl
20112590002 | 2011-09-15 08:30 | TETRACHLOROETHYLENE | 34475GCM99 | 0.16 | 1.6085 | E | ug/L | 0.56077 | 0.902 | Estimated Values | 4433 | R | jiv | mc | 2011-11-22 | Supelco LB77171: 50 µl
20120200071 | 2012-01-19 08:00 | TETRACHLOROETHYLENE | 34475GCM99 | 0.16 | 1.64 | E | ug/L | 0.62805 | 1.03 | Estimated Values | 4433 | B | sgs | mc | 2012-03-06 | Crescent 06MM136: 50 µl
20120690028 | 2012-03-08 07:30 | TETRACHLOROETHYLENE | 34475GCM99 | 0.16 | 1.64 | E | ug/L | 0.58232 | 0.955 | Estimated Values | 4433 | B | fww | mc | 2012-04-10 | Crescent 06MM136: 50 µl
20131920148 | 2013-07-11 07:00 | TETRACHLOROETHYLENE | 34475GCM99 | 0.16 | 1.907 | E | ug/L | 0.74463 | 1.42 | Estimated Values | 4433 | B | sgs | mc | 2013-08-01 | Spex Organics T1130419010: 100 µl & Abs 050613WWUF: 100 µl
20131650075 | 2013-06-13 07:30 | TETRACHLOROETHYLENE | 34475GCM99 | 0.16 | 1.9135 | E | ug/L | 0.60622 | 1.16 | Estimated Values | 4433 | B | sgs | mc | 2013-08-06 | ChemService 1466200: 50 µl & Abs 050613WWUF: 50 µl
20130100068 | 2013-01-10 07:00 | TETRACHLOROETHYLENE | 34475GCM99 | 0.16 | 2 | E | ug/L | 0.575 | 1.15 | Estimated Values | 4433 | B | sgs | mc | 2013-02-06 | ChemService 426100: 80 µl & Crescent 05BB045: 80 µl
20130590064 | 2013-02-28 07:30 | TETRACHLOROETHYLENE | 34475GCM99 | 0.16 | 2 | E | ug/L | 0.484 | 0.968 | Estimated Values | 4433 | B | sgs | mc | 2013-03-28 | Supelco LB92782: 80 µl & Restek A088824: 80 µl
20111540005 | 2011-06-02 09:00 | TETRACHLOROETHYLENE | 34475GCM99 | 0.16 | 2.5532 | E | ug/L | 0.611 | 1.56 | Estimated Values | 4433 | R | jiv | mc | 2011-06-29 | Supelco LB77171: 80 µl
20111960036 | 2011-07-14 09:30 | TETRACHLOROETHYLENE | 34475GCM99 | 0.16 | 2.5736 | E | ug/L | 0.48959 | 1.26 | Estimated Values | 4433 | E | jiv | mc | 2011-08-07 | Supelco LB77171: 80 µl
20112170170 | 2011-08-04 09:30 | TETRACHLOROETHYLENE | 34475GCM99 | 0.16 | 2.624 | E | ug/L | 0.59832 | 1.57 | Estimated Values | 4433 | R | jiv | mc | 2011-08-17 | Crescent 06MM136: 80 µl
20113080004 | 2011-11-03 07:30 | TETRACHLOROETHYLENE | 34475GCM99 | 0.16 | 2.624 | E | ug/L | 0.53354 | 1.4 | Estimated Values | 4433 | E | cli | mc | 2012-01-16 | Crescent 06MM136: 80 µl
20121390007 | 2012-05-17 07:30 | TETRACHLOROETHYLENE | 34475GCM99 | 0.16 | 2.624 | E | ug/L | 0.81174 | 2.13 | Estimated Values | 4433 | Y | awh | mc | 2012-07-27 | Crescent 06MM136: 80 µl