## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20161820002 | 2016-06-29 08:00 | TRIS(2-BUTOXYETHYL)PHOSPHATE | 62830GCM99 | 0.64 |  | R | ug/L |  |  | Deleted Values | 4433 | B | sgs | mc | 2016-08-01 | ChemService 5016000: 40 µl & NSI 042916WW: 40 µl
20121250043 | 2012-05-03 07:00 | TRIS(2-BUTOXYETHYL)PHOSPHATE | 62830GCM99 | 0.64 | 0.4344 | < | ug/L |  | 0.64 | SACRALT | 4433 | Y | awh | mc | 2012-07-26 | Supelco LB77171: 20 µl
20153030067 | 2015-10-29 08:30 | TRIS(2-BUTOXYETHYL)PHOSPHATE | 62830GCM99 | 0.64 | 0.954 | < | ug/L |  |  | False Negative | 4433 |  | sgs | mc | 2015-11-17 | Abs 041615: 20 µl & ERA 0406-15-02: 20 µl
20160980150 | 2016-04-07 06:30 | TRIS(2-BUTOXYETHYL)PHOSPHATE | 62830GCM99 | 0.64 | 0.9602 | < | ug/L |  | 0.998 | SACRALT | 4433 | B | sgs | vmc | 2016-05-03 | Supelco LC13546: 20 µl & ChemService 3982800: 20 µl
20150570009 | 2015-02-26 06:00 | TRIS(2-BUTOXYETHYL)PHOSPHATE | 62830GCM99 | 0.64 | 1.2801 | < | ug/L |  |  | False Negative | 4433 | B | sgs | vmc | 2015-04-20 | ChemService 2616300: 30 µl & Crescent 03DD005: 30 µl
20132210039 | 2013-08-08 08:00 | TRIS(2-BUTOXYETHYL)PHOSPHATE | 62830GCM99 | 0.64 | 1.328 | R | ug/L |  |  | Deleted Values | 4433 |  |  |  | 2013-08-08 08:00 | Spex Organics T1130419010: 20 µl & Supelco LC00152: 20 µl
20111750002 | 2011-06-23 08:30 | TRIS(2-BUTOXYETHYL)PHOSPHATE | 62830GCM99 | 0.64 | 0.384 | E | ug/L | 0.96875 | 0.372 | Estimated Values | 4433 | B | sgs | mnc | 2011-07-07 | Crescent 06MM136: 20 µl
20112450021 | 2011-09-01 09:00 | TRIS(2-BUTOXYETHYL)PHOSPHATE | 62830GCM99 | 0.64 | 0.384 | E | ug/L | 1.1823 | 0.454 | Estimated Values | 4433 | R | jiv | mnc | 2011-11-22 | Crescent 06MM136: 20 µl
20120470077 | 2012-02-16 09:00 | TRIS(2-BUTOXYETHYL)PHOSPHATE | 62830GCM99 | 0.64 | 0.384 | E | ug/L | 1.3464 | 0.517 | Estimated Values | 4433 | B | sgs | mnc | 2012-03-07 | Crescent 06MM136: 20 µl
20110690080 | 2011-03-10 07:30 | TRIS(2-BUTOXYETHYL)PHOSPHATE | 62830GCM99 | 0.64 | 0.38504 | E | ug/L | 2.0154 | 0.776 | Estimated Values | 4433 | R | jiv | mc | 2011-04-14 | Crescent 06MM136: 20 µl
20110910083 | 2011-03-31 08:30 | TRIS(2-BUTOXYETHYL)PHOSPHATE | 62830GCM99 | 0.64 | 0.43427 | E | ug/L | 0.83589 | 0.363 | Estimated Values | 4433 | R | jiv | mnc | 2011-04-26 | Supelco LB77171: 20 µl
20112310029 | 2011-08-18 08:50 | TRIS(2-BUTOXYETHYL)PHOSPHATE | 62830GCM99 | 0.64 | 0.4344 | E | ug/L | 1.3076 | 0.568 | Estimated Values | 4433 | B | sgs | mnc | 2011-10-04 | Supelco LB77171: 20 µl
20113500022 | 2011-12-15 08:30 | TRIS(2-BUTOXYETHYL)PHOSPHATE | 62830GCM99 | 0.64 | 0.4344 | E | ug/L | 0.96455 | 0.419 | Estimated Values | 4433 | B | sgs | mnc | 2012-03-01 | Supelco LB77171: 20 µl
20152530087 | 2015-09-10 09:00 | TRIS(2-BUTOXYETHYL)PHOSPHATE | 62830GCM99 | 0.64 | 0.954 | E | ug/L | 1.0692 | 1.02 | Estimated Values | 4433 |  | sgs | mc | 2015-10-15 | ERA 0406-15-02: 20 µl & Spex Organics EN150529012: 20 µl
20160490032 | 2016-02-18 08:30 | TRIS(2-BUTOXYETHYL)PHOSPHATE | 62830GCM99 | 0.64 | 0.954 | E | ug/L | 1.499 | 1.43 | Estimated Values | 4433 |  | rcr | mc | 2016-02-25 | ERA 0406-15-02: 20 µl & Spex Organics EN150529012: 20 µl
20160840086 | 2016-03-24 08:00 | TRIS(2-BUTOXYETHYL)PHOSPHATE | 62830GCM99 | 0.64 | 0.954 | E | ug/L | 1.1321 | 1.08 | Estimated Values | 4433 | V | rcr | mc | 2016-04-16 | Crescent 04EE006: 20 µl & ERA 0406-15-02: 20 µl
20120200071 | 2012-01-19 08:00 | TRIS(2-BUTOXYETHYL)PHOSPHATE | 62830GCM99 | 0.64 | 0.96 | E | ug/L | 1.0344 | 0.993 | Estimated Values | 4433 | B | sgs | mc | 2012-03-06 | Crescent 06MM136: 50 µl
20120690028 | 2012-03-08 07:30 | TRIS(2-BUTOXYETHYL)PHOSPHATE | 62830GCM99 | 0.64 | 0.96 | E | ug/L | 1.4375 | 1.38 | Estimated Values | 4433 | B | fww | vmc | 2012-04-10 | Crescent 06MM136: 50 µl
20151210038 | 2015-04-30 07:30 | TRIS(2-BUTOXYETHYL)PHOSPHATE | 62830GCM99 | 0.64 | 0.9602 | E | ug/L | 1.3643 | 1.31 | Estimated Values | 4433 | B | sgs | mc | 2015-05-08 | Abs 041615: 20 µl & Supelco LC13546: 20 µl
20151410210 | 2015-05-21 06:30 | TRIS(2-BUTOXYETHYL)PHOSPHATE | 62830GCM99 | 0.64 | 0.9602 | E | ug/L | 0.89669 | 0.861 | Estimated Values | 4433 | B | sgs | vmc | 2015-07-09 | Supelco LC13546: 20 µl & Crescent 04EE006: 20 µl
20151760207 | 2015-06-25 06:30 | TRIS(2-BUTOXYETHYL)PHOSPHATE | 62830GCM99 | 0.64 | 0.9602 | E | ug/L | 1.3435 | 1.29 | Estimated Values | 4433 |  | sgs | mc | 2015-09-29 | Supelco LC13546: 20 µl & Spex Organics EN150529012: 20 µl
20160280053 | 2016-01-28 08:00 | TRIS(2-BUTOXYETHYL)PHOSPHATE | 62830GCM99 | 0.64 | 0.9602 | E | ug/L | 1.1144 | 1.07 | Estimated Values | 4433 |  | rcr | mc | 2016-02-24 | Abs 041615: 20 µl & Supelco LC13546: 20 µl
20112590002 | 2011-09-15 08:30 | TRIS(2-BUTOXYETHYL)PHOSPHATE | 62830GCM99 | 0.64 | 1.086 | E | ug/L | 0.88398 | 0.96 | Estimated Values | 4433 | R | jiv | mc | 2011-11-22 | Supelco LB77171: 50 µl
20132910006 | 2013-10-17 07:30 | TRIS(2-BUTOXYETHYL)PHOSPHATE | 62830GCM99 | 0.64 | 1.28 | E | ug/L | 0.74141 | 0.949 | Estimated Values | 4433 | B | sgs | mc | 2013-11-14 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl
20133260003 | 2013-11-21 07:00 | TRIS(2-BUTOXYETHYL)PHOSPHATE | 62830GCM99 | 0.64 | 1.28 | E | ug/L | 0.91406 | 1.17 | Estimated Values | 4433 | B | sgs | mc | 2013-12-04 | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl
20140860103 | 2014-03-27 07:00 | TRIS(2-BUTOXYETHYL)PHOSPHATE | 62830GCM99 | 0.64 | 1.28 | E | ug/L | 0.90625 | 1.16 | Estimated Values | 4433 | B | sgs | mc | 2014-04-23 | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl
20140370076 | 2014-02-06 07:30 | TRIS(2-BUTOXYETHYL)PHOSPHATE | 62830GCM99 | 0.64 | 1.28 | E | ug/L | 0.63438 | 0.812 | Estimated Values | 4433 | B | sgs | mc | 2014-04-23 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl
20141010007 | 2014-04-10 06:00 | TRIS(2-BUTOXYETHYL)PHOSPHATE | 62830GCM99 | 0.64 | 1.2801 | E | ug/L | 0.48746 | 0.624 | Estimated Values | 4433 | B | sgs | mnc | 2014-04-24 | Supelco LC06436: 30 µl & Crescent 03DD005: 30 µl
20142340162 | 2014-08-18 06:45 | TRIS(2-BUTOXYETHYL)PHOSPHATE | 62830GCM99 | 0.64 | 1.2801 | E | ug/L | 1.328 | 1.7 | Estimated Values | 4433 | B | sgs | mc | 2014-09-17 | Crescent 03DD005: 30 µl & ERA 0227-14-07.1: 30 µl
20143520107 | 2014-12-18 06:00 | TRIS(2-BUTOXYETHYL)PHOSPHATE | 62830GCM99 | 0.64 | 1.2801 | E | ug/L | 0.95305 | 1.22 | Estimated Values | 4433 | B | sgs | mc | 2015-01-27 | Spex Organics E1140402006: 30 µl & Crescent 03DD005: 30 µl
20141220026 | 2014-05-01 06:30 | TRIS(2-BUTOXYETHYL)PHOSPHATE | 62830GCM99 | 0.64 | 1.2819 | E | ug/L | 0.72159 | 0.925 | Estimated Values | 4433 | B | sgs | mc | 2014-05-22 | Supelco LC06436: 30 µl & Abs 032814: 30 µl
20141290007 | 2014-05-08 07:30 | TRIS(2-BUTOXYETHYL)PHOSPHATE | 62830GCM99 | 0.64 | 1.2819 | E | ug/L | 0.79569 | 1.02 | Estimated Values | 4433 | B | sgs | mc | 2014-06-05 | ChemService 2616300: 30 µl & Abs 032814: 30 µl
20141990081 | 2014-07-17 06:00 | TRIS(2-BUTOXYETHYL)PHOSPHATE | 62830GCM99 | 0.64 | 1.2819 | E | ug/L | 0.79569 | 1.02 | Estimated Values | 4433 | B | sgs | mc | 2014-08-20 | Abs 032814: 30 µl & ERA 0227-14-07.1: 30 µl
20142270002 | 2014-08-14 06:30 | TRIS(2-BUTOXYETHYL)PHOSPHATE | 62830GCM99 | 0.64 | 1.2819 | E | ug/L | 0.8581 | 1.1 | Estimated Values | 4433 | B | sgs | mc | 2014-09-11 | Spex Organics E1140402006: 30 µl & Abs 032814: 30 µl
20142720001 | 2014-09-25 06:30 | TRIS(2-BUTOXYETHYL)PHOSPHATE | 62830GCM99 | 0.64 | 1.2819 | E | ug/L | 1.1467 | 1.47 | Estimated Values | 4433 | B | sgs | mc | 2014-10-20 | Abs 032814: 30 µl & ERA 0227-14-07.1: 30 µl
20151140152 | 2015-04-23 06:00 | TRIS(2-BUTOXYETHYL)PHOSPHATE | 62830GCM99 | 0.64 | 1.2819 | E | ug/L | 1.1623 | 1.49 | Estimated Values | 4433 | B | sgs | vmc | 2015-05-07 | ChemService 2616300: 30 µl & Abs 032814: 30 µl
20132690008 | 2013-09-25 07:30 | TRIS(2-BUTOXYETHYL)PHOSPHATE | 62830GCM99 | 0.64 | 1.328 | E | ug/L | 0.69277 | 0.92 | Estimated Values | 4433 | B | sgs | mc | 2013-10-22 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl
20140300033 | 2014-01-30 08:00 | TRIS(2-BUTOXYETHYL)PHOSPHATE | 62830GCM99 | 0.64 | 1.328 | E | ug/L | 0.74699 | 0.992 | Estimated Values | 4433 | B | sgs | mc | 2014-04-23 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl
20140930054 | 2014-04-03 08:00 | TRIS(2-BUTOXYETHYL)PHOSPHATE | 62830GCM99 | 0.64 | 1.328 | E | ug/L | 0.74247 | 0.986 | Estimated Values | 4433 | B | sgs | mc | 2014-04-24 | Spex Organics T1130419010: 20 µl & Supelco LC00152: 20 µl
20112170170 | 2011-08-04 09:30 | TRIS(2-BUTOXYETHYL)PHOSPHATE | 62830GCM99 | 0.64 | 1.536 | E | ug/L | 1.3932 | 2.14 | Estimated Values | 4433 | R | jiv | mc | 2011-08-17 | Crescent 06MM136: 80 µl
20113080004 | 2011-11-03 07:30 | TRIS(2-BUTOXYETHYL)PHOSPHATE | 62830GCM99 | 0.64 | 1.536 | E | ug/L | 1.0807 | 1.66 | Estimated Values | 4433 | E | cli | mc | 2012-01-16 | Crescent 06MM136: 80 µl
20121390007 | 2012-05-17 07:30 | TRIS(2-BUTOXYETHYL)PHOSPHATE | 62830GCM99 | 0.64 | 1.536 | E | ug/L | 1.3281 | 2.04 | Estimated Values | 4433 | Y | awh | mc | 2012-07-27 | Crescent 06MM136: 80 µl
20161600088 | 2016-06-08 08:00 | TRIS(2-BUTOXYETHYL)PHOSPHATE | 62830GCM99 | 0.64 | 1.612 | E | ug/L | 0.99876 | 1.61 | Estimated Values | 4433 | B | sgs | vmc | 2016-06-16 | Phenova B20160306: 40 µl & Crescent 03FF070: 40 µl
20161680360 | 2016-06-15 08:00 | TRIS(2-BUTOXYETHYL)PHOSPHATE | 62830GCM99 | 0.64 | 1.612 | E | ug/L | 1.1228 | 1.81 | Estimated Values | 4433 | B | sgs | mc | 2016-07-14 | Phenova B20160306: 40 µl & ChemService 5016000: 40 µl
20162150212 | 2016-08-02 07:30 | TRIS(2-BUTOXYETHYL)PHOSPHATE | 62830GCM99 | 0.64 | 1.612 | E | ug/L | 0.91811 | 1.48 | Estimated Values | 4433 | B | sgs | @mc | 2016-08-24 | Crescent 03FF070: 40 µl & Phenova B20160306: 40 µl
20162440114 | 2016-08-31 07:00 | TRIS(2-BUTOXYETHYL)PHOSPHATE | 62830GCM99 | 0.64 | 1.612 | E | ug/L | 0.85608 | 1.38 | Estimated Values | 4433 | B | sgs | mc | 2016-09-27 | NSI 042916WW: 40 µl & Phenova B20160306: 40 µl
20162860080 | 2016-10-12 07:30 | TRIS(2-BUTOXYETHYL)PHOSPHATE | 62830GCM99 | 0.64 | 1.612 | E | ug/L | 0.50496 | 0.814 | Estimated Values | 4433 | B | sgs | mc | 2016-12-05 | Phenova B20160306: 40 µl & Abs 061716WW: 40 µl
20163500003 | 2016-12-14 08:00 | TRIS(2-BUTOXYETHYL)PHOSPHATE | 62830GCM99 | 0.64 | 1.612 | E | ug/L | 0.84367 | 1.36 | Estimated Values | 4433 | B | sgs | mc | 2017-01-06 | NSI 042916WW: 40 µl & Phenova B20160306: 40 µl
20161880110 | 2016-07-06 07:00 | TRIS(2-BUTOXYETHYL)PHOSPHATE | 62830GCM99 | 0.64 | 1.652 | E | ug/L | 0.82324 | 1.36 | Estimated Values | 4433 | B | sgs | mc | 2016-08-03 | NSI 042916WW: 40 µl & Supelco LC20139V: 40 µl
20163070096 | 2016-11-02 07:00 | TRIS(2-BUTOXYETHYL)PHOSPHATE | 62830GCM99 | 0.64 | 1.652 | E | ug/L | 0.70218 | 1.16 | Estimated Values | 4433 | B | sgs | mc | 2016-12-07 | Supelco LC20139V: 40 µl & Abs 061716WW: 40 µl
20163370002 | 2016-11-30 07:00 | TRIS(2-BUTOXYETHYL)PHOSPHATE | 62830GCM99 | 0.64 | 1.652 | E | ug/L | 0.78692 | 1.3 | Estimated Values | 4433 | B | sgs | mc | 2017-01-05 | Supelco LC20139V: 40 µl & Abs 061716WW: 40 µl
20111540005 | 2011-06-02 09:00 | TRIS(2-BUTOXYETHYL)PHOSPHATE | 62830GCM99 | 0.64 | 1.7238 | E | ug/L | 1.0848 | 1.87 | Estimated Values | 4433 | R | jiv | mc | 2011-06-29 | Supelco LB77171: 80 µl
20111960036 | 2011-07-14 09:30 | TRIS(2-BUTOXYETHYL)PHOSPHATE | 62830GCM99 | 0.64 | 1.7376 | E | ug/L | 0.99563 | 1.73 | Estimated Values | 4433 | E | jiv | mc | 2011-08-07 | Supelco LB77171: 80 µl
20152110199 | 2015-07-30 09:00 | TRIS(2-BUTOXYETHYL)PHOSPHATE | 62830GCM99 | 0.64 | 1.908 | E | ug/L | 1.2212 | 2.33 | Estimated Values | 4433 |  | sgs | mc | 2015-09-30 | ERA 0406-15-02: 40 µl & ChemService 3982800: 40 µl
20152250271 | 2015-08-13 09:00 | TRIS(2-BUTOXYETHYL)PHOSPHATE | 62830GCM99 | 0.64 | 1.908 | E | ug/L | 0.93291 | 1.78 | Estimated Values | 4433 |  | sgs | mc | 2015-10-01 | Abs 041615: 40 µl & ERA 0406-15-02: 40 µl
20153370177 | 2015-12-03 08:30 | TRIS(2-BUTOXYETHYL)PHOSPHATE | 62830GCM99 | 0.64 | 1.9204 | E | ug/L | 1.1039 | 2.12 | Estimated Values | 4433 |  | sgs | mc | 2016-01-13 | Crescent 04EE006: 40 µl & Supelco LC13546: 40 µl
20153510110 | 2015-12-17 08:00 | TRIS(2-BUTOXYETHYL)PHOSPHATE | 62830GCM99 | 0.64 | 1.9204 | E | ug/L | 1.0519 | 2.02 | Estimated Values | 4433 |  | sgs | mc | 2016-01-14 | Supelco LC13546: 40 µl & Spex Organics EN150529012: 40 µl
20141710103 | 2014-06-19 07:00 | TRIS(2-BUTOXYETHYL)PHOSPHATE | 62830GCM99 | 0.64 | 2.5602 | E | ug/L | 0.78119 | 2 | Estimated Values | 4433 | B | sgs | mc | 2014-07-16 | Crescent 03DD005: 60 µl & Supelco LC06436: 60 µl
20141910242 | 2014-07-10 06:30 | TRIS(2-BUTOXYETHYL)PHOSPHATE | 62830GCM99 | 0.64 | 2.5602 | E | ug/L | 0.97258 | 2.49 | Estimated Values | 4433 | B | sgs | mc | 2014-08-20 | ChemService 2616300: 60 µl & Crescent 03DD005: 60 µl
20142960087 | 2014-10-23 06:30 | TRIS(2-BUTOXYETHYL)PHOSPHATE | 62830GCM99 | 0.64 | 2.5602 | E | ug/L | 1.3671 | 3.5 | Estimated Values | 4433 | B | sgs | mc | 2014-11-05 | Spex Organics E1140402006: 60 µl & Crescent 03DD005: 60 µl
20150290077 | 2015-01-29 07:00 | TRIS(2-BUTOXYETHYL)PHOSPHATE | 62830GCM99 | 0.64 | 2.5602 | E | ug/L | 1.0702 | 2.74 | Estimated Values | 4433 | B | sgs | vmc | 2015-02-26 | Crescent 03DD005: 60 µl & ERA 0227-14-07.1: 60 µl
20141490201 | 2014-05-29 06:30 | TRIS(2-BUTOXYETHYL)PHOSPHATE | 62830GCM99 | 0.64 | 2.5638 | E | ug/L | 0.8425 | 2.16 | Estimated Values | 4433 | B | sgs | vmc | 2014-07-08 | Spex Organics E1140402006: 60 µl & Abs 032814: 60 µl
20142480001 | 2014-09-04 07:00 | TRIS(2-BUTOXYETHYL)PHOSPHATE | 62830GCM99 | 0.64 | 2.5638 | E | ug/L | 0.8659 | 2.22 | Estimated Values | 4433 | B | sgs | mc | 2014-09-23 | ChemService 2616300: 60 µl & Abs 032814: 60 µl
20143180046 | 2014-11-13 07:00 | TRIS(2-BUTOXYETHYL)PHOSPHATE | 62830GCM99 | 0.64 | 2.5638 | E | ug/L | 1.1038 | 2.83 | Estimated Values | 4433 | B | sgs | mc | 2014-12-03 | Abs 032814: 60 µl & Supelco LC06436: 60 µl
20122210008 | 2012-08-07 07:00 | TRIS(2-BUTOXYETHYL)PHOSPHATE | 62830GCM99 | 0.64 | 3 | E | ug/L | 0.93667 | 2.81 | Estimated Values | 4433 | R | jiv | mc | 2012-08-24 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl
20123040158 | 2012-10-30 08:00 | TRIS(2-BUTOXYETHYL)PHOSPHATE | 62830GCM99 | 0.64 | 3 | E | ug/L | 1.06 | 3.18 | Estimated Values | 4433 | B | sgs | mc | 2012-12-18 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl
20130870086 | 2013-03-27 07:00 | TRIS(2-BUTOXYETHYL)PHOSPHATE | 62830GCM99 | 0.64 | 3 | E | ug/L | 0.82667 | 2.48 | Estimated Values | 4433 | B | sgs | vmc | 2013-05-29 | NSI 061412-01: 20 µl & Crescent 05BB045: 20 µl
20121600155 | 2012-06-07 08:00 | TRIS(2-BUTOXYETHYL)PHOSPHATE | 62830GCM99 | 0.64 | 3.01 | E | ug/L | 1.1229 | 3.38 | Estimated Values | 4433 | R | jiv | mc | 2012-07-28 | Supelco LB92782: 20 µl
20122370103 | 2012-08-23 07:30 | TRIS(2-BUTOXYETHYL)PHOSPHATE | 62830GCM99 | 0.64 | 3.01 | E | ug/L | 0.87708 | 2.64 | Estimated Values | 4433 | R | jiv | mc | 2012-09-18 | NSI 061412-01: 20 µl & Supelco LB92782: 20 µl
20140030013 | 2014-01-02 06:15 | TRIS(2-BUTOXYETHYL)PHOSPHATE | 62830GCM99 | 0.64 | 3.2 | E | ug/L | 0.925 | 2.96 | Estimated Values | 4433 | B | sgs | mc | 2014-02-05 | Spex Organics T1130419010: 50 µl & Crescent 04CC095: 50 µl
20111260151 | 2011-05-05 08:30 | TRIS(2-BUTOXYETHYL)PHOSPHATE | 62830GCM99 | 0.64 | 3.2232 | E | ug/L | 1.1169 | 3.6 | Estimated Values | 4433 | B | sgs | mc | 2011-05-19 | NWQL BNA2SP124B: 50 µl
20162230167 | 2016-08-10 07:00 | TRIS(2-BUTOXYETHYL)PHOSPHATE | 62830GCM99 | 0.64 | 3.224 | E | ug/L | 0.81886 | 2.64 | Estimated Values | 4433 | B | sgs | mc | 2016-08-25 | Phenova B20160306: 80 µl & ChemService 5016000: 80 µl
20162580142 | 2016-09-14 06:30 | TRIS(2-BUTOXYETHYL)PHOSPHATE | 62830GCM99 | 0.64 | 3.304 | E | ug/L | 0.81114 | 2.68 | Estimated Values | 4433 | B | sgs | mc | 2016-09-28 | Supelco LC20139V: 80 µl & Abs 061716WW: 80 µl
20163280007 | 2016-11-21 08:00 | TRIS(2-BUTOXYETHYL)PHOSPHATE | 62830GCM99 | 0.64 | 3.304 | E | ug/L | 0.7839 | 2.59 | Estimated Values | 4433 | B | sgs | mc | 2016-12-06 | Crescent 03FF070: 80 µl & Supelco LC20139V: 80 µl
20162990149 | 2016-10-25 07:00 | TRIS(2-BUTOXYETHYL)PHOSPHATE | 62830GCM99 | 0.64 | 3.304 | E | ug/L | 0.66586 | 2.2 | Estimated Values | 4433 | B | sgs | mc | 2016-12-06 | NSI 042916WW: 80 µl & Supelco LC20139V: 80 µl
20131440104 | 2013-05-23 07:30 | TRIS(2-BUTOXYETHYL)PHOSPHATE | 62830GCM99 | 0.64 | 3.32 | E | ug/L | 0.97289 | 3.23 | Estimated Values | 4433 | B | sgs | mc | 2013-06-14 | NSI 042213WWUF: 50 µl & Supelco LC00152: 50 µl
20152670134 | 2015-09-24 09:00 | TRIS(2-BUTOXYETHYL)PHOSPHATE | 62830GCM99 | 0.64 | 3.816 | E | ug/L | 1.1373 | 4.34 | Estimated Values | 4433 |  | sgs | mc | 2015-10-16 | Crescent 04EE006: 80 µl & ERA 0406-15-02: 80 µl
20153160002 | 2015-11-10 08:30 | TRIS(2-BUTOXYETHYL)PHOSPHATE | 62830GCM99 | 0.64 | 3.816 | E | ug/L | 0.83071 | 3.17 | Estimated Values | 4433 |  | sgs | mc | 2016-01-12 | ERA 0406-15-02: 80 µl & ChemService 3982800: 80 µl
20152810121 | 2015-10-08 08:00 | TRIS(2-BUTOXYETHYL)PHOSPHATE | 62830GCM99 | 0.64 | 3.8408 | E | ug/L | 1.1039 | 4.24 | Estimated Values | 4433 |  | sgs | mc | 2015-11-05 | Supelco LC13546: 80 µl & ChemService 3982800: 80 µl
20163560020 | 2016-12-21 07:00 | TRIS(2-BUTOXYETHYL)PHOSPHATE | 62830GCM99 | 0.64 | 4.03 | E | ug/L | 0.93548 | 3.77 | Estimated Values | 4433 | B | sgs | mc | 2017-01-06 | Phenova B20160306: 100 µl & Abs 061716WW: 100 µl
20161960001 | 2016-07-13 08:00 | TRIS(2-BUTOXYETHYL)PHOSPHATE | 62830GCM99 | 0.64 | 4.13 | E | ug/L | 0.86925 | 3.59 | Estimated Values | 4433 | B | sgs | mc | 2016-08-09 | Supelco LC20139V: 100 µl & ChemService 5016000: 100 µl
20112380056 | 2011-08-25 11:10 | TRIS(2-BUTOXYETHYL)PHOSPHATE | 62830GCM99 | 0.64 | 5.12 | E | ug/L | 0.98438 | 5.04 | Estimated Values | 4433 | E | jiv | mc | 2011-10-18 | NWQL BNA2SP124B: 80 µl
20121730124 | 2012-06-21 07:00 | TRIS(2-BUTOXYETHYL)PHOSPHATE | 62830GCM99 | 0.64 | 6 | E | ug/L | 1.1233 | 6.74 | Estimated Values | 4433 | R | jiv | mc | 2012-07-29 | Crescent 05BB045: 40 µl
20130250062 | 2013-01-24 06:30 | TRIS(2-BUTOXYETHYL)PHOSPHATE | 62830GCM99 | 0.64 | 6.02 | E | ug/L | 0.66944 | 4.03 | Estimated Values | 4433 | B | sgs | mc | 2013-02-07 | Spex Organics T1120521007: 40 µl & Supelco LB92782: 40 µl
20130100068 | 2013-01-10 07:00 | TRIS(2-BUTOXYETHYL)PHOSPHATE | 62830GCM99 | 0.64 | 12 | E | ug/L | 0.9 | 10.8 | Estimated Values | 4433 | B | sgs | mc | 2013-02-06 | ChemService 426100: 80 µl & Crescent 05BB045: 80 µl
20123140092 | 2012-11-08 07:30 | TRIS(2-BUTOXYETHYL)PHOSPHATE | 62830GCM99 | 0.64 | 12.04 | E | ug/L | 0.77824 | 9.37 | Estimated Values | 4433 | B | sgs | mc | 2012-12-19 | Spex Organics T1120521007: 80 µl & Supelco LB92782: 80 µl
20130590064 | 2013-02-28 07:30 | TRIS(2-BUTOXYETHYL)PHOSPHATE | 62830GCM99 | 0.64 | 12.04 | E | ug/L | 0.70266 | 8.46 | Estimated Values | 4433 | B | sgs | mc | 2013-03-28 | Supelco LB92782: 80 µl & Restek A088824: 80 µl
20132070037 | 2013-07-25 07:30 | TRIS(2-BUTOXYETHYL)PHOSPHATE | 62830GCM99 | 0.64 | 13.04 | E | ug/L | 0.57055 | 7.44 | Estimated Values | 4433 | B | sgs | mc | 2013-08-15 | Crescent 04CC095: 100 µl & Supelco LC00152: 100 µl