## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20132210039 | 2013-08-08 08:00 | TRIS(DICHLORISOPROPYL)PHOSPHATE | 61707GCM99 | 0.32 | 0.6464 | R | ug/L |  |  | Deleted Values | 4433 |  |  |  | 2013-08-08 08:00 | Spex Organics T1130419010: 20 µl & Supelco LC00152: 20 µl
20161820002 | 2016-06-29 08:00 | TRIS(DICHLORISOPROPYL)PHOSPHATE | 61707GCM99 | 0.32 | 0.808 | R | ug/L |  |  | Deleted Values | 4433 | B | sgs |  | 2016-08-01 | ChemService 5016000: 40 µl & NSI 042916WW: 40 µl
20110340009 | 2011-02-02 07:30 | TRIS(DICHLORISOPROPYL)PHOSPHATE | 61707GCM99 | 0.32 | 0.36087 | E | ug/L | 1.2109 | 0.437 | Estimated Values | 4433 | B | sgs |  | 2011-02-18 | ChemService 448-12A: 20 µl
20111050151 | 2011-04-14 08:30 | TRIS(DICHLORISOPROPYL)PHOSPHATE | 61707GCM99 | 0.32 | 0.3644 | E | ug/L | 0.99066 | 0.361 | Estimated Values | 4433 | R | jiv |  | 2011-05-03 | Abs 090910WW: 20 µl
20112220129 | 2011-08-10 09:30 | TRIS(DICHLORISOPROPYL)PHOSPHATE | 61707GCM99 | 0.32 | 0.3682 | . | ug/L | 1.2928 | 0.476 | Recoverable Result | 4433 | R | jiv |  | 2011-08-17 | ChemService 448-12A: 20 µl
20120400055 | 2012-02-09 07:30 | TRIS(DICHLORISOPROPYL)PHOSPHATE | 61707GCM99 | 0.32 | 0.3682 | . | ug/L | 1.157 | 0.426 | Recoverable Result | 4433 | B | sgs |  | 2012-03-07 | ChemService 448-12A: 20 µl
20112100004 | 2011-07-28 08:30 | TRIS(DICHLORISOPROPYL)PHOSPHATE | 61707GCM99 | 0.32 | 0.371 | . | ug/L | 1.2588 | 0.467 | Recoverable Result | 4433 | R | jiv |  | 2011-08-16 | Abs 090910WW: 20 µl
20112930084 | 2011-10-20 07:30 | TRIS(DICHLORISOPROPYL)PHOSPHATE | 61707GCM99 | 0.32 | 0.371 | . | ug/L | 1.0081 | 0.374 | Recoverable Result | 4433 | E | cli |  | 2011-12-08 | Abs 090910WW: 20 µl
20120620013 | 2012-03-01 08:30 | TRIS(DICHLORISOPROPYL)PHOSPHATE | 61707GCM99 | 0.32 | 0.371 | . | ug/L | 1.3261 | 0.492 | Recoverable Result | 4433 | B | fww |  | 2012-04-10 | Abs 090910WW: 20 µl
20151760207 | 2015-06-25 06:30 | TRIS(DICHLORISOPROPYL)PHOSPHATE | 61707GCM99 | 0.32 | 0.48 | . | ug/L | 1.1396 | 0.547 | Recoverable Result | 4433 |  | sgs |  | 2015-09-29 | Supelco LC13546: 20 µl & Spex Organics EN150529012: 20 µl
20152530087 | 2015-09-10 09:00 | TRIS(DICHLORISOPROPYL)PHOSPHATE | 61707GCM99 | 0.32 | 0.48 | . | ug/L | 1.0292 | 0.494 | Recoverable Result | 4433 |  | sgs |  | 2015-10-15 | ERA 0406-15-02: 20 µl & Spex Organics EN150529012: 20 µl
20152950079 | 2015-10-22 08:30 | TRIS(DICHLORISOPROPYL)PHOSPHATE | 61707GCM99 | 0.32 | 0.48 | . | ug/L | 0.88958 | 0.427 | Recoverable Result | 4433 |  | sgs |  | 2015-11-17 | Spex Organics EN150529012: 20 µl & Crescent 04EE006: 20 µl
20153640095 | 2015-12-30 08:30 | TRIS(DICHLORISOPROPYL)PHOSPHATE | 61707GCM99 | 0.32 | 0.48 | . | ug/L | 1.0188 | 0.489 | Recoverable Result | 4433 |  | rcr |  | 2016-02-23 | Spex Organics EN150529012: 20 µl & Crescent 04EE006: 20 µl
20160490032 | 2016-02-18 08:30 | TRIS(DICHLORISOPROPYL)PHOSPHATE | 61707GCM99 | 0.32 | 0.48 | . | ug/L | 1.1583 | 0.556 | Recoverable Result | 4433 |  | rcr |  | 2016-02-25 | ERA 0406-15-02: 20 µl & Spex Organics EN150529012: 20 µl
20151970168 | 2015-07-16 06:30 | TRIS(DICHLORISOPROPYL)PHOSPHATE | 61707GCM99 | 0.32 | 0.4814 | . | ug/L | 1.236 | 0.595 | Recoverable Result | 4433 |  | sgs |  | 2015-09-29 | ChemService 3982800: 20 µl & Abs 041615: 20 µl
20152390223 | 2015-08-27 09:00 | TRIS(DICHLORISOPROPYL)PHOSPHATE | 61707GCM99 | 0.32 | 0.4814 | . | ug/L | 1.1778 | 0.567 | Recoverable Result | 4433 |  | sgs |  | 2015-10-02 | ChemService 3982800: 20 µl & Crescent 04EE006: 20 µl
20160980150 | 2016-04-07 06:30 | TRIS(DICHLORISOPROPYL)PHOSPHATE | 61707GCM99 | 0.32 | 0.4814 | E | ug/L | 0.88907 | 0.428 | Estimated Values | 4433 | B | sgs | v | 2016-05-03 | Supelco LC13546: 20 µl & ChemService 3982800: 20 µl
20132910006 | 2013-10-17 07:30 | TRIS(DICHLORISOPROPYL)PHOSPHATE | 61707GCM99 | 0.32 | 0.604 | . | ug/L | 0.75662 | 0.457 | Recoverable Result | 4433 | B | sgs | v | 2013-11-14 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl
20133260003 | 2013-11-21 07:00 | TRIS(DICHLORISOPROPYL)PHOSPHATE | 61707GCM99 | 0.32 | 0.604 | . | ug/L | 0.89238 | 0.539 | Recoverable Result | 4433 | B | sgs |  | 2013-12-04 | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl
20140860103 | 2014-03-27 07:00 | TRIS(DICHLORISOPROPYL)PHOSPHATE | 61707GCM99 | 0.32 | 0.604 | . | ug/L | 0.86921 | 0.525 | Recoverable Result | 4433 | B | sgs | v | 2014-04-23 | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl
20140370076 | 2014-02-06 07:30 | TRIS(DICHLORISOPROPYL)PHOSPHATE | 61707GCM99 | 0.32 | 0.604 | . | ug/L | 0.76987 | 0.465 | Recoverable Result | 4433 | B | sgs | v | 2014-04-23 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl
20141010007 | 2014-04-10 06:00 | TRIS(DICHLORISOPROPYL)PHOSPHATE | 61707GCM99 | 0.32 | 0.624 | E | ug/L | 0.59615 | 0.372 | Estimated Values | 4433 | B | sgs | v | 2014-04-24 | Supelco LC06436: 30 µl & Crescent 03DD005: 30 µl
20142340162 | 2014-08-18 06:45 | TRIS(DICHLORISOPROPYL)PHOSPHATE | 61707GCM99 | 0.32 | 0.624 | . | ug/L | 1.1474 | 0.716 | Recoverable Result | 4433 | B | sgs |  | 2014-09-17 | Crescent 03DD005: 30 µl & ERA 0227-14-07.1: 30 µl
20143520107 | 2014-12-18 06:00 | TRIS(DICHLORISOPROPYL)PHOSPHATE | 61707GCM99 | 0.32 | 0.624 | . | ug/L | 0.95032 | 0.593 | Recoverable Result | 4433 | B | sgs |  | 2015-01-27 | Spex Organics E1140402006: 30 µl & Crescent 03DD005: 30 µl
20150570009 | 2015-02-26 06:00 | TRIS(DICHLORISOPROPYL)PHOSPHATE | 61707GCM99 | 0.32 | 0.624 | . | ug/L | 0.80609 | 0.503 | Recoverable Result | 4433 | B | sgs | v | 2015-04-20 | ChemService 2616300: 30 µl & Crescent 03DD005: 30 µl
20141220026 | 2014-05-01 06:30 | TRIS(DICHLORISOPROPYL)PHOSPHATE | 61707GCM99 | 0.32 | 0.6402 | . | ug/L | 0.79975 | 0.512 | Recoverable Result | 4433 | B | sgs |  | 2014-05-22 | Supelco LC06436: 30 µl & Abs 032814: 30 µl
20141290007 | 2014-05-08 07:30 | TRIS(DICHLORISOPROPYL)PHOSPHATE | 61707GCM99 | 0.32 | 0.6402 | . | ug/L | 0.92002 | 0.589 | Recoverable Result | 4433 | B | sgs |  | 2014-06-05 | ChemService 2616300: 30 µl & Abs 032814: 30 µl
20141990081 | 2014-07-17 06:00 | TRIS(DICHLORISOPROPYL)PHOSPHATE | 61707GCM99 | 0.32 | 0.6402 | . | ug/L | 1.02 | 0.653 | Recoverable Result | 4433 | B | sgs |  | 2014-08-20 | Abs 032814: 30 µl & ERA 0227-14-07.1: 30 µl
20142270002 | 2014-08-14 06:30 | TRIS(DICHLORISOPROPYL)PHOSPHATE | 61707GCM99 | 0.32 | 0.6402 | . | ug/L | 1.0184 | 0.652 | Recoverable Result | 4433 | B | sgs |  | 2014-09-11 | Spex Organics E1140402006: 30 µl & Abs 032814: 30 µl
20142720001 | 2014-09-25 06:30 | TRIS(DICHLORISOPROPYL)PHOSPHATE | 61707GCM99 | 0.32 | 0.6402 | . | ug/L | 1.2277 | 0.786 | Recoverable Result | 4433 | B | sgs |  | 2014-10-20 | Abs 032814: 30 µl & ERA 0227-14-07.1: 30 µl
20151140152 | 2015-04-23 06:00 | TRIS(DICHLORISOPROPYL)PHOSPHATE | 61707GCM99 | 0.32 | 0.6402 | . | ug/L | 1.3527 | 0.866 | Recoverable Result | 4433 | B | sgs |  | 2015-05-07 | ChemService 2616300: 30 µl & Abs 032814: 30 µl
20132690008 | 2013-09-25 07:30 | TRIS(DICHLORISOPROPYL)PHOSPHATE | 61707GCM99 | 0.32 | 0.6464 | . | ug/L | 0.72246 | 0.467 | Recoverable Result | 4433 | B | sgs | v | 2013-10-22 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl
20140300033 | 2014-01-30 08:00 | TRIS(DICHLORISOPROPYL)PHOSPHATE | 61707GCM99 | 0.32 | 0.6464 | . | ug/L | 0.85087 | 0.55 | Recoverable Result | 4433 | B | sgs | v | 2014-04-23 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl
20140930054 | 2014-04-03 08:00 | TRIS(DICHLORISOPROPYL)PHOSPHATE | 61707GCM99 | 0.32 | 0.6464 | . | ug/L | 0.78899 | 0.51 | Recoverable Result | 4433 | B | sgs | v | 2014-04-24 | Spex Organics T1130419010: 20 µl & Supelco LC00152: 20 µl
20161400194 | 2016-05-18 06:00 | TRIS(DICHLORISOPROPYL)PHOSPHATE | 61707GCM99 | 0.32 | 0.78 | . | ug/L | 0.80769 | 0.63 | Recoverable Result | 4433 | B | sgs |  | 2016-06-14 | ChemService 5016000: 40 µl & Crescent 03FF070: 40 µl
20161600088 | 2016-06-08 08:00 | TRIS(DICHLORISOPROPYL)PHOSPHATE | 61707GCM99 | 0.32 | 0.78 | E | ug/L | 0.65256 | 0.509 | Estimated Values | 4433 | B | sgs |  | 2016-06-16 | Phenova B20160306: 40 µl & Crescent 03FF070: 40 µl
20162150212 | 2016-08-02 07:30 | TRIS(DICHLORISOPROPYL)PHOSPHATE | 61707GCM99 | 0.32 | 0.78 | . | ug/L | 0.68718 | 0.536 | Recoverable Result | 4433 | B | sgs | @c | 2016-08-24 | Crescent 03FF070: 40 µl & Phenova B20160306: 40 µl
20162660006 | 2016-09-21 07:30 | TRIS(DICHLORISOPROPYL)PHOSPHATE | 61707GCM99 | 0.32 | 0.78 | . | ug/L | 0.67949 | 0.53 | Recoverable Result | 4433 | B | sgs |  | 2016-09-28 | Abs 061716WW: 40 µl & Crescent 03FF070: 40 µl
20161880110 | 2016-07-06 07:00 | TRIS(DICHLORISOPROPYL)PHOSPHATE | 61707GCM99 | 0.32 | 0.808 | . | ug/L | 0.71411 | 0.577 | Recoverable Result | 4433 | B | sgs |  | 2016-08-03 | NSI 042916WW: 40 µl & Supelco LC20139V: 40 µl
20162440114 | 2016-08-31 07:00 | TRIS(DICHLORISOPROPYL)PHOSPHATE | 61707GCM99 | 0.32 | 0.808 | . | ug/L | 0.69059 | 0.558 | Recoverable Result | 4433 | B | sgs |  | 2016-09-27 | NSI 042916WW: 40 µl & Phenova B20160306: 40 µl
20163150005 | 2016-11-09 07:30 | TRIS(DICHLORISOPROPYL)PHOSPHATE | 61707GCM99 | 0.32 | 0.808 | . | ug/L | 0.61386 | 0.496 | Recoverable Result | 4433 | B | sgs |  | 2016-12-07 | ChemService 5016000: 40 µl & NSI 042916WW: 40 µl
20163500003 | 2016-12-14 08:00 | TRIS(DICHLORISOPROPYL)PHOSPHATE | 61707GCM99 | 0.32 | 0.808 | . | ug/L | 0.69926 | 0.565 | Recoverable Result | 4433 | B | sgs |  | 2017-01-06 | NSI 042916WW: 40 µl & Phenova B20160306: 40 µl
20111890007 | 2011-07-07 08:30 | TRIS(DICHLORISOPROPYL)PHOSPHATE | 61707GCM99 | 0.32 | 0.9205 | . | ug/L | 0.90386 | 0.832 | Recoverable Result | 4433 | E | jiv |  | 2011-08-06 | ChemService 448-12A: 50 µl
20113340047 | 2011-11-29 07:30 | TRIS(DICHLORISOPROPYL)PHOSPHATE | 61707GCM99 | 0.32 | 0.9205 | E | ug/L | 0.60511 | 0.557 | Estimated Values | 4433 | R | jiv |  | 2012-02-01 | ChemService 448-12A: 50 µl
20120830078 | 2012-03-22 07:30 | TRIS(DICHLORISOPROPYL)PHOSPHATE | 61707GCM99 | 0.32 | 0.9205 | . | ug/L | 1.1515 | 1.06 | Recoverable Result | 4433 | Y | awh |  | 2012-05-04 | ChemService 448-12A: 50 µl
20110840109 | 2011-03-24 07:30 | TRIS(DICHLORISOPROPYL)PHOSPHATE | 61707GCM99 | 0.32 | 0.92713 | . | ug/L | 1.2727 | 1.18 | Recoverable Result | 4433 | R | jiv |  | 2011-04-15 | Abs 090910WW: 50 µl
20120260060 | 2012-01-26 08:00 | TRIS(DICHLORISOPROPYL)PHOSPHATE | 61707GCM99 | 0.32 | 0.9275 | . | ug/L | 1.2399 | 1.15 | Recoverable Result | 4433 | B | sgs |  | 2012-03-07 | Abs 090910WW: 50 µl
20120960124 | 2012-04-05 06:30 | TRIS(DICHLORISOPROPYL)PHOSPHATE | 61707GCM99 | 0.32 | 0.9275 | . | ug/L | 1.0663 | 0.989 | Recoverable Result | 4433 | Y | awh |  | 2012-05-04 | Abs 090910WW: 50 µl
20111680036 | 2011-06-16 09:30 | TRIS(DICHLORISOPROPYL)PHOSPHATE | 61707GCM99 | 0.32 | 0.93113 | . | ug/L | 0.96012 | 0.894 | Recoverable Result | 4433 | B | sgs |  | 2011-07-07 | Abs 090910WW: 50 µl
20151620180 | 2015-06-11 06:00 | TRIS(DICHLORISOPROPYL)PHOSPHATE | 61707GCM99 | 0.32 | 0.96 | . | ug/L | 1.1563 | 1.11 | Recoverable Result | 4433 | B | sgs |  | 2015-07-22 | Spex Organics EN150529012: 40 µl & Abs 041615: 40 µl
20153510110 | 2015-12-17 08:00 | TRIS(DICHLORISOPROPYL)PHOSPHATE | 61707GCM99 | 0.32 | 0.96 | . | ug/L | 0.93229 | 0.895 | Recoverable Result | 4433 |  | sgs |  | 2016-01-14 | Supelco LC13546: 40 µl & Spex Organics EN150529012: 40 µl
20152110199 | 2015-07-30 09:00 | TRIS(DICHLORISOPROPYL)PHOSPHATE | 61707GCM99 | 0.32 | 0.9628 | . | ug/L | 1.1633 | 1.12 | Recoverable Result | 4433 |  | sgs |  | 2015-09-30 | ERA 0406-15-02: 40 µl & ChemService 3982800: 40 µl
20153280156 | 2015-11-24 08:00 | TRIS(DICHLORISOPROPYL)PHOSPHATE | 61707GCM99 | 0.32 | 0.9628 | . | ug/L | 0.93062 | 0.896 | Recoverable Result | 4433 |  | sgs |  | 2016-01-26 | ChemService 3982800: 40 µl & Abs 041615: 40 µl
20160710218 | 2016-03-10 08:30 | TRIS(DICHLORISOPROPYL)PHOSPHATE | 61707GCM99 | 0.32 | 0.9628 | . | ug/L | 1.0366 | 0.998 | Recoverable Result | 4433 | V | rcr |  | 2016-04-15 | ChemService 3982800: 40 µl & Abs 041615: 40 µl
20161190076 | 2016-04-28 07:00 | TRIS(DICHLORISOPROPYL)PHOSPHATE | 61707GCM99 | 0.32 | 0.9628 | . | ug/L | 0.90985 | 0.876 | Recoverable Result | 4433 | B | sgs |  | 2016-06-13 | ChemService 3982800: 40 µl & Crescent 04EE006: 40 µl
20122210008 | 2012-08-07 07:00 | TRIS(DICHLORISOPROPYL)PHOSPHATE | 61707GCM99 | 0.32 | 0.98 | . | ug/L | 0.60102 | 0.589 | Recoverable Result | 4433 | R | jiv |  | 2012-08-24 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl
20123040158 | 2012-10-30 08:00 | TRIS(DICHLORISOPROPYL)PHOSPHATE | 61707GCM99 | 0.32 | 0.98 | . | ug/L | 0.80816 | 0.792 | Recoverable Result | 4433 | B | sgs |  | 2012-12-18 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl
20130870086 | 2013-03-27 07:00 | TRIS(DICHLORISOPROPYL)PHOSPHATE | 61707GCM99 | 0.32 | 0.98 | . | ug/L | 0.65102 | 0.638 | Recoverable Result | 4433 | B | sgs | v | 2013-05-29 | NSI 061412-01: 20 µl & Crescent 05BB045: 20 µl
20121600155 | 2012-06-07 08:00 | TRIS(DICHLORISOPROPYL)PHOSPHATE | 61707GCM99 | 0.32 | 1.006 | . | ug/L | 1.0437 | 1.05 | Recoverable Result | 4433 | R | jiv |  | 2012-07-28 | Supelco LB92782: 20 µl
20122370103 | 2012-08-23 07:30 | TRIS(DICHLORISOPROPYL)PHOSPHATE | 61707GCM99 | 0.32 | 1.006 | . | ug/L | 1.0239 | 1.03 | Recoverable Result | 4433 | R | jiv |  | 2012-09-18 | NSI 061412-01: 20 µl & Supelco LB92782: 20 µl
20141710103 | 2014-06-19 07:00 | TRIS(DICHLORISOPROPYL)PHOSPHATE | 61707GCM99 | 0.32 | 1.248 | . | ug/L | 0.76202 | 0.951 | Recoverable Result | 4433 | B | sgs |  | 2014-07-16 | Crescent 03DD005: 60 µl & Supelco LC06436: 60 µl
20141910242 | 2014-07-10 06:30 | TRIS(DICHLORISOPROPYL)PHOSPHATE | 61707GCM99 | 0.32 | 1.248 | . | ug/L | 0.99359 | 1.24 | Recoverable Result | 4433 | B | sgs |  | 2014-08-20 | ChemService 2616300: 60 µl & Crescent 03DD005: 60 µl
20142960087 | 2014-10-23 06:30 | TRIS(DICHLORISOPROPYL)PHOSPHATE | 61707GCM99 | 0.32 | 1.248 | . | ug/L | 1.1378 | 1.42 | Recoverable Result | 4433 | B | sgs |  | 2014-11-05 | Spex Organics E1140402006: 60 µl & Crescent 03DD005: 60 µl
20150290077 | 2015-01-29 07:00 | TRIS(DICHLORISOPROPYL)PHOSPHATE | 61707GCM99 | 0.32 | 1.248 | . | ug/L | 0.88942 | 1.11 | Recoverable Result | 4433 | B | sgs |  | 2015-02-26 | Crescent 03DD005: 60 µl & ERA 0227-14-07.1: 60 µl
20141490201 | 2014-05-29 06:30 | TRIS(DICHLORISOPROPYL)PHOSPHATE | 61707GCM99 | 0.32 | 1.2804 | . | ug/L | 0.80444 | 1.03 | Recoverable Result | 4433 | B | sgs |  | 2014-07-08 | Spex Organics E1140402006: 60 µl & Abs 032814: 60 µl
20142480001 | 2014-09-04 07:00 | TRIS(DICHLORISOPROPYL)PHOSPHATE | 61707GCM99 | 0.32 | 1.2804 | . | ug/L | 1.0153 | 1.3 | Recoverable Result | 4433 | B | sgs |  | 2014-09-23 | ChemService 2616300: 60 µl & Abs 032814: 60 µl
20143180046 | 2014-11-13 07:00 | TRIS(DICHLORISOPROPYL)PHOSPHATE | 61707GCM99 | 0.32 | 1.2804 | . | ug/L | 1.2184 | 1.56 | Recoverable Result | 4433 | B | sgs |  | 2014-12-03 | Abs 032814: 60 µl & Supelco LC06436: 60 µl
20111390173 | 2011-05-19 08:30 | TRIS(DICHLORISOPROPYL)PHOSPHATE | 61707GCM99 | 0.32 | 1.464 | . | ug/L | 1.1065 | 1.62 | Recoverable Result | 4433 | R | jiv |  | 2011-06-28 | ChemService 448-12A: 80 µl
20120120069 | 2012-01-12 08:00 | TRIS(DICHLORISOPROPYL)PHOSPHATE | 61707GCM99 | 0.32 | 1.4728 | . | ug/L | 1.0932 | 1.61 | Recoverable Result | 4433 | B | sgs |  | 2012-03-06 | ChemService 448-12A: 80 µl
20121110020 | 2012-04-19 07:00 | TRIS(DICHLORISOPROPYL)PHOSPHATE | 61707GCM99 | 0.32 | 1.4728 | . | ug/L | 0.95736 | 1.41 | Recoverable Result | 4433 | E | cli |  | 2012-05-22 | ChemService 448-12A: 80 µl
20112520211 | 2011-09-08 09:30 | TRIS(DICHLORISOPROPYL)PHOSPHATE | 61707GCM99 | 0.32 | 1.484 | . | ug/L | 0.9973 | 1.48 | Recoverable Result | 4433 | R | jiv |  | 2011-11-22 | Abs 090910WW: 80 µl
20140030013 | 2014-01-02 06:15 | TRIS(DICHLORISOPROPYL)PHOSPHATE | 61707GCM99 | 0.32 | 1.51 | . | ug/L | 0.93377 | 1.41 | Recoverable Result | 4433 | B | sgs |  | 2014-02-05 | Spex Organics T1130419010: 50 µl & Crescent 04CC095: 50 µl
20162100008 | 2016-07-27 06:30 | TRIS(DICHLORISOPROPYL)PHOSPHATE | 61707GCM99 | 0.32 | 1.56 | . | ug/L | 0.75 | 1.17 | Recoverable Result | 4433 | B | sgs |  | 2016-08-10 | ChemService 5016000: 80 µl & Crescent 03FF070: 80 µl
20163280007 | 2016-11-21 08:00 | TRIS(DICHLORISOPROPYL)PHOSPHATE | 61707GCM99 | 0.32 | 1.56 | . | ug/L | 0.69231 | 1.08 | Recoverable Result | 4433 | B | sgs |  | 2016-12-06 | Crescent 03FF070: 80 µl & Supelco LC20139V: 80 µl
20163420127 | 2016-12-07 07:30 | TRIS(DICHLORISOPROPYL)PHOSPHATE | 61707GCM99 | 0.32 | 1.56 | . | ug/L | 0.83333 | 1.3 | Recoverable Result | 4433 | B | sgs |  | 2017-01-05 | Abs 061716WW: 80 µl & Crescent 03FF070: 80 µl
20111260151 | 2011-05-05 08:30 | TRIS(DICHLORISOPROPYL)PHOSPHATE | 61707GCM99 | 0.32 | 1.6116 | . | ug/L | 1.0673 | 1.72 | Recoverable Result | 4433 | B | sgs |  | 2011-05-19 | NWQL BNA2SP124B: 50 µl
20131440104 | 2013-05-23 07:30 | TRIS(DICHLORISOPROPYL)PHOSPHATE | 61707GCM99 | 0.32 | 1.616 | . | ug/L | 1.0087 | 1.63 | Recoverable Result | 4433 | B | sgs |  | 2013-06-14 | NSI 042213WWUF: 50 µl & Supelco LC00152: 50 µl
20162990149 | 2016-10-25 07:00 | TRIS(DICHLORISOPROPYL)PHOSPHATE | 61707GCM99 | 0.32 | 1.616 | . | ug/L | 0.53713 | 0.868 | Recoverable Result | 4433 | B | sgs |  | 2016-12-06 | NSI 042916WW: 80 µl & Supelco LC20139V: 80 µl
20162930160 | 2016-10-19 06:30 | TRIS(DICHLORISOPROPYL)PHOSPHATE | 61707GCM99 | 0.32 | 1.616 | . | ug/L | 0.64356 | 1.04 | Recoverable Result | 4433 | B | sgs |  | 2016-12-06 | Abs 061716WW: 80 µl & NSI 042916WW: 80 µl
20160140040 | 2016-01-14 08:30 | TRIS(DICHLORISOPROPYL)PHOSPHATE | 61707GCM99 | 0.32 | 1.92 | . | ug/L | 0.84896 | 1.63 | Recoverable Result | 4433 |  | rcr |  | 2016-02-24 | Spex Organics EN150529012: 80 µl & Crescent 04EE006: 80 µl
20152810121 | 2015-10-08 08:00 | TRIS(DICHLORISOPROPYL)PHOSPHATE | 61707GCM99 | 0.32 | 1.9256 | . | ug/L | 1.0854 | 2.09 | Recoverable Result | 4433 |  | sgs |  | 2015-11-05 | Supelco LC13546: 80 µl & ChemService 3982800: 80 µl
20153160002 | 2015-11-10 08:30 | TRIS(DICHLORISOPROPYL)PHOSPHATE | 61707GCM99 | 0.32 | 1.9256 | . | ug/L | 0.90881 | 1.75 | Recoverable Result | 4433 |  | sgs |  | 2016-01-12 | ERA 0406-15-02: 80 µl & ChemService 3982800: 80 µl
20121730124 | 2012-06-21 07:00 | TRIS(DICHLORISOPROPYL)PHOSPHATE | 61707GCM99 | 0.32 | 1.96 | . | ug/L | 0.80102 | 1.57 | Recoverable Result | 4433 | R | jiv |  | 2012-07-29 | Crescent 05BB045: 40 µl
20130250062 | 2013-01-24 06:30 | TRIS(DICHLORISOPROPYL)PHOSPHATE | 61707GCM99 | 0.32 | 2.012 | . | ug/L | 0.72068 | 1.45 | Recoverable Result | 4433 | B | sgs |  | 2013-02-07 | Spex Organics T1120521007: 40 µl & Supelco LB92782: 40 µl
20162380005 | 2016-08-24 07:15 | TRIS(DICHLORISOPROPYL)PHOSPHATE | 61707GCM99 | 0.32 | 2.02 | . | ug/L | 0.67327 | 1.36 | Recoverable Result | 4433 | B | sgs |  | 2016-09-26 | Abs 061716WW: 100 µl & NSI 042916WW: 100 µl
20112380056 | 2011-08-25 11:10 | TRIS(DICHLORISOPROPYL)PHOSPHATE | 61707GCM99 | 0.32 | 2.56 | . | ug/L | 1 | 2.56 | Recoverable Result | 4433 | E | jiv |  | 2011-10-18 | NWQL BNA2SP124B: 80 µl
20130100068 | 2013-01-10 07:00 | TRIS(DICHLORISOPROPYL)PHOSPHATE | 61707GCM99 | 0.32 | 3.92 | . | ug/L | 0.62755 | 2.46 | Recoverable Result | 4433 | B | sgs |  | 2013-02-06 | ChemService 426100: 80 µl & Crescent 05BB045: 80 µl
20123140092 | 2012-11-08 07:30 | TRIS(DICHLORISOPROPYL)PHOSPHATE | 61707GCM99 | 0.32 | 4.024 | . | ug/L | 0.8002 | 3.22 | Recoverable Result | 4433 | B | sgs |  | 2012-12-19 | Spex Organics T1120521007: 80 µl & Supelco LB92782: 80 µl
20130590064 | 2013-02-28 07:30 | TRIS(DICHLORISOPROPYL)PHOSPHATE | 61707GCM99 | 0.32 | 4.024 | . | ug/L | 0.71819 | 2.89 | Recoverable Result | 4433 | B | sgs |  | 2013-03-28 | Supelco LB92782: 80 µl & Restek A088824: 80 µl
20132070037 | 2013-07-25 07:30 | TRIS(DICHLORISOPROPYL)PHOSPHATE | 61707GCM99 | 0.32 | 6.252 | E | ug/L | 0.6094 | 3.81 | Estimated Values | 4433 | B | sgs |  | 2013-08-15 | Crescent 04CC095: 100 µl & Supelco LC00152: 100 µl