## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20163420126 | 2016-12-07 08:00 | 11-KETOTESTOSTERONE | 64527GM005 | 2 |  | R | ng/L |  |  | Deleted Values | 4434 |  |  |  | 2016-12-07 08:00 | Spex Organics EN160621015: 80 µl & Abs 061416H: 80 µl
20152460213 | 2015-09-03 08:30 | 11-KETOTESTOSTERONE | 64527GM005 | 2 | 2.9684 | < | ng/L |  |  | False Negative | 4434 | AT | RCR |  | 2015-12-11 | Crescent 04EE007: 30 µl & Spex Organics EN150501025: 30 µl
20160560045 | 2016-02-25 08:30 | 11-KETOTESTOSTERONE | 64527GM005 | 2 | 2.9684 | < | ng/L |  | 20 | SACRALT | 4434 | AT | RCR |  | 2016-03-18 | Crescent 04EE007: 30 µl & Spex Organics EN150501025: 30 µl
20132980022 | 2013-10-24 08:00 | 11-KETOTESTOSTERONE | 64527GM005 | 2 | 3.2101 | < | ng/L |  |  | False Negative | 4434 | AT | RCR |  | 2014-02-19 | Abs 050813: 20 µl & Abs 071513: 20 µl
20140860105 | 2014-03-27 08:00 | 11-KETOTESTOSTERONE | 64527GM005 | 2 | 3.2101 | < | ng/L |  |  | False Negative | 4434 | AT | RCR |  | 2014-04-14 | ERA 0415-13-01.1A: 20 µl & ERA 0415-13-01.2A: 20 µl & Abs 060413: 20 µl
20131160077 | 2013-04-25 07:00 | 11-KETOTESTOSTERONE | 64527GM005 | 2 | 16.8421 | R | ng/L |  |  | Deleted Values | 4434 |  |  |  | 2013-04-25 07:00 | Abs 051512: 50 µl & Spex Organics T1120525010: 50 µl
20152330045 | 2015-08-20 07:30 | 11-KETOTESTOSTERONE | 64527GM005 | 2 | 2.9684 | . | ng/L | 0.87589 | 2.6 | Recoverable Result | 4434 | AT | RCR |  | 2015-11-02 | Supelco LC13547: 30 µl & Crescent 04EE007: 30 µl
20153440002 | 2015-12-09 06:30 | 11-KETOTESTOSTERONE | 64527GM005 | 2 | 2.9684 | . | ng/L | 1.2835 | 3.81 | Recoverable Result | 4434 | AT | RCR |  | 2016-01-08 | ERA 0601-15-04: 30 µl & Crescent 04EE007: 30 µl
20132140004 | 2013-08-01 08:00 | 11-KETOTESTOSTERONE | 64527GM005 | 2 | 3.2101 | . | ng/L | 1.2336 | 3.96 | Recoverable Result | 4434 | AT | RCR |  | 2013-09-16 | ERA 0415-13-01.1A: 20 µl & ERA 0415-13-01.2A: 20 µl & Abs 060413: 20 µl
20132340084 | 2013-08-21 08:00 | 11-KETOTESTOSTERONE | 64527GM005 | 2 | 3.2101 | . | ng/L | 1.0592 | 3.4 | Recoverable Result | 4434 | AT | RCR |  | 2013-11-18 | ERA 0415-13-01.2A: 20 µl & Abs 050813: 20 µl
20132630005 | 2013-09-19 06:30 | 11-KETOTESTOSTERONE | 64527GM005 | 2 | 3.2101 | . | ng/L | 0.95012 | 3.05 | Recoverable Result | 4434 | AT | RCR |  | 2014-01-23 | Supelco LB99393: 20 µl & ERA 0415-13-01.2A: 20 µl & Abs 060413: 20 µl
20133260007 | 2013-11-21 07:30 | 11-KETOTESTOSTERONE | 64527GM005 | 2 | 3.2101 | . | ng/L | 0.85667 | 2.75 | Recoverable Result | 4434 | AT | RCR |  | 2014-03-03 | Abs 050813: 20 µl & Abs 071513: 20 µl
20142470037 | 2014-09-03 06:45 | 11-KETOTESTOSTERONE | 64527GM005 | 2 | 3.9789 | . | ng/L | 0.77659 | 3.09 | Recoverable Result | 4434 | AT | RCR |  | 2014-12-16 | Supelco LC06946: 30 µl & Abs 042114: 30 µl
20142620040 | 2014-09-18 07:00 | 11-KETOTESTOSTERONE | 64527GM005 | 2 | 3.9789 | . | ng/L | 0.69365 | 2.76 | Recoverable Result | 4434 | AT | RCR |  | 2014-12-23 | Spex Organics E1140505004: 30 µl & Supelco LC06946: 30 µl
20142820150 | 2014-10-09 06:30 | 11-KETOTESTOSTERONE | 64527GM005 | 2 | 3.9789 | . | ng/L | 0.82434 | 3.28 | Recoverable Result | 4434 | AT | RCR |  | 2015-01-21 | Supelco LC06946: 30 µl & ChemService 2561700: 30 µl
20143110109 | 2014-11-06 06:30 | 11-KETOTESTOSTERONE | 64527GM005 | 2 | 3.9789 | . | ng/L | 0.69868 | 2.78 | Recoverable Result | 4434 | AT | RCR |  | 2015-01-29 | Abs 031014: 30 µl & Supelco LC06946: 30 µl
20151900131 | 2015-07-09 07:30 | 11-KETOTESTOSTERONE | 64527GM005 | 2 | 4.9474 | . | ng/L | 1.0207 | 5.05 | Recoverable Result | 4434 | AT | RCR |  | 2015-08-10 | ERA 0601-15-04: 50 µl & Crescent 04EE007: 50 µl
20153280158 | 2015-11-24 08:30 | 11-KETOTESTOSTERONE | 64527GM005 | 2 | 4.9474 | . | ng/L | 0.90755 | 4.49 | Recoverable Result | 4434 | AT | RCR | * | 2016-01-08 | Crescent 04EE007: 50 µl & Spex Organics EN150501025: 50 µl
20160910145 | 2016-03-31 07:30 | 11-KETOTESTOSTERONE | 64527GM005 | 2 | 4.9474 | . | ng/L | 0.52553 | 2.6 | Recoverable Result | 4434 | AT | RCR |  | 2016-06-24 | Crescent 04EE007: 50 µl & Spex Organics EN150501025: 50 µl
20162300273 | 2016-08-17 08:00 | 11-KETOTESTOSTERONE | 64527GM005 | 2 | 5.0021 | . | ng/L | 1.0596 | 5.3 | Recoverable Result | 4434 | AT | TPE |  | 2016-12-05 | Abs 052616: 30 µl & Abs 061416H: 30 µl
20162800003 | 2016-10-05 08:00 | 11-KETOTESTOSTERONE | 64527GM005 | 2 | 5.0021 | . | ng/L | 1.0596 | 5.3 | Recoverable Result | 4434 | AT | TPE |  | 2016-12-29 | ChemService 5016100: 30 µl & Abs 052616: 30 µl
20162930166 | 2016-10-19 06:45 | 11-KETOTESTOSTERONE | 64527GM005 | 2 | 5.0021 | . | ng/L | 0.81965 | 4.1 | Recoverable Result | 4434 | AT | TPE |  | 2017-01-13 | Abs 052616: 30 µl & ChemService 5016200: 30 µl
20163220167 | 2016-11-16 08:00 | 11-KETOTESTOSTERONE | 64527GM005 | 2 | 5.0021 | . | ng/L | 0.89962 | 4.5 | Recoverable Result | 4434 | AT | TPE |  | 2017-02-01 | Supelco LC20140V: 30 µl & Abs 052616: 30 µl
20152890008 | 2015-10-15 08:30 | 11-KETOTESTOSTERONE | 64527GM005 | 2 | 5.9368 | . | ng/L | 0.96179 | 5.71 | Recoverable Result | 4434 | AT | RCR |  | 2016-01-07 | Crescent 04EE007: 60 µl & Abs 041515: 60 µl
20141910241 | 2014-07-10 07:00 | 11-KETOTESTOSTERONE | 64527GM005 | 2 | 7.9579 | . | ng/L | 0.88214 | 7.02 | Recoverable Result | 4434 | AT | RCR |  | 2014-09-23 | Supelco LC06946: 60 µl & ChemService 2561700: 60 µl
20142340163 | 2014-08-18 07:00 | 11-KETOTESTOSTERONE | 64527GM005 | 2 | 7.9579 | . | ng/L | 0.88089 | 7.01 | Recoverable Result | 4434 | AT | RCR |  | 2014-12-09 | Abs 031014: 60 µl & Supelco LC06946: 60 µl
20143240098 | 2014-11-19 06:30 | 11-KETOTESTOSTERONE | 64527GM005 | 2 | 7.9579 | . | ng/L | 0.7791 | 6.2 | Recoverable Result | 4434 | AT | RCR |  | 2015-02-12 | Supelco LC06946: 60 µl & Abs 042114: 60 µl
20150230030 | 2015-01-22 07:00 | 11-KETOTESTOSTERONE | 64527GM005 | 2 | 7.9579 | . | ng/L | 1.0191 | 8.11 | Recoverable Result | 4434 | AT | RCR |  | 2015-04-01 | Spex Organics E1140505004: 60 µl & Supelco LC06946: 60 µl
20133050049 | 2013-10-31 07:00 | 11-KETOTESTOSTERONE | 64527GM005 | 2 | 8.0253 | . | ng/L | 0.83985 | 6.74 | Recoverable Result | 4434 | AT | RCR |  | 2014-02-25 | ERA 0415-13-01.1A: 50 µl & Abs 050813: 50 µl
20133540013 | 2013-12-19 07:30 | 11-KETOTESTOSTERONE | 64527GM005 | 2 | 8.0253 | . | ng/L | 0.9333 | 7.49 | Recoverable Result | 4434 | AT | RCR |  | 2014-03-05 | ERA 0415-13-01.1A: 50 µl & Abs 060413: 50 µl & Abs 071513: 50 µl
20140440054 | 2014-02-13 08:00 | 11-KETOTESTOSTERONE | 64527GM005 | 2 | 8.0253 | . | ng/L | 0.88471 | 7.1 | Recoverable Result | 4434 | AT | RCR |  | 2014-03-14 | Supelco LB99393: 50 µl & Abs 060413: 50 µl & Abs 071513: 50 µl
20140230084 | 2014-01-23 07:30 | 11-KETOTESTOSTERONE | 64527GM005 | 2 | 8.0253 | . | ng/L | 1.1115 | 8.92 | Recoverable Result | 4434 | AT | RCR |  | 2014-03-14 | Supelco LB99393: 50 µl & Abs 050813: 50 µl
20121670019 | 2012-06-14 08:30 | 11-KETOTESTOSTERONE | 64527GM005 | 2 | 8.4211 | . | ng/L | 1.0783 | 9.08 | Recoverable Result | 4434 | AT | RCR |  | 2012-08-24 | Abs 051512: 25 µl
20122430224 | 2012-08-30 08:00 | 11-KETOTESTOSTERONE | 64527GM005 | 2 | 8.4211 | . | ng/L | 0.77425 | 6.52 | Recoverable Result | 4434 | AT | RCR |  | 2012-11-01 | ERA 0507-12-04.1: 25 µl & Abs 051512: 25 µl
20130180026 | 2013-01-17 08:00 | 11-KETOTESTOSTERONE | 64527GM005 | 2 | 8.4211 | . | ng/L | 1.0842 | 9.13 | Recoverable Result | 4434 | AT | RCR |  | 2013-02-22 | Spex Organics T1120525010: 25 µl & ERA 0511-12-02: 25 µl
20130510049 | 2013-02-19 08:30 | 11-KETOTESTOSTERONE | 64527GM005 | 2 | 8.4211 | . | ng/L | 0.74219 | 6.25 | Recoverable Result | 4434 | AT | RCR |  | 2013-04-03 | Spex Organics T1120525010: 25 µl & Abs 051512: 25 µl
20130810107 | 2013-03-21 07:30 | 11-KETOTESTOSTERONE | 64527GM005 | 2 | 8.4211 | . | ng/L | 1.0236 | 8.62 | Recoverable Result | 4434 | AT | RCR |  | 2013-04-10 | ERA 0511-12-02: 25 µl & Supelco LB92781: 25 µl
20122230020 | 2012-08-09 07:00 | 11-KETOTESTOSTERONE | 64527GM005 | 2 | 16.8421 | . | ng/L | 0.95 | 16 | Recoverable Result | 4434 | AT | RCR |  | 2012-08-31 | ERA 0511-12-02: 25 µl & Abs 051512: 25 µl
20122570124 | 2012-09-13 08:00 | 11-KETOTESTOSTERONE | 64527GM005 | 2 | 16.8421 | . | ng/L | 0.97969 | 16.5 | Recoverable Result | 4434 | AT | RCR |  | 2012-11-07 | ERA 0507-12-04.1: 50 µl & ERA 0511-12-02: 50 µl
20122790026 | 2012-10-04 08:00 | 11-KETOTESTOSTERONE | 64527GM005 | 2 | 33.6842 | . | ng/L | 0.97078 | 32.7 | Recoverable Result | 4434 | AT | RCR |  | 2012-12-03 | ERA 0511-12-02: 50 µl & Abs 051512: 50 µl