## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20160070058 | 2016-01-07 08:30 | 17-ALPHA-ETHYNYLESTRADIOL | 64529GM005 | 0.8 |  | . | ng/L |  | 0.42 | False Positive | 4434 | AT | RCR | n | 2016-03-07 | ChemService 4073900: 30 µl & Abs 041515: 30 µl
20161740282 | 2016-06-22 07:00 | 17-ALPHA-ETHYNYLESTRADIOL | 64529GM005 | 0.8 |  | . | ng/L |  | 2.22 | False Positive | 4434 | AT | RCR |  | 2016-08-31 | Spex Organics TS160420010: 50 µl & ChemService 5016200: 50 µl
20163420126 | 2016-12-07 08:00 | 17-ALPHA-ETHYNYLESTRADIOL | 64529GM005 | 0.8 |  | R | ng/L |  |  | Deleted Values | 4434 |  |  |  | 2016-12-07 08:00 | Spex Organics EN160621015: 80 µl & Abs 061416H: 80 µl
20123490149 | 2012-12-13 07:30 | 17-ALPHA-ETHYNYLESTRADIOL | 64529GM005 | 0.8 | 1.0579 | < | ng/L |  |  | False Negative | 4434 | AT | RCR |  | 2013-02-08 | ERA 0507-12-04.1: 25 µl & Supelco LB92781: 25 µl
20151380010 | 2015-05-14 06:00 | 17-ALPHA-ETHYNYLESTRADIOL | 64529GM005 | 0.8 | 1.2 | < | ng/L |  |  | False Negative | 4434 | AT | RCR |  | 2015-06-29 | Supelco LC13547: 30 µl & Abs 041515: 30 µl
20151480171 | 2015-05-28 06:30 | 17-ALPHA-ETHYNYLESTRADIOL | 64529GM005 | 0.8 | 1.2 | < | ng/L |  |  | False Negative | 4434 | AT | RCR |  | 2015-09-17 | Supelco LC13547: 30 µl & Abs 041515: 30 µl
20151410211 | 2015-05-21 07:00 | 17-ALPHA-ETHYNYLESTRADIOL | 64529GM005 | 0.8 | 1.2 | < | ng/L |  |  | False Negative | 4434 | AT | RCR |  | 2015-09-17 | Supelco LC13547: 30 µl & Spex Organics EN150501025: 30 µl
20152330045 | 2015-08-20 07:30 | 17-ALPHA-ETHYNYLESTRADIOL | 64529GM005 | 0.8 | 1.2 | < | ng/L |  |  | False Negative | 4434 | AT | RCR |  | 2015-11-02 | Supelco LC13547: 30 µl & Crescent 04EE007: 30 µl
20160630047 | 2016-03-03 08:30 | 17-ALPHA-ETHYNYLESTRADIOL | 64529GM005 | 0.8 | 1.2 | < | ng/L |  |  | False Negative | 4434 | AT | RCR |  | 2016-03-18 | Spex Organics EN150501025: 30 µl & Supelco LC13547: 30 µl
20160430110 | 2016-02-11 09:00 | 17-ALPHA-ETHYNYLESTRADIOL | 64529GM005 | 0.8 | 1.2 | < | ng/L |  |  | False Negative | 4434 | AT | RCR |  | 2016-03-18 | Supelco LC13547: 30 µl & ChemService 4073900: 30 µl
20153090108 | 2015-11-05 09:00 | 17-ALPHA-ETHYNYLESTRADIOL | 64529GM005 | 0.8 | 1.2189 | < | ng/L |  |  | False Negative | 4434 | AT | RCR |  | 2016-01-08 | ERA 0601-15-04: 30 µl & ChemService 4073900: 30 µl
20142820150 | 2014-10-09 06:30 | 17-ALPHA-ETHYNYLESTRADIOL | 64529GM005 | 0.8 | 1.5789 | < | ng/L |  |  | False Negative | 4434 | AT | RCR |  | 2015-01-21 | Supelco LC06946: 30 µl & ChemService 2561700: 30 µl
20151140151 | 2015-04-23 07:00 | 17-ALPHA-ETHYNYLESTRADIOL | 64529GM005 | 0.8 | 1.6168 | < | ng/L |  |  | False Negative | 4434 | AT | RCR |  | 2015-06-03 | Abs 031014: 30 µl & ERA 0227-14-07.2: 30 µl
20151620181 | 2015-06-11 06:30 | 17-ALPHA-ETHYNYLESTRADIOL | 64529GM005 | 0.8 | 2 | < | ng/L |  |  | False Negative | 4434 | AT | RCR |  | 2015-07-21 | Supelco LC13547: 50 µl & Spex Organics EN150501025: 50 µl
20161820010 | 2016-06-29 08:30 | 17-ALPHA-ETHYNYLESTRADIOL | 64529GM005 | 0.8 | 2.0211 | < | ng/L |  |  | False Negative | 4434 | AT | RCR |  | 2016-09-09 | ChemService 5016200: 30 µl & Supelco LC20140V: 30 µl
20161960002 | 2016-07-13 08:30 | 17-ALPHA-ETHYNYLESTRADIOL | 64529GM005 | 0.8 | 2.0211 | < | ng/L |  |  | False Negative | 4434 | AT | RCR |  | 2016-09-15 | Supelco LC20140V: 30 µl & Spex Organics EN160621015: 30 µl
20131160077 | 2013-04-25 07:00 | 17-ALPHA-ETHYNYLESTRADIOL | 64529GM005 | 0.8 | 2.0842 | R | ng/L |  |  | Deleted Values | 4434 |  |  |  | 2013-04-25 07:00 | Abs 051512: 50 µl & Spex Organics T1120525010: 50 µl
20152750003 | 2015-10-01 08:30 | 17-ALPHA-ETHYNYLESTRADIOL | 64529GM005 | 0.8 | 2.4 | < | ng/L |  |  | False Negative | 4434 | AT | RCR |  | 2016-01-05 | Supelco LC13547: 60 µl & ChemService 4073900: 60 µl
20141490203 | 2014-05-29 07:00 | 17-ALPHA-ETHYNYLESTRADIOL | 64529GM005 | 0.8 | 3.2337 | < | ng/L |  |  | False Negative | 4434 | AT | RCR |  | 2014-08-11 | Abs 031014: 60 µl & ERA 0227-14-07.2: 60 µl
20141640082 | 2014-06-12 07:00 | 17-ALPHA-ETHYNYLESTRADIOL | 64529GM005 | 0.8 | 3.2337 | < | ng/L |  |  | False Negative | 4434 | AT | RCR | v | 2014-08-22 | ERA 0227-14-07.2: 60 µl & Abs 042114: 60 µl
20121870005 | 2012-07-03 07:00 | 17-ALPHA-ETHYNYLESTRADIOL | 64529GM005 | 0.8 | 1.0421 | . | ng/L | 0.92121 | 0.96 | Recoverable Result | 4434 | AT | RCR |  | 2012-08-29 | Spex Organics T1120525010: 25 µl
20130180026 | 2013-01-17 08:00 | 17-ALPHA-ETHYNYLESTRADIOL | 64529GM005 | 0.8 | 1.0421 | . | ng/L | 1.353 | 1.41 | Recoverable Result | 4434 | AT | RCR |  | 2013-02-22 | Spex Organics T1120525010: 25 µl & ERA 0511-12-02: 25 µl
20130510049 | 2013-02-19 08:30 | 17-ALPHA-ETHYNYLESTRADIOL | 64529GM005 | 0.8 | 1.0421 | . | ng/L | 0.66212 | 0.69 | Recoverable Result | 4434 | AT | RCR | n | 2013-04-03 | Spex Organics T1120525010: 25 µl & Abs 051512: 25 µl
20122430224 | 2012-08-30 08:00 | 17-ALPHA-ETHYNYLESTRADIOL | 64529GM005 | 0.8 | 1.0579 | . | ng/L | 0.83184 | 0.88 | Recoverable Result | 4434 | AT | RCR |  | 2012-11-01 | ERA 0507-12-04.1: 25 µl & Abs 051512: 25 µl
20153440002 | 2015-12-09 06:30 | 17-ALPHA-ETHYNYLESTRADIOL | 64529GM005 | 0.8 | 1.2189 | . | ng/L | 0.97625 | 1.19 | Recoverable Result | 4434 | AT | RCR |  | 2016-01-08 | ERA 0601-15-04: 30 µl & Crescent 04EE007: 30 µl
20110770007 | 2011-03-17 09:00 | 17-ALPHA-ETHYNYLESTRADIOL | 64529GM005 | 0.8 | 1.5385 | . | ng/L | 0.7345 | 1.13 | Recoverable Result | 4434 | AT | JEM |  | 2011-05-09 | Crescent 162776: 25 µl
20110490039 | 2011-02-17 07:00 | 17-ALPHA-ETHYNYLESTRADIOL | 64529GM005 | 0.8 | 1.5483 | . | ng/L | 0.93005 | 1.44 | Recoverable Result | 4434 | AT | RCR |  | 2011-03-31 | Supelco LB77167: 25 µl
20111050148 | 2011-04-14 09:00 | 17-ALPHA-ETHYNYLESTRADIOL | 64529GM005 | 0.8 | 1.5586 | . | ng/L | 0.85974 | 1.34 | Recoverable Result | 4434 | AT | JEM |  | 2011-05-19 | Supelco LB77167: 25 µl
20111810006 | 2011-06-29 08:30 | 17-ALPHA-ETHYNYLESTRADIOL | 64529GM005 | 0.8 | 1.5789 | . | ng/L | 0.589 | 0.93 | Recoverable Result | 4434 | AT | RCR |  | 2011-07-25 | Crescent 162776: 25 µl
20112100009 | 2011-07-28 09:00 | 17-ALPHA-ETHYNYLESTRADIOL | 64529GM005 | 0.8 | 1.5789 | . | ng/L | 0.75367 | 1.19 | Recoverable Result | 4434 | AT | JEM |  | 2011-09-29 | Supelco LB77167: 25 µl
20112310028 | 2011-08-18 08:51 | 17-ALPHA-ETHYNYLESTRADIOL | 64529GM005 | 0.8 | 1.5789 | . | ng/L | 0.69033 | 1.09 | Recoverable Result | 4434 | AT | RCR |  | 2011-10-12 | Crescent 162776: 25 µl
20112930083 | 2011-10-20 08:00 | 17-ALPHA-ETHYNYLESTRADIOL | 64529GM005 | 0.8 | 1.5789 | . | ng/L | 0.80433 | 1.27 | Recoverable Result | 4434 | AT | RCR |  | 2011-11-17 | Crescent 162776: 25 µl
20120400059 | 2012-02-09 08:00 | 17-ALPHA-ETHYNYLESTRADIOL | 64529GM005 | 0.8 | 1.5789 | . | ng/L | 0.931 | 1.47 | Recoverable Result | 4434 | AT | RCR |  | 2012-04-04 | Supelco LB77167: 25 µl
20120620012 | 2012-03-01 09:00 | 17-ALPHA-ETHYNYLESTRADIOL | 64529GM005 | 0.8 | 1.5789 | . | ng/L | 1.0323 | 1.63 | Recoverable Result | 4434 | AT | RCR |  | 2012-04-06 | Crescent 162776: 25 µl
20120830079 | 2012-03-22 08:00 | 17-ALPHA-ETHYNYLESTRADIOL | 64529GM005 | 0.8 | 1.5789 | . | ng/L | 0.90567 | 1.43 | Recoverable Result | 4434 | AT | RCR |  | 2012-04-17 | Supelco LB77167: 25 µl
20121310026 | 2012-05-10 07:30 | 17-ALPHA-ETHYNYLESTRADIOL | 64529GM005 | 0.8 | 1.5789 | . | ng/L | 0.67767 | 1.07 | Recoverable Result | 4434 | AT | RCR |  | 2012-07-27 | Supelco LB77167: 25 µl
20142470037 | 2014-09-03 06:45 | 17-ALPHA-ETHYNYLESTRADIOL | 64529GM005 | 0.8 | 1.5789 | . | ng/L | 0.665 | 1.05 | Recoverable Result | 4434 | AT | RCR |  | 2014-12-16 | Supelco LC06946: 30 µl & Abs 042114: 30 µl
20142620040 | 2014-09-18 07:00 | 17-ALPHA-ETHYNYLESTRADIOL | 64529GM005 | 0.8 | 1.5789 | . | ng/L | 0.71567 | 1.13 | Recoverable Result | 4434 | AT | RCR |  | 2014-12-23 | Spex Organics E1140505004: 30 µl & Supelco LC06946: 30 µl
20143110109 | 2014-11-06 06:30 | 17-ALPHA-ETHYNYLESTRADIOL | 64529GM005 | 0.8 | 1.5789 | . | ng/L | 0.71567 | 1.13 | Recoverable Result | 4434 | AT | RCR |  | 2015-01-29 | Abs 031014: 30 µl & Supelco LC06946: 30 µl
20141290003 | 2014-05-08 08:00 | 17-ALPHA-ETHYNYLESTRADIOL | 64529GM005 | 0.8 | 1.6168 | . | ng/L | 1.002 | 1.62 | Recoverable Result | 4434 | AT | RCR |  | 2014-07-14 | ERA 0227-14-07.2: 30 µl & Abs 031014: 30 µl
20141420137 | 2014-05-22 07:30 | 17-ALPHA-ETHYNYLESTRADIOL | 64529GM005 | 0.8 | 1.6168 | . | ng/L | 1.0947 | 1.77 | Recoverable Result | 4434 | AT | RCR |  | 2014-07-28 | ERA 0227-14-07.2: 30 µl & ChemService 2561700: 30 µl
20141770146 | 2014-06-26 07:00 | 17-ALPHA-ETHYNYLESTRADIOL | 64529GM005 | 0.8 | 1.6168 | . | ng/L | 0.84733 | 1.37 | Recoverable Result | 4434 | AT | RCR |  | 2014-09-04 | ERA 0227-14-07.2: 30 µl & Spex Organics E1140505004: 30 µl
20142200165 | 2014-08-07 07:30 | 17-ALPHA-ETHYNYLESTRADIOL | 64529GM005 | 0.8 | 1.6168 | . | ng/L | 0.86589 | 1.4 | Recoverable Result | 4434 | AT | RCR |  | 2014-11-05 | ERA 0227-14-07.2: 30 µl & Abs 042114: 30 µl
20162100009 | 2016-07-27 06:45 | 17-ALPHA-ETHYNYLESTRADIOL | 64529GM005 | 0.8 | 2.0211 | . | ng/L | 1.4052 | 2.84 | Recoverable Result | 4434 | AT | RCR |  | 2016-09-21 | ChemService 5016200: 30 µl & ChemService 5016100: 30 µl
20162800003 | 2016-10-05 08:00 | 17-ALPHA-ETHYNYLESTRADIOL | 64529GM005 | 0.8 | 2.0211 | . | ng/L | 0.77187 | 1.56 | Recoverable Result | 4434 | AT | TPE |  | 2016-12-29 | ChemService 5016100: 30 µl & Abs 052616: 30 µl
20163220167 | 2016-11-16 08:00 | 17-ALPHA-ETHYNYLESTRADIOL | 64529GM005 | 0.8 | 2.0211 | . | ng/L | 0.86094 | 1.74 | Recoverable Result | 4434 | AT | TPE |  | 2017-02-01 | Supelco LC20140V: 30 µl & Abs 052616: 30 µl
20151900131 | 2015-07-09 07:30 | 17-ALPHA-ETHYNYLESTRADIOL | 64529GM005 | 0.8 | 2.0316 | . | ng/L | 0.8614 | 1.75 | Recoverable Result | 4434 | AT | RCR |  | 2015-08-10 | ERA 0601-15-04: 50 µl & Crescent 04EE007: 50 µl
20152110198 | 2015-07-30 09:30 | 17-ALPHA-ETHYNYLESTRADIOL | 64529GM005 | 0.8 | 2.0316 | . | ng/L | 0.98446 | 2 | Recoverable Result | 4434 | AT | RCR |  | 2015-09-14 | ERA 0601-15-04: 50 µl & ChemService 4073900: 50 µl
20152610010 | 2015-09-17 06:30 | 17-ALPHA-ETHYNYLESTRADIOL | 64529GM005 | 0.8 | 2.0316 | . | ng/L | 0.8171 | 1.66 | Recoverable Result | 4434 | AT | RCR | @c | 2015-12-10 | Abs 041515: 50 µl & ERA 0601-15-04: 50 µl
20160280054 | 2016-01-28 08:30 | 17-ALPHA-ETHYNYLESTRADIOL | 64529GM005 | 0.8 | 2.0316 | . | ng/L | 1.0189 | 2.07 | Recoverable Result | 4434 | AT | RCR |  | 2016-03-07 | Abs 041515: 50 µl & ERA 0601-15-04: 50 µl
20160840085 | 2016-03-24 07:00 | 17-ALPHA-ETHYNYLESTRADIOL | 64529GM005 | 0.8 | 2.0316 | . | ng/L | 0.52176 | 1.06 | Recoverable Result | 4434 | AT | RCR |  | 2016-06-24 | ERA 0601-15-04: 50 µl & ChemService 4073900: 50 µl
20161130024 | 2016-04-21 06:30 | 17-ALPHA-ETHYNYLESTRADIOL | 64529GM005 | 0.8 | 2.0316 | . | ng/L | 0.84663 | 1.72 | Recoverable Result | 4434 | AT | RCR |  | 2016-07-12 | Spex Organics EN150501025: 50 µl & ERA 0601-15-04: 50 µl
20122930150 | 2012-10-18 08:00 | 17-ALPHA-ETHYNYLESTRADIOL | 64529GM005 | 0.8 | 2.0842 | . | ng/L | 0.7197 | 1.5 | Recoverable Result | 4434 | AT | RCR |  | 2012-12-18 | Spex Organics T1120525010: 50 µl & Supelco LB92781: 50 µl
20130650006 | 2013-03-05 08:00 | 17-ALPHA-ETHYNYLESTRADIOL | 64529GM005 | 0.8 | 2.0842 | . | ng/L | 0.78207 | 1.63 | Recoverable Result | 4434 | AT | RCR |  | 2013-04-03 | Spex Organics T1120525010: 50 µl & Restek A089631: 50 µl
20122570124 | 2012-09-13 08:00 | 17-ALPHA-ETHYNYLESTRADIOL | 64529GM005 | 0.8 | 2.1158 | . | ng/L | 0.67114 | 1.42 | Recoverable Result | 4434 | AT | RCR |  | 2012-11-07 | ERA 0507-12-04.1: 50 µl & ERA 0511-12-02: 50 µl
20123070009 | 2012-11-01 08:30 | 17-ALPHA-ETHYNYLESTRADIOL | 64529GM005 | 0.8 | 2.1158 | . | ng/L | 0.79876 | 1.69 | Recoverable Result | 4434 | AT | RCR |  | 2012-12-18 | ERA 0507-12-04.1: 50 µl & Restek A089631: 50 µl
20130940099 | 2013-04-04 07:00 | 17-ALPHA-ETHYNYLESTRADIOL | 64529GM005 | 0.8 | 2.1158 | . | ng/L | 0.84129 | 1.78 | Recoverable Result | 4434 | AT | RCR |  | 2013-04-22 | ERA 0507-12-04.1: 50 µl & Restek A089631: 50 µl
20153230146 | 2015-11-19 09:00 | 17-ALPHA-ETHYNYLESTRADIOL | 64529GM005 | 0.8 | 2.4379 | . | ng/L | 0.79577 | 1.94 | Recoverable Result | 4434 | AT | RCR |  | 2016-01-08 | Spex Organics EN150501025: 60 µl & ERA 0601-15-04: 60 µl
20131370002 | 2013-05-16 08:00 | 17-ALPHA-ETHYNYLESTRADIOL | 64529GM005 | 0.8 | 2.9895 | . | ng/L | 0.62553 | 1.87 | Recoverable Result | 4434 | AT | RCR |  | 2013-06-04 | Supelco LB99393: 20 µl & Spex Organics T1130423008: 20 µl
20131720019 | 2013-06-20 08:30 | 17-ALPHA-ETHYNYLESTRADIOL | 64529GM005 | 0.8 | 2.9895 | . | ng/L | 0.70581 | 2.11 | Recoverable Result | 4434 | AT | RCR |  | 2013-07-19 | Supelco LB99393: 20 µl & ERA 0415-13-01.2A: 20 µl
20132420003 | 2013-08-29 08:00 | 17-ALPHA-ETHYNYLESTRADIOL | 64529GM005 | 0.8 | 2.9895 | . | ng/L | 0.65898 | 1.97 | Recoverable Result | 4434 | AT | RCR |  | 2013-12-09 | Supelco LB99393: 20 µl & Spex Organics T1130423008: 20 µl
20132630005 | 2013-09-19 06:30 | 17-ALPHA-ETHYNYLESTRADIOL | 64529GM005 | 0.8 | 2.9895 | . | ng/L | 0.65563 | 1.96 | Recoverable Result | 4434 | AT | RCR |  | 2014-01-23 | Supelco LB99393: 20 µl & ERA 0415-13-01.2A: 20 µl & Abs 060413: 20 µl
20131580025 | 2013-06-06 08:30 | 17-ALPHA-ETHYNYLESTRADIOL | 64529GM005 | 0.8 | 3.0063 | . | ng/L | 0.65196 | 1.96 | Recoverable Result | 4434 | AT | RCR |  | 2013-06-27 | ERA 0415-13-01.1A: 20 µl & Spex Organics T1130423008: 20 µl
20132140004 | 2013-08-01 08:00 | 17-ALPHA-ETHYNYLESTRADIOL | 64529GM005 | 0.8 | 3.0063 | . | ng/L | 0.7451 | 2.24 | Recoverable Result | 4434 | AT | RCR |  | 2013-09-16 | ERA 0415-13-01.1A: 20 µl & ERA 0415-13-01.2A: 20 µl & Abs 060413: 20 µl
20140860105 | 2014-03-27 08:00 | 17-ALPHA-ETHYNYLESTRADIOL | 64529GM005 | 0.8 | 3.0063 | . | ng/L | 0.76506 | 2.3 | Recoverable Result | 4434 | AT | RCR |  | 2014-04-14 | ERA 0415-13-01.1A: 20 µl & ERA 0415-13-01.2A: 20 µl & Abs 060413: 20 µl
20141910241 | 2014-07-10 07:00 | 17-ALPHA-ETHYNYLESTRADIOL | 64529GM005 | 0.8 | 3.1579 | . | ng/L | 0.7505 | 2.37 | Recoverable Result | 4434 | AT | RCR |  | 2014-09-23 | Supelco LC06946: 60 µl & ChemService 2561700: 60 µl
20142340163 | 2014-08-18 07:00 | 17-ALPHA-ETHYNYLESTRADIOL | 64529GM005 | 0.8 | 3.1579 | . | ng/L | 0.67133 | 2.12 | Recoverable Result | 4434 | AT | RCR |  | 2014-12-09 | Abs 031014: 60 µl & Supelco LC06946: 60 µl
20143240098 | 2014-11-19 06:30 | 17-ALPHA-ETHYNYLESTRADIOL | 64529GM005 | 0.8 | 3.1579 | . | ng/L | 0.63017 | 1.99 | Recoverable Result | 4434 | AT | RCR |  | 2015-02-12 | Supelco LC06946: 60 µl & Abs 042114: 60 µl
20150230030 | 2015-01-22 07:00 | 17-ALPHA-ETHYNYLESTRADIOL | 64529GM005 | 0.8 | 3.1579 | . | ng/L | 0.64283 | 2.03 | Recoverable Result | 4434 | AT | RCR |  | 2015-04-01 | Spex Organics E1140505004: 60 µl & Supelco LC06946: 60 µl
20150430091 | 2015-02-12 06:30 | 17-ALPHA-ETHYNYLESTRADIOL | 64529GM005 | 0.8 | 3.2337 | . | ng/L | 0.82878 | 2.68 | Recoverable Result | 4434 | AT | RCR |  | 2015-04-01 | ERA 0227-14-07.2: 60 µl & ChemService 2561700: 60 µl
20161400193 | 2016-05-18 06:15 | 17-ALPHA-ETHYNYLESTRADIOL | 64529GM005 | 0.8 | 3.3684 | E | ng/L | 0.82234 | 2.77 | Estimated Values | 4434 | AT | RCR |  | 2016-08-11 | ChemService 5016100: 50 µl & Spex Organics TS160420010: 50 µl
20161540125 | 2016-06-02 06:00 | 17-ALPHA-ETHYNYLESTRADIOL | 64529GM005 | 0.8 | 3.3684 | . | ng/L | 0.89656 | 3.02 | Recoverable Result | 4434 | AT | RCR |  | 2016-08-19 | Supelco LC20140V: 50 µl & Spex Organics TS160420010: 50 µl
20162520002 | 2016-09-07 07:30 | 17-ALPHA-ETHYNYLESTRADIOL | 64529GM005 | 0.8 | 3.3684 | . | ng/L | 0.84313 | 2.84 | Recoverable Result | 4434 | AT | TPE |  | 2016-12-15 | Abs 061416H: 50 µl & ChemService 5016100: 50 µl
20111590009 | 2011-06-07 08:00 | 17-ALPHA-ETHYNYLESTRADIOL | 64529GM005 | 0.8 | 6.1894 | . | ng/L | 0.82237 | 5.09 | Recoverable Result | 4434 | AT | RCR |  | 2011-06-23 | Crescent 162776: 100 µl
20110210093 | 2011-01-20 08:00 | 17-ALPHA-ETHYNYLESTRADIOL | 64529GM005 | 0.8 | 6.2189 | . | ng/L | 0.75415 | 4.69 | Recoverable Result | 4434 | AT | RCR |  | 2011-03-10 | Crescent 162776: 100 µl
20111330150 | 2011-05-12 08:00 | 17-ALPHA-ETHYNYLESTRADIOL | 64529GM005 | 0.8 | 6.2318 | . | ng/L | 0.84887 | 5.29 | Recoverable Result | 4434 | AT | JEM |  | 2011-06-07 | Supelco LB77167: 100 µl
20112450026 | 2011-09-01 09:30 | 17-ALPHA-ETHYNYLESTRADIOL | 64529GM005 | 0.8 | 6.3158 | . | ng/L | 0.73942 | 4.67 | Recoverable Result | 4434 | AT | RCR |  | 2011-10-13 | Supelco LB77167: 100 µl
20113220197 | 2011-11-17 07:30 | 17-ALPHA-ETHYNYLESTRADIOL | 64529GM005 | 0.8 | 6.3158 | . | ng/L | 0.82017 | 5.18 | Recoverable Result | 4434 | AT | RCR |  | 2012-01-27 | Supelco LB77167: 100 µl
20120200075 | 2012-01-19 08:30 | 17-ALPHA-ETHYNYLESTRADIOL | 64529GM005 | 0.8 | 6.3158 | . | ng/L | 0.9595 | 6.06 | Recoverable Result | 4434 | AT | RCR |  | 2012-03-27 | Crescent 162776: 100 µl
20140440054 | 2014-02-13 08:00 | 17-ALPHA-ETHYNYLESTRADIOL | 64529GM005 | 0.8 | 7.4737 | . | ng/L | 0.57669 | 4.31 | Recoverable Result | 4434 | AT | RCR |  | 2014-03-14 | Supelco LB99393: 50 µl & Abs 060413: 50 µl & Abs 071513: 50 µl
20140230084 | 2014-01-23 07:30 | 17-ALPHA-ETHYNYLESTRADIOL | 64529GM005 | 0.8 | 7.4737 | . | ng/L | 0.66768 | 4.99 | Recoverable Result | 4434 | AT | RCR |  | 2014-03-14 | Supelco LB99393: 50 µl & Abs 050813: 50 µl
20133050049 | 2013-10-31 07:00 | 17-ALPHA-ETHYNYLESTRADIOL | 64529GM005 | 0.8 | 7.5158 | . | ng/L | 0.61204 | 4.6 | Recoverable Result | 4434 | AT | RCR |  | 2014-02-25 | ERA 0415-13-01.1A: 50 µl & Abs 050813: 50 µl
20133540013 | 2013-12-19 07:30 | 17-ALPHA-ETHYNYLESTRADIOL | 64529GM005 | 0.8 | 7.5158 | . | ng/L | 0.70518 | 5.3 | Recoverable Result | 4434 | AT | RCR |  | 2014-03-05 | ERA 0415-13-01.1A: 50 µl & Abs 060413: 50 µl & Abs 071513: 50 µl
20140730136 | 2014-03-13 08:00 | 17-ALPHA-ETHYNYLESTRADIOL | 64529GM005 | 0.8 | 7.5158 | . | ng/L | 0.87416 | 6.57 | Recoverable Result | 4434 | AT | RCR |  | 2014-04-14 | ERA 0415-13-01.1A: 50 µl & Abs 071513: 50 µl