## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20163420126 | 2016-12-07 08:00 | 3-BETA-COPROSTANOL | 64532GM005 | 200 |  | R | ng/L |  |  | Deleted Values | 4434 |  |  |  | 2016-12-07 08:00 | Spex Organics EN160621015: 80 µl & Abs 061416H: 80 µl
20151380010 | 2015-05-14 06:00 | 3-BETA-COPROSTANOL | 64532GM005 | 200 | 297.2564 | < | ng/L |  |  | False Negative | 4434 | AT | RCR |  | 2015-06-29 | Supelco LC13547: 30 µl & Abs 041515: 30 µl
20151480171 | 2015-05-28 06:30 | 3-BETA-COPROSTANOL | 64532GM005 | 200 | 297.2564 | < | ng/L |  |  | False Negative | 4434 | AT | RCR |  | 2015-09-17 | Supelco LC13547: 30 µl & Abs 041515: 30 µl
20160070058 | 2016-01-07 08:30 | 3-BETA-COPROSTANOL | 64532GM005 | 200 | 297.2564 | < | ng/L |  |  | False Negative | 4434 | AT | RCR |  | 2016-03-07 | ChemService 4073900: 30 µl & Abs 041515: 30 µl
20151410211 | 2015-05-21 07:00 | 3-BETA-COPROSTANOL | 64532GM005 | 200 | 300 | < | ng/L |  |  | False Negative | 4434 | AT | RCR |  | 2015-09-17 | Supelco LC13547: 30 µl & Spex Organics EN150501025: 30 µl
20152190002 | 2015-08-06 08:30 | 3-BETA-COPROSTANOL | 64532GM005 | 200 | 300 | < | ng/L |  |  | False Negative | 4434 | AT | RCR |  | 2015-09-23 | ChemService 4073900: 30 µl & Spex Organics EN150501025: 30 µl
20152460213 | 2015-09-03 08:30 | 3-BETA-COPROSTANOL | 64532GM005 | 200 | 300 | < | ng/L |  |  | False Negative | 4434 | AT | RCR |  | 2015-12-11 | Crescent 04EE007: 30 µl & Spex Organics EN150501025: 30 µl
20160630047 | 2016-03-03 08:30 | 3-BETA-COPROSTANOL | 64532GM005 | 200 | 300 | < | ng/L |  |  | False Negative | 4434 | AT | RCR |  | 2016-03-18 | Spex Organics EN150501025: 30 µl & Supelco LC13547: 30 µl
20160560045 | 2016-02-25 08:30 | 3-BETA-COPROSTANOL | 64532GM005 | 200 | 300 | < | ng/L |  |  | False Negative | 4434 | AT | RCR |  | 2016-03-18 | Crescent 04EE007: 30 µl & Spex Organics EN150501025: 30 µl
20131370002 | 2013-05-16 08:00 | 3-BETA-COPROSTANOL | 64532GM005 | 200 | 349.8947 | < | ng/L |  |  | False Negative | 4434 | AT | RCR | n | 2013-06-04 | Supelco LB99393: 20 µl & Spex Organics T1130423008: 20 µl
20131580025 | 2013-06-06 08:30 | 3-BETA-COPROSTANOL | 64532GM005 | 200 | 349.8947 | < | ng/L |  |  | False Negative | 4434 | AT | RCR | n | 2013-06-27 | ERA 0415-13-01.1A: 20 µl & Spex Organics T1130423008: 20 µl
20133260007 | 2013-11-21 07:30 | 3-BETA-COPROSTANOL | 64532GM005 | 200 | 350.7731 | < | ng/L |  |  | False Negative | 4434 | AT | RCR |  | 2014-03-03 | Abs 050813: 20 µl & Abs 071513: 20 µl
20141770146 | 2014-06-26 07:00 | 3-BETA-COPROSTANOL | 64532GM005 | 200 | 397.8947 | < | ng/L |  |  | False Negative | 4434 | AT | RCR |  | 2014-09-04 | ERA 0227-14-07.2: 30 µl & Spex Organics E1140505004: 30 µl
20143110109 | 2014-11-06 06:30 | 3-BETA-COPROSTANOL | 64532GM005 | 200 | 398.6526 | < | ng/L |  |  | False Negative | 4434 | AT | RCR |  | 2015-01-29 | Abs 031014: 30 µl & Supelco LC06946: 30 µl
20151970169 | 2015-07-16 07:00 | 3-BETA-COPROSTANOL | 64532GM005 | 200 | 495.4274 | < | ng/L |  |  | False Negative | 4434 | AT | RCR |  | 2015-08-17 | ChemService 4073900: 50 µl & Abs 041515: 50 µl
20151620181 | 2015-06-11 06:30 | 3-BETA-COPROSTANOL | 64532GM005 | 200 | 500 | < | ng/L |  |  | False Negative | 4434 | AT | RCR |  | 2015-07-21 | Supelco LC13547: 50 µl & Spex Organics EN150501025: 50 µl
20162100009 | 2016-07-27 06:45 | 3-BETA-COPROSTANOL | 64532GM005 | 200 | 500.2105 | < | ng/L |  |  | False Negative | 4434 | AT | RCR | v | 2016-09-21 | ChemService 5016200: 30 µl & ChemService 5016100: 30 µl
20162800003 | 2016-10-05 08:00 | 3-BETA-COPROSTANOL | 64532GM005 | 200 | 500.2105 | < | ng/L |  |  | False Negative | 4434 | AT | TPE | v | 2016-12-29 | ChemService 5016100: 30 µl & Abs 052616: 30 µl
20163220167 | 2016-11-16 08:00 | 3-BETA-COPROSTANOL | 64532GM005 | 200 | 500.2105 | < | ng/L |  |  | False Negative | 4434 | AT | TPE | v | 2017-02-01 | Supelco LC20140V: 30 µl & Abs 052616: 30 µl
20140590012 | 2014-02-27 08:00 | 3-BETA-COPROSTANOL | 64532GM005 | 200 | 874.7369 | X | ng/L |  |  | Deleted Values | 4434 | AT | RCR |  | 2014-03-14 | ERA 0415-13-01.2A: 50 µl & Spex Organics T1130423008: 50 µl
20131160077 | 2013-04-25 07:00 | 3-BETA-COPROSTANOL | 64532GM005 | 200 | 10769.47 | R | ng/L |  |  | Deleted Values | 4434 |  |  |  | 2013-04-25 07:00 | Abs 051512: 50 µl & Spex Organics T1120525010: 50 µl
20132420003 | 2013-08-29 08:00 | 3-BETA-COPROSTANOL | 64532GM005 | 200 | 349.8947 | . | ng/L | 1.1289 | 395 | Recoverable Result | 4434 | AT | RCR |  | 2013-12-09 | Supelco LB99393: 20 µl & Spex Organics T1130423008: 20 µl
20132340084 | 2013-08-21 08:00 | 3-BETA-COPROSTANOL | 64532GM005 | 200 | 350.7731 | . | ng/L | 0.66995 | 235 | Recoverable Result | 4434 | AT | RCR |  | 2013-11-18 | ERA 0415-13-01.2A: 20 µl & Abs 050813: 20 µl
20132980022 | 2013-10-24 08:00 | 3-BETA-COPROSTANOL | 64532GM005 | 200 | 350.7731 | . | ng/L | 0.78683 | 276 | Recoverable Result | 4434 | AT | RCR |  | 2014-02-19 | Abs 050813: 20 µl & Abs 071513: 20 µl
20142620040 | 2014-09-18 07:00 | 3-BETA-COPROSTANOL | 64532GM005 | 200 | 397.8947 | . | ng/L | 0.5127 | 204 | Recoverable Result | 4434 | AT | RCR |  | 2014-12-23 | Spex Organics E1140505004: 30 µl & Supelco LC06946: 30 µl
20143650001 | 2014-12-31 06:00 | 3-BETA-COPROSTANOL | 64532GM005 | 200 | 397.8947 | . | ng/L | 0.62328 | 248 | Recoverable Result | 4434 | AT | RCR |  | 2015-04-01 | ChemService 2561700: 30 µl & Spex Organics E1140505004: 30 µl
20141150017 | 2014-04-24 08:00 | 3-BETA-COPROSTANOL | 64532GM005 | 200 | 398.6526 | . | ng/L | 0.66976 | 267 | Recoverable Result | 4434 | AT | RCR |  | 2014-05-14 | Abs 031014: 30 µl & ChemService 2561700: 30 µl
20141290003 | 2014-05-08 08:00 | 3-BETA-COPROSTANOL | 64532GM005 | 200 | 398.6526 | . | ng/L | 0.55938 | 223 | Recoverable Result | 4434 | AT | RCR |  | 2014-07-14 | ERA 0227-14-07.2: 30 µl & Abs 031014: 30 µl
20142530088 | 2014-09-10 06:30 | 3-BETA-COPROSTANOL | 64532GM005 | 200 | 398.6526 | . | ng/L | 0.96074 | 383 | Recoverable Result | 4434 | AT | RCR |  | 2014-12-22 | Abs 042114: 30 µl & Abs 031014: 30 µl
20151140151 | 2015-04-23 07:00 | 3-BETA-COPROSTANOL | 64532GM005 | 200 | 398.6526 | . | ng/L | 0.65972 | 263 | Recoverable Result | 4434 | AT | RCR |  | 2015-06-03 | Abs 031014: 30 µl & ERA 0227-14-07.2: 30 µl
20152610010 | 2015-09-17 06:30 | 3-BETA-COPROSTANOL | 64532GM005 | 200 | 495.4274 | E | ng/L | 0.51269 | 254 | Estimated Values | 4434 | AT | RCR | @c | 2015-12-10 | Abs 041515: 50 µl & ERA 0601-15-04: 50 µl
20160280054 | 2016-01-28 08:30 | 3-BETA-COPROSTANOL | 64532GM005 | 200 | 495.4274 | . | ng/L | 0.56517 | 280 | Recoverable Result | 4434 | AT | RCR |  | 2016-03-07 | Abs 041515: 50 µl & ERA 0601-15-04: 50 µl
20153280158 | 2015-11-24 08:30 | 3-BETA-COPROSTANOL | 64532GM005 | 200 | 500 | . | ng/L | 0.564 | 282 | Recoverable Result | 4434 | AT | RCR | * | 2016-01-08 | Crescent 04EE007: 50 µl & Spex Organics EN150501025: 50 µl
20160910145 | 2016-03-31 07:30 | 3-BETA-COPROSTANOL | 64532GM005 | 200 | 500 | . | ng/L | 0.544 | 272 | Recoverable Result | 4434 | AT | RCR |  | 2016-06-24 | Crescent 04EE007: 50 µl & Spex Organics EN150501025: 50 µl
20161130024 | 2016-04-21 06:30 | 3-BETA-COPROSTANOL | 64532GM005 | 200 | 500 | E | ng/L | 0.74 | 370 | Estimated Values | 4434 | AT | RCR |  | 2016-07-12 | Spex Organics EN150501025: 50 µl & ERA 0601-15-04: 50 µl
20161820010 | 2016-06-29 08:30 | 3-BETA-COPROSTANOL | 64532GM005 | 200 | 500.2105 | . | ng/L | 0.45181 | 226 | Recoverable Result | 4434 | AT | RCR |  | 2016-09-09 | ChemService 5016200: 30 µl & Supelco LC20140V: 30 µl
20161960002 | 2016-07-13 08:30 | 3-BETA-COPROSTANOL | 64532GM005 | 200 | 500.2105 | . | ng/L | 0.44581 | 223 | Recoverable Result | 4434 | AT | RCR |  | 2016-09-15 | Supelco LC20140V: 30 µl & Spex Organics EN160621015: 30 µl
20152890008 | 2015-10-15 08:30 | 3-BETA-COPROSTANOL | 64532GM005 | 200 | 594.5128 | . | ng/L | 0.72665 | 432 | Recoverable Result | 4434 | AT | RCR |  | 2016-01-07 | Crescent 04EE007: 60 µl & Abs 041515: 60 µl
20153230146 | 2015-11-19 09:00 | 3-BETA-COPROSTANOL | 64532GM005 | 200 | 600 | . | ng/L | 0.505 | 303 | Recoverable Result | 4434 | AT | RCR |  | 2016-01-08 | Spex Organics EN150501025: 60 µl & ERA 0601-15-04: 60 µl
20142890075 | 2014-10-16 07:00 | 3-BETA-COPROSTANOL | 64532GM005 | 200 | 795.7895 | . | ng/L | 0.52526 | 418 | Recoverable Result | 4434 | AT | RCR |  | 2015-01-21 | ChemService 2561700: 60 µl & Spex Organics E1140505004: 60 µl
20150230030 | 2015-01-22 07:00 | 3-BETA-COPROSTANOL | 64532GM005 | 200 | 795.7895 | . | ng/L | 0.47123 | 375 | Recoverable Result | 4434 | AT | RCR |  | 2015-04-01 | Spex Organics E1140505004: 60 µl & Supelco LC06946: 60 µl
20150790010 | 2015-03-19 07:00 | 3-BETA-COPROSTANOL | 64532GM005 | 200 | 795.7895 | . | ng/L | 0.60192 | 479 | Recoverable Result | 4434 | AT | RCR |  | 2015-04-13 | Abs 042114: 60 µl & Spex Organics E1140505004: 60 µl
20141080003 | 2014-04-17 06:30 | 3-BETA-COPROSTANOL | 64532GM005 | 200 | 797.3052 | . | ng/L | 0.89175 | 711 | Recoverable Result | 4434 | AT | RCR |  | 2014-05-06 | Abs 031014: 60 µl & ChemService 2561700: 60 µl
20141490203 | 2014-05-29 07:00 | 3-BETA-COPROSTANOL | 64532GM005 | 200 | 797.3052 | . | ng/L | 0.59827 | 477 | Recoverable Result | 4434 | AT | RCR |  | 2014-08-11 | Abs 031014: 60 µl & ERA 0227-14-07.2: 60 µl
20141710107 | 2014-06-19 07:30 | 3-BETA-COPROSTANOL | 64532GM005 | 200 | 797.3052 | . | ng/L | 0.60077 | 479 | Recoverable Result | 4434 | AT | RCR |  | 2014-08-26 | Abs 031014: 60 µl & Abs 042114: 60 µl
20142340163 | 2014-08-18 07:00 | 3-BETA-COPROSTANOL | 64532GM005 | 200 | 797.3052 | . | ng/L | 0.61833 | 493 | Recoverable Result | 4434 | AT | RCR |  | 2014-12-09 | Abs 031014: 60 µl & Supelco LC06946: 60 µl
20161400193 | 2016-05-18 06:15 | 3-BETA-COPROSTANOL | 64532GM005 | 200 | 833.6842 | . | ng/L | 0.55657 | 464 | Recoverable Result | 4434 | AT | RCR |  | 2016-08-11 | ChemService 5016100: 50 µl & Spex Organics TS160420010: 50 µl
20161540125 | 2016-06-02 06:00 | 3-BETA-COPROSTANOL | 64532GM005 | 200 | 833.6842 | . | ng/L | 0.43182 | 360 | Recoverable Result | 4434 | AT | RCR |  | 2016-08-19 | Supelco LC20140V: 50 µl & Spex Organics TS160420010: 50 µl
20162520002 | 2016-09-07 07:30 | 3-BETA-COPROSTANOL | 64532GM005 | 200 | 833.6842 | . | ng/L | 0.45941 | 383 | Recoverable Result | 4434 | AT | TPE |  | 2016-12-15 | Abs 061416H: 50 µl & ChemService 5016100: 50 µl
20131840103 | 2013-07-03 07:30 | 3-BETA-COPROSTANOL | 64532GM005 | 200 | 874.7369 | . | ng/L | 0.58532 | 512 | Recoverable Result | 4434 | AT | RCR |  | 2013-08-09 | ERA 0415-13-01.2A: 50 µl & Spex Organics T1130423008: 50 µl
20140030014 | 2014-01-02 06:30 | 3-BETA-COPROSTANOL | 64532GM005 | 200 | 874.7369 | . | ng/L | 0.60247 | 527 | Recoverable Result | 4434 | AT | RCR |  | 2014-03-05 | Spex Organics T1130423008: 50 µl & Abs 071513: 50 µl
20133050049 | 2013-10-31 07:00 | 3-BETA-COPROSTANOL | 64532GM005 | 200 | 876.9327 | E | ng/L | 0.84613 | 742 | Estimated Values | 4434 | AT | RCR |  | 2014-02-25 | ERA 0415-13-01.1A: 50 µl & Abs 050813: 50 µl
20140230084 | 2014-01-23 07:30 | 3-BETA-COPROSTANOL | 64532GM005 | 200 | 876.9327 | . | ng/L | 0.68306 | 599 | Recoverable Result | 4434 | AT | RCR |  | 2014-03-14 | Supelco LB99393: 50 µl & Abs 050813: 50 µl
20111680031 | 2011-06-16 10:00 | 3-BETA-COPROSTANOL | 64532GM005 | 200 | 4020.543 | . | ng/L | 0.86307 | 3470 | Recoverable Result | 4434 | AT | RCR |  | 2011-07-11 | Spex Organics T1100629008: 25 µl
20110340010 | 2011-02-02 08:00 | 3-BETA-COPROSTANOL | 64532GM005 | 200 | 4038.621 | . | ng/L | 0.75273 | 3040 | Recoverable Result | 4434 | AT | RCR |  | 2011-03-30 | Abs 081810: 25 µl
20111470069 | 2011-05-26 08:30 | 3-BETA-COPROSTANOL | 64532GM005 | 200 | 4044.484 | . | ng/L | 0.97417 | 3940 | Recoverable Result | 4434 | AT | JEM |  | 2011-06-13 | Abs 081810: 25 µl
20110070106 | 2011-01-06 07:30 | 3-BETA-COPROSTANOL | 64532GM005 | 200 | 4045.73 | . | ng/L | 0.87252 | 3530 | Recoverable Result | 4434 | AT | RCR |  | 2011-03-10 | Spex Organics T1100629008: 25 µl
20112590006 | 2011-09-15 09:00 | 3-BETA-COPROSTANOL | 64532GM005 | 200 | 4078.948 | . | ng/L | 1.0468 | 4270 | Recoverable Result | 4434 | AT | RCR |  | 2011-10-13 | Spex Organics T1100629008: 25 µl
20113080005 | 2011-11-03 08:00 | 3-BETA-COPROSTANOL | 64532GM005 | 200 | 4078.948 | . | ng/L | 0.9071 | 3700 | Recoverable Result | 4434 | AT | RCR |  | 2011-11-28 | Spex Organics T1100629008: 25 µl
20121520253 | 2012-05-31 07:30 | 3-BETA-COPROSTANOL | 64532GM005 | 200 | 4078.948 | . | ng/L | 1.3754 | 5610 | Recoverable Result | 4434 | AT | RCR |  | 2012-08-16 | Spex Organics T1100629008: 25 µl
20112380057 | 2011-08-25 11:20 | 3-BETA-COPROSTANOL | 64532GM005 | 200 | 4105.79 | . | ng/L | 0.92065 | 3780 | Recoverable Result | 4434 | AT | RCR |  | 2011-10-12 | Abs 081810: 25 µl
20113340044 | 2011-11-29 08:00 | 3-BETA-COPROSTANOL | 64532GM005 | 200 | 4105.79 | . | ng/L | 1.3615 | 5590 | Recoverable Result | 4434 | AT | RCR |  | 2012-01-27 | Abs 081810: 25 µl
20120260027 | 2012-01-26 08:30 | 3-BETA-COPROSTANOL | 64532GM005 | 200 | 4105.79 | . | ng/L | 1.1886 | 4880 | Recoverable Result | 4434 | AT | RCR |  | 2012-03-27 | Abs 081810: 25 µl
20111190186 | 2011-04-28 08:00 | 3-BETA-COPROSTANOL | 64532GM005 | 200 | 4110.97 | . | ng/L | 0.97301 | 4000 | Recoverable Result | 4434 | AT | JEM |  | 2011-05-26 | Spex Organics T1100629008: 25 µl
20123260038 | 2012-11-20 08:30 | 3-BETA-COPROSTANOL | 64532GM005 | 200 | 5368.421 | . | ng/L | 0.9649 | 5180 | Recoverable Result | 4434 | AT | RCR |  | 2012-12-18 | Restek A089631: 25 µl & Supelco LB92781: 25 µl
20123490149 | 2012-12-13 07:30 | 3-BETA-COPROSTANOL | 64532GM005 | 200 | 5368.421 | . | ng/L | 1.2909 | 6930 | Recoverable Result | 4434 | AT | RCR |  | 2013-02-08 | ERA 0507-12-04.1: 25 µl & Supelco LB92781: 25 µl
20130810107 | 2013-03-21 07:30 | 3-BETA-COPROSTANOL | 64532GM005 | 200 | 5368.421 | . | ng/L | 0.88667 | 4760 | Recoverable Result | 4434 | AT | RCR |  | 2013-04-10 | ERA 0511-12-02: 25 µl & Supelco LB92781: 25 µl
20121670019 | 2012-06-14 08:30 | 3-BETA-COPROSTANOL | 64532GM005 | 200 | 5384.736 | . | ng/L | 1.3947 | 7510 | Recoverable Result | 4434 | AT | RCR |  | 2012-08-24 | Abs 051512: 25 µl
20122230020 | 2012-08-09 07:00 | 3-BETA-COPROSTANOL | 64532GM005 | 200 | 5384.736 | . | ng/L | 1.2387 | 6670 | Recoverable Result | 4434 | AT | RCR |  | 2012-08-31 | ERA 0511-12-02: 25 µl & Abs 051512: 25 µl
20122430224 | 2012-08-30 08:00 | 3-BETA-COPROSTANOL | 64532GM005 | 200 | 5384.736 | . | ng/L | 1.2108 | 6520 | Recoverable Result | 4434 | AT | RCR |  | 2012-11-01 | ERA 0507-12-04.1: 25 µl & Abs 051512: 25 µl
20130510049 | 2013-02-19 08:30 | 3-BETA-COPROSTANOL | 64532GM005 | 200 | 5384.736 | . | ng/L | 0.93598 | 5040 | Recoverable Result | 4434 | AT | RCR |  | 2013-04-03 | Spex Organics T1120525010: 25 µl & Abs 051512: 25 µl
20122930150 | 2012-10-18 08:00 | 3-BETA-COPROSTANOL | 64532GM005 | 200 | 10736.84 | . | ng/L | 0.97794 | 10500 | Recoverable Result | 4434 | AT | RCR |  | 2012-12-18 | Spex Organics T1120525010: 50 µl & Supelco LB92781: 50 µl
20130250063 | 2013-01-24 08:00 | 3-BETA-COPROSTANOL | 64532GM005 | 200 | 10736.84 | . | ng/L | 0.92951 | 9980 | Recoverable Result | 4434 | AT | RCR |  | 2013-02-22 | Restek A089631: 50 µl & Supelco LB92781: 50 µl
20122790026 | 2012-10-04 08:00 | 3-BETA-COPROSTANOL | 64532GM005 | 200 | 10769.47 | . | ng/L | 1.1885 | 12800 | Recoverable Result | 4434 | AT | RCR |  | 2012-12-03 | ERA 0511-12-02: 50 µl & Abs 051512: 50 µl
20110620086 | 2011-03-03 08:00 | 3-BETA-COPROSTANOL | 64532GM005 | 200 | 16308.92 | . | ng/L | 0.80324 | 13100 | Recoverable Result | 4434 | AT | RCR |  | 2011-03-31 | Spex Organics T1100629008: 100 µl
20111950200 | 2011-07-14 10:00 | 3-BETA-COPROSTANOL | 64532GM005 | 200 | 16315.79 | . | ng/L | 0.77839 | 12700 | Recoverable Result | 4434 | AT | JEM |  | 2011-09-29 | Spex Organics T1100629008: 100 µl
20113490064 | 2011-12-13 08:30 | 3-BETA-COPROSTANOL | 64532GM005 | 200 | 16315.79 | . | ng/L | 0.92548 | 15100 | Recoverable Result | 4434 | AT | RCR |  | 2012-02-01 | Spex Organics T1100629008: 100 µl
20112170148 | 2011-08-04 10:00 | 3-BETA-COPROSTANOL | 64532GM005 | 200 | 16423.16 | . | ng/L | 0.81592 | 13400 | Recoverable Result | 4434 | AT | JEM |  | 2011-10-03 | Abs 081810: 100 µl
20120760110 | 2012-03-15 09:00 | 3-BETA-COPROSTANOL | 64532GM005 | 200 | 16423.16 | . | ng/L | 1.2787 | 21000 | Recoverable Result | 4434 | AT | RCR |  | 2012-04-17 | Abs 081810: 100 µl
20121040013 | 2012-04-12 07:30 | 3-BETA-COPROSTANOL | 64532GM005 | 200 | 16423.16 | . | ng/L | 1.2056 | 19800 | Recoverable Result | 4434 | AT | RCR |  | 2012-07-02 | Abs 081810: 100 µl
20110910087 | 2011-03-31 09:00 | 3-BETA-COPROSTANOL | 64532GM005 | 200 | 16517.05 | . | ng/L | 0.77496 | 12800 | Recoverable Result | 4434 | AT | JEM |  | 2011-05-09 | Abs 081810: 100 µl