## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20161540125 | 2016-06-02 06:00 | 4-ANDROSTENE-3,17-DIONE | 64533GM005 | 2 |  | E | ng/L |  | 7.9 | False Positive | 4434 | AT | RCR |  | 2016-08-19 | Supelco LC20140V: 50 µl & Spex Organics TS160420010: 50 µl
20152330045 | 2015-08-20 07:30 | 4-ANDROSTENE-3,17-DIONE | 64533GM005 | 0.8 | 1.2 | < | ng/L |  |  | False Negative | 4434 | AT | RCR |  | 2015-11-02 | Supelco LC13547: 30 µl & Crescent 04EE007: 30 µl
20152460213 | 2015-09-03 08:30 | 4-ANDROSTENE-3,17-DIONE | 64533GM005 | 0.8 | 1.2 | < | ng/L |  | 2.06 | SACRALT | 4434 | AT | RCR |  | 2015-12-11 | Crescent 04EE007: 30 µl & Spex Organics EN150501025: 30 µl
20153440002 | 2015-12-09 06:30 | 4-ANDROSTENE-3,17-DIONE | 64533GM005 | 0.8 | 1.2 | < | ng/L |  |  | False Negative | 4434 | AT | RCR |  | 2016-01-08 | ERA 0601-15-04: 30 µl & Crescent 04EE007: 30 µl
20160560045 | 2016-02-25 08:30 | 4-ANDROSTENE-3,17-DIONE | 64533GM005 | 0.8 | 1.2 | < | ng/L |  | 20 | SACRALT | 4434 | AT | RCR |  | 2016-03-18 | Crescent 04EE007: 30 µl & Spex Organics EN150501025: 30 µl
20153280158 | 2015-11-24 08:30 | 4-ANDROSTENE-3,17-DIONE | 64533GM005 | 0.8 | 2 | < | ng/L |  |  | False Negative | 4434 | AT | RCR | * | 2016-01-08 | Crescent 04EE007: 50 µl & Spex Organics EN150501025: 50 µl
20160910145 | 2016-03-31 07:30 | 4-ANDROSTENE-3,17-DIONE | 64533GM005 | 2 | 2 | < | ng/L |  | 3.3 | SACRALT | 4434 | AT | RCR |  | 2016-06-24 | Crescent 04EE007: 50 µl & Spex Organics EN150501025: 50 µl
20162300273 | 2016-08-17 08:00 | 4-ANDROSTENE-3,17-DIONE | 64533GM005 | 2 | 2.0299 | < | ng/L |  |  | False Negative | 4434 | AT | TPE |  | 2016-12-05 | Abs 052616: 30 µl & Abs 061416H: 30 µl
20152890008 | 2015-10-15 08:30 | 4-ANDROSTENE-3,17-DIONE | 64533GM005 | 0.8 | 2.4 | < | ng/L |  |  | False Negative | 4434 | AT | RCR |  | 2016-01-07 | Crescent 04EE007: 60 µl & Abs 041515: 60 µl
20162520002 | 2016-09-07 07:30 | 4-ANDROSTENE-3,17-DIONE | 64533GM005 | 2 | 3.3832 | < | ng/L |  |  | False Negative | 4434 | AT | TPE |  | 2016-12-15 | Abs 061416H: 50 µl & ChemService 5016100: 50 µl
20163420126 | 2016-12-07 08:00 | 4-ANDROSTENE-3,17-DIONE | 64533GM005 | 2 | 5.4131 | R | ng/L |  |  | Deleted Values | 4434 |  |  |  | 2016-12-07 08:00 | Spex Organics EN160621015: 80 µl & Abs 061416H: 80 µl
20131160077 | 2013-04-25 07:00 | 4-ANDROSTENE-3,17-DIONE | 64533GM005 | 0.8 | 16.6316 | R | ng/L |  |  | Deleted Values | 4434 |  |  |  | 2013-04-25 07:00 | Abs 051512: 50 µl & Spex Organics T1120525010: 50 µl
20151900131 | 2015-07-09 07:30 | 4-ANDROSTENE-3,17-DIONE | 64533GM005 | 0.8 | 2 | . | ng/L | 0.89 | 1.78 | Recoverable Result | 4434 | AT | RCR |  | 2015-08-10 | ERA 0601-15-04: 50 µl & Crescent 04EE007: 50 µl
20131370002 | 2013-05-16 08:00 | 4-ANDROSTENE-3,17-DIONE | 64533GM005 | 0.8 | 2.9895 | . | ng/L | 0.33116 | 0.99 | Recoverable Result | 4434 | AT | RCR |  | 2013-06-04 | Supelco LB99393: 20 µl & Spex Organics T1130423008: 20 µl
20131580025 | 2013-06-06 08:30 | 4-ANDROSTENE-3,17-DIONE | 64533GM005 | 0.8 | 2.9895 | . | ng/L | 0.38468 | 1.15 | Recoverable Result | 4434 | AT | RCR |  | 2013-06-27 | ERA 0415-13-01.1A: 20 µl & Spex Organics T1130423008: 20 µl
20132420003 | 2013-08-29 08:00 | 4-ANDROSTENE-3,17-DIONE | 64533GM005 | 0.8 | 2.9895 | . | ng/L | 0.54859 | 1.64 | Recoverable Result | 4434 | AT | RCR |  | 2013-12-09 | Supelco LB99393: 20 µl & Spex Organics T1130423008: 20 µl
20132140004 | 2013-08-01 08:00 | 4-ANDROSTENE-3,17-DIONE | 64533GM005 | 0.8 | 3.0038 | . | ng/L | 0.54931 | 1.65 | Recoverable Result | 4434 | AT | RCR |  | 2013-09-16 | ERA 0415-13-01.1A: 20 µl & ERA 0415-13-01.2A: 20 µl & Abs 060413: 20 µl
20132340084 | 2013-08-21 08:00 | 4-ANDROSTENE-3,17-DIONE | 64533GM005 | 0.8 | 3.0038 | . | ng/L | 0.67914 | 2.04 | Recoverable Result | 4434 | AT | RCR |  | 2013-11-18 | ERA 0415-13-01.2A: 20 µl & Abs 050813: 20 µl
20132630005 | 2013-09-19 06:30 | 4-ANDROSTENE-3,17-DIONE | 64533GM005 | 0.8 | 3.0038 | . | ng/L | 0.67581 | 2.03 | Recoverable Result | 4434 | AT | RCR |  | 2014-01-23 | Supelco LB99393: 20 µl & ERA 0415-13-01.2A: 20 µl & Abs 060413: 20 µl
20132980022 | 2013-10-24 08:00 | 4-ANDROSTENE-3,17-DIONE | 64533GM005 | 0.8 | 3.0038 | . | ng/L | 0.77569 | 2.33 | Recoverable Result | 4434 | AT | RCR |  | 2014-02-19 | Abs 050813: 20 µl & Abs 071513: 20 µl
20133260007 | 2013-11-21 07:30 | 4-ANDROSTENE-3,17-DIONE | 64533GM005 | 0.8 | 3.0038 | . | ng/L | 0.34956 | 1.05 | Recoverable Result | 4434 | AT | RCR |  | 2014-03-03 | Abs 050813: 20 µl & Abs 071513: 20 µl
20140860105 | 2014-03-27 08:00 | 4-ANDROSTENE-3,17-DIONE | 64533GM005 | 0.8 | 3.0038 | . | ng/L | 0.46275 | 1.39 | Recoverable Result | 4434 | AT | RCR |  | 2014-04-14 | ERA 0415-13-01.1A: 20 µl & ERA 0415-13-01.2A: 20 µl & Abs 060413: 20 µl
20110770007 | 2011-03-17 09:00 | 4-ANDROSTENE-3,17-DIONE | 64533GM005 | 0.8 | 3.6103 | . | ng/L | 0.82266 | 2.97 | Recoverable Result | 4434 | AT | JEM |  | 2011-05-09 | Crescent 162776: 25 µl
20111810006 | 2011-06-29 08:30 | 4-ANDROSTENE-3,17-DIONE | 64533GM005 | 0.8 | 3.7053 | . | ng/L | 0.7017 | 2.6 | Recoverable Result | 4434 | AT | RCR |  | 2011-07-25 | Crescent 162776: 25 µl
20112310028 | 2011-08-18 08:51 | 4-ANDROSTENE-3,17-DIONE | 64533GM005 | 0.8 | 3.7053 | . | ng/L | 0.85554 | 3.17 | Recoverable Result | 4434 | AT | RCR |  | 2011-10-12 | Crescent 162776: 25 µl
20112930083 | 2011-10-20 08:00 | 4-ANDROSTENE-3,17-DIONE | 64533GM005 | 0.8 | 3.7053 | . | ng/L | 0.74759 | 2.77 | Recoverable Result | 4434 | AT | RCR |  | 2011-11-17 | Crescent 162776: 25 µl
20120620012 | 2012-03-01 09:00 | 4-ANDROSTENE-3,17-DIONE | 64533GM005 | 0.8 | 3.7053 | . | ng/L | 0.92031 | 3.41 | Recoverable Result | 4434 | AT | RCR |  | 2012-04-06 | Crescent 162776: 25 µl
20131840103 | 2013-07-03 07:30 | 4-ANDROSTENE-3,17-DIONE | 64533GM005 | 0.8 | 7.4737 | . | ng/L | 0.4857 | 3.63 | Recoverable Result | 4434 | AT | RCR |  | 2013-08-09 | ERA 0415-13-01.2A: 50 µl & Spex Organics T1130423008: 50 µl
20140030014 | 2014-01-02 06:30 | 4-ANDROSTENE-3,17-DIONE | 64533GM005 | 0.8 | 7.4737 | . | ng/L | 0.69979 | 5.23 | Recoverable Result | 4434 | AT | RCR |  | 2014-03-05 | Spex Organics T1130423008: 50 µl & Abs 071513: 50 µl
20140590012 | 2014-02-27 08:00 | 4-ANDROSTENE-3,17-DIONE | 64533GM005 | 0.8 | 7.4737 | . | ng/L | 0.45493 | 3.4 | Recoverable Result | 4434 | AT | RCR |  | 2014-03-14 | ERA 0415-13-01.2A: 50 µl & Spex Organics T1130423008: 50 µl
20133050049 | 2013-10-31 07:00 | 4-ANDROSTENE-3,17-DIONE | 64533GM005 | 0.8 | 7.5095 | . | ng/L | 0.3955 | 2.97 | Recoverable Result | 4434 | AT | RCR |  | 2014-02-25 | ERA 0415-13-01.1A: 50 µl & Abs 050813: 50 µl
20133540013 | 2013-12-19 07:30 | 4-ANDROSTENE-3,17-DIONE | 64533GM005 | 0.8 | 7.5095 | . | ng/L | 0.56995 | 4.28 | Recoverable Result | 4434 | AT | RCR |  | 2014-03-05 | ERA 0415-13-01.1A: 50 µl & Abs 060413: 50 µl & Abs 071513: 50 µl
20140440054 | 2014-02-13 08:00 | 4-ANDROSTENE-3,17-DIONE | 64533GM005 | 0.8 | 7.5095 | . | ng/L | 0.61789 | 4.64 | Recoverable Result | 4434 | AT | RCR |  | 2014-03-14 | Supelco LB99393: 50 µl & Abs 060413: 50 µl & Abs 071513: 50 µl
20140230084 | 2014-01-23 07:30 | 4-ANDROSTENE-3,17-DIONE | 64533GM005 | 0.8 | 7.5095 | . | ng/L | 0.81098 | 6.09 | Recoverable Result | 4434 | AT | RCR |  | 2014-03-14 | Supelco LB99393: 50 µl & Abs 050813: 50 µl
20121870005 | 2012-07-03 07:00 | 4-ANDROSTENE-3,17-DIONE | 64533GM005 | 0.8 | 8.3158 | . | ng/L | 1.0017 | 8.33 | Recoverable Result | 4434 | AT | RCR |  | 2012-08-29 | Spex Organics T1120525010: 25 µl
20130180026 | 2013-01-17 08:00 | 4-ANDROSTENE-3,17-DIONE | 64533GM005 | 0.8 | 8.3158 | . | ng/L | 0.5219 | 4.34 | Recoverable Result | 4434 | AT | RCR |  | 2013-02-22 | Spex Organics T1120525010: 25 µl & ERA 0511-12-02: 25 µl
20130510049 | 2013-02-19 08:30 | 4-ANDROSTENE-3,17-DIONE | 64533GM005 | 0.8 | 8.3158 | . | ng/L | 0.63854 | 5.31 | Recoverable Result | 4434 | AT | RCR |  | 2013-04-03 | Spex Organics T1120525010: 25 µl & Abs 051512: 25 µl
20122430224 | 2012-08-30 08:00 | 4-ANDROSTENE-3,17-DIONE | 64533GM005 | 0.8 | 8.4737 | . | ng/L | 0.75174 | 6.37 | Recoverable Result | 4434 | AT | RCR |  | 2012-11-01 | ERA 0507-12-04.1: 25 µl & Abs 051512: 25 µl
20123490149 | 2012-12-13 07:30 | 4-ANDROSTENE-3,17-DIONE | 64533GM005 | 0.8 | 8.4737 | . | ng/L | 0.76826 | 6.51 | Recoverable Result | 4434 | AT | RCR |  | 2013-02-08 | ERA 0507-12-04.1: 25 µl & Supelco LB92781: 25 µl
20111590009 | 2011-06-07 08:00 | 4-ANDROSTENE-3,17-DIONE | 64533GM005 | 0.8 | 14.5244 | . | ng/L | 0.79865 | 11.6 | Recoverable Result | 4434 | AT | RCR |  | 2011-06-23 | Crescent 162776: 100 µl
20110210093 | 2011-01-20 08:00 | 4-ANDROSTENE-3,17-DIONE | 64533GM005 | 0.8 | 14.5937 | . | ng/L | 0.69208 | 10.1 | Recoverable Result | 4434 | AT | RCR |  | 2011-03-10 | Crescent 162776: 100 µl
20120200075 | 2012-01-19 08:30 | 4-ANDROSTENE-3,17-DIONE | 64533GM005 | 0.8 | 14.821 | . | ng/L | 1.1808 | 17.5 | Recoverable Result | 4434 | AT | RCR |  | 2012-03-27 | Crescent 162776: 100 µl
20122930150 | 2012-10-18 08:00 | 4-ANDROSTENE-3,17-DIONE | 64533GM005 | 0.8 | 16.6316 | . | ng/L | 0.72152 | 12 | Recoverable Result | 4434 | AT | RCR |  | 2012-12-18 | Spex Organics T1120525010: 50 µl & Supelco LB92781: 50 µl
20130650006 | 2013-03-05 08:00 | 4-ANDROSTENE-3,17-DIONE | 64533GM005 | 0.8 | 16.6316 | . | ng/L | 0.66139 | 11 | Recoverable Result | 4434 | AT | RCR |  | 2013-04-03 | Spex Organics T1120525010: 50 µl & Restek A089631: 50 µl
20122570124 | 2012-09-13 08:00 | 4-ANDROSTENE-3,17-DIONE | 64533GM005 | 0.8 | 16.9474 | . | ng/L | 0.88509 | 15 | Recoverable Result | 4434 | AT | RCR |  | 2012-11-07 | ERA 0507-12-04.1: 50 µl & ERA 0511-12-02: 50 µl
20123070009 | 2012-11-01 08:30 | 4-ANDROSTENE-3,17-DIONE | 64533GM005 | 0.8 | 16.9474 | . | ng/L | 0.83199 | 14.1 | Recoverable Result | 4434 | AT | RCR |  | 2012-12-18 | ERA 0507-12-04.1: 50 µl & Restek A089631: 50 µl
20130940099 | 2013-04-04 07:00 | 4-ANDROSTENE-3,17-DIONE | 64533GM005 | 0.8 | 16.9474 | . | ng/L | 0.79658 | 13.5 | Recoverable Result | 4434 | AT | RCR |  | 2013-04-22 | ERA 0507-12-04.1: 50 µl & Restek A089631: 50 µl