## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20130180026 | 2013-01-17 08:00 | CHOLESTEROL | 64534GM005 | 200 |  | . | ng/L |  | 227 | False Positive | 4434 | AT | RCR |  | 2013-02-22 | Spex Organics T1120525010: 25 µl & ERA 0511-12-02: 25 µl
20141080003 | 2014-04-17 06:30 | CHOLESTEROL | 64534GM005 | 200 |  | . | ng/L |  | 285 | False Positive | 4434 | AT | RCR |  | 2014-05-06 | Abs 031014: 60 µl & ChemService 2561700: 60 µl
20152330045 | 2015-08-20 07:30 | CHOLESTEROL | 64534GM005 | 200 | 298.4842 | < | ng/L |  |  | False Negative | 4434 | AT | RCR |  | 2015-11-02 | Supelco LC13547: 30 µl & Crescent 04EE007: 30 µl
20160560045 | 2016-02-25 08:30 | CHOLESTEROL | 64534GM005 | 200 | 298.4842 | < | ng/L |  |  | False Negative | 4434 | AT | RCR |  | 2016-03-18 | Crescent 04EE007: 30 µl & Spex Organics EN150501025: 30 µl
20160070058 | 2016-01-07 08:30 | CHOLESTEROL | 64534GM005 | 200 | 299.9431 | < | ng/L |  |  | False Negative | 4434 | AT | RCR |  | 2016-03-07 | ChemService 4073900: 30 µl & Abs 041515: 30 µl
20160910145 | 2016-03-31 07:30 | CHOLESTEROL | 64534GM005 | 400 | 497.4737 | < | ng/L |  |  | False Negative | 4434 | AT | RCR |  | 2016-06-24 | Crescent 04EE007: 50 µl & Spex Organics EN150501025: 50 µl
20160840085 | 2016-03-24 07:00 | CHOLESTEROL | 64534GM005 | 400 | 499.9053 | < | ng/L |  |  | False Negative | 4434 | AT | RCR |  | 2016-06-24 | ERA 0601-15-04: 50 µl & ChemService 4073900: 50 µl
20162300273 | 2016-08-17 08:00 | CHOLESTEROL | 64534GM005 | 400 | 500.3855 | < | ng/L |  |  | False Negative | 4434 | AT | TPE |  | 2016-12-05 | Abs 052616: 30 µl & Abs 061416H: 30 µl
20161820010 | 2016-06-29 08:30 | CHOLESTEROL | 64534GM005 | 400 | 500.5389 | < | ng/L |  |  | False Negative | 4434 | AT | RCR |  | 2016-09-09 | ChemService 5016200: 30 µl & Supelco LC20140V: 30 µl
20162020125 | 2016-07-20 07:30 | CHOLESTEROL | 64534GM005 | 400 | 500.5389 | < | ng/L |  |  | False Negative | 4434 | AT | RCR |  | 2016-09-16 | Spex Organics EN160621015: 30 µl & ChemService 5016200: 30 µl
20162100009 | 2016-07-27 06:45 | CHOLESTEROL | 64534GM005 | 400 | 500.5389 | < | ng/L |  |  | False Negative | 4434 | AT | RCR |  | 2016-09-21 | ChemService 5016200: 30 µl & ChemService 5016100: 30 µl
20162930166 | 2016-10-19 06:45 | CHOLESTEROL | 64534GM005 | 400 | 500.5389 | < | ng/L |  |  | False Negative | 4434 | AT | TPE | v | 2017-01-13 | Abs 052616: 30 µl & ChemService 5016200: 30 µl
20140590012 | 2014-02-27 08:00 | CHOLESTEROL | 64534GM005 | 200 | 1126.316 | X | ng/L |  |  | Deleted Values | 4434 | AT | RCR |  | 2014-03-14 | ERA 0415-13-01.2A: 50 µl & Spex Organics T1130423008: 50 µl
20163420126 | 2016-12-07 08:00 | CHOLESTEROL | 64534GM005 | 400 | 1334.361 | R | ng/L |  |  | Deleted Values | 4434 |  |  |  | 2016-12-07 08:00 | Spex Organics EN160621015: 80 µl & Abs 061416H: 80 µl
20131160077 | 2013-04-25 07:00 | CHOLESTEROL | 64534GM005 | 200 | 17256.84 | R | ng/L |  |  | Deleted Values | 4434 |  |  |  | 2013-04-25 07:00 | Abs 051512: 50 µl & Spex Organics T1120525010: 50 µl
20152460213 | 2015-09-03 08:30 | CHOLESTEROL | 64534GM005 | 200 | 298.4842 | . | ng/L | 0.67675 | 202 | Recoverable Result | 4434 | AT | RCR |  | 2015-12-11 | Crescent 04EE007: 30 µl & Spex Organics EN150501025: 30 µl
20153440002 | 2015-12-09 06:30 | CHOLESTEROL | 64534GM005 | 200 | 298.4842 | . | ng/L | 0.93137 | 278 | Recoverable Result | 4434 | AT | RCR |  | 2016-01-08 | ERA 0601-15-04: 30 µl & Crescent 04EE007: 30 µl
20152190002 | 2015-08-06 08:30 | CHOLESTEROL | 64534GM005 | 200 | 299.9431 | . | ng/L | 0.8835 | 265 | Recoverable Result | 4434 | AT | RCR |  | 2015-09-23 | ChemService 4073900: 30 µl & Spex Organics EN150501025: 30 µl
20153090108 | 2015-11-05 09:00 | CHOLESTEROL | 64534GM005 | 200 | 299.9431 | . | ng/L | 0.70013 | 210 | Recoverable Result | 4434 | AT | RCR |  | 2016-01-08 | ERA 0601-15-04: 30 µl & ChemService 4073900: 30 µl
20160430110 | 2016-02-11 09:00 | CHOLESTEROL | 64534GM005 | 200 | 299.9431 | . | ng/L | 0.6968 | 209 | Recoverable Result | 4434 | AT | RCR |  | 2016-03-18 | Supelco LC13547: 30 µl & ChemService 4073900: 30 µl
20141290003 | 2014-05-08 08:00 | CHOLESTEROL | 64534GM005 | 200 | 400.4211 | . | ng/L | 0.6618 | 265 | Recoverable Result | 4434 | AT | RCR |  | 2014-07-14 | ERA 0227-14-07.2: 30 µl & Abs 031014: 30 µl
20141420137 | 2014-05-22 07:30 | CHOLESTEROL | 64534GM005 | 200 | 400.4211 | . | ng/L | 0.78417 | 314 | Recoverable Result | 4434 | AT | RCR |  | 2014-07-28 | ERA 0227-14-07.2: 30 µl & ChemService 2561700: 30 µl
20141770146 | 2014-06-26 07:00 | CHOLESTEROL | 64534GM005 | 200 | 400.4211 | . | ng/L | 0.77169 | 309 | Recoverable Result | 4434 | AT | RCR |  | 2014-09-04 | ERA 0227-14-07.2: 30 µl & Spex Organics E1140505004: 30 µl
20142200165 | 2014-08-07 07:30 | CHOLESTEROL | 64534GM005 | 200 | 400.4211 | . | ng/L | 0.54193 | 217 | Recoverable Result | 4434 | AT | RCR |  | 2014-11-05 | ERA 0227-14-07.2: 30 µl & Abs 042114: 30 µl
20151140151 | 2015-04-23 07:00 | CHOLESTEROL | 64534GM005 | 200 | 400.4211 | . | ng/L | 0.78168 | 313 | Recoverable Result | 4434 | AT | RCR |  | 2015-06-03 | Abs 031014: 30 µl & ERA 0227-14-07.2: 30 µl
20142470037 | 2014-09-03 06:45 | CHOLESTEROL | 64534GM005 | 200 | 401.6842 | . | ng/L | 0.93606 | 376 | Recoverable Result | 4434 | AT | RCR |  | 2014-12-16 | Supelco LC06946: 30 µl & Abs 042114: 30 µl
20142620040 | 2014-09-18 07:00 | CHOLESTEROL | 64534GM005 | 200 | 401.6842 | . | ng/L | 0.83399 | 335 | Recoverable Result | 4434 | AT | RCR |  | 2014-12-23 | Spex Organics E1140505004: 30 µl & Supelco LC06946: 30 µl
20142820150 | 2014-10-09 06:30 | CHOLESTEROL | 64534GM005 | 200 | 401.6842 | . | ng/L | 0.65723 | 264 | Recoverable Result | 4434 | AT | RCR |  | 2015-01-21 | Supelco LC06946: 30 µl & ChemService 2561700: 30 µl
20143110109 | 2014-11-06 06:30 | CHOLESTEROL | 64534GM005 | 200 | 401.6842 | . | ng/L | 0.58006 | 233 | Recoverable Result | 4434 | AT | RCR |  | 2015-01-29 | Abs 031014: 30 µl & Supelco LC06946: 30 µl
20131370002 | 2013-05-16 08:00 | CHOLESTEROL | 64534GM005 | 200 | 450.5263 | . | ng/L | 0.72804 | 328 | Recoverable Result | 4434 | AT | RCR |  | 2013-06-04 | Supelco LB99393: 20 µl & Spex Organics T1130423008: 20 µl
20131580025 | 2013-06-06 08:30 | CHOLESTEROL | 64534GM005 | 200 | 450.5263 | . | ng/L | 0.71472 | 322 | Recoverable Result | 4434 | AT | RCR |  | 2013-06-27 | ERA 0415-13-01.1A: 20 µl & Spex Organics T1130423008: 20 µl
20132420003 | 2013-08-29 08:00 | CHOLESTEROL | 64534GM005 | 200 | 450.5263 | . | ng/L | 1.4827 | 668 | Recoverable Result | 4434 | AT | RCR |  | 2013-12-09 | Supelco LB99393: 20 µl & Spex Organics T1130423008: 20 µl
20132340084 | 2013-08-21 08:00 | CHOLESTEROL | 64534GM005 | 200 | 451.9032 | . | ng/L | 0.74352 | 336 | Recoverable Result | 4434 | AT | RCR |  | 2013-11-18 | ERA 0415-13-01.2A: 20 µl & Abs 050813: 20 µl
20132980022 | 2013-10-24 08:00 | CHOLESTEROL | 64534GM005 | 200 | 451.9032 | . | ng/L | 0.93604 | 423 | Recoverable Result | 4434 | AT | RCR |  | 2014-02-19 | Abs 050813: 20 µl & Abs 071513: 20 µl
20133260007 | 2013-11-21 07:30 | CHOLESTEROL | 64534GM005 | 200 | 451.9032 | . | ng/L | 0.68377 | 309 | Recoverable Result | 4434 | AT | RCR |  | 2014-03-03 | Abs 050813: 20 µl & Abs 071513: 20 µl
20151900131 | 2015-07-09 07:30 | CHOLESTEROL | 64534GM005 | 200 | 497.4737 | . | ng/L | 0.82014 | 408 | Recoverable Result | 4434 | AT | RCR |  | 2015-08-10 | ERA 0601-15-04: 50 µl & Crescent 04EE007: 50 µl
20153280158 | 2015-11-24 08:30 | CHOLESTEROL | 64534GM005 | 200 | 497.4737 | . | ng/L | 0.72366 | 360 | Recoverable Result | 4434 | AT | RCR | * | 2016-01-08 | Crescent 04EE007: 50 µl & Spex Organics EN150501025: 50 µl
20151970169 | 2015-07-16 07:00 | CHOLESTEROL | 64534GM005 | 200 | 499.9053 | . | ng/L | 0.61012 | 305 | Recoverable Result | 4434 | AT | RCR |  | 2015-08-17 | ChemService 4073900: 50 µl & Abs 041515: 50 µl
20152110198 | 2015-07-30 09:30 | CHOLESTEROL | 64534GM005 | 200 | 499.9053 | . | ng/L | 0.92618 | 463 | Recoverable Result | 4434 | AT | RCR |  | 2015-09-14 | ERA 0601-15-04: 50 µl & ChemService 4073900: 50 µl
20152890008 | 2015-10-15 08:30 | CHOLESTEROL | 64534GM005 | 200 | 596.9684 | . | ng/L | 0.84929 | 507 | Recoverable Result | 4434 | AT | RCR |  | 2016-01-07 | Crescent 04EE007: 60 µl & Abs 041515: 60 µl
20152750003 | 2015-10-01 08:30 | CHOLESTEROL | 64534GM005 | 200 | 599.8863 | . | ng/L | 0.96185 | 577 | Recoverable Result | 4434 | AT | RCR |  | 2016-01-05 | Supelco LC13547: 60 µl & ChemService 4073900: 60 µl
20141490203 | 2014-05-29 07:00 | CHOLESTEROL | 64534GM005 | 200 | 800.8421 | . | ng/L | 0.7155 | 573 | Recoverable Result | 4434 | AT | RCR |  | 2014-08-11 | Abs 031014: 60 µl & ERA 0227-14-07.2: 60 µl
20141640082 | 2014-06-12 07:00 | CHOLESTEROL | 64534GM005 | 200 | 800.8421 | . | ng/L | 0.53069 | 425 | Recoverable Result | 4434 | AT | RCR |  | 2014-08-22 | ERA 0227-14-07.2: 60 µl & Abs 042114: 60 µl
20150430091 | 2015-02-12 06:30 | CHOLESTEROL | 64534GM005 | 200 | 800.8421 | . | ng/L | 0.477 | 382 | Recoverable Result | 4434 | AT | RCR |  | 2015-04-01 | ERA 0227-14-07.2: 60 µl & ChemService 2561700: 60 µl
20141910241 | 2014-07-10 07:00 | CHOLESTEROL | 64534GM005 | 200 | 803.3684 | . | ng/L | 0.72072 | 579 | Recoverable Result | 4434 | AT | RCR |  | 2014-09-23 | Supelco LC06946: 60 µl & ChemService 2561700: 60 µl
20142340163 | 2014-08-18 07:00 | CHOLESTEROL | 64534GM005 | 200 | 803.3684 | . | ng/L | 0.7369 | 592 | Recoverable Result | 4434 | AT | RCR |  | 2014-12-09 | Abs 031014: 60 µl & Supelco LC06946: 60 µl
20143240098 | 2014-11-19 06:30 | CHOLESTEROL | 64534GM005 | 200 | 803.3684 | . | ng/L | 0.71947 | 578 | Recoverable Result | 4434 | AT | RCR |  | 2015-02-12 | Supelco LC06946: 60 µl & Abs 042114: 60 µl
20150230030 | 2015-01-22 07:00 | CHOLESTEROL | 64534GM005 | 200 | 803.3684 | . | ng/L | 0.60869 | 489 | Recoverable Result | 4434 | AT | RCR |  | 2015-04-01 | Spex Organics E1140505004: 60 µl & Supelco LC06946: 60 µl
20162520002 | 2016-09-07 07:30 | CHOLESTEROL | 64534GM005 | 400 | 833.9758 | . | ng/L | 0.61153 | 510 | Recoverable Result | 4434 | AT | TPE |  | 2016-12-15 | Abs 061416H: 50 µl & ChemService 5016100: 50 µl
20161740282 | 2016-06-22 07:00 | CHOLESTEROL | 64534GM005 | 400 | 834.2316 | . | ng/L | 0.72042 | 601 | Recoverable Result | 4434 | AT | RCR |  | 2016-08-31 | Spex Organics TS160420010: 50 µl & ChemService 5016200: 50 µl
20131840103 | 2013-07-03 07:30 | CHOLESTEROL | 64534GM005 | 200 | 1126.316 | . | ng/L | 0.76533 | 862 | Recoverable Result | 4434 | AT | RCR |  | 2013-08-09 | ERA 0415-13-01.2A: 50 µl & Spex Organics T1130423008: 50 µl
20140030014 | 2014-01-02 06:30 | CHOLESTEROL | 64534GM005 | 200 | 1126.316 | . | ng/L | 0.72804 | 820 | Recoverable Result | 4434 | AT | RCR |  | 2014-03-05 | Spex Organics T1130423008: 50 µl & Abs 071513: 50 µl
20133050049 | 2013-10-31 07:00 | CHOLESTEROL | 64534GM005 | 200 | 1129.758 | . | ng/L | 0.894 | 1010 | Recoverable Result | 4434 | AT | RCR |  | 2014-02-25 | ERA 0415-13-01.1A: 50 µl & Abs 050813: 50 µl
20140230084 | 2014-01-23 07:30 | CHOLESTEROL | 64534GM005 | 200 | 1129.758 | . | ng/L | 0.81433 | 920 | Recoverable Result | 4434 | AT | RCR |  | 2014-03-14 | Supelco LB99393: 50 µl & Abs 050813: 50 µl
20111680031 | 2011-06-16 10:00 | CHOLESTEROL | 64534GM005 | 200 | 3641.834 | . | ng/L | 0.86495 | 3150 | Recoverable Result | 4434 | AT | RCR |  | 2011-07-11 | Spex Organics T1100629008: 25 µl
20110070106 | 2011-01-06 07:30 | CHOLESTEROL | 64534GM005 | 200 | 3664.648 | . | ng/L | 0.87867 | 3220 | Recoverable Result | 4434 | AT | RCR |  | 2011-03-10 | Spex Organics T1100629008: 25 µl
20110340010 | 2011-02-02 08:00 | CHOLESTEROL | 64534GM005 | 200 | 3669.497 | . | ng/L | 0.83663 | 3070 | Recoverable Result | 4434 | AT | RCR |  | 2011-03-30 | Abs 081810: 25 µl
20111470069 | 2011-05-26 08:30 | CHOLESTEROL | 64534GM005 | 200 | 3674.823 | . | ng/L | 1.0722 | 3940 | Recoverable Result | 4434 | AT | JEM |  | 2011-06-13 | Abs 081810: 25 µl
20112590006 | 2011-09-15 09:00 | CHOLESTEROL | 64534GM005 | 200 | 3694.737 | . | ng/L | 0.9933 | 3670 | Recoverable Result | 4434 | AT | RCR |  | 2011-10-13 | Spex Organics T1100629008: 25 µl
20113080005 | 2011-11-03 08:00 | CHOLESTEROL | 64534GM005 | 200 | 3694.737 | . | ng/L | 0.89316 | 3300 | Recoverable Result | 4434 | AT | RCR |  | 2011-11-28 | Spex Organics T1100629008: 25 µl
20121520253 | 2012-05-31 07:30 | CHOLESTEROL | 64534GM005 | 200 | 3694.737 | . | ng/L | 1.2883 | 4760 | Recoverable Result | 4434 | AT | RCR |  | 2012-08-16 | Spex Organics T1100629008: 25 µl
20111190186 | 2011-04-28 08:00 | CHOLESTEROL | 64534GM005 | 200 | 3723.743 | . | ng/L | 0.95871 | 3570 | Recoverable Result | 4434 | AT | JEM |  | 2011-05-26 | Spex Organics T1100629008: 25 µl
20112380057 | 2011-08-25 11:20 | CHOLESTEROL | 64534GM005 | 200 | 3730.526 | . | ng/L | 1.0481 | 3910 | Recoverable Result | 4434 | AT | RCR |  | 2011-10-12 | Abs 081810: 25 µl
20113340044 | 2011-11-29 08:00 | CHOLESTEROL | 64534GM005 | 200 | 3730.526 | . | ng/L | 1.469 | 5480 | Recoverable Result | 4434 | AT | RCR |  | 2012-01-27 | Abs 081810: 25 µl
20120260027 | 2012-01-26 08:30 | CHOLESTEROL | 64534GM005 | 200 | 3730.526 | . | ng/L | 0.96501 | 3600 | Recoverable Result | 4434 | AT | RCR |  | 2012-03-27 | Abs 081810: 25 µl
20123260038 | 2012-11-20 08:30 | CHOLESTEROL | 64534GM005 | 200 | 8589.474 | . | ng/L | 0.96164 | 8260 | Recoverable Result | 4434 | AT | RCR |  | 2012-12-18 | Restek A089631: 25 µl & Supelco LB92781: 25 µl
20123490149 | 2012-12-13 07:30 | CHOLESTEROL | 64534GM005 | 200 | 8589.474 | . | ng/L | 1.3156 | 11300 | Recoverable Result | 4434 | AT | RCR |  | 2013-02-08 | ERA 0507-12-04.1: 25 µl & Supelco LB92781: 25 µl
20130810107 | 2013-03-21 07:30 | CHOLESTEROL | 64534GM005 | 200 | 8589.474 | . | ng/L | 1.1537 | 9910 | Recoverable Result | 4434 | AT | RCR |  | 2013-04-10 | ERA 0511-12-02: 25 µl & Supelco LB92781: 25 µl
20121670019 | 2012-06-14 08:30 | CHOLESTEROL | 64534GM005 | 200 | 8628.421 | . | ng/L | 1.2285 | 10600 | Recoverable Result | 4434 | AT | RCR |  | 2012-08-24 | Abs 051512: 25 µl
20122230020 | 2012-08-09 07:00 | CHOLESTEROL | 64534GM005 | 200 | 8628.421 | . | ng/L | 1.1404 | 9840 | Recoverable Result | 4434 | AT | RCR |  | 2012-08-31 | ERA 0511-12-02: 25 µl & Abs 051512: 25 µl
20122430224 | 2012-08-30 08:00 | CHOLESTEROL | 64534GM005 | 200 | 8628.421 | . | ng/L | 1.1335 | 9780 | Recoverable Result | 4434 | AT | RCR |  | 2012-11-01 | ERA 0507-12-04.1: 25 µl & Abs 051512: 25 µl
20130510049 | 2013-02-19 08:30 | CHOLESTEROL | 64534GM005 | 200 | 8628.421 | . | ng/L | 1.1393 | 9830 | Recoverable Result | 4434 | AT | RCR |  | 2013-04-03 | Spex Organics T1120525010: 25 µl & Abs 051512: 25 µl
20110620086 | 2011-03-03 08:00 | CHOLESTEROL | 64534GM005 | 200 | 14772.73 | . | ng/L | 0.77846 | 11500 | Recoverable Result | 4434 | AT | RCR |  | 2011-03-31 | Spex Organics T1100629008: 100 µl
20111950200 | 2011-07-14 10:00 | CHOLESTEROL | 64534GM005 | 200 | 14778.95 | . | ng/L | 0.8255 | 12200 | Recoverable Result | 4434 | AT | JEM |  | 2011-09-29 | Spex Organics T1100629008: 100 µl
20113490064 | 2011-12-13 08:30 | CHOLESTEROL | 64534GM005 | 200 | 14778.95 | . | ng/L | 0.98113 | 14500 | Recoverable Result | 4434 | AT | RCR |  | 2012-02-01 | Spex Organics T1100629008: 100 µl
20112170148 | 2011-08-04 10:00 | CHOLESTEROL | 64534GM005 | 200 | 14922.1 | . | ng/L | 0.82428 | 12300 | Recoverable Result | 4434 | AT | JEM |  | 2011-10-03 | Abs 081810: 100 µl
20120760110 | 2012-03-15 09:00 | CHOLESTEROL | 64534GM005 | 200 | 14922.1 | . | ng/L | 0.98512 | 14700 | Recoverable Result | 4434 | AT | RCR |  | 2012-04-17 | Abs 081810: 100 µl
20121040013 | 2012-04-12 07:30 | CHOLESTEROL | 64534GM005 | 200 | 14922.1 | . | ng/L | 0.99182 | 14800 | Recoverable Result | 4434 | AT | RCR |  | 2012-07-02 | Abs 081810: 100 µl
20110910087 | 2011-03-31 09:00 | CHOLESTEROL | 64534GM005 | 200 | 15007.41 | . | ng/L | 0.8196 | 12300 | Recoverable Result | 4434 | AT | JEM |  | 2011-05-09 | Abs 081810: 100 µl
20122930150 | 2012-10-18 08:00 | CHOLESTEROL | 64534GM005 | 200 | 17178.95 | . | ng/L | 0.96048 | 16500 | Recoverable Result | 4434 | AT | RCR |  | 2012-12-18 | Spex Organics T1120525010: 50 µl & Supelco LB92781: 50 µl
20130250063 | 2013-01-24 08:00 | CHOLESTEROL | 64534GM005 | 200 | 17178.95 | . | ng/L | 1.1293 | 19400 | Recoverable Result | 4434 | AT | RCR |  | 2013-02-22 | Restek A089631: 50 µl & Supelco LB92781: 50 µl
20122790026 | 2012-10-04 08:00 | CHOLESTEROL | 64534GM005 | 200 | 17256.84 | . | ng/L | 1.1068 | 19100 | Recoverable Result | 4434 | AT | RCR |  | 2012-12-03 | ERA 0511-12-02: 50 µl & Abs 051512: 50 µl