## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20131160077 | 2013-04-25 07:00 | DIHYDROTESTOSTERONE | 64544GM005 | 4 |  | R | ng/L |  |  | Deleted Values | 4434 |  |  |  | 2013-04-25 07:00 | Abs 051512: 50 µl & Spex Organics T1120525010: 50 µl
20140440054 | 2014-02-13 08:00 | DIHYDROTESTOSTERONE | 64544GM005 | 4 |  | . | ng/L |  | 1.14 | False Positive | 4434 | AT | RCR | t | 2014-03-14 | Supelco LB99393: 50 µl & Abs 060413: 50 µl & Abs 071513: 50 µl
20131370002 | 2013-05-16 08:00 | DIHYDROTESTOSTERONE | 64544GM005 | 4 | 5.6842 | < | ng/L |  |  | False Negative | 4434 | AT | RCR |  | 2013-06-04 | Supelco LB99393: 20 µl & Spex Organics T1130423008: 20 µl
20151410211 | 2015-05-21 07:00 | DIHYDROTESTOSTERONE | 64544GM005 | 4 | 6 | < | ng/L |  |  | False Negative | 4434 | AT | RCR |  | 2015-09-17 | Supelco LC13547: 30 µl & Spex Organics EN150501025: 30 µl
20152460213 | 2015-09-03 08:30 | DIHYDROTESTOSTERONE | 64544GM005 | 4 | 6 | < | ng/L |  |  | False Negative | 4434 | AT | RCR |  | 2015-12-11 | Crescent 04EE007: 30 µl & Spex Organics EN150501025: 30 µl
20160630047 | 2016-03-03 08:30 | DIHYDROTESTOSTERONE | 64544GM005 | 4 | 6 | < | ng/L |  |  | False Negative | 4434 | AT | RCR |  | 2016-03-18 | Spex Organics EN150501025: 30 µl & Supelco LC13547: 30 µl
20160560045 | 2016-02-25 08:30 | DIHYDROTESTOSTERONE | 64544GM005 | 4 | 6 | < | ng/L |  | 7.85 | SACRALT | 4434 | AT | RCR |  | 2016-03-18 | Crescent 04EE007: 30 µl & Spex Organics EN150501025: 30 µl
20151380010 | 2015-05-14 06:00 | DIHYDROTESTOSTERONE | 64544GM005 | 4 | 6.0253 | < | ng/L |  |  | False Negative | 4434 | AT | RCR |  | 2015-06-29 | Supelco LC13547: 30 µl & Abs 041515: 30 µl
20151480171 | 2015-05-28 06:30 | DIHYDROTESTOSTERONE | 64544GM005 | 4 | 6.0253 | < | ng/L |  |  | False Negative | 4434 | AT | RCR |  | 2015-09-17 | Supelco LC13547: 30 µl & Abs 041515: 30 µl
20162020125 | 2016-07-20 07:30 | DIHYDROTESTOSTERONE | 64544GM005 | 4 | 9.9789 | < | ng/L |  |  | False Negative | 4434 | AT | RCR |  | 2016-09-16 | Spex Organics EN160621015: 30 µl & ChemService 5016200: 30 µl
20151620181 | 2015-06-11 06:30 | DIHYDROTESTOSTERONE | 64544GM005 | 4 | 10 | < | ng/L |  |  | False Negative | 4434 | AT | RCR |  | 2015-07-21 | Supelco LC13547: 50 µl & Spex Organics EN150501025: 50 µl
20163420126 | 2016-12-07 08:00 | DIHYDROTESTOSTERONE | 64544GM005 | 4 | 26.6105 | R | ng/L |  |  | Deleted Values | 4434 |  |  |  | 2016-12-07 08:00 | Spex Organics EN160621015: 80 µl & Abs 061416H: 80 µl
20131580025 | 2013-06-06 08:30 | DIHYDROTESTOSTERONE | 64544GM005 | 4 | 5.6842 | . | ng/L | 0.54361 | 3.09 | Recoverable Result | 4434 | AT | RCR | n | 2013-06-27 | ERA 0415-13-01.1A: 20 µl & Spex Organics T1130423008: 20 µl
20132420003 | 2013-08-29 08:00 | DIHYDROTESTOSTERONE | 64544GM005 | 4 | 5.6842 | . | ng/L | 0.5137 | 2.92 | Recoverable Result | 4434 | AT | RCR | n | 2013-12-09 | Supelco LB99393: 20 µl & Spex Organics T1130423008: 20 µl
20132340084 | 2013-08-21 08:00 | DIHYDROTESTOSTERONE | 64544GM005 | 4 | 5.7272 | . | ng/L | 0.74557 | 4.27 | Recoverable Result | 4434 | AT | RCR |  | 2013-11-18 | ERA 0415-13-01.2A: 20 µl & Abs 050813: 20 µl
20132980022 | 2013-10-24 08:00 | DIHYDROTESTOSTERONE | 64544GM005 | 4 | 5.7272 | . | ng/L | 0.73509 | 4.21 | Recoverable Result | 4434 | AT | RCR |  | 2014-02-19 | Abs 050813: 20 µl & Abs 071513: 20 µl
20133260007 | 2013-11-21 07:30 | DIHYDROTESTOSTERONE | 64544GM005 | 4 | 5.7272 | . | ng/L | 0.46096 | 2.64 | Recoverable Result | 4434 | AT | RCR | n | 2014-03-03 | Abs 050813: 20 µl & Abs 071513: 20 µl
20152190002 | 2015-08-06 08:30 | DIHYDROTESTOSTERONE | 64544GM005 | 4 | 6 | . | ng/L | 1.0283 | 6.17 | Recoverable Result | 4434 | AT | RCR |  | 2015-09-23 | ChemService 4073900: 30 µl & Spex Organics EN150501025: 30 µl
20160070058 | 2016-01-07 08:30 | DIHYDROTESTOSTERONE | 64544GM005 | 4 | 6.0253 | . | ng/L | 0.96925 | 5.84 | Recoverable Result | 4434 | AT | RCR |  | 2016-03-07 | ChemService 4073900: 30 µl & Abs 041515: 30 µl
20142200165 | 2014-08-07 07:30 | DIHYDROTESTOSTERONE | 64544GM005 | 4 | 8.1474 | . | ng/L | 0.60756 | 4.95 | Recoverable Result | 4434 | AT | RCR |  | 2014-11-05 | ERA 0227-14-07.2: 30 µl & Abs 042114: 30 µl
20142470037 | 2014-09-03 06:45 | DIHYDROTESTOSTERONE | 64544GM005 | 4 | 8.1474 | . | ng/L | 0.47868 | 3.9 | Recoverable Result | 4434 | AT | RCR | n | 2014-12-16 | Supelco LC06946: 30 µl & Abs 042114: 30 µl
20142530088 | 2014-09-10 06:30 | DIHYDROTESTOSTERONE | 64544GM005 | 4 | 8.1474 | . | ng/L | 0.57074 | 4.65 | Recoverable Result | 4434 | AT | RCR |  | 2014-12-22 | Abs 042114: 30 µl & Abs 031014: 30 µl
20161960002 | 2016-07-13 08:30 | DIHYDROTESTOSTERONE | 64544GM005 | 4 | 9.9789 | . | ng/L | 0.81171 | 8.1 | Recoverable Result | 4434 | AT | RCR |  | 2016-09-15 | Supelco LC20140V: 30 µl & Spex Organics EN160621015: 30 µl
20162300273 | 2016-08-17 08:00 | DIHYDROTESTOSTERONE | 64544GM005 | 4 | 9.9878 | . | ng/L | 0.9011 | 9 | Recoverable Result | 4434 | AT | TPE |  | 2016-12-05 | Abs 052616: 30 µl & Abs 061416H: 30 µl
20162800003 | 2016-10-05 08:00 | DIHYDROTESTOSTERONE | 64544GM005 | 4 | 9.9878 | . | ng/L | 0.821 | 8.2 | Recoverable Result | 4434 | AT | TPE |  | 2016-12-29 | ChemService 5016100: 30 µl & Abs 052616: 30 µl
20162930166 | 2016-10-19 06:45 | DIHYDROTESTOSTERONE | 64544GM005 | 4 | 9.9878 | . | ng/L | 0.7409 | 7.4 | Recoverable Result | 4434 | AT | TPE |  | 2017-01-13 | Abs 052616: 30 µl & ChemService 5016200: 30 µl
20163220167 | 2016-11-16 08:00 | DIHYDROTESTOSTERONE | 64544GM005 | 4 | 9.9878 | . | ng/L | 0.7409 | 7.4 | Recoverable Result | 4434 | AT | TPE |  | 2017-02-01 | Supelco LC20140V: 30 µl & Abs 052616: 30 µl
20153280158 | 2015-11-24 08:30 | DIHYDROTESTOSTERONE | 64544GM005 | 4 | 10 | . | ng/L | 0.611 | 6.11 | Recoverable Result | 4434 | AT | RCR | * | 2016-01-08 | Crescent 04EE007: 50 µl & Spex Organics EN150501025: 50 µl
20160910145 | 2016-03-31 07:30 | DIHYDROTESTOSTERONE | 64544GM005 | 4 | 10 | . | ng/L | 0.81 | 8.1 | Recoverable Result | 4434 | AT | RCR |  | 2016-06-24 | Crescent 04EE007: 50 µl & Spex Organics EN150501025: 50 µl
20161130024 | 2016-04-21 06:30 | DIHYDROTESTOSTERONE | 64544GM005 | 4 | 10 | . | ng/L | 0.86 | 8.6 | Recoverable Result | 4434 | AT | RCR |  | 2016-07-12 | Spex Organics EN150501025: 50 µl & ERA 0601-15-04: 50 µl
20151970169 | 2015-07-16 07:00 | DIHYDROTESTOSTERONE | 64544GM005 | 4 | 10.0421 | . | ng/L | 0.55466 | 5.57 | Recoverable Result | 4434 | AT | RCR |  | 2015-08-17 | ChemService 4073900: 50 µl & Abs 041515: 50 µl
20152610010 | 2015-09-17 06:30 | DIHYDROTESTOSTERONE | 64544GM005 | 4 | 10.0421 | . | ng/L | 0.73291 | 7.36 | Recoverable Result | 4434 | AT | RCR | @c | 2015-12-10 | Abs 041515: 50 µl & ERA 0601-15-04: 50 µl
20160280054 | 2016-01-28 08:30 | DIHYDROTESTOSTERONE | 64544GM005 | 4 | 10.0421 | . | ng/L | 0.87332 | 8.77 | Recoverable Result | 4434 | AT | RCR |  | 2016-03-07 | Abs 041515: 50 µl & ERA 0601-15-04: 50 µl
20123260038 | 2012-11-20 08:30 | DIHYDROTESTOSTERONE | 64544GM005 | 4 | 10.5263 | . | ng/L | 0.66405 | 6.99 | Recoverable Result | 4434 | AT | RCR |  | 2012-12-18 | Restek A089631: 25 µl & Supelco LB92781: 25 µl
20123490149 | 2012-12-13 07:30 | DIHYDROTESTOSTERONE | 64544GM005 | 4 | 10.5263 | . | ng/L | 0.7258 | 7.64 | Recoverable Result | 4434 | AT | RCR |  | 2013-02-08 | ERA 0507-12-04.1: 25 µl & Supelco LB92781: 25 µl
20130810107 | 2013-03-21 07:30 | DIHYDROTESTOSTERONE | 64544GM005 | 4 | 10.5263 | . | ng/L | 0.78565 | 8.27 | Recoverable Result | 4434 | AT | RCR |  | 2013-04-10 | ERA 0511-12-02: 25 µl & Supelco LB92781: 25 µl
20153230146 | 2015-11-19 09:00 | DIHYDROTESTOSTERONE | 64544GM005 | 4 | 12 | . | ng/L | 0.88333 | 10.6 | Recoverable Result | 4434 | AT | RCR |  | 2016-01-08 | Spex Organics EN150501025: 60 µl & ERA 0601-15-04: 60 µl
20152890008 | 2015-10-15 08:30 | DIHYDROTESTOSTERONE | 64544GM005 | 4 | 12.0505 | . | ng/L | 0.84644 | 10.2 | Recoverable Result | 4434 | AT | RCR |  | 2016-01-07 | Crescent 04EE007: 60 µl & Abs 041515: 60 µl
20131840103 | 2013-07-03 07:30 | DIHYDROTESTOSTERONE | 64544GM005 | 4 | 14.2105 | . | ng/L | 0.68893 | 9.79 | Recoverable Result | 4434 | AT | RCR |  | 2013-08-09 | ERA 0415-13-01.2A: 50 µl & Spex Organics T1130423008: 50 µl
20140030014 | 2014-01-02 06:30 | DIHYDROTESTOSTERONE | 64544GM005 | 4 | 14.2105 | . | ng/L | 0.73185 | 10.4 | Recoverable Result | 4434 | AT | RCR |  | 2014-03-05 | Spex Organics T1130423008: 50 µl & Abs 071513: 50 µl
20140590012 | 2014-02-27 08:00 | DIHYDROTESTOSTERONE | 64544GM005 | 4 | 14.2105 | . | ng/L | 0.58478 | 8.31 | Recoverable Result | 4434 | AT | RCR |  | 2014-03-14 | ERA 0415-13-01.2A: 50 µl & Spex Organics T1130423008: 50 µl
20133050049 | 2013-10-31 07:00 | DIHYDROTESTOSTERONE | 64544GM005 | 4 | 14.3179 | . | ng/L | 0.47214 | 6.76 | Recoverable Result | 4434 | AT | RCR |  | 2014-02-25 | ERA 0415-13-01.1A: 50 µl & Abs 050813: 50 µl
20140230084 | 2014-01-23 07:30 | DIHYDROTESTOSTERONE | 64544GM005 | 4 | 14.3179 | . | ng/L | 0.56922 | 8.15 | Recoverable Result | 4434 | AT | RCR |  | 2014-03-14 | Supelco LB99393: 50 µl & Abs 050813: 50 µl
20141640082 | 2014-06-12 07:00 | DIHYDROTESTOSTERONE | 64544GM005 | 4 | 16.2947 | . | ng/L | 0.65665 | 10.7 | Recoverable Result | 4434 | AT | RCR |  | 2014-08-22 | ERA 0227-14-07.2: 60 µl & Abs 042114: 60 µl
20141710107 | 2014-06-19 07:30 | DIHYDROTESTOSTERONE | 64544GM005 | 4 | 16.2947 | . | ng/L | 0.66279 | 10.8 | Recoverable Result | 4434 | AT | RCR |  | 2014-08-26 | Abs 031014: 60 µl & Abs 042114: 60 µl
20143240098 | 2014-11-19 06:30 | DIHYDROTESTOSTERONE | 64544GM005 | 4 | 16.2947 | . | ng/L | 0.59835 | 9.75 | Recoverable Result | 4434 | AT | RCR |  | 2015-02-12 | Supelco LC06946: 60 µl & Abs 042114: 60 µl
20150790010 | 2015-03-19 07:00 | DIHYDROTESTOSTERONE | 64544GM005 | 4 | 16.2947 | . | ng/L | 0.75484 | 12.3 | Recoverable Result | 4434 | AT | RCR |  | 2015-04-13 | Abs 042114: 60 µl & Spex Organics E1140505004: 60 µl
20122930150 | 2012-10-18 08:00 | DIHYDROTESTOSTERONE | 64544GM005 | 4 | 21.0526 | . | ng/L | 0.6935 | 14.6 | Recoverable Result | 4434 | AT | RCR |  | 2012-12-18 | Spex Organics T1120525010: 50 µl & Supelco LB92781: 50 µl
20130250063 | 2013-01-24 08:00 | DIHYDROTESTOSTERONE | 64544GM005 | 4 | 21.0526 | . | ng/L | 0.6365 | 13.4 | Recoverable Result | 4434 | AT | RCR |  | 2013-02-22 | Restek A089631: 50 µl & Supelco LB92781: 50 µl
20161400193 | 2016-05-18 06:15 | DIHYDROTESTOSTERONE | 64544GM005 | 4 | 16631.58 | . | ng/L | 0.66139 | 11000 | Recoverable Result | 4434 | AT | RCR |  | 2016-08-11 | ChemService 5016100: 50 µl & Spex Organics TS160420010: 50 µl
20161540125 | 2016-06-02 06:00 | DIHYDROTESTOSTERONE | 64544GM005 | 4 | 16631.58 | E | ng/L | 1.4827 | 24660 | Estimated Values | 4434 | AT | RCR |  | 2016-08-19 | Supelco LC20140V: 50 µl & Spex Organics TS160420010: 50 µl
20161740282 | 2016-06-22 07:00 | DIHYDROTESTOSTERONE | 64544GM005 | 4 | 16631.58 | . | ng/L | 0.7582 | 12610 | Recoverable Result | 4434 | AT | RCR |  | 2016-08-31 | Spex Organics TS160420010: 50 µl & ChemService 5016200: 50 µl