## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20151410211 | 2015-05-21 07:00 | EPITESTOSTERONE | 64537GM005 | 2 | 3 | < | ng/L |  |  | False Negative | 4434 | AT | RCR |  | 2015-09-17 | Supelco LC13547: 30 µl & Spex Organics EN150501025: 30 µl
20151380010 | 2015-05-14 06:00 | EPITESTOSTERONE | 64537GM005 | 2 | 3.0032 | < | ng/L |  |  | False Negative | 4434 | AT | RCR |  | 2015-06-29 | Supelco LC13547: 30 µl & Abs 041515: 30 µl
20151480171 | 2015-05-28 06:30 | EPITESTOSTERONE | 64537GM005 | 2 | 3.0032 | < | ng/L |  |  | False Negative | 4434 | AT | RCR |  | 2015-09-17 | Supelco LC13547: 30 µl & Abs 041515: 30 µl
20163420126 | 2016-12-07 08:00 | EPITESTOSTERONE | 64537GM005 | 2 | 13.5916 | R | ng/L |  |  | Deleted Values | 4434 |  |  |  | 2016-12-07 08:00 | Spex Organics EN160621015: 80 µl & Abs 061416H: 80 µl
20131160077 | 2013-04-25 07:00 | EPITESTOSTERONE | 64537GM005 | 2 | 21.0526 | R | ng/L |  |  | Deleted Values | 4434 |  |  |  | 2013-04-25 07:00 | Abs 051512: 50 µl & Spex Organics T1120525010: 50 µl
20152190002 | 2015-08-06 08:30 | EPITESTOSTERONE | 64537GM005 | 2 | 3 | . | ng/L | 0.8 | 2.4 | Recoverable Result | 4434 | AT | RCR |  | 2015-09-23 | ChemService 4073900: 30 µl & Spex Organics EN150501025: 30 µl
20152460213 | 2015-09-03 08:30 | EPITESTOSTERONE | 64537GM005 | 2 | 3 | . | ng/L | 0.60667 | 1.82 | Recoverable Result | 4434 | AT | RCR | n | 2015-12-11 | Crescent 04EE007: 30 µl & Spex Organics EN150501025: 30 µl
20160630047 | 2016-03-03 08:30 | EPITESTOSTERONE | 64537GM005 | 2 | 3 | . | ng/L | 0.64667 | 1.94 | Recoverable Result | 4434 | AT | RCR | n | 2016-03-18 | Spex Organics EN150501025: 30 µl & Supelco LC13547: 30 µl
20160560045 | 2016-02-25 08:30 | EPITESTOSTERONE | 64537GM005 | 2 | 3 | . | ng/L | 0.64333 | 1.93 | Recoverable Result | 4434 | AT | RCR | n | 2016-03-18 | Crescent 04EE007: 30 µl & Spex Organics EN150501025: 30 µl
20160070058 | 2016-01-07 08:30 | EPITESTOSTERONE | 64537GM005 | 2 | 3.0032 | . | ng/L | 0.38959 | 1.17 | Recoverable Result | 4434 | AT | RCR | n | 2016-03-07 | ChemService 4073900: 30 µl & Abs 041515: 30 µl
20142200165 | 2014-08-07 07:30 | EPITESTOSTERONE | 64537GM005 | 2 | 3.9789 | . | ng/L | 0.76151 | 3.03 | Recoverable Result | 4434 | AT | RCR |  | 2014-11-05 | ERA 0227-14-07.2: 30 µl & Abs 042114: 30 µl
20142470037 | 2014-09-03 06:45 | EPITESTOSTERONE | 64537GM005 | 2 | 3.9789 | . | ng/L | 0.66098 | 2.63 | Recoverable Result | 4434 | AT | RCR |  | 2014-12-16 | Supelco LC06946: 30 µl & Abs 042114: 30 µl
20142530088 | 2014-09-10 06:30 | EPITESTOSTERONE | 64537GM005 | 2 | 3.9789 | . | ng/L | 0.62328 | 2.48 | Recoverable Result | 4434 | AT | RCR |  | 2014-12-22 | Abs 042114: 30 µl & Abs 031014: 30 µl
20131720019 | 2013-06-20 08:30 | EPITESTOSTERONE | 64537GM005 | 2 | 4 | . | ng/L | 0.5875 | 2.35 | Recoverable Result | 4434 | AT | RCR |  | 2013-07-19 | Supelco LB99393: 20 µl & ERA 0415-13-01.2A: 20 µl
20132140004 | 2013-08-01 08:00 | EPITESTOSTERONE | 64537GM005 | 2 | 4 | . | ng/L | 0.865 | 3.46 | Recoverable Result | 4434 | AT | RCR |  | 2013-09-16 | ERA 0415-13-01.1A: 20 µl & ERA 0415-13-01.2A: 20 µl & Abs 060413: 20 µl
20132340084 | 2013-08-21 08:00 | EPITESTOSTERONE | 64537GM005 | 2 | 4 | . | ng/L | 0.68 | 2.72 | Recoverable Result | 4434 | AT | RCR |  | 2013-11-18 | ERA 0415-13-01.2A: 20 µl & Abs 050813: 20 µl
20132630005 | 2013-09-19 06:30 | EPITESTOSTERONE | 64537GM005 | 2 | 4 | . | ng/L | 0.59 | 2.36 | Recoverable Result | 4434 | AT | RCR |  | 2014-01-23 | Supelco LB99393: 20 µl & ERA 0415-13-01.2A: 20 µl & Abs 060413: 20 µl
20140860105 | 2014-03-27 08:00 | EPITESTOSTERONE | 64537GM005 | 2 | 4 | . | ng/L | 0.685 | 2.74 | Recoverable Result | 4434 | AT | RCR |  | 2014-04-14 | ERA 0415-13-01.1A: 20 µl & ERA 0415-13-01.2A: 20 µl & Abs 060413: 20 µl
20132980022 | 2013-10-24 08:00 | EPITESTOSTERONE | 64537GM005 | 2 | 4.0147 | . | ng/L | 0.63018 | 2.53 | Recoverable Result | 4434 | AT | RCR |  | 2014-02-19 | Abs 050813: 20 µl & Abs 071513: 20 µl
20133260007 | 2013-11-21 07:30 | EPITESTOSTERONE | 64537GM005 | 2 | 4.0147 | . | ng/L | 0.66754 | 2.68 | Recoverable Result | 4434 | AT | RCR |  | 2014-03-03 | Abs 050813: 20 µl & Abs 071513: 20 µl
20151620181 | 2015-06-11 06:30 | EPITESTOSTERONE | 64537GM005 | 2 | 5 | . | ng/L | 0.352 | 1.76 | Recoverable Result | 4434 | AT | RCR | n | 2015-07-21 | Supelco LC13547: 50 µl & Spex Organics EN150501025: 50 µl
20153280158 | 2015-11-24 08:30 | EPITESTOSTERONE | 64537GM005 | 2 | 5 | . | ng/L | 0.766 | 3.83 | Recoverable Result | 4434 | AT | RCR | * | 2016-01-08 | Crescent 04EE007: 50 µl & Spex Organics EN150501025: 50 µl
20160910145 | 2016-03-31 07:30 | EPITESTOSTERONE | 64537GM005 | 2 | 5 | . | ng/L | 0.54 | 2.7 | Recoverable Result | 4434 | AT | RCR |  | 2016-06-24 | Crescent 04EE007: 50 µl & Spex Organics EN150501025: 50 µl
20161130024 | 2016-04-21 06:30 | EPITESTOSTERONE | 64537GM005 | 2 | 5 | . | ng/L | 0.62 | 3.1 | Recoverable Result | 4434 | AT | RCR |  | 2016-07-12 | Spex Organics EN150501025: 50 µl & ERA 0601-15-04: 50 µl
20151970169 | 2015-07-16 07:00 | EPITESTOSTERONE | 64537GM005 | 2 | 5.0053 | . | ng/L | 0.69127 | 3.46 | Recoverable Result | 4434 | AT | RCR |  | 2015-08-17 | ChemService 4073900: 50 µl & Abs 041515: 50 µl
20152610010 | 2015-09-17 06:30 | EPITESTOSTERONE | 64537GM005 | 2 | 5.0053 | . | ng/L | 0.86709 | 4.34 | Recoverable Result | 4434 | AT | RCR | @c | 2015-12-10 | Abs 041515: 50 µl & ERA 0601-15-04: 50 µl
20160280054 | 2016-01-28 08:30 | EPITESTOSTERONE | 64537GM005 | 2 | 5.0053 | . | ng/L | 0.49748 | 2.49 | Recoverable Result | 4434 | AT | RCR |  | 2016-03-07 | Abs 041515: 50 µl & ERA 0601-15-04: 50 µl
20162300273 | 2016-08-17 08:00 | EPITESTOSTERONE | 64537GM005 | 2 | 5.0192 | . | ng/L | 0.51802 | 2.6 | Recoverable Result | 4434 | AT | TPE |  | 2016-12-05 | Abs 052616: 30 µl & Abs 061416H: 30 µl
20162800003 | 2016-10-05 08:00 | EPITESTOSTERONE | 64537GM005 | 2 | 5.0192 | . | ng/L | 1.1954 | 6 | Recoverable Result | 4434 | AT | TPE |  | 2016-12-29 | ChemService 5016100: 30 µl & Abs 052616: 30 µl
20162930166 | 2016-10-19 06:45 | EPITESTOSTERONE | 64537GM005 | 2 | 5.0192 | . | ng/L | 0.79695 | 4 | Recoverable Result | 4434 | AT | TPE |  | 2017-01-13 | Abs 052616: 30 µl & ChemService 5016200: 30 µl
20163220167 | 2016-11-16 08:00 | EPITESTOSTERONE | 64537GM005 | 2 | 5.0192 | . | ng/L | 0.69733 | 3.5 | Recoverable Result | 4434 | AT | TPE |  | 2017-02-01 | Supelco LC20140V: 30 µl & Abs 052616: 30 µl
20161960002 | 2016-07-13 08:30 | EPITESTOSTERONE | 64537GM005 | 2 | 5.0968 | E | ng/L | 0.74556 | 3.8 | Estimated Values | 4434 | AT | RCR |  | 2016-09-15 | Supelco LC20140V: 30 µl & Spex Organics EN160621015: 30 µl
20162020125 | 2016-07-20 07:30 | EPITESTOSTERONE | 64537GM005 | 2 | 5.0968 | . | ng/L | 0.8829 | 4.5 | Recoverable Result | 4434 | AT | RCR |  | 2016-09-16 | Spex Organics EN160621015: 30 µl & ChemService 5016200: 30 µl
20110340010 | 2011-02-02 08:00 | EPITESTOSTERONE | 64537GM005 | 4 | 5.1771 | . | ng/L | 0.86729 | 4.49 | Recoverable Result | 4434 | AT | RCR |  | 2011-03-30 | Abs 081810: 25 µl
20111470069 | 2011-05-26 08:30 | EPITESTOSTERONE | 64537GM005 | 4 | 5.1846 | . | ng/L | 0.84096 | 4.36 | Recoverable Result | 4434 | AT | JEM |  | 2011-06-13 | Abs 081810: 25 µl
20112380057 | 2011-08-25 11:20 | EPITESTOSTERONE | 64537GM005 | 2 | 5.2632 | . | ng/L | 0.988 | 5.2 | Recoverable Result | 4434 | AT | RCR |  | 2011-10-12 | Abs 081810: 25 µl
20113340044 | 2011-11-29 08:00 | EPITESTOSTERONE | 64537GM005 | 2 | 5.2632 | . | ng/L | 0.6441 | 3.39 | Recoverable Result | 4434 | AT | RCR |  | 2012-01-27 | Abs 081810: 25 µl
20120260027 | 2012-01-26 08:30 | EPITESTOSTERONE | 64537GM005 | 2 | 5.2632 | . | ng/L | 0.9063 | 4.77 | Recoverable Result | 4434 | AT | RCR |  | 2012-03-27 | Abs 081810: 25 µl
20153230146 | 2015-11-19 09:00 | EPITESTOSTERONE | 64537GM005 | 2 | 6 | . | ng/L | 0.705 | 4.23 | Recoverable Result | 4434 | AT | RCR |  | 2016-01-08 | Spex Organics EN150501025: 60 µl & ERA 0601-15-04: 60 µl
20152890008 | 2015-10-15 08:30 | EPITESTOSTERONE | 64537GM005 | 2 | 6.0063 | . | ng/L | 0.62934 | 3.78 | Recoverable Result | 4434 | AT | RCR |  | 2016-01-07 | Crescent 04EE007: 60 µl & Abs 041515: 60 µl
20141640082 | 2014-06-12 07:00 | EPITESTOSTERONE | 64537GM005 | 2 | 7.9579 | E | ng/L | 0.62454 | 4.97 | Estimated Values | 4434 | AT | RCR | v | 2014-08-22 | ERA 0227-14-07.2: 60 µl & Abs 042114: 60 µl
20141710107 | 2014-06-19 07:30 | EPITESTOSTERONE | 64537GM005 | 2 | 7.9579 | . | ng/L | 0.82811 | 6.59 | Recoverable Result | 4434 | AT | RCR |  | 2014-08-26 | Abs 031014: 60 µl & Abs 042114: 60 µl
20143240098 | 2014-11-19 06:30 | EPITESTOSTERONE | 64537GM005 | 2 | 7.9579 | . | ng/L | 0.6748 | 5.37 | Recoverable Result | 4434 | AT | RCR |  | 2015-02-12 | Supelco LC06946: 60 µl & Abs 042114: 60 µl
20150790010 | 2015-03-19 07:00 | EPITESTOSTERONE | 64537GM005 | 2 | 7.9579 | . | ng/L | 0.83313 | 6.63 | Recoverable Result | 4434 | AT | RCR |  | 2015-04-13 | Abs 042114: 60 µl & Spex Organics E1140505004: 60 µl
20131840103 | 2013-07-03 07:30 | EPITESTOSTERONE | 64537GM005 | 2 | 10 | . | ng/L | 0.505 | 5.05 | Recoverable Result | 4434 | AT | RCR |  | 2013-08-09 | ERA 0415-13-01.2A: 50 µl & Spex Organics T1130423008: 50 µl
20140590012 | 2014-02-27 08:00 | EPITESTOSTERONE | 64537GM005 | 2 | 10 | . | ng/L | 0.501 | 5.01 | Recoverable Result | 4434 | AT | RCR |  | 2014-03-14 | ERA 0415-13-01.2A: 50 µl & Spex Organics T1130423008: 50 µl
20140030014 | 2014-01-02 06:30 | EPITESTOSTERONE | 64537GM005 | 2 | 10.0368 | . | ng/L | 0.64961 | 6.52 | Recoverable Result | 4434 | AT | RCR |  | 2014-03-05 | Spex Organics T1130423008: 50 µl & Abs 071513: 50 µl
20133540013 | 2013-12-19 07:30 | EPITESTOSTERONE | 64537GM005 | 2 | 10.0368 | . | ng/L | 0.72134 | 7.24 | Recoverable Result | 4434 | AT | RCR |  | 2014-03-05 | ERA 0415-13-01.1A: 50 µl & Abs 060413: 50 µl & Abs 071513: 50 µl
20140440054 | 2014-02-13 08:00 | EPITESTOSTERONE | 64537GM005 | 2 | 10.0368 | . | ng/L | 0.49816 | 5 | Recoverable Result | 4434 | AT | RCR |  | 2014-03-14 | Supelco LB99393: 50 µl & Abs 060413: 50 µl & Abs 071513: 50 µl
20140730136 | 2014-03-13 08:00 | EPITESTOSTERONE | 64537GM005 | 2 | 10.0368 | . | ng/L | 0.72134 | 7.24 | Recoverable Result | 4434 | AT | RCR |  | 2014-04-14 | ERA 0415-13-01.1A: 50 µl & Abs 071513: 50 µl
20121670019 | 2012-06-14 08:30 | EPITESTOSTERONE | 64537GM005 | 2 | 10.5263 | . | ng/L | 0.71725 | 7.55 | Recoverable Result | 4434 | AT | RCR |  | 2012-08-24 | Abs 051512: 25 µl
20122430224 | 2012-08-30 08:00 | EPITESTOSTERONE | 64537GM005 | 2 | 10.5263 | . | ng/L | 0.75905 | 7.99 | Recoverable Result | 4434 | AT | RCR |  | 2012-11-01 | ERA 0507-12-04.1: 25 µl & Abs 051512: 25 µl
20123260038 | 2012-11-20 08:30 | EPITESTOSTERONE | 64537GM005 | 2 | 10.5263 | . | ng/L | 0.73435 | 7.73 | Recoverable Result | 4434 | AT | RCR |  | 2012-12-18 | Restek A089631: 25 µl & Supelco LB92781: 25 µl
20130510049 | 2013-02-19 08:30 | EPITESTOSTERONE | 64537GM005 | 2 | 10.5263 | . | ng/L | 0.6289 | 6.62 | Recoverable Result | 4434 | AT | RCR |  | 2013-04-03 | Spex Organics T1120525010: 25 µl & Abs 051512: 25 µl
20130180026 | 2013-01-17 08:00 | EPITESTOSTERONE | 64537GM005 | 2 | 10.6842 | . | ng/L | 0.73379 | 7.84 | Recoverable Result | 4434 | AT | RCR |  | 2013-02-22 | Spex Organics T1120525010: 25 µl & ERA 0511-12-02: 25 µl
20130810107 | 2013-03-21 07:30 | EPITESTOSTERONE | 64537GM005 | 2 | 10.6842 | . | ng/L | 0.73379 | 7.84 | Recoverable Result | 4434 | AT | RCR |  | 2013-04-10 | ERA 0511-12-02: 25 µl & Supelco LB92781: 25 µl
20112170148 | 2011-08-04 10:00 | EPITESTOSTERONE | 64537GM005 | 2 | 21.0526 | . | ng/L | 0.89775 | 18.9 | Recoverable Result | 4434 | AT | JEM |  | 2011-10-03 | Abs 081810: 100 µl
20120760110 | 2012-03-15 09:00 | EPITESTOSTERONE | 64537GM005 | 2 | 21.0526 | . | ng/L | 1.0308 | 21.7 | Recoverable Result | 4434 | AT | RCR |  | 2012-04-17 | Abs 081810: 100 µl
20121040013 | 2012-04-12 07:30 | EPITESTOSTERONE | 64537GM005 | 2 | 21.0526 | . | ng/L | 1.0308 | 21.7 | Recoverable Result | 4434 | AT | RCR |  | 2012-07-02 | Abs 081810: 100 µl
20123070009 | 2012-11-01 08:30 | EPITESTOSTERONE | 64537GM005 | 2 | 21.0526 | . | ng/L | 0.78375 | 16.5 | Recoverable Result | 4434 | AT | RCR |  | 2012-12-18 | ERA 0507-12-04.1: 50 µl & Restek A089631: 50 µl
20130250063 | 2013-01-24 08:00 | EPITESTOSTERONE | 64537GM005 | 2 | 21.0526 | . | ng/L | 0.62225 | 13.1 | Recoverable Result | 4434 | AT | RCR |  | 2013-02-22 | Restek A089631: 50 µl & Supelco LB92781: 50 µl
20130650006 | 2013-03-05 08:00 | EPITESTOSTERONE | 64537GM005 | 2 | 21.0526 | . | ng/L | 0.74575 | 15.7 | Recoverable Result | 4434 | AT | RCR |  | 2013-04-03 | Spex Organics T1120525010: 50 µl & Restek A089631: 50 µl
20130940099 | 2013-04-04 07:00 | EPITESTOSTERONE | 64537GM005 | 2 | 21.0526 | . | ng/L | 0.72675 | 15.3 | Recoverable Result | 4434 | AT | RCR |  | 2013-04-22 | ERA 0507-12-04.1: 50 µl & Restek A089631: 50 µl
20110910087 | 2011-03-31 09:00 | EPITESTOSTERONE | 64537GM005 | 4 | 21.173 | . | ng/L | 0.98238 | 20.8 | Recoverable Result | 4434 | AT | JEM |  | 2011-05-09 | Abs 081810: 100 µl
20122230020 | 2012-08-09 07:00 | EPITESTOSTERONE | 64537GM005 | 2 | 21.2105 | . | ng/L | 0.73077 | 15.5 | Recoverable Result | 4434 | AT | RCR |  | 2012-08-31 | ERA 0511-12-02: 25 µl & Abs 051512: 25 µl
20122570124 | 2012-09-13 08:00 | EPITESTOSTERONE | 64537GM005 | 2 | 21.3684 | . | ng/L | 0.76281 | 16.3 | Recoverable Result | 4434 | AT | RCR |  | 2012-11-07 | ERA 0507-12-04.1: 50 µl & ERA 0511-12-02: 50 µl
20122790026 | 2012-10-04 08:00 | EPITESTOSTERONE | 64537GM005 | 2 | 42.4211 | . | ng/L | 0.67184 | 28.5 | Recoverable Result | 4434 | AT | RCR |  | 2012-12-03 | ERA 0511-12-02: 50 µl & Abs 051512: 50 µl
20161400193 | 2016-05-18 06:15 | EPITESTOSTERONE | 64537GM005 | 2 | 8494.736 | . | ng/L | 0.61391 | 5215 | Recoverable Result | 4434 | AT | RCR |  | 2016-08-11 | ChemService 5016100: 50 µl & Spex Organics TS160420010: 50 µl
20161540125 | 2016-06-02 06:00 | EPITESTOSTERONE | 64537GM005 | 2 | 8494.736 | . | ng/L | 1.322 | 11230 | Recoverable Result | 4434 | AT | RCR |  | 2016-08-19 | Supelco LC20140V: 50 µl & Spex Organics TS160420010: 50 µl
20161740282 | 2016-06-22 07:00 | EPITESTOSTERONE | 64537GM005 | 2 | 8494.736 | . | ng/L | 0.85229 | 7240 | Recoverable Result | 4434 | AT | RCR |  | 2016-08-31 | Spex Organics TS160420010: 50 µl & ChemService 5016200: 50 µl