## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20163420126 | 2016-12-07 08:00 | EQUILIN | 64539GM005 | 16 |  | R | ng/L |  |  | Deleted Values | 4434 |  |  |  | 2016-12-07 08:00 | Spex Organics EN160621015: 80 µl & Abs 061416H: 80 µl
20110070106 | 2011-01-06 07:30 | EQUILIN | 64539GM005 | 4 | 5.2203 | < | ng/L |  |  | False Negative | 4434 | AT | RCR | mc | 2011-03-10 | Spex Organics T1100629008: 25 µl
20113080005 | 2011-11-03 08:00 | EQUILIN | 64539GM005 | 8 | 5.2632 | < | ng/L |  | 8 | SACRALT | 4434 | AT | RCR | mc | 2011-11-28 | Spex Organics T1100629008: 25 µl
20110340010 | 2011-02-02 08:00 | EQUILIN | 64539GM005 | 4 | 6.7302 | < | ng/L |  |  | False Negative | 4434 | AT | RCR | mc | 2011-03-30 | Abs 081810: 25 µl
20152330045 | 2015-08-20 07:30 | EQUILIN | 64539GM005 | 8 | 11.8737 | < | ng/L |  |  | False Negative | 4434 | AT | RCR | mc | 2015-11-02 | Supelco LC13547: 30 µl & Crescent 04EE007: 30 µl
20160560045 | 2016-02-25 08:30 | EQUILIN | 64539GM005 | 8 | 11.8737 | < | ng/L |  |  | False Negative | 4434 | AT | RCR | mc | 2016-03-18 | Crescent 04EE007: 30 µl & Spex Organics EN150501025: 30 µl
20160070058 | 2016-01-07 08:30 | EQUILIN | 64539GM005 | 8 | 12.1074 | < | ng/L |  |  | False Negative | 4434 | AT | RCR | mc | 2016-03-07 | ChemService 4073900: 30 µl & Abs 041515: 30 µl
20160430110 | 2016-02-11 09:00 | EQUILIN | 64539GM005 | 8 | 12.1074 | < | ng/L |  |  | False Negative | 4434 | AT | RCR | mc | 2016-03-18 | Supelco LC13547: 30 µl & ChemService 4073900: 30 µl
20141770146 | 2014-06-26 07:00 | EQUILIN | 64539GM005 | 8 | 15.7895 | < | ng/L |  |  | False Negative | 4434 | AT | RCR | mc | 2014-09-04 | ERA 0227-14-07.2: 30 µl & Spex Organics E1140505004: 30 µl
20161820010 | 2016-06-29 08:30 | EQUILIN | 64539GM005 | 16 | 20.0842 | < | ng/L |  |  | False Negative | 4434 | AT | RCR | mc | 2016-09-09 | ChemService 5016200: 30 µl & Supelco LC20140V: 30 µl
20161960002 | 2016-07-13 08:30 | EQUILIN | 64539GM005 | 16 | 20.0842 | < | ng/L |  |  | False Negative | 4434 | AT | RCR | mc | 2016-09-15 | Supelco LC20140V: 30 µl & Spex Organics EN160621015: 30 µl
20162800003 | 2016-10-05 08:00 | EQUILIN | 64539GM005 | 16 | 20.1916 | < | ng/L |  |  | False Negative | 4434 | AT | TPE | mc | 2016-12-29 | ChemService 5016100: 30 µl & Abs 052616: 30 µl
20111950200 | 2011-07-14 10:00 | EQUILIN | 64539GM005 | 4 | 21.0526 | < | ng/L |  |  | False Negative | 4434 | AT | JEM | mc | 2011-09-29 | Spex Organics T1100629008: 100 µl
20131160077 | 2013-04-25 07:00 | EQUILIN | 64539GM005 | 8 | 21.0526 | R | ng/L |  |  | Deleted Values | 4434 |  |  |  | 2013-04-25 07:00 | Abs 051512: 50 µl & Spex Organics T1120525010: 50 µl
20112590006 | 2011-09-15 09:00 | EQUILIN | 64539GM005 | 8 | 5.2632 | E | ng/L | 1.0374 | 5.46 | Estimated Values | 4434 | AT | RCR | mc | 2011-10-13 | Spex Organics T1100629008: 25 µl
20121520253 | 2012-05-31 07:30 | EQUILIN | 64539GM005 | 8 | 5.2632 | E | ng/L | 0.6593 | 3.47 | Estimated Values | 4434 | AT | RCR | mtc | 2012-08-16 | Spex Organics T1100629008: 25 µl
20112380057 | 2011-08-25 11:20 | EQUILIN | 64539GM005 | 8 | 6.8421 | E | ng/L | 0.64162 | 4.39 | Estimated Values | 4434 | AT | RCR | mc | 2011-10-12 | Abs 081810: 25 µl
20113340044 | 2011-11-29 08:00 | EQUILIN | 64539GM005 | 8 | 6.8421 | E | ng/L | 0.58169 | 3.98 | Estimated Values | 4434 | AT | RCR | mtc | 2012-01-27 | Abs 081810: 25 µl
20120260027 | 2012-01-26 08:30 | EQUILIN | 64539GM005 | 8 | 6.8421 | E | ng/L | 0.64162 | 4.39 | Estimated Values | 4434 | AT | RCR | mnc | 2012-03-27 | Abs 081810: 25 µl
20111680031 | 2011-06-16 10:00 | EQUILIN | 64539GM005 | 4 | 5.1878 | E | ng/L | 0.49347 | 2.56 | Estimated Values | 4434 | AT | RCR | mnc | 2011-07-11 | Spex Organics T1100629008: 25 µl
20111190186 | 2011-04-28 08:00 | EQUILIN | 64539GM005 | 4 | 5.3045 | E | ng/L | 0.7767 | 4.12 | Estimated Values | 4434 | AT | JEM | mc | 2011-05-26 | Spex Organics T1100629008: 25 µl
20111470069 | 2011-05-26 08:30 | EQUILIN | 64539GM005 | 4 | 6.7399 | E | ng/L | 0.71959 | 4.85 | Estimated Values | 4434 | AT | JEM | mc | 2011-06-13 | Abs 081810: 25 µl
20131370002 | 2013-05-16 08:00 | EQUILIN | 64539GM005 | 8 | 10.0211 | E | ng/L | 0.62469 | 6.26 | Estimated Values | 4434 | AT | RCR | mnc | 2013-06-04 | Supelco LB99393: 20 µl & Spex Organics T1130423008: 20 µl
20131580025 | 2013-06-06 08:30 | EQUILIN | 64539GM005 | 8 | 10.0211 | E | ng/L | 0.61271 | 6.14 | Estimated Values | 4434 | AT | RCR | mnc | 2013-06-27 | ERA 0415-13-01.1A: 20 µl & Spex Organics T1130423008: 20 µl
20132420003 | 2013-08-29 08:00 | EQUILIN | 64539GM005 | 8 | 10.0211 | E | ng/L | 0.38718 | 3.88 | Estimated Values | 4434 | AT | RCR | mtc | 2013-12-09 | Supelco LB99393: 20 µl & Spex Organics T1130423008: 20 µl
20132340084 | 2013-08-21 08:00 | EQUILIN | 64539GM005 | 8 | 10.0539 | E | ng/L | 0.42272 | 4.25 | Estimated Values | 4434 | AT | RCR | mnc | 2013-11-18 | ERA 0415-13-01.2A: 20 µl & Abs 050813: 20 µl
20132980022 | 2013-10-24 08:00 | EQUILIN | 64539GM005 | 8 | 10.0539 | E | ng/L | 0.51323 | 5.16 | Estimated Values | 4434 | AT | RCR | mnc | 2014-02-19 | Abs 050813: 20 µl & Abs 071513: 20 µl
20133260007 | 2013-11-21 07:30 | EQUILIN | 64539GM005 | 8 | 10.0539 | E | ng/L | 0.39786 | 4 | Estimated Values | 4434 | AT | RCR | mtc | 2014-03-03 | Abs 050813: 20 µl & Abs 071513: 20 µl
20121670019 | 2012-06-14 08:30 | EQUILIN | 64539GM005 | 8 | 10.5263 | E | ng/L | 0.59375 | 6.25 | Estimated Values | 4434 | AT | RCR | mnc | 2012-08-24 | Abs 051512: 25 µl
20122230020 | 2012-08-09 07:00 | EQUILIN | 64539GM005 | 8 | 10.5263 | E | ng/L | 0.51965 | 5.47 | Estimated Values | 4434 | AT | RCR | mnc | 2012-08-31 | ERA 0511-12-02: 25 µl & Abs 051512: 25 µl
20122430224 | 2012-08-30 08:00 | EQUILIN | 64539GM005 | 8 | 10.5263 | E | ng/L | 0.63935 | 6.73 | Estimated Values | 4434 | AT | RCR | mnc | 2012-11-01 | ERA 0507-12-04.1: 25 µl & Abs 051512: 25 µl
20123260038 | 2012-11-20 08:30 | EQUILIN | 64539GM005 | 8 | 10.5263 | E | ng/L | 0.73435 | 7.73 | Estimated Values | 4434 | AT | RCR | mnc | 2012-12-18 | Restek A089631: 25 µl & Supelco LB92781: 25 µl
20123490149 | 2012-12-13 07:30 | EQUILIN | 64539GM005 | 8 | 10.5263 | E | ng/L | 0.6479 | 6.82 | Estimated Values | 4434 | AT | RCR | mnc | 2013-02-08 | ERA 0507-12-04.1: 25 µl & Supelco LB92781: 25 µl
20130510049 | 2013-02-19 08:30 | EQUILIN | 64539GM005 | 8 | 10.5263 | E | ng/L | 0.6384 | 6.72 | Estimated Values | 4434 | AT | RCR | mnc | 2013-04-03 | Spex Organics T1120525010: 25 µl & Abs 051512: 25 µl
20130810107 | 2013-03-21 07:30 | EQUILIN | 64539GM005 | 8 | 10.5263 | E | ng/L | 0.89395 | 9.41 | Estimated Values | 4434 | AT | RCR | mc | 2013-04-10 | ERA 0511-12-02: 25 µl & Supelco LB92781: 25 µl
20152460213 | 2015-09-03 08:30 | EQUILIN | 64539GM005 | 8 | 11.8737 | E | ng/L | 0.79672 | 9.46 | Estimated Values | 4434 | AT | RCR | mc | 2015-12-11 | Crescent 04EE007: 30 µl & Spex Organics EN150501025: 30 µl
20153440002 | 2015-12-09 06:30 | EQUILIN | 64539GM005 | 8 | 11.8737 | E | ng/L | 0.71503 | 8.49 | Estimated Values | 4434 | AT | RCR | mc | 2016-01-08 | ERA 0601-15-04: 30 µl & Crescent 04EE007: 30 µl
20152190002 | 2015-08-06 08:30 | EQUILIN | 64539GM005 | 8 | 12.1074 | E | ng/L | 1.0324 | 12.5 | Estimated Values | 4434 | AT | RCR | mc | 2015-09-23 | ChemService 4073900: 30 µl & Spex Organics EN150501025: 30 µl
20153090108 | 2015-11-05 09:00 | EQUILIN | 64539GM005 | 8 | 12.1074 | E | ng/L | 0.44271 | 5.36 | Estimated Values | 4434 | AT | RCR | mnc | 2016-01-08 | ERA 0601-15-04: 30 µl & ChemService 4073900: 30 µl
20142620040 | 2014-09-18 07:00 | EQUILIN | 64539GM005 | 8 | 15.7895 | E | ng/L | 0.61053 | 9.64 | Estimated Values | 4434 | AT | RCR | mc | 2014-12-23 | Spex Organics E1140505004: 30 µl & Supelco LC06946: 30 µl
20143650001 | 2014-12-31 06:00 | EQUILIN | 64539GM005 | 8 | 15.7895 | E | ng/L | 0.6194 | 9.78 | Estimated Values | 4434 | AT | RCR | mc | 2015-04-01 | ChemService 2561700: 30 µl & Spex Organics E1140505004: 30 µl
20141150017 | 2014-04-24 08:00 | EQUILIN | 64539GM005 | 8 | 15.9789 | E | ng/L | 0.70718 | 11.3 | Estimated Values | 4434 | AT | RCR | mc | 2014-05-14 | Abs 031014: 30 µl & ChemService 2561700: 30 µl
20141290003 | 2014-05-08 08:00 | EQUILIN | 64539GM005 | 8 | 15.9789 | E | ng/L | 0.70718 | 11.3 | Estimated Values | 4434 | AT | RCR | mc | 2014-07-14 | ERA 0227-14-07.2: 30 µl & Abs 031014: 30 µl
20142530088 | 2014-09-10 06:30 | EQUILIN | 64539GM005 | 8 | 15.9789 | E | ng/L | 0.75725 | 12.1 | Estimated Values | 4434 | AT | RCR | mc | 2014-12-22 | Abs 042114: 30 µl & Abs 031014: 30 µl
20143110109 | 2014-11-06 06:30 | EQUILIN | 64539GM005 | 8 | 15.9789 | E | ng/L | 0.52569 | 8.4 | Estimated Values | 4434 | AT | RCR | mc | 2015-01-29 | Abs 031014: 30 µl & Supelco LC06946: 30 µl
20151140151 | 2015-04-23 07:00 | EQUILIN | 64539GM005 | 8 | 15.9789 | E | ng/L | 0.62582 | 10 | Estimated Values | 4434 | AT | RCR | mc | 2015-06-03 | Abs 031014: 30 µl & ERA 0227-14-07.2: 30 µl
20151900131 | 2015-07-09 07:30 | EQUILIN | 64539GM005 | 8 | 19.7895 | E | ng/L | 0.60133 | 11.9 | Estimated Values | 4434 | AT | RCR | mc | 2015-08-10 | ERA 0601-15-04: 50 µl & Crescent 04EE007: 50 µl
20153280158 | 2015-11-24 08:30 | EQUILIN | 64539GM005 | 8 | 19.7895 | E | ng/L | 1.0864 | 21.5 | Estimated Values | 4434 | AT | RCR | *mc | 2016-01-08 | Crescent 04EE007: 50 µl & Spex Organics EN150501025: 50 µl
20160910145 | 2016-03-31 07:30 | EQUILIN | 64539GM005 | 16 | 19.7895 | E | ng/L | 0.84388 | 16.7 | Estimated Values | 4434 | AT | RCR | mc | 2016-06-24 | Crescent 04EE007: 50 µl & Spex Organics EN150501025: 50 µl
20163220167 | 2016-11-16 08:00 | EQUILIN | 64539GM005 | 16 | 20.0842 | E | ng/L | 0.62736 | 12.6 | Estimated Values | 4434 | AT | TPE | mnc | 2017-02-01 | Supelco LC20140V: 30 µl & Abs 052616: 30 µl
20151970169 | 2015-07-16 07:00 | EQUILIN | 64539GM005 | 8 | 20.179 | E | ng/L | 0.75326 | 15.2 | Estimated Values | 4434 | AT | RCR | mc | 2015-08-17 | ChemService 4073900: 50 µl & Abs 041515: 50 µl
20152110198 | 2015-07-30 09:30 | EQUILIN | 64539GM005 | 8 | 20.179 | E | ng/L | 0.8276 | 16.7 | Estimated Values | 4434 | AT | RCR | mc | 2015-09-14 | ERA 0601-15-04: 50 µl & ChemService 4073900: 50 µl
20160840085 | 2016-03-24 07:00 | EQUILIN | 64539GM005 | 16 | 20.179 | E | ng/L | 0.64919 | 13.1 | Estimated Values | 4434 | AT | RCR | mnc | 2016-06-24 | ERA 0601-15-04: 50 µl & ChemService 4073900: 50 µl
20162100009 | 2016-07-27 06:45 | EQUILIN | 64539GM005 | 16 | 20.1916 | E | ng/L | 0.68841 | 13.9 | Estimated Values | 4434 | AT | RCR | mnc | 2016-09-21 | ChemService 5016200: 30 µl & ChemService 5016100: 30 µl
20110620086 | 2011-03-03 08:00 | EQUILIN | 64539GM005 | 4 | 21.0438 | E | ng/L | 0.76032 | 16 | Estimated Values | 4434 | AT | RCR | mc | 2011-03-31 | Spex Organics T1100629008: 100 µl
20113490064 | 2011-12-13 08:30 | EQUILIN | 64539GM005 | 8 | 21.0526 | E | ng/L | 0.69825 | 14.7 | Estimated Values | 4434 | AT | RCR | mc | 2012-02-01 | Spex Organics T1100629008: 100 µl
20122790026 | 2012-10-04 08:00 | EQUILIN | 64539GM005 | 8 | 21.0526 | E | ng/L | 0.494 | 10.4 | Estimated Values | 4434 | AT | RCR | mc | 2012-12-03 | ERA 0511-12-02: 50 µl & Abs 051512: 50 µl
20122930150 | 2012-10-18 08:00 | EQUILIN | 64539GM005 | 8 | 21.0526 | E | ng/L | 0.66025 | 13.9 | Estimated Values | 4434 | AT | RCR | mc | 2012-12-18 | Spex Organics T1120525010: 50 µl & Supelco LB92781: 50 µl
20130250063 | 2013-01-24 08:00 | EQUILIN | 64539GM005 | 8 | 21.0526 | E | ng/L | 0.46123 | 9.71 | Estimated Values | 4434 | AT | RCR | mc | 2013-02-22 | Restek A089631: 50 µl & Supelco LB92781: 50 µl
20152890008 | 2015-10-15 08:30 | EQUILIN | 64539GM005 | 8 | 23.7474 | E | ng/L | 0.7285 | 17.3 | Estimated Values | 4434 | AT | RCR | mc | 2016-01-07 | Crescent 04EE007: 60 µl & Abs 041515: 60 µl
20152750003 | 2015-10-01 08:30 | EQUILIN | 64539GM005 | 8 | 24.2147 | E | ng/L | 0.76813 | 18.6 | Estimated Values | 4434 | AT | RCR | mc | 2016-01-05 | Supelco LC13547: 60 µl & ChemService 4073900: 60 µl
20131840103 | 2013-07-03 07:30 | EQUILIN | 64539GM005 | 8 | 25.0526 | E | ng/L | 0.61471 | 15.4 | Estimated Values | 4434 | AT | RCR | mc | 2013-08-09 | ERA 0415-13-01.2A: 50 µl & Spex Organics T1130423008: 50 µl
20140030014 | 2014-01-02 06:30 | EQUILIN | 64539GM005 | 8 | 25.0526 | E | ng/L | 0.55084 | 13.8 | Estimated Values | 4434 | AT | RCR | mc | 2014-03-05 | Spex Organics T1130423008: 50 µl & Abs 071513: 50 µl
20140590012 | 2014-02-27 08:00 | EQUILIN | 64539GM005 | 8 | 25.0526 | E | ng/L | 0.51092 | 12.8 | Estimated Values | 4434 | AT | RCR | mc | 2014-03-14 | ERA 0415-13-01.2A: 50 µl & Spex Organics T1130423008: 50 µl
20133050049 | 2013-10-31 07:00 | EQUILIN | 64539GM005 | 8 | 25.1347 | E | ng/L | 0.53313 | 13.4 | Estimated Values | 4434 | AT | RCR | mc | 2014-02-25 | ERA 0415-13-01.1A: 50 µl & Abs 050813: 50 µl
20140230084 | 2014-01-23 07:30 | EQUILIN | 64539GM005 | 8 | 25.1347 | E | ng/L | 0.7241 | 18.2 | Estimated Values | 4434 | AT | RCR | mc | 2014-03-14 | Supelco LB99393: 50 µl & Abs 050813: 50 µl
20112170148 | 2011-08-04 10:00 | EQUILIN | 64539GM005 | 8 | 27.3684 | E | ng/L | 0.79288 | 21.7 | Estimated Values | 4434 | AT | JEM | mc | 2011-10-03 | Abs 081810: 100 µl
20120760110 | 2012-03-15 09:00 | EQUILIN | 64539GM005 | 8 | 27.3684 | E | ng/L | 0.83308 | 22.8 | Estimated Values | 4434 | AT | RCR | mc | 2012-04-17 | Abs 081810: 100 µl
20121040013 | 2012-04-12 07:30 | EQUILIN | 64539GM005 | 8 | 27.3684 | E | ng/L | 0.84769 | 23.2 | Estimated Values | 4434 | AT | RCR | mc | 2012-07-02 | Abs 081810: 100 µl
20110910087 | 2011-03-31 09:00 | EQUILIN | 64539GM005 | 4 | 27.5249 | E | ng/L | 0.65032 | 17.9 | Estimated Values | 4434 | AT | JEM | mc | 2011-05-09 | Abs 081810: 100 µl
20142890075 | 2014-10-16 07:00 | EQUILIN | 64539GM005 | 8 | 31.5789 | E | ng/L | 1.0292 | 32.5 | Estimated Values | 4434 | AT | RCR | mc | 2015-01-21 | ChemService 2561700: 60 µl & Spex Organics E1140505004: 60 µl
20150230030 | 2015-01-22 07:00 | EQUILIN | 64539GM005 | 8 | 31.5789 | E | ng/L | 0.53517 | 16.9 | Estimated Values | 4434 | AT | RCR | mc | 2015-04-01 | Spex Organics E1140505004: 60 µl & Supelco LC06946: 60 µl
20150790010 | 2015-03-19 07:00 | EQUILIN | 64539GM005 | 8 | 31.5789 | E | ng/L | 0.79167 | 25 | Estimated Values | 4434 | AT | RCR | mc | 2015-04-13 | Abs 042114: 60 µl & Spex Organics E1140505004: 60 µl
20141080003 | 2014-04-17 06:30 | EQUILIN | 64539GM005 | 8 | 31.9579 | E | ng/L | 0.44746 | 14.3 | Estimated Values | 4434 | AT | RCR | mc | 2014-05-06 | Abs 031014: 60 µl & ChemService 2561700: 60 µl
20141490203 | 2014-05-29 07:00 | EQUILIN | 64539GM005 | 8 | 31.9579 | E | ng/L | 0.88867 | 28.4 | Estimated Values | 4434 | AT | RCR | mc | 2014-08-11 | Abs 031014: 60 µl & ERA 0227-14-07.2: 60 µl
20141710107 | 2014-06-19 07:30 | EQUILIN | 64539GM005 | 8 | 31.9579 | E | ng/L | 0.86677 | 27.7 | Estimated Values | 4434 | AT | RCR | mc | 2014-08-26 | Abs 031014: 60 µl & Abs 042114: 60 µl
20142340163 | 2014-08-18 07:00 | EQUILIN | 64539GM005 | 8 | 31.9579 | E | ng/L | 0.55698 | 17.8 | Estimated Values | 4434 | AT | RCR | mc | 2014-12-09 | Abs 031014: 60 µl & Supelco LC06946: 60 µl
20161540125 | 2016-06-02 06:00 | EQUILIN | 64539GM005 | 16 | 33.4737 | E | ng/L | 1.3324 | 44.6 | Estimated Values | 4434 | AT | RCR | mc | 2016-08-19 | Supelco LC20140V: 50 µl & Spex Organics TS160420010: 50 µl
20161400193 | 2016-05-18 06:15 | EQUILIN | 64539GM005 | 16 | 33.6526 | E | ng/L | 0.81717 | 27.5 | Estimated Values | 4434 | AT | RCR | mc | 2016-08-11 | ChemService 5016100: 50 µl & Spex Organics TS160420010: 50 µl
20162520002 | 2016-09-07 07:30 | EQUILIN | 64539GM005 | 16 | 33.6526 | E | ng/L | 0.62105 | 20.9 | Estimated Values | 4434 | AT | TPE | mc | 2016-12-15 | Abs 061416H: 50 µl & ChemService 5016100: 50 µl