## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20152330045 | 2015-08-20 07:30 | ESTRIOL | 64540GM005 | 2 | 2.9684 | < | ng/L |  |  | False Negative | 4434 | AT | RCR |  | 2015-11-02 | Supelco LC13547: 30 µl & Crescent 04EE007: 30 µl
20152460213 | 2015-09-03 08:30 | ESTRIOL | 64540GM005 | 2 | 2.9684 | < | ng/L |  | 4.01 | SACRALT | 4434 | AT | RCR |  | 2015-12-11 | Crescent 04EE007: 30 µl & Spex Organics EN150501025: 30 µl
20151140151 | 2015-04-23 07:00 | ESTRIOL | 64540GM005 | 2 | 4.0042 | < | ng/L |  |  | False Negative | 4434 | AT | RCR |  | 2015-06-03 | Abs 031014: 30 µl & ERA 0227-14-07.2: 30 µl
20141490203 | 2014-05-29 07:00 | ESTRIOL | 64540GM005 | 2 | 8.0084 | < | ng/L |  |  | False Negative | 4434 | AT | RCR |  | 2014-08-11 | Abs 031014: 60 µl & ERA 0227-14-07.2: 60 µl
20141640082 | 2014-06-12 07:00 | ESTRIOL | 64540GM005 | 2 | 8.0084 | < | ng/L |  |  | False Negative | 4434 | AT | RCR | v | 2014-08-22 | ERA 0227-14-07.2: 60 µl & Abs 042114: 60 µl
20161740282 | 2016-06-22 07:00 | ESTRIOL | 64540GM005 | 2 | 8.3368 | < | ng/L |  |  | False Negative | 4434 | AT | RCR |  | 2016-08-31 | Spex Organics TS160420010: 50 µl & ChemService 5016200: 50 µl
20163420126 | 2016-12-07 08:00 | ESTRIOL | 64540GM005 | 2 | 13.3288 | R | ng/L |  |  | Deleted Values | 4434 |  |  |  | 2016-12-07 08:00 | Spex Organics EN160621015: 80 µl & Abs 061416H: 80 µl
20131160077 | 2013-04-25 07:00 | ESTRIOL | 64540GM005 | 2 | 16.8421 | R | ng/L |  |  | Deleted Values | 4434 |  |  |  | 2013-04-25 07:00 | Abs 051512: 50 µl & Spex Organics T1120525010: 50 µl
20153440002 | 2015-12-09 06:30 | ESTRIOL | 64540GM005 | 2 | 2.9684 | . | ng/L | 0.71082 | 2.11 | Recoverable Result | 4434 | AT | RCR |  | 2016-01-08 | ERA 0601-15-04: 30 µl & Crescent 04EE007: 30 µl
20160560045 | 2016-02-25 08:30 | ESTRIOL | 64540GM005 | 2 | 2.9684 | . | ng/L | 1.0982 | 3.26 | Recoverable Result | 4434 | AT | RCR |  | 2016-03-18 | Crescent 04EE007: 30 µl & Spex Organics EN150501025: 30 µl
20152190002 | 2015-08-06 08:30 | ESTRIOL | 64540GM005 | 2 | 3 | . | ng/L | 1.2067 | 3.62 | Recoverable Result | 4434 | AT | RCR |  | 2015-09-23 | ChemService 4073900: 30 µl & Spex Organics EN150501025: 30 µl
20153090108 | 2015-11-05 09:00 | ESTRIOL | 64540GM005 | 2 | 3 | . | ng/L | 0.88667 | 2.66 | Recoverable Result | 4434 | AT | RCR |  | 2016-01-08 | ERA 0601-15-04: 30 µl & ChemService 4073900: 30 µl
20160070058 | 2016-01-07 08:30 | ESTRIOL | 64540GM005 | 2 | 3 | . | ng/L | 0.52333 | 1.57 | Recoverable Result | 4434 | AT | RCR | n | 2016-03-07 | ChemService 4073900: 30 µl & Abs 041515: 30 µl
20160430110 | 2016-02-11 09:00 | ESTRIOL | 64540GM005 | 2 | 3 | . | ng/L | 1.0467 | 3.14 | Recoverable Result | 4434 | AT | RCR |  | 2016-03-18 | Supelco LC13547: 30 µl & ChemService 4073900: 30 µl
20142470037 | 2014-09-03 06:45 | ESTRIOL | 64540GM005 | 2 | 3.9789 | . | ng/L | 0.87963 | 3.5 | Recoverable Result | 4434 | AT | RCR |  | 2014-12-16 | Supelco LC06946: 30 µl & Abs 042114: 30 µl
20142620040 | 2014-09-18 07:00 | ESTRIOL | 64540GM005 | 2 | 3.9789 | . | ng/L | 0.81429 | 3.24 | Recoverable Result | 4434 | AT | RCR |  | 2014-12-23 | Spex Organics E1140505004: 30 µl & Supelco LC06946: 30 µl
20142820150 | 2014-10-09 06:30 | ESTRIOL | 64540GM005 | 2 | 3.9789 | . | ng/L | 0.98267 | 3.91 | Recoverable Result | 4434 | AT | RCR |  | 2015-01-21 | Supelco LC06946: 30 µl & ChemService 2561700: 30 µl
20143110109 | 2014-11-06 06:30 | ESTRIOL | 64540GM005 | 2 | 3.9789 | . | ng/L | 0.64339 | 2.56 | Recoverable Result | 4434 | AT | RCR |  | 2015-01-29 | Abs 031014: 30 µl & Supelco LC06946: 30 µl
20141290003 | 2014-05-08 08:00 | ESTRIOL | 64540GM005 | 2 | 4.0042 | . | ng/L | 0.78917 | 3.16 | Recoverable Result | 4434 | AT | RCR |  | 2014-07-14 | ERA 0227-14-07.2: 30 µl & Abs 031014: 30 µl
20141420137 | 2014-05-22 07:30 | ESTRIOL | 64540GM005 | 2 | 4.0042 | . | ng/L | 0.92902 | 3.72 | Recoverable Result | 4434 | AT | RCR |  | 2014-07-28 | ERA 0227-14-07.2: 30 µl & ChemService 2561700: 30 µl
20141770146 | 2014-06-26 07:00 | ESTRIOL | 64540GM005 | 2 | 4.0042 | . | ng/L | 0.91154 | 3.65 | Recoverable Result | 4434 | AT | RCR |  | 2014-09-04 | ERA 0227-14-07.2: 30 µl & Spex Organics E1140505004: 30 µl
20142200165 | 2014-08-07 07:30 | ESTRIOL | 64540GM005 | 2 | 4.0042 | . | ng/L | 0.91404 | 3.66 | Recoverable Result | 4434 | AT | RCR |  | 2014-11-05 | ERA 0227-14-07.2: 30 µl & Abs 042114: 30 µl
20151900131 | 2015-07-09 07:30 | ESTRIOL | 64540GM005 | 2 | 4.9474 | . | ng/L | 0.80851 | 4 | Recoverable Result | 4434 | AT | RCR |  | 2015-08-10 | ERA 0601-15-04: 50 µl & Crescent 04EE007: 50 µl
20153280158 | 2015-11-24 08:30 | ESTRIOL | 64540GM005 | 2 | 4.9474 | . | ng/L | 1.1461 | 5.67 | Recoverable Result | 4434 | AT | RCR | * | 2016-01-08 | Crescent 04EE007: 50 µl & Spex Organics EN150501025: 50 µl
20160910145 | 2016-03-31 07:30 | ESTRIOL | 64540GM005 | 2 | 4.9474 | . | ng/L | 0.84894 | 4.2 | Recoverable Result | 4434 | AT | RCR |  | 2016-06-24 | Crescent 04EE007: 50 µl & Spex Organics EN150501025: 50 µl
20162300273 | 2016-08-17 08:00 | ESTRIOL | 64540GM005 | 2 | 4.9983 | . | ng/L | 1.0404 | 5.2 | Recoverable Result | 4434 | AT | TPE |  | 2016-12-05 | Abs 052616: 30 µl & Abs 061416H: 30 µl
20151970169 | 2015-07-16 07:00 | ESTRIOL | 64540GM005 | 2 | 5 | . | ng/L | 1.068 | 5.34 | Recoverable Result | 4434 | AT | RCR |  | 2015-08-17 | ChemService 4073900: 50 µl & Abs 041515: 50 µl
20152110198 | 2015-07-30 09:30 | ESTRIOL | 64540GM005 | 2 | 5 | . | ng/L | 0.926 | 4.63 | Recoverable Result | 4434 | AT | RCR |  | 2015-09-14 | ERA 0601-15-04: 50 µl & ChemService 4073900: 50 µl
20160840085 | 2016-03-24 07:00 | ESTRIOL | 64540GM005 | 2 | 5 | . | ng/L | 0.88 | 4.4 | Recoverable Result | 4434 | AT | RCR |  | 2016-06-24 | ERA 0601-15-04: 50 µl & ChemService 4073900: 50 µl
20161820010 | 2016-06-29 08:30 | ESTRIOL | 64540GM005 | 2 | 5.0021 | . | ng/L | 0.91961 | 4.6 | Recoverable Result | 4434 | AT | RCR |  | 2016-09-09 | ChemService 5016200: 30 µl & Supelco LC20140V: 30 µl
20162020125 | 2016-07-20 07:30 | ESTRIOL | 64540GM005 | 2 | 5.0021 | . | ng/L | 0.97959 | 4.9 | Recoverable Result | 4434 | AT | RCR |  | 2016-09-16 | Spex Organics EN160621015: 30 µl & ChemService 5016200: 30 µl
20162100009 | 2016-07-27 06:45 | ESTRIOL | 64540GM005 | 2 | 5.0021 | . | ng/L | 1.0596 | 5.3 | Recoverable Result | 4434 | AT | RCR |  | 2016-09-21 | ChemService 5016200: 30 µl & ChemService 5016100: 30 µl
20162930166 | 2016-10-19 06:45 | ESTRIOL | 64540GM005 | 2 | 5.0021 | . | ng/L | 0.79966 | 4 | Recoverable Result | 4434 | AT | TPE |  | 2017-01-13 | Abs 052616: 30 µl & ChemService 5016200: 30 µl
20131370002 | 2013-05-16 08:00 | ESTRIOL | 64540GM005 | 2 | 5.0105 | . | ng/L | 0.64265 | 3.22 | Recoverable Result | 4434 | AT | RCR |  | 2013-06-04 | Supelco LB99393: 20 µl & Spex Organics T1130423008: 20 µl
20131580025 | 2013-06-06 08:30 | ESTRIOL | 64540GM005 | 2 | 5.0105 | . | ng/L | 0.48298 | 2.42 | Recoverable Result | 4434 | AT | RCR |  | 2013-06-27 | ERA 0415-13-01.1A: 20 µl & Spex Organics T1130423008: 20 µl
20132420003 | 2013-08-29 08:00 | ESTRIOL | 64540GM005 | 2 | 5.0105 | . | ng/L | 0.68456 | 3.43 | Recoverable Result | 4434 | AT | RCR |  | 2013-12-09 | Supelco LB99393: 20 µl & Spex Organics T1130423008: 20 µl
20132340084 | 2013-08-21 08:00 | ESTRIOL | 64540GM005 | 2 | 5.0354 | . | ng/L | 0.6216 | 3.13 | Recoverable Result | 4434 | AT | RCR |  | 2013-11-18 | ERA 0415-13-01.2A: 20 µl & Abs 050813: 20 µl
20132980022 | 2013-10-24 08:00 | ESTRIOL | 64540GM005 | 2 | 5.0354 | . | ng/L | 0.68515 | 3.45 | Recoverable Result | 4434 | AT | RCR |  | 2014-02-19 | Abs 050813: 20 µl & Abs 071513: 20 µl
20133260007 | 2013-11-21 07:30 | ESTRIOL | 64540GM005 | 2 | 5.0354 | . | ng/L | 0.58188 | 2.93 | Recoverable Result | 4434 | AT | RCR |  | 2014-03-03 | Abs 050813: 20 µl & Abs 071513: 20 µl
20110340010 | 2011-02-02 08:00 | ESTRIOL | 64540GM005 | 2 | 5.1771 | . | ng/L | 1.1493 | 5.95 | Recoverable Result | 4434 | AT | RCR |  | 2011-03-30 | Abs 081810: 25 µl
20111470069 | 2011-05-26 08:30 | ESTRIOL | 64540GM005 | 2 | 5.1846 | . | ng/L | 0.59021 | 3.06 | Recoverable Result | 4434 | AT | JEM |  | 2011-06-13 | Abs 081810: 25 µl
20111680031 | 2011-06-16 10:00 | ESTRIOL | 64540GM005 | 2 | 5.1878 | . | ng/L | 0.5166 | 2.68 | Recoverable Result | 4434 | AT | RCR |  | 2011-07-11 | Spex Organics T1100629008: 25 µl
20110070106 | 2011-01-06 07:30 | ESTRIOL | 64540GM005 | 2 | 5.2203 | . | ng/L | 0.59 | 3.08 | Recoverable Result | 4434 | AT | RCR |  | 2011-03-10 | Spex Organics T1100629008: 25 µl
20112380057 | 2011-08-25 11:20 | ESTRIOL | 64540GM005 | 2 | 5.2632 | . | ng/L | 0.7809 | 4.11 | Recoverable Result | 4434 | AT | RCR |  | 2011-10-12 | Abs 081810: 25 µl
20112590006 | 2011-09-15 09:00 | ESTRIOL | 64540GM005 | 2 | 5.2632 | . | ng/L | 0.7999 | 4.21 | Recoverable Result | 4434 | AT | RCR |  | 2011-10-13 | Spex Organics T1100629008: 25 µl
20113080005 | 2011-11-03 08:00 | ESTRIOL | 64540GM005 | 2 | 5.2632 | . | ng/L | 0.8759 | 4.61 | Recoverable Result | 4434 | AT | RCR |  | 2011-11-28 | Spex Organics T1100629008: 25 µl
20113340044 | 2011-11-29 08:00 | ESTRIOL | 64540GM005 | 2 | 5.2632 | . | ng/L | 0.8417 | 4.43 | Recoverable Result | 4434 | AT | RCR |  | 2012-01-27 | Abs 081810: 25 µl
20120260027 | 2012-01-26 08:30 | ESTRIOL | 64540GM005 | 2 | 5.2632 | . | ng/L | 0.9842 | 5.18 | Recoverable Result | 4434 | AT | RCR |  | 2012-03-27 | Abs 081810: 25 µl
20121520253 | 2012-05-31 07:30 | ESTRIOL | 64540GM005 | 2 | 5.2632 | . | ng/L | 0.7429 | 3.91 | Recoverable Result | 4434 | AT | RCR |  | 2012-08-16 | Spex Organics T1100629008: 25 µl
20111190186 | 2011-04-28 08:00 | ESTRIOL | 64540GM005 | 2 | 5.3045 | . | ng/L | 0.78424 | 4.16 | Recoverable Result | 4434 | AT | JEM |  | 2011-05-26 | Spex Organics T1100629008: 25 µl
20152890008 | 2015-10-15 08:30 | ESTRIOL | 64540GM005 | 2 | 5.9368 | . | ng/L | 0.7883 | 4.68 | Recoverable Result | 4434 | AT | RCR |  | 2016-01-07 | Crescent 04EE007: 60 µl & Abs 041515: 60 µl
20152750003 | 2015-10-01 08:30 | ESTRIOL | 64540GM005 | 2 | 6 | . | ng/L | 0.76667 | 4.6 | Recoverable Result | 4434 | AT | RCR |  | 2016-01-05 | Supelco LC13547: 60 µl & ChemService 4073900: 60 µl
20141910241 | 2014-07-10 07:00 | ESTRIOL | 64540GM005 | 2 | 7.9579 | . | ng/L | 0.8922 | 7.1 | Recoverable Result | 4434 | AT | RCR |  | 2014-09-23 | Supelco LC06946: 60 µl & ChemService 2561700: 60 µl
20142340163 | 2014-08-18 07:00 | ESTRIOL | 64540GM005 | 2 | 7.9579 | . | ng/L | 0.57679 | 4.59 | Recoverable Result | 4434 | AT | RCR |  | 2014-12-09 | Abs 031014: 60 µl & Supelco LC06946: 60 µl
20143240098 | 2014-11-19 06:30 | ESTRIOL | 64540GM005 | 2 | 7.9579 | . | ng/L | 0.87837 | 6.99 | Recoverable Result | 4434 | AT | RCR |  | 2015-02-12 | Supelco LC06946: 60 µl & Abs 042114: 60 µl
20150230030 | 2015-01-22 07:00 | ESTRIOL | 64540GM005 | 2 | 7.9579 | . | ng/L | 0.81303 | 6.47 | Recoverable Result | 4434 | AT | RCR |  | 2015-04-01 | Spex Organics E1140505004: 60 µl & Supelco LC06946: 60 µl
20150430091 | 2015-02-12 06:30 | ESTRIOL | 64540GM005 | 2 | 8.0084 | . | ng/L | 0.81414 | 6.52 | Recoverable Result | 4434 | AT | RCR |  | 2015-04-01 | ERA 0227-14-07.2: 60 µl & ChemService 2561700: 60 µl
20162520002 | 2016-09-07 07:30 | ESTRIOL | 64540GM005 | 2 | 8.3305 | . | ng/L | 0.8763 | 7.3 | Recoverable Result | 4434 | AT | TPE |  | 2016-12-15 | Abs 061416H: 50 µl & ChemService 5016100: 50 µl
20121670019 | 2012-06-14 08:30 | ESTRIOL | 64540GM005 | 2 | 8.4211 | . | ng/L | 0.83481 | 7.03 | Recoverable Result | 4434 | AT | RCR |  | 2012-08-24 | Abs 051512: 25 µl
20122230020 | 2012-08-09 07:00 | ESTRIOL | 64540GM005 | 2 | 8.4211 | . | ng/L | 0.90844 | 7.65 | Recoverable Result | 4434 | AT | RCR |  | 2012-08-31 | ERA 0511-12-02: 25 µl & Abs 051512: 25 µl
20122430224 | 2012-08-30 08:00 | ESTRIOL | 64540GM005 | 2 | 8.4211 | . | ng/L | 0.72319 | 6.09 | Recoverable Result | 4434 | AT | RCR |  | 2012-11-01 | ERA 0507-12-04.1: 25 µl & Abs 051512: 25 µl
20130510049 | 2013-02-19 08:30 | ESTRIOL | 64540GM005 | 2 | 8.4211 | . | ng/L | 0.60563 | 5.1 | Recoverable Result | 4434 | AT | RCR |  | 2013-04-03 | Spex Organics T1120525010: 25 µl & Abs 051512: 25 µl
20123260038 | 2012-11-20 08:30 | ESTRIOL | 64540GM005 | 2 | 10.5263 | . | ng/L | 0.7106 | 7.48 | Recoverable Result | 4434 | AT | RCR |  | 2012-12-18 | Restek A089631: 25 µl & Supelco LB92781: 25 µl
20123490149 | 2012-12-13 07:30 | ESTRIOL | 64540GM005 | 2 | 10.5263 | . | ng/L | 0.8094 | 8.52 | Recoverable Result | 4434 | AT | RCR |  | 2013-02-08 | ERA 0507-12-04.1: 25 µl & Supelco LB92781: 25 µl
20130810107 | 2013-03-21 07:30 | ESTRIOL | 64540GM005 | 2 | 10.5263 | . | ng/L | 0.8075 | 8.5 | Recoverable Result | 4434 | AT | RCR |  | 2013-04-10 | ERA 0511-12-02: 25 µl & Supelco LB92781: 25 µl
20131840103 | 2013-07-03 07:30 | ESTRIOL | 64540GM005 | 2 | 12.5263 | . | ng/L | 0.91807 | 11.5 | Recoverable Result | 4434 | AT | RCR |  | 2013-08-09 | ERA 0415-13-01.2A: 50 µl & Spex Organics T1130423008: 50 µl
20140030014 | 2014-01-02 06:30 | ESTRIOL | 64540GM005 | 2 | 12.5263 | . | ng/L | 0.63227 | 7.92 | Recoverable Result | 4434 | AT | RCR |  | 2014-03-05 | Spex Organics T1130423008: 50 µl & Abs 071513: 50 µl
20140590012 | 2014-02-27 08:00 | ESTRIOL | 64540GM005 | 2 | 12.5263 | . | ng/L | 0.59315 | 7.43 | Recoverable Result | 4434 | AT | RCR |  | 2014-03-14 | ERA 0415-13-01.2A: 50 µl & Spex Organics T1130423008: 50 µl
20133050049 | 2013-10-31 07:00 | ESTRIOL | 64540GM005 | 2 | 12.5884 | . | ng/L | 0.73401 | 9.24 | Recoverable Result | 4434 | AT | RCR |  | 2014-02-25 | ERA 0415-13-01.1A: 50 µl & Abs 050813: 50 µl
20140230084 | 2014-01-23 07:30 | ESTRIOL | 64540GM005 | 2 | 12.5884 | . | ng/L | 0.6792 | 8.55 | Recoverable Result | 4434 | AT | RCR |  | 2014-03-14 | Supelco LB99393: 50 µl & Abs 050813: 50 µl
20122790026 | 2012-10-04 08:00 | ESTRIOL | 64540GM005 | 2 | 16.8421 | . | ng/L | 0.64719 | 10.9 | Recoverable Result | 4434 | AT | RCR |  | 2012-12-03 | ERA 0511-12-02: 50 µl & Abs 051512: 50 µl
20110620086 | 2011-03-03 08:00 | ESTRIOL | 64540GM005 | 2 | 21.0438 | . | ng/L | 0.86962 | 18.3 | Recoverable Result | 4434 | AT | RCR |  | 2011-03-31 | Spex Organics T1100629008: 100 µl
20111950200 | 2011-07-14 10:00 | ESTRIOL | 64540GM005 | 2 | 21.0526 | E | ng/L | 0.7505 | 15.8 | Estimated Values | 4434 | AT | JEM |  | 2011-09-29 | Spex Organics T1100629008: 100 µl
20112170148 | 2011-08-04 10:00 | ESTRIOL | 64540GM005 | 2 | 21.0526 | . | ng/L | 0.90725 | 19.1 | Recoverable Result | 4434 | AT | JEM |  | 2011-10-03 | Abs 081810: 100 µl
20113490064 | 2011-12-13 08:30 | ESTRIOL | 64540GM005 | 2 | 21.0526 | . | ng/L | 0.79325 | 16.7 | Recoverable Result | 4434 | AT | RCR |  | 2012-02-01 | Spex Organics T1100629008: 100 µl
20120760110 | 2012-03-15 09:00 | ESTRIOL | 64540GM005 | 2 | 21.0526 | . | ng/L | 0.9405 | 19.8 | Recoverable Result | 4434 | AT | RCR |  | 2012-04-17 | Abs 081810: 100 µl
20121040013 | 2012-04-12 07:30 | ESTRIOL | 64540GM005 | 2 | 21.0526 | . | ng/L | 1.0308 | 21.7 | Recoverable Result | 4434 | AT | RCR |  | 2012-07-02 | Abs 081810: 100 µl
20122930150 | 2012-10-18 08:00 | ESTRIOL | 64540GM005 | 2 | 21.0526 | . | ng/L | 0.75525 | 15.9 | Recoverable Result | 4434 | AT | RCR |  | 2012-12-18 | Spex Organics T1120525010: 50 µl & Supelco LB92781: 50 µl
20130250063 | 2013-01-24 08:00 | ESTRIOL | 64540GM005 | 2 | 21.0526 | . | ng/L | 0.76475 | 16.1 | Recoverable Result | 4434 | AT | RCR |  | 2013-02-22 | Restek A089631: 50 µl & Supelco LB92781: 50 µl
20110910087 | 2011-03-31 09:00 | ESTRIOL | 64540GM005 | 2 | 21.173 | . | ng/L | 0.83125 | 17.6 | Recoverable Result | 4434 | AT | JEM |  | 2011-05-09 | Abs 081810: 100 µl