## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20131160077 | 2013-04-25 07:00 | ESTRONE | 64541GM005 | 0.8 |  | R | ng/L |  |  | Deleted Values | 4434 |  |  |  | 2013-04-25 07:00 | Abs 051512: 50 µl & Spex Organics T1120525010: 50 µl
20141080003 | 2014-04-17 06:30 | ESTRONE | 64541GM005 | 0.8 |  | R | ng/L |  |  | Deleted Values | 4434 | AT | RCR |  | 2014-05-06 | Abs 031014: 60 µl & ChemService 2561700: 60 µl
20151380010 | 2015-05-14 06:00 | ESTRONE | 64541GM005 | 0.8 | 1.2 | < | ng/L |  |  | False Negative | 4434 | AT | RCR |  | 2015-06-29 | Supelco LC13547: 30 µl & Abs 041515: 30 µl
20151480171 | 2015-05-28 06:30 | ESTRONE | 64541GM005 | 0.8 | 1.2 | < | ng/L |  |  | False Negative | 4434 | AT | RCR |  | 2015-09-17 | Supelco LC13547: 30 µl & Abs 041515: 30 µl
20151410211 | 2015-05-21 07:00 | ESTRONE | 64541GM005 | 0.8 | 1.2 | < | ng/L |  |  | False Negative | 4434 | AT | RCR |  | 2015-09-17 | Supelco LC13547: 30 µl & Spex Organics EN150501025: 30 µl
20152330045 | 2015-08-20 07:30 | ESTRONE | 64541GM005 | 0.8 | 1.2 | < | ng/L |  | 1.86 | SACRALT | 4434 | AT | RCR |  | 2015-11-02 | Supelco LC13547: 30 µl & Crescent 04EE007: 30 µl
20160630047 | 2016-03-03 08:30 | ESTRONE | 64541GM005 | 0.8 | 1.2 | < | ng/L |  |  | False Negative | 4434 | AT | RCR |  | 2016-03-18 | Spex Organics EN150501025: 30 µl & Supelco LC13547: 30 µl
20160430110 | 2016-02-11 09:00 | ESTRONE | 64541GM005 | 0.8 | 1.2 | < | ng/L |  |  | False Negative | 4434 | AT | RCR |  | 2016-03-18 | Supelco LC13547: 30 µl & ChemService 4073900: 30 µl
20153090108 | 2015-11-05 09:00 | ESTRONE | 64541GM005 | 0.8 | 1.2126 | < | ng/L |  |  | False Negative | 4434 | AT | RCR |  | 2016-01-08 | ERA 0601-15-04: 30 µl & ChemService 4073900: 30 µl
20143110109 | 2014-11-06 06:30 | ESTRONE | 64541GM005 | 0.8 | 1.5789 | < | ng/L |  |  | False Negative | 4434 | AT | RCR |  | 2015-01-29 | Abs 031014: 30 µl & Supelco LC06946: 30 µl
20151140151 | 2015-04-23 07:00 | ESTRONE | 64541GM005 | 0.8 | 1.6358 | < | ng/L |  |  | False Negative | 4434 | AT | RCR |  | 2015-06-03 | Abs 031014: 30 µl & ERA 0227-14-07.2: 30 µl
20151620181 | 2015-06-11 06:30 | ESTRONE | 64541GM005 | 0.8 | 2 | < | ng/L |  | 2.44 | SACRALT | 4434 | AT | RCR |  | 2015-07-21 | Supelco LC13547: 50 µl & Spex Organics EN150501025: 50 µl
20161960002 | 2016-07-13 08:30 | ESTRONE | 64541GM005 | 2 | 2.0021 | < | ng/L |  | 2.4 | SACRALT | 4434 | AT | RCR |  | 2016-09-15 | Supelco LC20140V: 30 µl & Spex Organics EN160621015: 30 µl
20152610010 | 2015-09-17 06:30 | ESTRONE | 64541GM005 | 0.8 | 2.0211 | < | ng/L |  |  | False Negative | 4434 | AT | RCR | @c | 2015-12-10 | Abs 041515: 50 µl & ERA 0601-15-04: 50 µl
20161130024 | 2016-04-21 06:30 | ESTRONE | 64541GM005 | 2 | 2.0211 | < | ng/L |  |  | False Negative | 4434 | AT | RCR |  | 2016-07-12 | Spex Organics EN150501025: 50 µl & ERA 0601-15-04: 50 µl
20153230146 | 2015-11-19 09:00 | ESTRONE | 64541GM005 | 0.8 | 2.4253 | < | ng/L |  | 2.53 | SACRALT | 4434 | AT | RCR |  | 2016-01-08 | Spex Organics EN150501025: 60 µl & ERA 0601-15-04: 60 µl
20143240098 | 2014-11-19 06:30 | ESTRONE | 64541GM005 | 0.8 | 3.1579 | < | ng/L |  |  | False Negative | 4434 | AT | RCR |  | 2015-02-12 | Supelco LC06946: 60 µl & Abs 042114: 60 µl
20141490203 | 2014-05-29 07:00 | ESTRONE | 64541GM005 | 0.8 | 3.2716 | < | ng/L |  | 3.56 | SACRALT | 4434 | AT | RCR |  | 2014-08-11 | Abs 031014: 60 µl & ERA 0227-14-07.2: 60 µl
20163420126 | 2016-12-07 08:00 | ESTRONE | 64541GM005 | 2 | 5.3389 | R | ng/L |  |  | Deleted Values | 4434 |  |  |  | 2016-12-07 08:00 | Spex Organics EN160621015: 80 µl & Abs 061416H: 80 µl
20153440002 | 2015-12-09 06:30 | ESTRONE | 64541GM005 | 0.8 | 1.2126 | . | ng/L | 0.69271 | 0.84 | Recoverable Result | 4434 | AT | RCR |  | 2016-01-08 | ERA 0601-15-04: 30 µl & Crescent 04EE007: 30 µl
20142470037 | 2014-09-03 06:45 | ESTRONE | 64541GM005 | 0.8 | 1.5789 | . | ng/L | 0.74733 | 1.18 | Recoverable Result | 4434 | AT | RCR |  | 2014-12-16 | Supelco LC06946: 30 µl & Abs 042114: 30 µl
20142620040 | 2014-09-18 07:00 | ESTRONE | 64541GM005 | 0.8 | 1.5789 | . | ng/L | 0.855 | 1.35 | Recoverable Result | 4434 | AT | RCR |  | 2014-12-23 | Spex Organics E1140505004: 30 µl & Supelco LC06946: 30 µl
20142820150 | 2014-10-09 06:30 | ESTRONE | 64541GM005 | 0.8 | 1.5789 | E | ng/L | 0.684 | 1.08 | Estimated Values | 4434 | AT | RCR |  | 2015-01-21 | Supelco LC06946: 30 µl & ChemService 2561700: 30 µl
20141290003 | 2014-05-08 08:00 | ESTRONE | 64541GM005 | 0.8 | 1.6358 | . | ng/L | 0.7825 | 1.28 | Recoverable Result | 4434 | AT | RCR |  | 2014-07-14 | ERA 0227-14-07.2: 30 µl & Abs 031014: 30 µl
20141420137 | 2014-05-22 07:30 | ESTRONE | 64541GM005 | 0.8 | 1.6358 | . | ng/L | 0.94144 | 1.54 | Recoverable Result | 4434 | AT | RCR |  | 2014-07-28 | ERA 0227-14-07.2: 30 µl & ChemService 2561700: 30 µl
20141770146 | 2014-06-26 07:00 | ESTRONE | 64541GM005 | 0.8 | 1.6358 | . | ng/L | 0.81306 | 1.33 | Recoverable Result | 4434 | AT | RCR |  | 2014-09-04 | ERA 0227-14-07.2: 30 µl & Spex Organics E1140505004: 30 µl
20142200165 | 2014-08-07 07:30 | ESTRONE | 64541GM005 | 0.8 | 1.6358 | . | ng/L | 0.75804 | 1.24 | Recoverable Result | 4434 | AT | RCR |  | 2014-11-05 | ERA 0227-14-07.2: 30 µl & Abs 042114: 30 µl
20162020125 | 2016-07-20 07:30 | ESTRONE | 64541GM005 | 2 | 2.0021 | . | ng/L | 0.64932 | 1.3 | Recoverable Result | 4434 | AT | RCR | n | 2016-09-16 | Spex Organics EN160621015: 30 µl & ChemService 5016200: 30 µl
20151900131 | 2015-07-09 07:30 | ESTRONE | 64541GM005 | 0.8 | 2.0211 | . | ng/L | 1.0044 | 2.03 | Recoverable Result | 4434 | AT | RCR |  | 2015-08-10 | ERA 0601-15-04: 50 µl & Crescent 04EE007: 50 µl
20152110198 | 2015-07-30 09:30 | ESTRONE | 64541GM005 | 0.8 | 2.0211 | . | ng/L | 1.1182 | 2.26 | Recoverable Result | 4434 | AT | RCR |  | 2015-09-14 | ERA 0601-15-04: 50 µl & ChemService 4073900: 50 µl
20160280054 | 2016-01-28 08:30 | ESTRONE | 64541GM005 | 0.8 | 2.0211 | . | ng/L | 0.5888 | 1.19 | Recoverable Result | 4434 | AT | RCR |  | 2016-03-07 | Abs 041515: 50 µl & ERA 0601-15-04: 50 µl
20160840085 | 2016-03-24 07:00 | ESTRONE | 64541GM005 | 2 | 2.0211 | . | ng/L | 0.9401 | 1.9 | Recoverable Result | 4434 | AT | RCR | n | 2016-06-24 | ERA 0601-15-04: 50 µl & ChemService 4073900: 50 µl
20162300273 | 2016-08-17 08:00 | ESTRONE | 64541GM005 | 2 | 2.0349 | . | ng/L | 1.2285 | 2.5 | Recoverable Result | 4434 | AT | TPE |  | 2016-12-05 | Abs 052616: 30 µl & Abs 061416H: 30 µl
20162800003 | 2016-10-05 08:00 | ESTRONE | 64541GM005 | 2 | 2.0349 | . | ng/L | 0.68798 | 1.4 | Recoverable Result | 4434 | AT | TPE | n | 2016-12-29 | ChemService 5016100: 30 µl & Abs 052616: 30 µl
20162930166 | 2016-10-19 06:45 | ESTRONE | 64541GM005 | 2 | 2.0349 | . | ng/L | 0.78626 | 1.6 | Recoverable Result | 4434 | AT | TPE | n | 2017-01-13 | Abs 052616: 30 µl & ChemService 5016200: 30 µl
20163220167 | 2016-11-16 08:00 | ESTRONE | 64541GM005 | 2 | 2.0349 | . | ng/L | 0.68798 | 1.4 | Recoverable Result | 4434 | AT | TPE | n | 2017-02-01 | Supelco LC20140V: 30 µl & Abs 052616: 30 µl
20152750003 | 2015-10-01 08:30 | ESTRONE | 64541GM005 | 0.8 | 2.4 | E | ng/L | 0.75833 | 1.82 | Estimated Values | 4434 | AT | RCR |  | 2016-01-05 | Supelco LC13547: 60 µl & ChemService 4073900: 60 µl
20131720019 | 2013-06-20 08:30 | ESTRONE | 64541GM005 | 0.8 | 2.6989 | . | ng/L | 0.63729 | 1.72 | Recoverable Result | 4434 | AT | RCR |  | 2013-07-19 | Supelco LB99393: 20 µl & ERA 0415-13-01.2A: 20 µl
20132140004 | 2013-08-01 08:00 | ESTRONE | 64541GM005 | 0.8 | 2.6989 | . | ng/L | 0.68175 | 1.84 | Recoverable Result | 4434 | AT | RCR |  | 2013-09-16 | ERA 0415-13-01.1A: 20 µl & ERA 0415-13-01.2A: 20 µl & Abs 060413: 20 µl
20132340084 | 2013-08-21 08:00 | ESTRONE | 64541GM005 | 0.8 | 2.6989 | . | ng/L | 0.62246 | 1.68 | Recoverable Result | 4434 | AT | RCR |  | 2013-11-18 | ERA 0415-13-01.2A: 20 µl & Abs 050813: 20 µl
20132630005 | 2013-09-19 06:30 | ESTRONE | 64541GM005 | 0.8 | 2.6989 | E | ng/L | 0.51872 | 1.4 | Estimated Values | 4434 | AT | RCR |  | 2014-01-23 | Supelco LB99393: 20 µl & ERA 0415-13-01.2A: 20 µl & Abs 060413: 20 µl
20140860105 | 2014-03-27 08:00 | ESTRONE | 64541GM005 | 0.8 | 2.6989 | . | ng/L | 0.90406 | 2.44 | Recoverable Result | 4434 | AT | RCR |  | 2014-04-14 | ERA 0415-13-01.1A: 20 µl & ERA 0415-13-01.2A: 20 µl & Abs 060413: 20 µl
20132980022 | 2013-10-24 08:00 | ESTRONE | 64541GM005 | 0.8 | 2.7124 | . | ng/L | 0.50877 | 1.38 | Recoverable Result | 4434 | AT | RCR |  | 2014-02-19 | Abs 050813: 20 µl & Abs 071513: 20 µl
20133260007 | 2013-11-21 07:30 | ESTRONE | 64541GM005 | 0.8 | 2.7124 | . | ng/L | 0.57145 | 1.55 | Recoverable Result | 4434 | AT | RCR |  | 2014-03-03 | Abs 050813: 20 µl & Abs 071513: 20 µl
20110770007 | 2011-03-17 09:00 | ESTRONE | 64541GM005 | 0.8 | 3.0718 | . | ng/L | 0.73898 | 2.27 | Recoverable Result | 4434 | AT | JEM |  | 2011-05-09 | Crescent 162776: 25 µl
20110490039 | 2011-02-17 07:00 | ESTRONE | 64541GM005 | 0.8 | 3.0966 | . | ng/L | 0.82025 | 2.54 | Recoverable Result | 4434 | AT | RCR |  | 2011-03-31 | Supelco LB77167: 25 µl
20111050148 | 2011-04-14 09:00 | ESTRONE | 64541GM005 | 0.8 | 3.1172 | . | ng/L | 0.79879 | 2.49 | Recoverable Result | 4434 | AT | JEM |  | 2011-05-19 | Supelco LB77167: 25 µl
20111810006 | 2011-06-29 08:30 | ESTRONE | 64541GM005 | 0.8 | 3.1526 | . | ng/L | 0.66611 | 2.1 | Recoverable Result | 4434 | AT | RCR |  | 2011-07-25 | Crescent 162776: 25 µl
20112310028 | 2011-08-18 08:51 | ESTRONE | 64541GM005 | 0.8 | 3.1526 | . | ng/L | 0.83422 | 2.63 | Recoverable Result | 4434 | AT | RCR |  | 2011-10-12 | Crescent 162776: 25 µl
20112930083 | 2011-10-20 08:00 | ESTRONE | 64541GM005 | 0.8 | 3.1526 | . | ng/L | 0.78982 | 2.49 | Recoverable Result | 4434 | AT | RCR |  | 2011-11-17 | Crescent 162776: 25 µl
20120620012 | 2012-03-01 09:00 | ESTRONE | 64541GM005 | 0.8 | 3.1526 | . | ng/L | 0.63756 | 2.01 | Recoverable Result | 4434 | AT | RCR |  | 2012-04-06 | Crescent 162776: 25 µl
20112100009 | 2011-07-28 09:00 | ESTRONE | 64541GM005 | 0.8 | 3.1579 | . | ng/L | 0.73467 | 2.32 | Recoverable Result | 4434 | AT | JEM |  | 2011-09-29 | Supelco LB77167: 25 µl
20120400059 | 2012-02-09 08:00 | ESTRONE | 64541GM005 | 0.8 | 3.1579 | . | ng/L | 0.97217 | 3.07 | Recoverable Result | 4434 | AT | RCR |  | 2012-04-04 | Supelco LB77167: 25 µl
20120830079 | 2012-03-22 08:00 | ESTRONE | 64541GM005 | 0.8 | 3.1579 | . | ng/L | 0.6745 | 2.13 | Recoverable Result | 4434 | AT | RCR |  | 2012-04-17 | Supelco LB77167: 25 µl
20121310026 | 2012-05-10 07:30 | ESTRONE | 64541GM005 | 0.8 | 3.1579 | . | ng/L | 0.67133 | 2.12 | Recoverable Result | 4434 | AT | RCR |  | 2012-07-27 | Supelco LB77167: 25 µl
20141910241 | 2014-07-10 07:00 | ESTRONE | 64541GM005 | 0.8 | 3.1579 | . | ng/L | 0.77267 | 2.44 | Recoverable Result | 4434 | AT | RCR |  | 2014-09-23 | Supelco LC06946: 60 µl & ChemService 2561700: 60 µl
20142340163 | 2014-08-18 07:00 | ESTRONE | 64541GM005 | 0.8 | 3.1579 | . | ng/L | 0.79167 | 2.5 | Recoverable Result | 4434 | AT | RCR |  | 2014-12-09 | Abs 031014: 60 µl & Supelco LC06946: 60 µl
20150230030 | 2015-01-22 07:00 | ESTRONE | 64541GM005 | 0.8 | 3.1579 | . | ng/L | 0.42433 | 1.34 | Recoverable Result | 4434 | AT | RCR |  | 2015-04-01 | Spex Organics E1140505004: 60 µl & Supelco LC06946: 60 µl
20141640082 | 2014-06-12 07:00 | ESTRONE | 64541GM005 | 0.8 | 3.2716 | . | ng/L | 1.082 | 3.54 | Recoverable Result | 4434 | AT | RCR |  | 2014-08-22 | ERA 0227-14-07.2: 60 µl & Abs 042114: 60 µl
20150430091 | 2015-02-12 06:30 | ESTRONE | 64541GM005 | 0.8 | 3.2716 | . | ng/L | 0.80084 | 2.62 | Recoverable Result | 4434 | AT | RCR |  | 2015-04-01 | ERA 0227-14-07.2: 60 µl & ChemService 2561700: 60 µl
20123260038 | 2012-11-20 08:30 | ESTRONE | 64541GM005 | 0.8 | 6.3158 | . | ng/L | 0.75683 | 4.78 | Recoverable Result | 4434 | AT | RCR |  | 2012-12-18 | Restek A089631: 25 µl & Supelco LB92781: 25 µl
20122230020 | 2012-08-09 07:00 | ESTRONE | 64541GM005 | 0.8 | 6.3684 | . | ng/L | 0.95 | 6.05 | Recoverable Result | 4434 | AT | RCR |  | 2012-08-31 | ERA 0511-12-02: 25 µl & Abs 051512: 25 µl
20130180026 | 2013-01-17 08:00 | ESTRONE | 64541GM005 | 0.8 | 6.3684 | . | ng/L | 0.64066 | 4.08 | Recoverable Result | 4434 | AT | RCR |  | 2013-02-22 | Spex Organics T1120525010: 25 µl & ERA 0511-12-02: 25 µl
20130810107 | 2013-03-21 07:30 | ESTRONE | 64541GM005 | 0.8 | 6.3684 | . | ng/L | 0.86364 | 5.5 | Recoverable Result | 4434 | AT | RCR |  | 2013-04-10 | ERA 0511-12-02: 25 µl & Supelco LB92781: 25 µl
20131840103 | 2013-07-03 07:30 | ESTRONE | 64541GM005 | 0.8 | 6.7474 | . | ng/L | 0.69064 | 4.66 | Recoverable Result | 4434 | AT | RCR |  | 2013-08-09 | ERA 0415-13-01.2A: 50 µl & Spex Organics T1130423008: 50 µl
20140590012 | 2014-02-27 08:00 | ESTRONE | 64541GM005 | 0.8 | 6.7474 | . | ng/L | 0.49056 | 3.31 | Recoverable Result | 4434 | AT | RCR |  | 2014-03-14 | ERA 0415-13-01.2A: 50 µl & Spex Organics T1130423008: 50 µl
20140030014 | 2014-01-02 06:30 | ESTRONE | 64541GM005 | 0.8 | 6.7811 | . | ng/L | 0.69901 | 4.74 | Recoverable Result | 4434 | AT | RCR |  | 2014-03-05 | Spex Organics T1130423008: 50 µl & Abs 071513: 50 µl
20133540013 | 2013-12-19 07:30 | ESTRONE | 64541GM005 | 0.8 | 6.7811 | . | ng/L | 0.62675 | 4.25 | Recoverable Result | 4434 | AT | RCR |  | 2014-03-05 | ERA 0415-13-01.1A: 50 µl & Abs 060413: 50 µl & Abs 071513: 50 µl
20140440054 | 2014-02-13 08:00 | ESTRONE | 64541GM005 | 0.8 | 6.7811 | . | ng/L | 0.54711 | 3.71 | Recoverable Result | 4434 | AT | RCR |  | 2014-03-14 | Supelco LB99393: 50 µl & Abs 060413: 50 µl & Abs 071513: 50 µl
20140730136 | 2014-03-13 08:00 | ESTRONE | 64541GM005 | 0.8 | 6.7811 | . | ng/L | 1.081 | 7.33 | Recoverable Result | 4434 | AT | RCR |  | 2014-04-14 | ERA 0415-13-01.1A: 50 µl & Abs 071513: 50 µl
20111590009 | 2011-06-07 08:00 | ESTRONE | 64541GM005 | 0.8 | 12.3582 | . | ng/L | 0.80595 | 9.96 | Recoverable Result | 4434 | AT | RCR |  | 2011-06-23 | Crescent 162776: 100 µl
20110210093 | 2011-01-20 08:00 | ESTRONE | 64541GM005 | 0.8 | 12.4171 | . | ng/L | 0.71031 | 8.82 | Recoverable Result | 4434 | AT | RCR |  | 2011-03-10 | Crescent 162776: 100 µl
20111330150 | 2011-05-12 08:00 | ESTRONE | 64541GM005 | 0.8 | 12.4636 | . | ng/L | 0.7558 | 9.42 | Recoverable Result | 4434 | AT | JEM |  | 2011-06-07 | Supelco LB77167: 100 µl
20120200075 | 2012-01-19 08:30 | ESTRONE | 64541GM005 | 0.8 | 12.6105 | . | ng/L | 0.93573 | 11.8 | Recoverable Result | 4434 | AT | RCR |  | 2012-03-27 | Crescent 162776: 100 µl
20112450026 | 2011-09-01 09:30 | ESTRONE | 64541GM005 | 0.8 | 12.6316 | . | ng/L | 0.74337 | 9.39 | Recoverable Result | 4434 | AT | RCR |  | 2011-10-13 | Supelco LB77167: 100 µl
20113220197 | 2011-11-17 07:30 | ESTRONE | 64541GM005 | 0.8 | 12.6316 | . | ng/L | 0.75287 | 9.51 | Recoverable Result | 4434 | AT | RCR |  | 2012-01-27 | Supelco LB77167: 100 µl
20123070009 | 2012-11-01 08:30 | ESTRONE | 64541GM005 | 0.8 | 12.6316 | . | ng/L | 0.75762 | 9.57 | Recoverable Result | 4434 | AT | RCR |  | 2012-12-18 | ERA 0507-12-04.1: 50 µl & Restek A089631: 50 µl
20130250063 | 2013-01-24 08:00 | ESTRONE | 64541GM005 | 0.8 | 12.6316 | . | ng/L | 0.67529 | 8.53 | Recoverable Result | 4434 | AT | RCR |  | 2013-02-22 | Restek A089631: 50 µl & Supelco LB92781: 50 µl
20130650006 | 2013-03-05 08:00 | ESTRONE | 64541GM005 | 0.8 | 12.6316 | . | ng/L | 0.72912 | 9.21 | Recoverable Result | 4434 | AT | RCR |  | 2013-04-03 | Spex Organics T1120525010: 50 µl & Restek A089631: 50 µl
20130940099 | 2013-04-04 07:00 | ESTRONE | 64541GM005 | 0.8 | 12.6316 | . | ng/L | 0.64837 | 8.19 | Recoverable Result | 4434 | AT | RCR |  | 2013-04-22 | ERA 0507-12-04.1: 50 µl & Restek A089631: 50 µl
20122570124 | 2012-09-13 08:00 | ESTRONE | 64541GM005 | 0.8 | 12.7368 | . | ng/L | 0.84793 | 10.8 | Recoverable Result | 4434 | AT | RCR |  | 2012-11-07 | ERA 0507-12-04.1: 50 µl & ERA 0511-12-02: 50 µl
20122790026 | 2012-10-04 08:00 | ESTRONE | 64541GM005 | 0.8 | 12.7368 | . | ng/L | 0.67128 | 8.55 | Recoverable Result | 4434 | AT | RCR |  | 2012-12-03 | ERA 0511-12-02: 50 µl & Abs 051512: 50 µl
20161400193 | 2016-05-18 06:15 | ESTRONE | 64541GM005 | 2 | 3336.842 | E | ng/L | 0.52954 | 1767 | Estimated Values | 4434 | AT | RCR |  | 2016-08-11 | ChemService 5016100: 50 µl & Spex Organics TS160420010: 50 µl
20161540125 | 2016-06-02 06:00 | ESTRONE | 64541GM005 | 2 | 3336.842 | E | ng/L | 0.65931 | 2200 | Estimated Values | 4434 | AT | RCR |  | 2016-08-19 | Supelco LC20140V: 50 µl & Spex Organics TS160420010: 50 µl
20161740282 | 2016-06-22 07:00 | ESTRONE | 64541GM005 | 2 | 3336.842 | . | ng/L | 0.4753 | 1586 | Recoverable Result | 4434 | AT | RCR |  | 2016-08-31 | Spex Organics TS160420010: 50 µl & ChemService 5016200: 50 µl