## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20131160077 | 2013-04-25 07:00 | MESTRANOL | 64542GM005 | 0.8 |  | R | ng/L |  |  | Deleted Values | 4434 |  |  |  | 2013-04-25 07:00 | Abs 051512: 50 µl & Spex Organics T1120525010: 50 µl
20140230084 | 2014-01-23 07:30 | MESTRANOL | 64542GM005 | 0.8 |  | . | ng/L |  | 0.73 | False Positive | 4434 | AT | RCR | n | 2014-03-14 | Supelco LB99393: 50 µl & Abs 050813: 50 µl
20160280054 | 2016-01-28 08:30 | MESTRANOL | 64542GM005 | 0.8 |  | . | ng/L |  | 23.8 | False Positive | 4434 | AT | RCR |  | 2016-03-07 | Abs 041515: 50 µl & ERA 0601-15-04: 50 µl
20152190002 | 2015-08-06 08:30 | MESTRANOL | 64542GM005 | 0.8 | 1.2 | < | ng/L |  |  | False Negative | 4434 | AT | RCR |  | 2015-09-23 | ChemService 4073900: 30 µl & Spex Organics EN150501025: 30 µl
20152330045 | 2015-08-20 07:30 | MESTRANOL | 64542GM005 | 0.8 | 1.2 | < | ng/L |  |  | False Negative | 4434 | AT | RCR |  | 2015-11-02 | Supelco LC13547: 30 µl & Crescent 04EE007: 30 µl
20152460213 | 2015-09-03 08:30 | MESTRANOL | 64542GM005 | 0.8 | 1.2 | < | ng/L |  |  | False Negative | 4434 | AT | RCR |  | 2015-12-11 | Crescent 04EE007: 30 µl & Spex Organics EN150501025: 30 µl
20153440002 | 2015-12-09 06:30 | MESTRANOL | 64542GM005 | 0.8 | 1.2 | < | ng/L |  |  | False Negative | 4434 | AT | RCR |  | 2016-01-08 | ERA 0601-15-04: 30 µl & Crescent 04EE007: 30 µl
20153090108 | 2015-11-05 09:00 | MESTRANOL | 64542GM005 | 0.8 | 1.2 | < | ng/L |  |  | False Negative | 4434 | AT | RCR |  | 2016-01-08 | ERA 0601-15-04: 30 µl & ChemService 4073900: 30 µl
20160070058 | 2016-01-07 08:30 | MESTRANOL | 64542GM005 | 0.8 | 1.2 | < | ng/L |  |  | False Negative | 4434 | AT | RCR |  | 2016-03-07 | ChemService 4073900: 30 µl & Abs 041515: 30 µl
20160560045 | 2016-02-25 08:30 | MESTRANOL | 64542GM005 | 0.8 | 1.2 | < | ng/L |  |  | False Negative | 4434 | AT | RCR |  | 2016-03-18 | Crescent 04EE007: 30 µl & Spex Organics EN150501025: 30 µl
20160430110 | 2016-02-11 09:00 | MESTRANOL | 64542GM005 | 0.8 | 1.2 | < | ng/L |  |  | False Negative | 4434 | AT | RCR |  | 2016-03-18 | Supelco LC13547: 30 µl & ChemService 4073900: 30 µl
20142470037 | 2014-09-03 06:45 | MESTRANOL | 64542GM005 | 0.8 | 1.5789 | < | ng/L |  |  | False Negative | 4434 | AT | RCR |  | 2014-12-16 | Supelco LC06946: 30 µl & Abs 042114: 30 µl
20142530088 | 2014-09-10 06:30 | MESTRANOL | 64542GM005 | 0.8 | 1.5789 | < | ng/L |  |  | False Negative | 4434 | AT | RCR |  | 2014-12-22 | Abs 042114: 30 µl & Abs 031014: 30 µl
20143650001 | 2014-12-31 06:00 | MESTRANOL | 64542GM005 | 0.8 | 1.6061 | < | ng/L |  |  | False Negative | 4434 | AT | RCR |  | 2015-04-01 | ChemService 2561700: 30 µl & Spex Organics E1140505004: 30 µl
20131720019 | 2013-06-20 08:30 | MESTRANOL | 64542GM005 | 0.8 | 1.8021 | < | ng/L |  |  | False Negative | 4434 | AT | RCR |  | 2013-07-19 | Supelco LB99393: 20 µl & ERA 0415-13-01.2A: 20 µl
20132140004 | 2013-08-01 08:00 | MESTRANOL | 64542GM005 | 0.8 | 1.8021 | < | ng/L |  |  | False Negative | 4434 | AT | RCR |  | 2013-09-16 | ERA 0415-13-01.1A: 20 µl & ERA 0415-13-01.2A: 20 µl & Abs 060413: 20 µl
20132340084 | 2013-08-21 08:00 | MESTRANOL | 64542GM005 | 0.8 | 1.8021 | < | ng/L |  |  | False Negative | 4434 | AT | RCR |  | 2013-11-18 | ERA 0415-13-01.2A: 20 µl & Abs 050813: 20 µl
20140860105 | 2014-03-27 08:00 | MESTRANOL | 64542GM005 | 0.8 | 1.8021 | < | ng/L |  |  | False Negative | 4434 | AT | RCR |  | 2014-04-14 | ERA 0415-13-01.1A: 20 µl & ERA 0415-13-01.2A: 20 µl & Abs 060413: 20 µl
20133260007 | 2013-11-21 07:30 | MESTRANOL | 64542GM005 | 0.8 | 1.8114 | < | ng/L |  |  | False Negative | 4434 | AT | RCR |  | 2014-03-03 | Abs 050813: 20 µl & Abs 071513: 20 µl
20161960002 | 2016-07-13 08:30 | MESTRANOL | 64542GM005 | 1.6 | 1.9958 | < | ng/L |  |  | False Negative | 4434 | AT | RCR |  | 2016-09-15 | Supelco LC20140V: 30 µl & Spex Organics EN160621015: 30 µl
20162020125 | 2016-07-20 07:30 | MESTRANOL | 64542GM005 | 1.6 | 1.9958 | < | ng/L |  |  | False Negative | 4434 | AT | RCR |  | 2016-09-16 | Spex Organics EN160621015: 30 µl & ChemService 5016200: 30 µl
20151970169 | 2015-07-16 07:00 | MESTRANOL | 64542GM005 | 0.8 | 2 | < | ng/L |  |  | False Negative | 4434 | AT | RCR |  | 2015-08-17 | ChemService 4073900: 50 µl & Abs 041515: 50 µl
20153280158 | 2015-11-24 08:30 | MESTRANOL | 64542GM005 | 0.8 | 2 | < | ng/L |  |  | False Negative | 4434 | AT | RCR | * | 2016-01-08 | Crescent 04EE007: 50 µl & Spex Organics EN150501025: 50 µl
20160910145 | 2016-03-31 07:30 | MESTRANOL | 64542GM005 | 1.6 | 2 | < | ng/L |  | 20 | SACRALT | 4434 | AT | RCR |  | 2016-06-24 | Crescent 04EE007: 50 µl & Spex Organics EN150501025: 50 µl
20160840085 | 2016-03-24 07:00 | MESTRANOL | 64542GM005 | 1.6 | 2 | < | ng/L |  | 20 | SACRALT | 4434 | AT | RCR |  | 2016-06-24 | ERA 0601-15-04: 50 µl & ChemService 4073900: 50 µl
20162300273 | 2016-08-17 08:00 | MESTRANOL | 64542GM005 | 1.6 | 2.0267 | < | ng/L |  |  | False Negative | 4434 | AT | TPE |  | 2016-12-05 | Abs 052616: 30 µl & Abs 061416H: 30 µl
20162800003 | 2016-10-05 08:00 | MESTRANOL | 64542GM005 | 1.6 | 2.0267 | < | ng/L |  |  | False Negative | 4434 | AT | TPE |  | 2016-12-29 | ChemService 5016100: 30 µl & Abs 052616: 30 µl
20163220167 | 2016-11-16 08:00 | MESTRANOL | 64542GM005 | 1.6 | 2.0267 | < | ng/L |  |  | False Negative | 4434 | AT | TPE |  | 2017-02-01 | Supelco LC20140V: 30 µl & Abs 052616: 30 µl
20152750003 | 2015-10-01 08:30 | MESTRANOL | 64542GM005 | 0.8 | 2.4 | < | ng/L |  |  | False Negative | 4434 | AT | RCR |  | 2016-01-05 | Supelco LC13547: 60 µl & ChemService 4073900: 60 µl
20152890008 | 2015-10-15 08:30 | MESTRANOL | 64542GM005 | 0.8 | 2.4 | < | ng/L |  |  | False Negative | 4434 | AT | RCR |  | 2016-01-07 | Crescent 04EE007: 60 µl & Abs 041515: 60 µl
20141640082 | 2014-06-12 07:00 | MESTRANOL | 64542GM005 | 0.8 | 3.1579 | < | ng/L |  |  | False Negative | 4434 | AT | RCR |  | 2014-08-22 | ERA 0227-14-07.2: 60 µl & Abs 042114: 60 µl
20150790010 | 2015-03-19 07:00 | MESTRANOL | 64542GM005 | 0.8 | 3.1579 | < | ng/L |  |  | False Negative | 4434 | AT | RCR |  | 2015-04-13 | Abs 042114: 60 µl & Spex Organics E1140505004: 60 µl
20150430091 | 2015-02-12 06:30 | MESTRANOL | 64542GM005 | 0.8 | 3.2122 | < | ng/L |  |  | False Negative | 4434 | AT | RCR |  | 2015-04-01 | ERA 0227-14-07.2: 60 µl & ChemService 2561700: 60 µl
20163420126 | 2016-12-07 08:00 | MESTRANOL | 64542GM005 | 1.6 | 5.3221 | R | ng/L |  |  | Deleted Values | 4434 |  |  |  | 2016-12-07 08:00 | Spex Organics EN160621015: 80 µl & Abs 061416H: 80 µl
20110770007 | 2011-03-17 09:00 | MESTRANOL | 64542GM005 | 0.8 | 1.5385 | . | ng/L | 0.5135 | 0.79 | Recoverable Result | 4434 | AT | JEM | n | 2011-05-09 | Crescent 162776: 25 µl
20110490039 | 2011-02-17 07:00 | MESTRANOL | 64542GM005 | 0.8 | 1.5483 | . | ng/L | 0.66524 | 1.03 | Recoverable Result | 4434 | AT | RCR |  | 2011-03-31 | Supelco LB77167: 25 µl
20111050148 | 2011-04-14 09:00 | MESTRANOL | 64542GM005 | 0.8 | 1.5586 | . | ng/L | 0.88541 | 1.38 | Recoverable Result | 4434 | AT | JEM |  | 2011-05-19 | Supelco LB77167: 25 µl
20111810006 | 2011-06-29 08:30 | MESTRANOL | 64542GM005 | 0.8 | 1.5789 | . | ng/L | 0.33567 | 0.53 | Recoverable Result | 4434 | AT | RCR | n | 2011-07-25 | Crescent 162776: 25 µl
20112100009 | 2011-07-28 09:00 | MESTRANOL | 64542GM005 | 0.8 | 1.5789 | . | ng/L | 0.53833 | 0.85 | Recoverable Result | 4434 | AT | JEM |  | 2011-09-29 | Supelco LB77167: 25 µl
20112310028 | 2011-08-18 08:51 | MESTRANOL | 64542GM005 | 0.8 | 1.5789 | . | ng/L | 0.69667 | 1.1 | Recoverable Result | 4434 | AT | RCR |  | 2011-10-12 | Crescent 162776: 25 µl
20112930083 | 2011-10-20 08:00 | MESTRANOL | 64542GM005 | 0.8 | 1.5789 | . | ng/L | 0.36733 | 0.58 | Recoverable Result | 4434 | AT | RCR | n | 2011-11-17 | Crescent 162776: 25 µl
20120400059 | 2012-02-09 08:00 | MESTRANOL | 64542GM005 | 0.8 | 1.5789 | . | ng/L | 0.46233 | 0.73 | Recoverable Result | 4434 | AT | RCR | n | 2012-04-04 | Supelco LB77167: 25 µl
20120620012 | 2012-03-01 09:00 | MESTRANOL | 64542GM005 | 0.8 | 1.5789 | . | ng/L | 0.53833 | 0.85 | Recoverable Result | 4434 | AT | RCR |  | 2012-04-06 | Crescent 162776: 25 µl
20120830079 | 2012-03-22 08:00 | MESTRANOL | 64542GM005 | 0.8 | 1.5789 | . | ng/L | 0.44333 | 0.7 | Recoverable Result | 4434 | AT | RCR | n | 2012-04-17 | Supelco LB77167: 25 µl
20121310026 | 2012-05-10 07:30 | MESTRANOL | 64542GM005 | 0.8 | 1.5789 | . | ng/L | 0.532 | 0.84 | Recoverable Result | 4434 | AT | RCR |  | 2012-07-27 | Supelco LB77167: 25 µl
20142200165 | 2014-08-07 07:30 | MESTRANOL | 64542GM005 | 0.8 | 1.5789 | . | ng/L | 0.532 | 0.84 | Recoverable Result | 4434 | AT | RCR |  | 2014-11-05 | ERA 0227-14-07.2: 30 µl & Abs 042114: 30 µl
20141150017 | 2014-04-24 08:00 | MESTRANOL | 64542GM005 | 0.8 | 1.6061 | . | ng/L | 0.53546 | 0.86 | Recoverable Result | 4434 | AT | RCR |  | 2014-05-14 | Abs 031014: 30 µl & ChemService 2561700: 30 µl
20141420137 | 2014-05-22 07:30 | MESTRANOL | 64542GM005 | 0.8 | 1.6061 | . | ng/L | 0.87167 | 1.4 | Recoverable Result | 4434 | AT | RCR |  | 2014-07-28 | ERA 0227-14-07.2: 30 µl & ChemService 2561700: 30 µl
20142820150 | 2014-10-09 06:30 | MESTRANOL | 64542GM005 | 0.8 | 1.6061 | . | ng/L | 0.34867 | 0.56 | Recoverable Result | 4434 | AT | RCR | n | 2015-01-21 | Supelco LC06946: 30 µl & ChemService 2561700: 30 µl
20132630005 | 2013-09-19 06:30 | MESTRANOL | 64542GM005 | 0.8 | 1.8021 | . | ng/L | 0.26081 | 0.47 | Recoverable Result | 4434 | AT | RCR | n | 2014-01-23 | Supelco LB99393: 20 µl & ERA 0415-13-01.2A: 20 µl & Abs 060413: 20 µl
20132980022 | 2013-10-24 08:00 | MESTRANOL | 64542GM005 | 0.8 | 1.8114 | . | ng/L | 0.4527 | 0.82 | Recoverable Result | 4434 | AT | RCR |  | 2014-02-19 | Abs 050813: 20 µl & Abs 071513: 20 µl
20151900131 | 2015-07-09 07:30 | MESTRANOL | 64542GM005 | 0.8 | 2 | . | ng/L | 0.39 | 0.78 | Recoverable Result | 4434 | AT | RCR | n | 2015-08-10 | ERA 0601-15-04: 50 µl & Crescent 04EE007: 50 µl
20152110198 | 2015-07-30 09:30 | MESTRANOL | 64542GM005 | 0.8 | 2 | . | ng/L | 0.565 | 1.13 | Recoverable Result | 4434 | AT | RCR |  | 2015-09-14 | ERA 0601-15-04: 50 µl & ChemService 4073900: 50 µl
20162930166 | 2016-10-19 06:45 | MESTRANOL | 64542GM005 | 1.6 | 2.0267 | . | ng/L | 0.44406 | 0.9 | Recoverable Result | 4434 | AT | TPE | n | 2017-01-13 | Abs 052616: 30 µl & ChemService 5016200: 30 µl
20141710107 | 2014-06-19 07:30 | MESTRANOL | 64542GM005 | 0.8 | 3.1579 | . | ng/L | 0.63333 | 2 | Recoverable Result | 4434 | AT | RCR |  | 2014-08-26 | Abs 031014: 60 µl & Abs 042114: 60 µl
20143240098 | 2014-11-19 06:30 | MESTRANOL | 64542GM005 | 0.8 | 3.1579 | . | ng/L | 0.513 | 1.62 | Recoverable Result | 4434 | AT | RCR |  | 2015-02-12 | Supelco LC06946: 60 µl & Abs 042114: 60 µl
20141080003 | 2014-04-17 06:30 | MESTRANOL | 64542GM005 | 0.8 | 3.2122 | E | ng/L | 0.65376 | 2.1 | Estimated Values | 4434 | AT | RCR |  | 2014-05-06 | Abs 031014: 60 µl & ChemService 2561700: 60 µl
20141910241 | 2014-07-10 07:00 | MESTRANOL | 64542GM005 | 0.8 | 3.2122 | . | ng/L | 0.5697 | 1.83 | Recoverable Result | 4434 | AT | RCR |  | 2014-09-23 | Supelco LC06946: 60 µl & ChemService 2561700: 60 µl
20142890075 | 2014-10-16 07:00 | MESTRANOL | 64542GM005 | 0.8 | 3.2122 | . | ng/L | 0.29886 | 0.96 | Recoverable Result | 4434 | AT | RCR |  | 2015-01-21 | ChemService 2561700: 60 µl & Spex Organics E1140505004: 60 µl
20131840103 | 2013-07-03 07:30 | MESTRANOL | 64542GM005 | 0.8 | 4.5053 | . | ng/L | 0.28633 | 1.29 | Recoverable Result | 4434 | AT | RCR |  | 2013-08-09 | ERA 0415-13-01.2A: 50 µl & Spex Organics T1130423008: 50 µl
20140590012 | 2014-02-27 08:00 | MESTRANOL | 64542GM005 | 0.8 | 4.5053 | . | ng/L | 0.27079 | 1.22 | Recoverable Result | 4434 | AT | RCR |  | 2014-03-14 | ERA 0415-13-01.2A: 50 µl & Spex Organics T1130423008: 50 µl
20140030014 | 2014-01-02 06:30 | MESTRANOL | 64542GM005 | 0.8 | 4.5284 | . | ng/L | 0.3467 | 1.57 | Recoverable Result | 4434 | AT | RCR |  | 2014-03-05 | Spex Organics T1130423008: 50 µl & Abs 071513: 50 µl
20133540013 | 2013-12-19 07:30 | MESTRANOL | 64542GM005 | 0.8 | 4.5284 | . | ng/L | 0.32241 | 1.46 | Recoverable Result | 4434 | AT | RCR |  | 2014-03-05 | ERA 0415-13-01.1A: 50 µl & Abs 060413: 50 µl & Abs 071513: 50 µl
20140440054 | 2014-02-13 08:00 | MESTRANOL | 64542GM005 | 0.8 | 4.5284 | . | ng/L | 0.42178 | 1.91 | Recoverable Result | 4434 | AT | RCR |  | 2014-03-14 | Supelco LB99393: 50 µl & Abs 060413: 50 µl & Abs 071513: 50 µl
20140730136 | 2014-03-13 08:00 | MESTRANOL | 64542GM005 | 0.8 | 4.5284 | . | ng/L | 0.52336 | 2.37 | Recoverable Result | 4434 | AT | RCR |  | 2014-04-14 | ERA 0415-13-01.1A: 50 µl & Abs 071513: 50 µl
20123260038 | 2012-11-20 08:30 | MESTRANOL | 64542GM005 | 0.8 | 5.2632 | . | ng/L | 0.4769 | 2.51 | Recoverable Result | 4434 | AT | RCR |  | 2012-12-18 | Restek A089631: 25 µl & Supelco LB92781: 25 µl
20122230020 | 2012-08-09 07:00 | MESTRANOL | 64542GM005 | 0.8 | 5.3158 | . | ng/L | 0.44772 | 2.38 | Recoverable Result | 4434 | AT | RCR |  | 2012-08-31 | ERA 0511-12-02: 25 µl & Abs 051512: 25 µl
20130180026 | 2013-01-17 08:00 | MESTRANOL | 64542GM005 | 0.8 | 5.3158 | . | ng/L | 0.52109 | 2.77 | Recoverable Result | 4434 | AT | RCR |  | 2013-02-22 | Spex Organics T1120525010: 25 µl & ERA 0511-12-02: 25 µl
20130810107 | 2013-03-21 07:30 | MESTRANOL | 64542GM005 | 0.8 | 5.3158 | . | ng/L | 0.56436 | 3 | Recoverable Result | 4434 | AT | RCR |  | 2013-04-10 | ERA 0511-12-02: 25 µl & Supelco LB92781: 25 µl
20111590009 | 2011-06-07 08:00 | MESTRANOL | 64542GM005 | 0.8 | 6.1894 | . | ng/L | 0.50894 | 3.15 | Recoverable Result | 4434 | AT | RCR |  | 2011-06-23 | Crescent 162776: 100 µl
20110210093 | 2011-01-20 08:00 | MESTRANOL | 64542GM005 | 0.8 | 6.2189 | . | ng/L | 0.55637 | 3.46 | Recoverable Result | 4434 | AT | RCR |  | 2011-03-10 | Crescent 162776: 100 µl
20111330150 | 2011-05-12 08:00 | MESTRANOL | 64542GM005 | 0.8 | 6.2318 | . | ng/L | 0.44931 | 2.8 | Recoverable Result | 4434 | AT | JEM |  | 2011-06-07 | Supelco LB77167: 100 µl
20112450026 | 2011-09-01 09:30 | MESTRANOL | 64542GM005 | 0.8 | 6.3158 | . | ng/L | 0.45758 | 2.89 | Recoverable Result | 4434 | AT | RCR |  | 2011-10-13 | Supelco LB77167: 100 µl
20113220197 | 2011-11-17 07:30 | MESTRANOL | 64542GM005 | 0.8 | 6.3158 | . | ng/L | 0.38158 | 2.41 | Recoverable Result | 4434 | AT | RCR |  | 2012-01-27 | Supelco LB77167: 100 µl
20120200075 | 2012-01-19 08:30 | MESTRANOL | 64542GM005 | 0.8 | 6.3158 | . | ng/L | 0.7125 | 4.5 | Recoverable Result | 4434 | AT | RCR |  | 2012-03-27 | Crescent 162776: 100 µl
20123070009 | 2012-11-01 08:30 | MESTRANOL | 64542GM005 | 0.8 | 10.5263 | . | ng/L | 0.55955 | 5.89 | Recoverable Result | 4434 | AT | RCR |  | 2012-12-18 | ERA 0507-12-04.1: 50 µl & Restek A089631: 50 µl
20130250063 | 2013-01-24 08:00 | MESTRANOL | 64542GM005 | 0.8 | 10.5263 | . | ng/L | 0.3762 | 3.96 | Recoverable Result | 4434 | AT | RCR |  | 2013-02-22 | Restek A089631: 50 µl & Supelco LB92781: 50 µl
20130650006 | 2013-03-05 08:00 | MESTRANOL | 64542GM005 | 0.8 | 10.5263 | . | ng/L | 0.48355 | 5.09 | Recoverable Result | 4434 | AT | RCR |  | 2013-04-03 | Spex Organics T1120525010: 50 µl & Restek A089631: 50 µl
20130940099 | 2013-04-04 07:00 | MESTRANOL | 64542GM005 | 0.8 | 10.5263 | . | ng/L | 0.45505 | 4.79 | Recoverable Result | 4434 | AT | RCR |  | 2013-04-22 | ERA 0507-12-04.1: 50 µl & Restek A089631: 50 µl
20122570124 | 2012-09-13 08:00 | MESTRANOL | 64542GM005 | 0.8 | 10.6316 | . | ng/L | 0.41762 | 4.44 | Recoverable Result | 4434 | AT | RCR |  | 2012-11-07 | ERA 0507-12-04.1: 50 µl & ERA 0511-12-02: 50 µl
20122790026 | 2012-10-04 08:00 | MESTRANOL | 64542GM005 | 0.8 | 10.6316 | . | ng/L | 0.32921 | 3.5 | Recoverable Result | 4434 | AT | RCR |  | 2012-12-03 | ERA 0511-12-02: 50 µl & Abs 051512: 50 µl
20161400193 | 2016-05-18 06:15 | MESTRANOL | 64542GM005 | 1.6 | 3326.316 | E | ng/L | 0.32378 | 1077 | Estimated Values | 4434 | AT | RCR |  | 2016-08-11 | ChemService 5016100: 50 µl & Spex Organics TS160420010: 50 µl
20161540125 | 2016-06-02 06:00 | MESTRANOL | 64542GM005 | 1.6 | 3326.316 | . | ng/L | 0.54775 | 1822 | Recoverable Result | 4434 | AT | RCR |  | 2016-08-19 | Supelco LC20140V: 50 µl & Spex Organics TS160420010: 50 µl
20161740282 | 2016-06-22 07:00 | MESTRANOL | 64542GM005 | 1.6 | 3326.316 | . | ng/L | 0.51047 | 1698 | Recoverable Result | 4434 | AT | RCR |  | 2016-08-31 | Spex Organics TS160420010: 50 µl & ChemService 5016200: 50 µl