## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20163420126 | 2016-12-07 08:00 | NORETHINDRONE | 64531GM005 | 1.6 |  | R | ng/L |  |  | Deleted Values | 4434 |  |  |  | 2016-12-07 08:00 | Spex Organics EN160621015: 80 µl & Abs 061416H: 80 µl
20151410211 | 2015-05-21 07:00 | NORETHINDRONE | 64531GM005 | 0.8 | 1.2 | < | ng/L |  |  | False Negative | 4434 | AT | RCR |  | 2015-09-17 | Supelco LC13547: 30 µl & Spex Organics EN150501025: 30 µl
20152190002 | 2015-08-06 08:30 | NORETHINDRONE | 64531GM005 | 0.8 | 1.2 | < | ng/L |  |  | False Negative | 4434 | AT | RCR |  | 2015-09-23 | ChemService 4073900: 30 µl & Spex Organics EN150501025: 30 µl
20152460213 | 2015-09-03 08:30 | NORETHINDRONE | 64531GM005 | 0.8 | 1.2 | < | ng/L |  |  | False Negative | 4434 | AT | RCR |  | 2015-12-11 | Crescent 04EE007: 30 µl & Spex Organics EN150501025: 30 µl
20160630047 | 2016-03-03 08:30 | NORETHINDRONE | 64531GM005 | 0.8 | 1.2 | < | ng/L |  |  | False Negative | 4434 | AT | RCR |  | 2016-03-18 | Spex Organics EN150501025: 30 µl & Supelco LC13547: 30 µl
20160560045 | 2016-02-25 08:30 | NORETHINDRONE | 64531GM005 | 0.8 | 1.2 | < | ng/L |  |  | False Negative | 4434 | AT | RCR |  | 2016-03-18 | Crescent 04EE007: 30 µl & Spex Organics EN150501025: 30 µl
20151380010 | 2015-05-14 06:00 | NORETHINDRONE | 64531GM005 | 0.8 | 1.2044 | < | ng/L |  |  | False Negative | 4434 | AT | RCR |  | 2015-06-29 | Supelco LC13547: 30 µl & Abs 041515: 30 µl
20151480171 | 2015-05-28 06:30 | NORETHINDRONE | 64531GM005 | 0.8 | 1.2044 | < | ng/L |  |  | False Negative | 4434 | AT | RCR |  | 2015-09-17 | Supelco LC13547: 30 µl & Abs 041515: 30 µl
20160070058 | 2016-01-07 08:30 | NORETHINDRONE | 64531GM005 | 0.8 | 1.2044 | < | ng/L |  |  | False Negative | 4434 | AT | RCR |  | 2016-03-07 | ChemService 4073900: 30 µl & Abs 041515: 30 µl
20112100009 | 2011-07-28 09:00 | NORETHINDRONE | 64531GM005 | 0.8 | 1.5789 | < | ng/L |  |  | False Negative | 4434 | AT | JEM |  | 2011-09-29 | Supelco LB77167: 25 µl
20112310028 | 2011-08-18 08:51 | NORETHINDRONE | 64531GM005 | 0.8 | 1.5789 | < | ng/L |  |  | False Negative | 4434 | AT | RCR |  | 2011-10-12 | Crescent 162776: 25 µl
20141770146 | 2014-06-26 07:00 | NORETHINDRONE | 64531GM005 | 0.8 | 1.5789 | < | ng/L |  | 1.76 | SACRALT | 4434 | AT | RCR |  | 2014-09-04 | ERA 0227-14-07.2: 30 µl & Spex Organics E1140505004: 30 µl
20142530088 | 2014-09-10 06:30 | NORETHINDRONE | 64531GM005 | 0.8 | 1.5789 | < | ng/L |  | 1.8 | SACRALT | 4434 | AT | RCR |  | 2014-12-22 | Abs 042114: 30 µl & Abs 031014: 30 µl
20140860105 | 2014-03-27 08:00 | NORETHINDRONE | 64531GM005 | 0.8 | 1.6 | < | ng/L |  |  | False Negative | 4434 | AT | RCR |  | 2014-04-14 | ERA 0415-13-01.1A: 20 µl & ERA 0415-13-01.2A: 20 µl & Abs 060413: 20 µl
20151620181 | 2015-06-11 06:30 | NORETHINDRONE | 64531GM005 | 0.8 | 2 | < | ng/L |  |  | False Negative | 4434 | AT | RCR |  | 2015-07-21 | Supelco LC13547: 50 µl & Spex Organics EN150501025: 50 µl
20153280158 | 2015-11-24 08:30 | NORETHINDRONE | 64531GM005 | 0.8 | 2 | < | ng/L |  |  | False Negative | 4434 | AT | RCR | * | 2016-01-08 | Crescent 04EE007: 50 µl & Spex Organics EN150501025: 50 µl
20161130024 | 2016-04-21 06:30 | NORETHINDRONE | 64531GM005 | 1.6 | 2 | < | ng/L |  | 3 | SACRALT | 4434 | AT | RCR |  | 2016-07-12 | Spex Organics EN150501025: 50 µl & ERA 0601-15-04: 50 µl
20160280054 | 2016-01-28 08:30 | NORETHINDRONE | 64531GM005 | 0.8 | 2.0074 | < | ng/L |  |  | False Negative | 4434 | AT | RCR |  | 2016-03-07 | Abs 041515: 50 µl & ERA 0601-15-04: 50 µl
20161820010 | 2016-06-29 08:30 | NORETHINDRONE | 64531GM005 | 1.6 | 2.0211 | < | ng/L |  |  | False Negative | 4434 | AT | RCR |  | 2016-09-09 | ChemService 5016200: 30 µl & Supelco LC20140V: 30 µl
20161960002 | 2016-07-13 08:30 | NORETHINDRONE | 64531GM005 | 1.6 | 2.0211 | < | ng/L |  |  | False Negative | 4434 | AT | RCR |  | 2016-09-15 | Supelco LC20140V: 30 µl & Spex Organics EN160621015: 30 µl
20153230146 | 2015-11-19 09:00 | NORETHINDRONE | 64531GM005 | 0.8 | 2.4 | < | ng/L |  |  | False Negative | 4434 | AT | RCR |  | 2016-01-08 | Spex Organics EN150501025: 60 µl & ERA 0601-15-04: 60 µl
20161400193 | 2016-05-18 06:15 | NORETHINDRONE | 64531GM005 | 1.6 | 3.3579 | < | ng/L |  |  | False Negative | 4434 | AT | RCR |  | 2016-08-11 | ChemService 5016100: 50 µl & Spex Organics TS160420010: 50 µl
20131160077 | 2013-04-25 07:00 | NORETHINDRONE | 64531GM005 | 0.8 | 14.5263 | R | ng/L |  |  | Deleted Values | 4434 |  |  |  | 2013-04-25 07:00 | Abs 051512: 50 µl & Spex Organics T1120525010: 50 µl
20110770007 | 2011-03-17 09:00 | NORETHINDRONE | 64531GM005 | 0.8 | 1.5385 | . | ng/L | 0.6435 | 0.99 | Recoverable Result | 4434 | AT | JEM |  | 2011-05-09 | Crescent 162776: 25 µl
20110490039 | 2011-02-17 07:00 | NORETHINDRONE | 64531GM005 | 0.8 | 1.5483 | . | ng/L | 0.63295 | 0.98 | Recoverable Result | 4434 | AT | RCR |  | 2011-03-31 | Supelco LB77167: 25 µl
20111050148 | 2011-04-14 09:00 | NORETHINDRONE | 64531GM005 | 0.8 | 1.5586 | . | ng/L | 0.94957 | 1.48 | Recoverable Result | 4434 | AT | JEM |  | 2011-05-19 | Supelco LB77167: 25 µl
20111810006 | 2011-06-29 08:30 | NORETHINDRONE | 64531GM005 | 0.8 | 1.5789 | . | ng/L | 0.55733 | 0.88 | Recoverable Result | 4434 | AT | RCR |  | 2011-07-25 | Crescent 162776: 25 µl
20112930083 | 2011-10-20 08:00 | NORETHINDRONE | 64531GM005 | 0.8 | 1.5789 | . | ng/L | 0.74733 | 1.18 | Recoverable Result | 4434 | AT | RCR |  | 2011-11-17 | Crescent 162776: 25 µl
20120400059 | 2012-02-09 08:00 | NORETHINDRONE | 64531GM005 | 0.8 | 1.5789 | . | ng/L | 0.93733 | 1.48 | Recoverable Result | 4434 | AT | RCR |  | 2012-04-04 | Supelco LB77167: 25 µl
20120620012 | 2012-03-01 09:00 | NORETHINDRONE | 64531GM005 | 0.8 | 1.5789 | . | ng/L | 0.741 | 1.17 | Recoverable Result | 4434 | AT | RCR |  | 2012-04-06 | Crescent 162776: 25 µl
20120830079 | 2012-03-22 08:00 | NORETHINDRONE | 64531GM005 | 0.8 | 1.5789 | . | ng/L | 0.817 | 1.29 | Recoverable Result | 4434 | AT | RCR |  | 2012-04-17 | Supelco LB77167: 25 µl
20121310026 | 2012-05-10 07:30 | NORETHINDRONE | 64531GM005 | 0.8 | 1.5789 | . | ng/L | 0.65867 | 1.04 | Recoverable Result | 4434 | AT | RCR |  | 2012-07-27 | Supelco LB77167: 25 µl
20141150017 | 2014-04-24 08:00 | NORETHINDRONE | 64531GM005 | 0.8 | 1.5789 | . | ng/L | 1.026 | 1.62 | Recoverable Result | 4434 | AT | RCR |  | 2014-05-14 | Abs 031014: 30 µl & ChemService 2561700: 30 µl
20141290003 | 2014-05-08 08:00 | NORETHINDRONE | 64531GM005 | 0.8 | 1.5789 | . | ng/L | 0.61433 | 0.97 | Recoverable Result | 4434 | AT | RCR |  | 2014-07-14 | ERA 0227-14-07.2: 30 µl & Abs 031014: 30 µl
20142620040 | 2014-09-18 07:00 | NORETHINDRONE | 64531GM005 | 0.8 | 1.5789 | . | ng/L | 0.94367 | 1.49 | Recoverable Result | 4434 | AT | RCR |  | 2014-12-23 | Spex Organics E1140505004: 30 µl & Supelco LC06946: 30 µl
20143110109 | 2014-11-06 06:30 | NORETHINDRONE | 64531GM005 | 0.8 | 1.5789 | . | ng/L | 0.70933 | 1.12 | Recoverable Result | 4434 | AT | RCR |  | 2015-01-29 | Abs 031014: 30 µl & Supelco LC06946: 30 µl
20143650001 | 2014-12-31 06:00 | NORETHINDRONE | 64531GM005 | 0.8 | 1.5789 | . | ng/L | 1.045 | 1.65 | Recoverable Result | 4434 | AT | RCR |  | 2015-04-01 | ChemService 2561700: 30 µl & Spex Organics E1140505004: 30 µl
20151140151 | 2015-04-23 07:00 | NORETHINDRONE | 64531GM005 | 0.8 | 1.5789 | . | ng/L | 0.89933 | 1.42 | Recoverable Result | 4434 | AT | RCR |  | 2015-06-03 | Abs 031014: 30 µl & ERA 0227-14-07.2: 30 µl
20131370002 | 2013-05-16 08:00 | NORETHINDRONE | 64531GM005 | 0.8 | 1.6 | . | ng/L | 0.5125 | 0.82 | Recoverable Result | 4434 | AT | RCR |  | 2013-06-04 | Supelco LB99393: 20 µl & Spex Organics T1130423008: 20 µl
20131580025 | 2013-06-06 08:30 | NORETHINDRONE | 64531GM005 | 0.8 | 1.6 | . | ng/L | 0.79375 | 1.27 | Recoverable Result | 4434 | AT | RCR |  | 2013-06-27 | ERA 0415-13-01.1A: 20 µl & Spex Organics T1130423008: 20 µl
20131720019 | 2013-06-20 08:30 | NORETHINDRONE | 64531GM005 | 0.8 | 1.6 | . | ng/L | 0.66875 | 1.07 | Recoverable Result | 4434 | AT | RCR |  | 2013-07-19 | Supelco LB99393: 20 µl & ERA 0415-13-01.2A: 20 µl
20132140004 | 2013-08-01 08:00 | NORETHINDRONE | 64531GM005 | 0.8 | 1.6 | . | ng/L | 0.725 | 1.16 | Recoverable Result | 4434 | AT | RCR |  | 2013-09-16 | ERA 0415-13-01.1A: 20 µl & ERA 0415-13-01.2A: 20 µl & Abs 060413: 20 µl
20132420003 | 2013-08-29 08:00 | NORETHINDRONE | 64531GM005 | 0.8 | 1.6 | . | ng/L | 0.525 | 0.84 | Recoverable Result | 4434 | AT | RCR |  | 2013-12-09 | Supelco LB99393: 20 µl & Spex Organics T1130423008: 20 µl
20132630005 | 2013-09-19 06:30 | NORETHINDRONE | 64531GM005 | 0.8 | 1.6 | . | ng/L | 0.675 | 1.08 | Recoverable Result | 4434 | AT | RCR |  | 2014-01-23 | Supelco LB99393: 20 µl & ERA 0415-13-01.2A: 20 µl & Abs 060413: 20 µl
20160910145 | 2016-03-31 07:30 | NORETHINDRONE | 64531GM005 | 1.6 | 2 | . | ng/L | 1.45 | 2.9 | Recoverable Result | 4434 | AT | RCR |  | 2016-06-24 | Crescent 04EE007: 50 µl & Spex Organics EN150501025: 50 µl
20151970169 | 2015-07-16 07:00 | NORETHINDRONE | 64531GM005 | 0.8 | 2.0074 | . | ng/L | 0.83692 | 1.68 | Recoverable Result | 4434 | AT | RCR |  | 2015-08-17 | ChemService 4073900: 50 µl & Abs 041515: 50 µl
20152610010 | 2015-09-17 06:30 | NORETHINDRONE | 64531GM005 | 0.8 | 2.0074 | . | ng/L | 0.81699 | 1.64 | Recoverable Result | 4434 | AT | RCR | @c | 2015-12-10 | Abs 041515: 50 µl & ERA 0601-15-04: 50 µl
20162100009 | 2016-07-27 06:45 | NORETHINDRONE | 64531GM005 | 1.6 | 2.0147 | . | ng/L | 0.64525 | 1.3 | Recoverable Result | 4434 | AT | RCR | n | 2016-09-21 | ChemService 5016200: 30 µl & ChemService 5016100: 30 µl
20162800003 | 2016-10-05 08:00 | NORETHINDRONE | 64531GM005 | 1.6 | 2.0147 | . | ng/L | 0.94305 | 1.9 | Recoverable Result | 4434 | AT | TPE |  | 2016-12-29 | ChemService 5016100: 30 µl & Abs 052616: 30 µl
20163220167 | 2016-11-16 08:00 | NORETHINDRONE | 64531GM005 | 1.6 | 2.0211 | . | ng/L | 0.89062 | 1.8 | Recoverable Result | 4434 | AT | TPE |  | 2017-02-01 | Supelco LC20140V: 30 µl & Abs 052616: 30 µl
20152890008 | 2015-10-15 08:30 | NORETHINDRONE | 64531GM005 | 0.8 | 2.4088 | . | ng/L | 1.0005 | 2.41 | Recoverable Result | 4434 | AT | RCR |  | 2016-01-07 | Crescent 04EE007: 60 µl & Abs 041515: 60 µl
20141080003 | 2014-04-17 06:30 | NORETHINDRONE | 64531GM005 | 0.8 | 3.1579 | . | ng/L | 1.3617 | 4.3 | Recoverable Result | 4434 | AT | RCR |  | 2014-05-06 | Abs 031014: 60 µl & ChemService 2561700: 60 µl
20141490203 | 2014-05-29 07:00 | NORETHINDRONE | 64531GM005 | 0.8 | 3.1579 | . | ng/L | 1.102 | 3.48 | Recoverable Result | 4434 | AT | RCR |  | 2014-08-11 | Abs 031014: 60 µl & ERA 0227-14-07.2: 60 µl
20141710107 | 2014-06-19 07:30 | NORETHINDRONE | 64531GM005 | 0.8 | 3.1579 | . | ng/L | 0.88667 | 2.8 | Recoverable Result | 4434 | AT | RCR |  | 2014-08-26 | Abs 031014: 60 µl & Abs 042114: 60 µl
20142340163 | 2014-08-18 07:00 | NORETHINDRONE | 64531GM005 | 0.8 | 3.1579 | . | ng/L | 0.81067 | 2.56 | Recoverable Result | 4434 | AT | RCR |  | 2014-12-09 | Abs 031014: 60 µl & Supelco LC06946: 60 µl
20142890075 | 2014-10-16 07:00 | NORETHINDRONE | 64531GM005 | 0.8 | 3.1579 | . | ng/L | 0.75683 | 2.39 | Recoverable Result | 4434 | AT | RCR |  | 2015-01-21 | ChemService 2561700: 60 µl & Spex Organics E1140505004: 60 µl
20150230030 | 2015-01-22 07:00 | NORETHINDRONE | 64531GM005 | 0.8 | 3.1579 | . | ng/L | 0.72833 | 2.3 | Recoverable Result | 4434 | AT | RCR |  | 2015-04-01 | Spex Organics E1140505004: 60 µl & Supelco LC06946: 60 µl
20150790010 | 2015-03-19 07:00 | NORETHINDRONE | 64531GM005 | 0.8 | 3.1579 | . | ng/L | 0.84233 | 2.66 | Recoverable Result | 4434 | AT | RCR |  | 2015-04-13 | Abs 042114: 60 µl & Spex Organics E1140505004: 60 µl
20162520002 | 2016-09-07 07:30 | NORETHINDRONE | 64531GM005 | 1.6 | 3.3579 | . | ng/L | 0.80408 | 2.7 | Recoverable Result | 4434 | AT | TPE |  | 2016-12-15 | Abs 061416H: 50 µl & ChemService 5016100: 50 µl
20161540125 | 2016-06-02 06:00 | NORETHINDRONE | 64531GM005 | 1.6 | 3.3684 | E | ng/L | 0.97969 | 3.3 | Estimated Values | 4434 | AT | RCR |  | 2016-08-19 | Supelco LC20140V: 50 µl & Spex Organics TS160420010: 50 µl
20133050049 | 2013-10-31 07:00 | NORETHINDRONE | 64531GM005 | 0.8 | 4 | . | ng/L | 0.5825 | 2.33 | Recoverable Result | 4434 | AT | RCR |  | 2014-02-25 | ERA 0415-13-01.1A: 50 µl & Abs 050813: 50 µl
20133540013 | 2013-12-19 07:30 | NORETHINDRONE | 64531GM005 | 0.8 | 4 | . | ng/L | 0.685 | 2.74 | Recoverable Result | 4434 | AT | RCR |  | 2014-03-05 | ERA 0415-13-01.1A: 50 µl & Abs 060413: 50 µl & Abs 071513: 50 µl
20140440054 | 2014-02-13 08:00 | NORETHINDRONE | 64531GM005 | 0.8 | 4 | . | ng/L | 0.67 | 2.68 | Recoverable Result | 4434 | AT | RCR |  | 2014-03-14 | Supelco LB99393: 50 µl & Abs 060413: 50 µl & Abs 071513: 50 µl
20140230084 | 2014-01-23 07:30 | NORETHINDRONE | 64531GM005 | 0.8 | 4 | . | ng/L | 0.8175 | 3.27 | Recoverable Result | 4434 | AT | RCR |  | 2014-03-14 | Supelco LB99393: 50 µl & Abs 050813: 50 µl
20140730136 | 2014-03-13 08:00 | NORETHINDRONE | 64531GM005 | 0.8 | 4 | . | ng/L | 0.8975 | 3.59 | Recoverable Result | 4434 | AT | RCR |  | 2014-04-14 | ERA 0415-13-01.1A: 50 µl & Abs 071513: 50 µl
20111590009 | 2011-06-07 08:00 | NORETHINDRONE | 64531GM005 | 0.8 | 6.1894 | . | ng/L | 0.66727 | 4.13 | Recoverable Result | 4434 | AT | RCR |  | 2011-06-23 | Crescent 162776: 100 µl
20110210093 | 2011-01-20 08:00 | NORETHINDRONE | 64531GM005 | 0.8 | 6.2189 | . | ng/L | 0.64802 | 4.03 | Recoverable Result | 4434 | AT | RCR |  | 2011-03-10 | Crescent 162776: 100 µl
20111330150 | 2011-05-12 08:00 | NORETHINDRONE | 64531GM005 | 0.8 | 6.2318 | . | ng/L | 0.76543 | 4.77 | Recoverable Result | 4434 | AT | JEM |  | 2011-06-07 | Supelco LB77167: 100 µl
20112450026 | 2011-09-01 09:30 | NORETHINDRONE | 64531GM005 | 0.8 | 6.3158 | . | ng/L | 0.76317 | 4.82 | Recoverable Result | 4434 | AT | RCR |  | 2011-10-13 | Supelco LB77167: 100 µl
20113220197 | 2011-11-17 07:30 | NORETHINDRONE | 64531GM005 | 0.8 | 6.3158 | . | ng/L | 0.67767 | 4.28 | Recoverable Result | 4434 | AT | RCR |  | 2012-01-27 | Supelco LB77167: 100 µl
20120200075 | 2012-01-19 08:30 | NORETHINDRONE | 64531GM005 | 0.8 | 6.3158 | . | ng/L | 0.8455 | 5.34 | Recoverable Result | 4434 | AT | RCR |  | 2012-03-27 | Crescent 162776: 100 µl
20121870005 | 2012-07-03 07:00 | NORETHINDRONE | 64531GM005 | 0.8 | 7.2632 | . | ng/L | 0.82609 | 6 | Recoverable Result | 4434 | AT | RCR |  | 2012-08-29 | Spex Organics T1120525010: 25 µl
20130180026 | 2013-01-17 08:00 | NORETHINDRONE | 64531GM005 | 0.8 | 7.2632 | . | ng/L | 0.7779 | 5.65 | Recoverable Result | 4434 | AT | RCR |  | 2013-02-22 | Spex Organics T1120525010: 25 µl & ERA 0511-12-02: 25 µl
20130510049 | 2013-02-19 08:30 | NORETHINDRONE | 64531GM005 | 0.8 | 7.2632 | . | ng/L | 0.61957 | 4.5 | Recoverable Result | 4434 | AT | RCR |  | 2013-04-03 | Spex Organics T1120525010: 25 µl & Abs 051512: 25 µl
20122430224 | 2012-08-30 08:00 | NORETHINDRONE | 64531GM005 | 0.8 | 7.3684 | . | ng/L | 0.63379 | 4.67 | Recoverable Result | 4434 | AT | RCR |  | 2012-11-01 | ERA 0507-12-04.1: 25 µl & Abs 051512: 25 µl
20123490149 | 2012-12-13 07:30 | NORETHINDRONE | 64531GM005 | 0.8 | 7.3684 | . | ng/L | 0.69757 | 5.14 | Recoverable Result | 4434 | AT | RCR |  | 2013-02-08 | ERA 0507-12-04.1: 25 µl & Supelco LB92781: 25 µl
20122930150 | 2012-10-18 08:00 | NORETHINDRONE | 64531GM005 | 0.8 | 14.5263 | . | ng/L | 0.69529 | 10.1 | Recoverable Result | 4434 | AT | RCR |  | 2012-12-18 | Spex Organics T1120525010: 50 µl & Supelco LB92781: 50 µl
20130650006 | 2013-03-05 08:00 | NORETHINDRONE | 64531GM005 | 0.8 | 14.5263 | . | ng/L | 0.70217 | 10.2 | Recoverable Result | 4434 | AT | RCR |  | 2013-04-03 | Spex Organics T1120525010: 50 µl & Restek A089631: 50 µl
20122570124 | 2012-09-13 08:00 | NORETHINDRONE | 64531GM005 | 0.8 | 14.7368 | . | ng/L | 0.73286 | 10.8 | Recoverable Result | 4434 | AT | RCR |  | 2012-11-07 | ERA 0507-12-04.1: 50 µl & ERA 0511-12-02: 50 µl
20123070009 | 2012-11-01 08:30 | NORETHINDRONE | 64531GM005 | 0.8 | 14.7368 | . | ng/L | 0.66025 | 9.73 | Recoverable Result | 4434 | AT | RCR |  | 2012-12-18 | ERA 0507-12-04.1: 50 µl & Restek A089631: 50 µl
20130940099 | 2013-04-04 07:00 | NORETHINDRONE | 64531GM005 | 0.8 | 14.7368 | . | ng/L | 0.71929 | 10.6 | Recoverable Result | 4434 | AT | RCR |  | 2013-04-22 | ERA 0507-12-04.1: 50 µl & Restek A089631: 50 µl