## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20113340044 | 2011-11-29 08:00 | PROGESTERONE | 64543GM005 | 8 | 9.4737 | < | ng/L |  |  | False Negative | 4434 | AT | RCR | mc | 2012-01-27 | Abs 081810: 25 µl
20151380010 | 2015-05-14 06:00 | PROGESTERONE | 64543GM005 | 8 | 12 | < | ng/L |  |  | False Negative | 4434 | AT | RCR | mc | 2015-06-29 | Supelco LC13547: 30 µl & Abs 041515: 30 µl
20151480171 | 2015-05-28 06:30 | PROGESTERONE | 64543GM005 | 8 | 12 | < | ng/L |  |  | False Negative | 4434 | AT | RCR | mc | 2015-09-17 | Supelco LC13547: 30 µl & Abs 041515: 30 µl
20151410211 | 2015-05-21 07:00 | PROGESTERONE | 64543GM005 | 8 | 12 | < | ng/L |  |  | False Negative | 4434 | AT | RCR | mc | 2015-09-17 | Supelco LC13547: 30 µl & Spex Organics EN150501025: 30 µl
20153440002 | 2015-12-09 06:30 | PROGESTERONE | 64543GM005 | 8 | 12 | < | ng/L |  |  | False Negative | 4434 | AT | RCR | mc | 2016-01-08 | ERA 0601-15-04: 30 µl & Crescent 04EE007: 30 µl
20160630047 | 2016-03-03 08:30 | PROGESTERONE | 64543GM005 | 8 | 12 | < | ng/L |  |  | False Negative | 4434 | AT | RCR | mc | 2016-03-18 | Spex Organics EN150501025: 30 µl & Supelco LC13547: 30 µl
20160430110 | 2016-02-11 09:00 | PROGESTERONE | 64543GM005 | 8 | 12 | < | ng/L |  |  | False Negative | 4434 | AT | RCR | mc | 2016-03-18 | Supelco LC13547: 30 µl & ChemService 4073900: 30 µl
20151140151 | 2015-04-23 07:00 | PROGESTERONE | 64543GM005 | 8 | 16.0421 | < | ng/L |  |  | False Negative | 4434 | AT | RCR | mc | 2015-06-03 | Abs 031014: 30 µl & ERA 0227-14-07.2: 30 µl
20151620181 | 2015-06-11 06:30 | PROGESTERONE | 64543GM005 | 8 | 20 | < | ng/L |  |  | False Negative | 4434 | AT | RCR | mc | 2015-07-21 | Supelco LC13547: 50 µl & Spex Organics EN150501025: 50 µl
20161820010 | 2016-06-29 08:30 | PROGESTERONE | 64543GM005 | 12 | 20.2358 | < | ng/L |  |  | False Negative | 4434 | AT | RCR | mc | 2016-09-09 | ChemService 5016200: 30 µl & Supelco LC20140V: 30 µl
20131160077 | 2013-04-25 07:00 | PROGESTERONE | 64543GM005 | 8 | 25.2632 | R | ng/L |  |  | Deleted Values | 4434 |  |  |  | 2013-04-25 07:00 | Abs 051512: 50 µl & Spex Organics T1120525010: 50 µl
20163420126 | 2016-12-07 08:00 | PROGESTERONE | 64543GM005 | 12 | 53.888 | R | ng/L |  |  | Deleted Values | 4434 |  |  |  | 2016-12-07 08:00 | Spex Organics EN160621015: 80 µl & Abs 061416H: 80 µl
20110340010 | 2011-02-02 08:00 | PROGESTERONE | 64543GM005 | 8 | 9.3187 | E | ng/L | 0.76513 | 7.13 | Estimated Values | 4434 | AT | RCR | mnc | 2011-03-30 | Abs 081810: 25 µl
20111470069 | 2011-05-26 08:30 | PROGESTERONE | 64543GM005 | 8 | 9.3322 | E | ng/L | 0.5765 | 5.38 | Estimated Values | 4434 | AT | JEM | mnc | 2011-06-13 | Abs 081810: 25 µl
20112380057 | 2011-08-25 11:20 | PROGESTERONE | 64543GM005 | 8 | 9.4737 | E | ng/L | 0.42433 | 4.02 | Estimated Values | 4434 | AT | RCR | mnc | 2011-10-12 | Abs 081810: 25 µl
20120260027 | 2012-01-26 08:30 | PROGESTERONE | 64543GM005 | 8 | 9.4737 | E | ng/L | 0.70511 | 6.68 | Estimated Values | 4434 | AT | RCR | mnc | 2012-03-27 | Abs 081810: 25 µl
20111680031 | 2011-06-16 10:00 | PROGESTERONE | 64543GM005 | 8 | 10.3756 | E | ng/L | 0.51371 | 5.33 | Estimated Values | 4434 | AT | RCR | mnc | 2011-07-11 | Spex Organics T1100629008: 25 µl
20110070106 | 2011-01-06 07:30 | PROGESTERONE | 64543GM005 | 8 | 10.4406 | E | ng/L | 0.5766 | 6.02 | Estimated Values | 4434 | AT | RCR | mnc | 2011-03-10 | Spex Organics T1100629008: 25 µl
20112590006 | 2011-09-15 09:00 | PROGESTERONE | 64543GM005 | 8 | 10.5263 | E | ng/L | 0.3192 | 3.36 | Estimated Values | 4434 | AT | RCR | mnc | 2011-10-13 | Spex Organics T1100629008: 25 µl
20113080005 | 2011-11-03 08:00 | PROGESTERONE | 64543GM005 | 8 | 10.5263 | E | ng/L | 0.3477 | 3.66 | Estimated Values | 4434 | AT | RCR | mnc | 2011-11-28 | Spex Organics T1100629008: 25 µl
20121520253 | 2012-05-31 07:30 | PROGESTERONE | 64543GM005 | 8 | 10.5263 | E | ng/L | 0.6061 | 6.38 | Estimated Values | 4434 | AT | RCR | mnc | 2012-08-16 | Spex Organics T1100629008: 25 µl
20123260038 | 2012-11-20 08:30 | PROGESTERONE | 64543GM005 | 8 | 10.5263 | E | ng/L | 0.38285 | 4.03 | Estimated Values | 4434 | AT | RCR | mnc | 2012-12-18 | Restek A089631: 25 µl & Supelco LB92781: 25 µl
20123490149 | 2012-12-13 07:30 | PROGESTERONE | 64543GM005 | 8 | 10.5263 | E | ng/L | 0.4788 | 5.04 | Estimated Values | 4434 | AT | RCR | mnc | 2013-02-08 | ERA 0507-12-04.1: 25 µl & Supelco LB92781: 25 µl
20130810107 | 2013-03-21 07:30 | PROGESTERONE | 64543GM005 | 8 | 10.5263 | E | ng/L | 0.73245 | 7.71 | Estimated Values | 4434 | AT | RCR | mnc | 2013-04-10 | ERA 0511-12-02: 25 µl & Supelco LB92781: 25 µl
20111190186 | 2011-04-28 08:00 | PROGESTERONE | 64543GM005 | 8 | 10.609 | E | ng/L | 0.44396 | 4.71 | Estimated Values | 4434 | AT | JEM | mnc | 2011-05-26 | Spex Organics T1100629008: 25 µl
20131370002 | 2013-05-16 08:00 | PROGESTERONE | 64543GM005 | 8 | 10.9895 | E | ng/L | 0.45225 | 4.97 | Estimated Values | 4434 | AT | RCR | mnc | 2013-06-04 | Supelco LB99393: 20 µl & Spex Organics T1130423008: 20 µl
20131580025 | 2013-06-06 08:30 | PROGESTERONE | 64543GM005 | 8 | 10.9895 | E | ng/L | 0.22749 | 2.5 | Estimated Values | 4434 | AT | RCR | mnc | 2013-06-27 | ERA 0415-13-01.1A: 20 µl & Spex Organics T1130423008: 20 µl
20132420003 | 2013-08-29 08:00 | PROGESTERONE | 64543GM005 | 8 | 10.9895 | E | ng/L | 0.29847 | 3.28 | Estimated Values | 4434 | AT | RCR | mnc | 2013-12-09 | Supelco LB99393: 20 µl & Spex Organics T1130423008: 20 µl
20132340084 | 2013-08-21 08:00 | PROGESTERONE | 64543GM005 | 8 | 11.0539 | E | ng/L | 0.38267 | 4.23 | Estimated Values | 4434 | AT | RCR | mnc | 2013-11-18 | ERA 0415-13-01.2A: 20 µl & Abs 050813: 20 µl
20132980022 | 2013-10-24 08:00 | PROGESTERONE | 64543GM005 | 8 | 11.0539 | E | ng/L | 0.26507 | 2.93 | Estimated Values | 4434 | AT | RCR | mnc | 2014-02-19 | Abs 050813: 20 µl & Abs 071513: 20 µl
20133260007 | 2013-11-21 07:30 | PROGESTERONE | 64543GM005 | 8 | 11.0539 | E | ng/L | 0.31392 | 3.47 | Estimated Values | 4434 | AT | RCR | mnc | 2014-03-03 | Abs 050813: 20 µl & Abs 071513: 20 µl
20152330045 | 2015-08-20 07:30 | PROGESTERONE | 64543GM005 | 8 | 12 | E | ng/L | 0.385 | 4.62 | Estimated Values | 4434 | AT | RCR | mnc | 2015-11-02 | Supelco LC13547: 30 µl & Crescent 04EE007: 30 µl
20153090108 | 2015-11-05 09:00 | PROGESTERONE | 64543GM005 | 8 | 12 | E | ng/L | 0.36 | 4.32 | Estimated Values | 4434 | AT | RCR | mnc | 2016-01-08 | ERA 0601-15-04: 30 µl & ChemService 4073900: 30 µl
20121670019 | 2012-06-14 08:30 | PROGESTERONE | 64543GM005 | 8 | 12.6316 | E | ng/L | 0.48371 | 6.11 | Estimated Values | 4434 | AT | RCR | mnc | 2012-08-24 | Abs 051512: 25 µl
20122230020 | 2012-08-09 07:00 | PROGESTERONE | 64543GM005 | 8 | 12.6316 | E | ng/L | 0.50508 | 6.38 | Estimated Values | 4434 | AT | RCR | mnc | 2012-08-31 | ERA 0511-12-02: 25 µl & Abs 051512: 25 µl
20122430224 | 2012-08-30 08:00 | PROGESTERONE | 64543GM005 | 8 | 12.6316 | E | ng/L | 0.67133 | 8.48 | Estimated Values | 4434 | AT | RCR | mc | 2012-11-01 | ERA 0507-12-04.1: 25 µl & Abs 051512: 25 µl
20130510049 | 2013-02-19 08:30 | PROGESTERONE | 64543GM005 | 8 | 12.6316 | E | ng/L | 0.42275 | 5.34 | Estimated Values | 4434 | AT | RCR | mnc | 2013-04-03 | Spex Organics T1120525010: 25 µl & Abs 051512: 25 µl
20142470037 | 2014-09-03 06:45 | PROGESTERONE | 64543GM005 | 8 | 15.9789 | E | ng/L | 0.32167 | 5.14 | Estimated Values | 4434 | AT | RCR | mnc | 2014-12-16 | Supelco LC06946: 30 µl & Abs 042114: 30 µl
20142620040 | 2014-09-18 07:00 | PROGESTERONE | 64543GM005 | 8 | 15.9789 | E | ng/L | 0.34796 | 5.56 | Estimated Values | 4434 | AT | RCR | mnc | 2014-12-23 | Spex Organics E1140505004: 30 µl & Supelco LC06946: 30 µl
20142820150 | 2014-10-09 06:30 | PROGESTERONE | 64543GM005 | 8 | 15.9789 | E | ng/L | 0.34483 | 5.51 | Estimated Values | 4434 | AT | RCR | mnc | 2015-01-21 | Supelco LC06946: 30 µl & ChemService 2561700: 30 µl
20143110109 | 2014-11-06 06:30 | PROGESTERONE | 64543GM005 | 8 | 15.9789 | E | ng/L | 0.32042 | 5.12 | Estimated Values | 4434 | AT | RCR | mnc | 2015-01-29 | Abs 031014: 30 µl & Supelco LC06946: 30 µl
20141290003 | 2014-05-08 08:00 | PROGESTERONE | 64543GM005 | 8 | 16.0421 | E | ng/L | 0.60715 | 9.74 | Estimated Values | 4434 | AT | RCR | mc | 2014-07-14 | ERA 0227-14-07.2: 30 µl & Abs 031014: 30 µl
20141420137 | 2014-05-22 07:30 | PROGESTERONE | 64543GM005 | 8 | 16.0421 | E | ng/L | 0.67323 | 10.8 | Estimated Values | 4434 | AT | RCR | mc | 2014-07-28 | ERA 0227-14-07.2: 30 µl & ChemService 2561700: 30 µl
20141770146 | 2014-06-26 07:00 | PROGESTERONE | 64543GM005 | 8 | 16.0421 | E | ng/L | 0.50991 | 8.18 | Estimated Values | 4434 | AT | RCR | mc | 2014-09-04 | ERA 0227-14-07.2: 30 µl & Spex Organics E1140505004: 30 µl
20142200165 | 2014-08-07 07:30 | PROGESTERONE | 64543GM005 | 8 | 16.0421 | E | ng/L | 0.48684 | 7.81 | Estimated Values | 4434 | AT | RCR | mnc | 2014-11-05 | ERA 0227-14-07.2: 30 µl & Abs 042114: 30 µl
20151900131 | 2015-07-09 07:30 | PROGESTERONE | 64543GM005 | 8 | 20 | E | ng/L | 0.324 | 6.48 | Estimated Values | 4434 | AT | RCR | mnc | 2015-08-10 | ERA 0601-15-04: 50 µl & Crescent 04EE007: 50 µl
20152110198 | 2015-07-30 09:30 | PROGESTERONE | 64543GM005 | 8 | 20 | E | ng/L | 0.419 | 8.38 | Estimated Values | 4434 | AT | RCR | mc | 2015-09-14 | ERA 0601-15-04: 50 µl & ChemService 4073900: 50 µl
20152610010 | 2015-09-17 06:30 | PROGESTERONE | 64543GM005 | 8 | 20 | E | ng/L | 0.64 | 12.8 | Estimated Values | 4434 | AT | RCR | @mc | 2015-12-10 | Abs 041515: 50 µl & ERA 0601-15-04: 50 µl
20160280054 | 2016-01-28 08:30 | PROGESTERONE | 64543GM005 | 8 | 20 | E | ng/L | 0.615 | 12.3 | Estimated Values | 4434 | AT | RCR | mc | 2016-03-07 | Abs 041515: 50 µl & ERA 0601-15-04: 50 µl
20160840085 | 2016-03-24 07:00 | PROGESTERONE | 64543GM005 | 12 | 20 | E | ng/L | 0.335 | 6.7 | Estimated Values | 4434 | AT | RCR | mnc | 2016-06-24 | ERA 0601-15-04: 50 µl & ChemService 4073900: 50 µl
20161130024 | 2016-04-21 06:30 | PROGESTERONE | 64543GM005 | 12 | 20 | E | ng/L | 0.36 | 7.2 | Estimated Values | 4434 | AT | RCR | mnc | 2016-07-12 | Spex Organics EN150501025: 50 µl & ERA 0601-15-04: 50 µl
20162300273 | 2016-08-17 08:00 | PROGESTERONE | 64543GM005 | 12 | 20.208 | E | ng/L | 0.41568 | 8.4 | Estimated Values | 4434 | AT | TPE | mnc | 2016-12-05 | Abs 052616: 30 µl & Abs 061416H: 30 µl
20162020125 | 2016-07-20 07:30 | PROGESTERONE | 64543GM005 | 12 | 20.2358 | E | ng/L | 0.43981 | 8.9 | Estimated Values | 4434 | AT | RCR | mnc | 2016-09-16 | Spex Organics EN160621015: 30 µl & ChemService 5016200: 30 µl
20162100009 | 2016-07-27 06:45 | PROGESTERONE | 64543GM005 | 12 | 20.2358 | E | ng/L | 0.36075 | 7.3 | Estimated Values | 4434 | AT | RCR | mnc | 2016-09-21 | ChemService 5016200: 30 µl & ChemService 5016100: 30 µl
20162930166 | 2016-10-19 06:45 | PROGESTERONE | 64543GM005 | 12 | 20.2358 | E | ng/L | 0.46947 | 9.5 | Estimated Values | 4434 | AT | TPE | mnc | 2017-01-13 | Abs 052616: 30 µl & ChemService 5016200: 30 µl
20122930150 | 2012-10-18 08:00 | PROGESTERONE | 64543GM005 | 8 | 21.0526 | E | ng/L | 0.4427 | 9.32 | Estimated Values | 4434 | AT | RCR | mc | 2012-12-18 | Spex Organics T1120525010: 50 µl & Supelco LB92781: 50 µl
20130250063 | 2013-01-24 08:00 | PROGESTERONE | 64543GM005 | 8 | 21.0526 | E | ng/L | 0.48925 | 10.3 | Estimated Values | 4434 | AT | RCR | mc | 2013-02-22 | Restek A089631: 50 µl & Supelco LB92781: 50 µl
20152750003 | 2015-10-01 08:30 | PROGESTERONE | 64543GM005 | 8 | 24 | E | ng/L | 0.47083 | 11.3 | Estimated Values | 4434 | AT | RCR | mc | 2016-01-05 | Supelco LC13547: 60 µl & ChemService 4073900: 60 µl
20153230146 | 2015-11-19 09:00 | PROGESTERONE | 64543GM005 | 8 | 24 | E | ng/L | 0.46667 | 11.2 | Estimated Values | 4434 | AT | RCR | mc | 2016-01-08 | Spex Organics EN150501025: 60 µl & ERA 0601-15-04: 60 µl
20122790026 | 2012-10-04 08:00 | PROGESTERONE | 64543GM005 | 8 | 25.2632 | E | ng/L | 0.41167 | 10.4 | Estimated Values | 4434 | AT | RCR | mc | 2012-12-03 | ERA 0511-12-02: 50 µl & Abs 051512: 50 µl
20131840103 | 2013-07-03 07:30 | PROGESTERONE | 64543GM005 | 8 | 27.4737 | E | ng/L | 0.37126 | 10.2 | Estimated Values | 4434 | AT | RCR | mc | 2013-08-09 | ERA 0415-13-01.2A: 50 µl & Spex Organics T1130423008: 50 µl
20140030014 | 2014-01-02 06:30 | PROGESTERONE | 64543GM005 | 8 | 27.4737 | E | ng/L | 0.41494 | 11.4 | Estimated Values | 4434 | AT | RCR | mc | 2014-03-05 | Spex Organics T1130423008: 50 µl & Abs 071513: 50 µl
20140590012 | 2014-02-27 08:00 | PROGESTERONE | 64543GM005 | 8 | 27.4737 | E | ng/L | 0.36289 | 9.97 | Estimated Values | 4434 | AT | RCR | mc | 2014-03-14 | ERA 0415-13-01.2A: 50 µl & Spex Organics T1130423008: 50 µl
20133050049 | 2013-10-31 07:00 | PROGESTERONE | 64543GM005 | 8 | 27.6347 | E | ng/L | 0.28334 | 7.83 | Estimated Values | 4434 | AT | RCR | mnc | 2014-02-25 | ERA 0415-13-01.1A: 50 µl & Abs 050813: 50 µl
20140230084 | 2014-01-23 07:30 | PROGESTERONE | 64543GM005 | 8 | 27.6347 | E | ng/L | 0.28044 | 7.75 | Estimated Values | 4434 | AT | RCR | mnc | 2014-03-14 | Supelco LB99393: 50 µl & Abs 050813: 50 µl
20141910241 | 2014-07-10 07:00 | PROGESTERONE | 64543GM005 | 8 | 31.9579 | E | ng/L | 0.50692 | 16.2 | Estimated Values | 4434 | AT | RCR | mc | 2014-09-23 | Supelco LC06946: 60 µl & ChemService 2561700: 60 µl
20142340163 | 2014-08-18 07:00 | PROGESTERONE | 64543GM005 | 8 | 31.9579 | E | ng/L | 0.23562 | 7.53 | Estimated Values | 4434 | AT | RCR | mnc | 2014-12-09 | Abs 031014: 60 µl & Supelco LC06946: 60 µl
20143240098 | 2014-11-19 06:30 | PROGESTERONE | 64543GM005 | 8 | 31.9579 | E | ng/L | 0.26973 | 8.62 | Estimated Values | 4434 | AT | RCR | mc | 2015-02-12 | Supelco LC06946: 60 µl & Abs 042114: 60 µl
20150230030 | 2015-01-22 07:00 | PROGESTERONE | 64543GM005 | 8 | 31.9579 | E | ng/L | 0.18994 | 6.07 | Estimated Values | 4434 | AT | RCR | mnc | 2015-04-01 | Spex Organics E1140505004: 60 µl & Supelco LC06946: 60 µl
20141490203 | 2014-05-29 07:00 | PROGESTERONE | 64543GM005 | 8 | 32.0842 | E | ng/L | 0.33661 | 10.8 | Estimated Values | 4434 | AT | RCR | mc | 2014-08-11 | Abs 031014: 60 µl & ERA 0227-14-07.2: 60 µl
20141640082 | 2014-06-12 07:00 | PROGESTERONE | 64543GM005 | 8 | 32.0842 | E | ng/L | 0.27116 | 8.7 | Estimated Values | 4434 | AT | RCR | mc | 2014-08-22 | ERA 0227-14-07.2: 60 µl & Abs 042114: 60 µl
20150430091 | 2015-02-12 06:30 | PROGESTERONE | 64543GM005 | 8 | 32.0842 | E | ng/L | 0.30545 | 9.8 | Estimated Values | 4434 | AT | RCR | mc | 2015-04-01 | ERA 0227-14-07.2: 60 µl & ChemService 2561700: 60 µl
20162520002 | 2016-09-07 07:30 | PROGESTERONE | 64543GM005 | 12 | 33.68 | E | ng/L | 0.39786 | 13.4 | Estimated Values | 4434 | AT | TPE | mc | 2016-12-15 | Abs 061416H: 50 µl & ChemService 5016100: 50 µl
20161740282 | 2016-06-22 07:00 | PROGESTERONE | 64543GM005 | 12 | 33.7263 | E | ng/L | 0.57225 | 19.3 | Estimated Values | 4434 | AT | RCR | mc | 2016-08-31 | Spex Organics TS160420010: 50 µl & ChemService 5016200: 50 µl
20112170148 | 2011-08-04 10:00 | PROGESTERONE | 64543GM005 | 8 | 37.8947 | E | ng/L | 0.51194 | 19.4 | Estimated Values | 4434 | AT | JEM | mc | 2011-10-03 | Abs 081810: 100 µl
20120760110 | 2012-03-15 09:00 | PROGESTERONE | 64543GM005 | 8 | 37.8947 | E | ng/L | 0.84972 | 32.2 | Estimated Values | 4434 | AT | RCR | mc | 2012-04-17 | Abs 081810: 100 µl
20121040013 | 2012-04-12 07:30 | PROGESTERONE | 64543GM005 | 8 | 37.8947 | E | ng/L | 0.93417 | 35.4 | Estimated Values | 4434 | AT | RCR | mc | 2012-07-02 | Abs 081810: 100 µl
20110910087 | 2011-03-31 09:00 | PROGESTERONE | 64543GM005 | 8 | 38.1114 | E | ng/L | 0.50116 | 19.1 | Estimated Values | 4434 | AT | JEM | mc | 2011-05-09 | Abs 081810: 100 µl
20110620086 | 2011-03-03 08:00 | PROGESTERONE | 64543GM005 | 8 | 42.0875 | E | ng/L | 0.42293 | 17.8 | Estimated Values | 4434 | AT | RCR | mc | 2011-03-31 | Spex Organics T1100629008: 100 µl
20111950200 | 2011-07-14 10:00 | PROGESTERONE | 64543GM005 | 8 | 42.1053 | E | ng/L | 0.59612 | 25.1 | Estimated Values | 4434 | AT | JEM | mc | 2011-09-29 | Spex Organics T1100629008: 100 µl
20113490064 | 2011-12-13 08:30 | PROGESTERONE | 64543GM005 | 8 | 42.1053 | E | ng/L | 0.361 | 15.2 | Estimated Values | 4434 | AT | RCR | mc | 2012-02-01 | Spex Organics T1100629008: 100 µl