## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20131160077 | 2013-04-25 07:00 | TESTOSTERONE | 64545GM005 | 1.6 |  | R | ng/L |  |  | Deleted Values | 4434 |  |  |  | 2013-04-25 07:00 | Abs 051512: 50 µl & Spex Organics T1120525010: 50 µl
20161400193 | 2016-05-18 06:15 | TESTOSTERONE | 64545GM005 | 1.6 |  | . | ng/L |  | 7.5 | False Positive | 4434 | AT | RCR |  | 2016-08-11 | ChemService 5016100: 50 µl & Spex Organics TS160420010: 50 µl
20161540125 | 2016-06-02 06:00 | TESTOSTERONE | 64545GM005 | 1.6 |  | . | ng/L |  | 5.2 | False Positive | 4434 | AT | RCR |  | 2016-08-19 | Supelco LC20140V: 50 µl & Spex Organics TS160420010: 50 µl
20161740282 | 2016-06-22 07:00 | TESTOSTERONE | 64545GM005 | 1.6 |  | . | ng/L |  | 9.1 | False Positive | 4434 | AT | RCR |  | 2016-08-31 | Spex Organics TS160420010: 50 µl & ChemService 5016200: 50 µl
20151380010 | 2015-05-14 06:00 | TESTOSTERONE | 64545GM005 | 1.6 | 2.4 | < | ng/L |  |  | False Negative | 4434 | AT | RCR |  | 2015-06-29 | Supelco LC13547: 30 µl & Abs 041515: 30 µl
20151480171 | 2015-05-28 06:30 | TESTOSTERONE | 64545GM005 | 1.6 | 2.4 | < | ng/L |  |  | False Negative | 4434 | AT | RCR |  | 2015-09-17 | Supelco LC13547: 30 µl & Abs 041515: 30 µl
20151410211 | 2015-05-21 07:00 | TESTOSTERONE | 64545GM005 | 1.6 | 2.4 | < | ng/L |  |  | False Negative | 4434 | AT | RCR |  | 2015-09-17 | Supelco LC13547: 30 µl & Spex Organics EN150501025: 30 µl
20152330045 | 2015-08-20 07:30 | TESTOSTERONE | 64545GM005 | 1.6 | 2.4 | < | ng/L |  |  | False Negative | 4434 | AT | RCR |  | 2015-11-02 | Supelco LC13547: 30 µl & Crescent 04EE007: 30 µl
20140860105 | 2014-03-27 08:00 | TESTOSTERONE | 64545GM005 | 1.6 | 2.9048 | < | ng/L |  |  | False Negative | 4434 | AT | RCR |  | 2014-04-14 | ERA 0415-13-01.1A: 20 µl & ERA 0415-13-01.2A: 20 µl & Abs 060413: 20 µl
20151140151 | 2015-04-23 07:00 | TESTOSTERONE | 64545GM005 | 1.6 | 3.2211 | < | ng/L |  |  | False Negative | 4434 | AT | RCR |  | 2015-06-03 | Abs 031014: 30 µl & ERA 0227-14-07.2: 30 µl
20160280054 | 2016-01-28 08:30 | TESTOSTERONE | 64545GM005 | 1.6 | 4.0526 | < | ng/L |  |  | False Negative | 4434 | AT | RCR |  | 2016-03-07 | Abs 041515: 50 µl & ERA 0601-15-04: 50 µl
20163420126 | 2016-12-07 08:00 | TESTOSTERONE | 64545GM005 | 1.6 | 10.6459 | R | ng/L |  |  | Deleted Values | 4434 |  |  |  | 2016-12-07 08:00 | Spex Organics EN160621015: 80 µl & Abs 061416H: 80 µl
20160630047 | 2016-03-03 08:30 | TESTOSTERONE | 64545GM005 | 1.6 | 2.4 | . | ng/L | 0.975 | 2.34 | Recoverable Result | 4434 | AT | RCR |  | 2016-03-18 | Spex Organics EN150501025: 30 µl & Supelco LC13547: 30 µl
20160430110 | 2016-02-11 09:00 | TESTOSTERONE | 64545GM005 | 1.6 | 2.4 | . | ng/L | 0.84583 | 2.03 | Recoverable Result | 4434 | AT | RCR |  | 2016-03-18 | Supelco LC13547: 30 µl & ChemService 4073900: 30 µl
20153440002 | 2015-12-09 06:30 | TESTOSTERONE | 64545GM005 | 1.6 | 2.4316 | . | ng/L | 0.67446 | 1.64 | Recoverable Result | 4434 | AT | RCR |  | 2016-01-08 | ERA 0601-15-04: 30 µl & Crescent 04EE007: 30 µl
20153090108 | 2015-11-05 09:00 | TESTOSTERONE | 64545GM005 | 1.6 | 2.4316 | . | ng/L | 0.69091 | 1.68 | Recoverable Result | 4434 | AT | RCR |  | 2016-01-08 | ERA 0601-15-04: 30 µl & ChemService 4073900: 30 µl
20110770007 | 2011-03-17 09:00 | TESTOSTERONE | 64545GM005 | 0.8 | 2.5692 | . | ng/L | 0.75898 | 1.95 | Recoverable Result | 4434 | AT | JEM |  | 2011-05-09 | Crescent 162776: 25 µl
20111810006 | 2011-06-29 08:30 | TESTOSTERONE | 64545GM005 | 0.8 | 2.6368 | . | ng/L | 0.74711 | 1.97 | Recoverable Result | 4434 | AT | RCR |  | 2011-07-25 | Crescent 162776: 25 µl
20112310028 | 2011-08-18 08:51 | TESTOSTERONE | 64545GM005 | 1.6 | 2.6368 | . | ng/L | 0.92156 | 2.43 | Recoverable Result | 4434 | AT | RCR |  | 2011-10-12 | Crescent 162776: 25 µl
20112930083 | 2011-10-20 08:00 | TESTOSTERONE | 64545GM005 | 1.6 | 2.6368 | . | ng/L | 1.0315 | 2.72 | Recoverable Result | 4434 | AT | RCR |  | 2011-11-17 | Crescent 162776: 25 µl
20120620012 | 2012-03-01 09:00 | TESTOSTERONE | 64545GM005 | 1.6 | 2.6368 | . | ng/L | 0.90639 | 2.39 | Recoverable Result | 4434 | AT | RCR |  | 2012-04-06 | Crescent 162776: 25 µl
20132140004 | 2013-08-01 08:00 | TESTOSTERONE | 64545GM005 | 1.6 | 2.9048 | . | ng/L | 0.8503 | 2.47 | Recoverable Result | 4434 | AT | RCR |  | 2013-09-16 | ERA 0415-13-01.1A: 20 µl & ERA 0415-13-01.2A: 20 µl & Abs 060413: 20 µl
20132340084 | 2013-08-21 08:00 | TESTOSTERONE | 64545GM005 | 1.6 | 2.9048 | . | ng/L | 0.82276 | 2.39 | Recoverable Result | 4434 | AT | RCR |  | 2013-11-18 | ERA 0415-13-01.2A: 20 µl & Abs 050813: 20 µl
20132630005 | 2013-09-19 06:30 | TESTOSTERONE | 64545GM005 | 1.6 | 2.9048 | . | ng/L | 0.8985 | 2.61 | Recoverable Result | 4434 | AT | RCR |  | 2014-01-23 | Supelco LB99393: 20 µl & ERA 0415-13-01.2A: 20 µl & Abs 060413: 20 µl
20132980022 | 2013-10-24 08:00 | TESTOSTERONE | 64545GM005 | 1.6 | 2.9048 | . | ng/L | 0.68162 | 1.98 | Recoverable Result | 4434 | AT | RCR |  | 2014-02-19 | Abs 050813: 20 µl & Abs 071513: 20 µl
20133260007 | 2013-11-21 07:30 | TESTOSTERONE | 64545GM005 | 1.6 | 2.9048 | . | ng/L | 0.599 | 1.74 | Recoverable Result | 4434 | AT | RCR |  | 2014-03-03 | Abs 050813: 20 µl & Abs 071513: 20 µl
20141150017 | 2014-04-24 08:00 | TESTOSTERONE | 64545GM005 | 1.6 | 3.2211 | . | ng/L | 0.80408 | 2.59 | Recoverable Result | 4434 | AT | RCR |  | 2014-05-14 | Abs 031014: 30 µl & ChemService 2561700: 30 µl
20141290003 | 2014-05-08 08:00 | TESTOSTERONE | 64545GM005 | 1.6 | 3.2211 | . | ng/L | 0.71405 | 2.3 | Recoverable Result | 4434 | AT | RCR |  | 2014-07-14 | ERA 0227-14-07.2: 30 µl & Abs 031014: 30 µl
20141770146 | 2014-06-26 07:00 | TESTOSTERONE | 64545GM005 | 1.6 | 3.2211 | . | ng/L | 0.60539 | 1.95 | Recoverable Result | 4434 | AT | RCR |  | 2014-09-04 | ERA 0227-14-07.2: 30 µl & Spex Organics E1140505004: 30 µl
20142530088 | 2014-09-10 06:30 | TESTOSTERONE | 64545GM005 | 1.6 | 3.2211 | . | ng/L | 0.78235 | 2.52 | Recoverable Result | 4434 | AT | RCR |  | 2014-12-22 | Abs 042114: 30 µl & Abs 031014: 30 µl
20142620040 | 2014-09-18 07:00 | TESTOSTERONE | 64545GM005 | 1.6 | 3.2211 | . | ng/L | 0.54641 | 1.76 | Recoverable Result | 4434 | AT | RCR |  | 2014-12-23 | Spex Organics E1140505004: 30 µl & Supelco LC06946: 30 µl
20143110109 | 2014-11-06 06:30 | TESTOSTERONE | 64545GM005 | 1.6 | 3.2211 | . | ng/L | 0.55882 | 1.8 | Recoverable Result | 4434 | AT | RCR |  | 2015-01-29 | Abs 031014: 30 µl & Supelco LC06946: 30 µl
20143650001 | 2014-12-31 06:00 | TESTOSTERONE | 64545GM005 | 1.6 | 3.2211 | . | ng/L | 0.6799 | 2.19 | Recoverable Result | 4434 | AT | RCR |  | 2015-04-01 | ChemService 2561700: 30 µl & Spex Organics E1140505004: 30 µl
20162300273 | 2016-08-17 08:00 | TESTOSTERONE | 64545GM005 | 1.6 | 3.9922 | . | ng/L | 1.002 | 4 | Recoverable Result | 4434 | AT | TPE |  | 2016-12-05 | Abs 052616: 30 µl & Abs 061416H: 30 µl
20151620181 | 2015-06-11 06:30 | TESTOSTERONE | 64545GM005 | 1.6 | 4 | . | ng/L | 0.7625 | 3.05 | Recoverable Result | 4434 | AT | RCR |  | 2015-07-21 | Supelco LC13547: 50 µl & Spex Organics EN150501025: 50 µl
20151900131 | 2015-07-09 07:30 | TESTOSTERONE | 64545GM005 | 1.6 | 4.0526 | . | ng/L | 0.86117 | 3.49 | Recoverable Result | 4434 | AT | RCR |  | 2015-08-10 | ERA 0601-15-04: 50 µl & Crescent 04EE007: 50 µl
20152110198 | 2015-07-30 09:30 | TESTOSTERONE | 64545GM005 | 1.6 | 4.0526 | . | ng/L | 0.71558 | 2.9 | Recoverable Result | 4434 | AT | RCR |  | 2015-09-14 | ERA 0601-15-04: 50 µl & ChemService 4073900: 50 µl
20152610010 | 2015-09-17 06:30 | TESTOSTERONE | 64545GM005 | 1.6 | 4.0526 | . | ng/L | 0.64156 | 2.6 | Recoverable Result | 4434 | AT | RCR | @c | 2015-12-10 | Abs 041515: 50 µl & ERA 0601-15-04: 50 µl
20160840085 | 2016-03-24 07:00 | TESTOSTERONE | 64545GM005 | 1.6 | 4.0526 | . | ng/L | 0.74026 | 3 | Recoverable Result | 4434 | AT | RCR |  | 2016-06-24 | ERA 0601-15-04: 50 µl & ChemService 4073900: 50 µl
20161130024 | 2016-04-21 06:30 | TESTOSTERONE | 64545GM005 | 1.6 | 4.0526 | . | ng/L | 0.81429 | 3.3 | Recoverable Result | 4434 | AT | RCR |  | 2016-07-12 | Spex Organics EN150501025: 50 µl & ERA 0601-15-04: 50 µl
20152750003 | 2015-10-01 08:30 | TESTOSTERONE | 64545GM005 | 1.6 | 4.8 | . | ng/L | 0.7875 | 3.78 | Recoverable Result | 4434 | AT | RCR |  | 2016-01-05 | Supelco LC13547: 60 µl & ChemService 4073900: 60 µl
20153230146 | 2015-11-19 09:00 | TESTOSTERONE | 64545GM005 | 1.6 | 4.8632 | . | ng/L | 0.71764 | 3.49 | Recoverable Result | 4434 | AT | RCR |  | 2016-01-08 | Spex Organics EN150501025: 60 µl & ERA 0601-15-04: 60 µl
20141080003 | 2014-04-17 06:30 | TESTOSTERONE | 64545GM005 | 1.6 | 6.4421 | . | ng/L | 0.72802 | 4.69 | Recoverable Result | 4434 | AT | RCR |  | 2014-05-06 | Abs 031014: 60 µl & ChemService 2561700: 60 µl
20141490203 | 2014-05-29 07:00 | TESTOSTERONE | 64545GM005 | 1.6 | 6.4421 | . | ng/L | 0.77304 | 4.98 | Recoverable Result | 4434 | AT | RCR |  | 2014-08-11 | Abs 031014: 60 µl & ERA 0227-14-07.2: 60 µl
20141710107 | 2014-06-19 07:30 | TESTOSTERONE | 64545GM005 | 1.6 | 6.4421 | . | ng/L | 0.8134 | 5.24 | Recoverable Result | 4434 | AT | RCR |  | 2014-08-26 | Abs 031014: 60 µl & Abs 042114: 60 µl
20142340163 | 2014-08-18 07:00 | TESTOSTERONE | 64545GM005 | 1.6 | 6.4421 | . | ng/L | 0.64886 | 4.18 | Recoverable Result | 4434 | AT | RCR |  | 2014-12-09 | Abs 031014: 60 µl & Supelco LC06946: 60 µl
20142890075 | 2014-10-16 07:00 | TESTOSTERONE | 64545GM005 | 1.6 | 6.4421 | . | ng/L | 0.5402 | 3.48 | Recoverable Result | 4434 | AT | RCR |  | 2015-01-21 | ChemService 2561700: 60 µl & Spex Organics E1140505004: 60 µl
20150230030 | 2015-01-22 07:00 | TESTOSTERONE | 64545GM005 | 1.6 | 6.4421 | . | ng/L | 0.56038 | 3.61 | Recoverable Result | 4434 | AT | RCR |  | 2015-04-01 | Spex Organics E1140505004: 60 µl & Supelco LC06946: 60 µl
20150790010 | 2015-03-19 07:00 | TESTOSTERONE | 64545GM005 | 1.6 | 6.4421 | . | ng/L | 0.59763 | 3.85 | Recoverable Result | 4434 | AT | RCR |  | 2015-04-13 | Abs 042114: 60 µl & Spex Organics E1140505004: 60 µl
20162520002 | 2016-09-07 07:30 | TESTOSTERONE | 64545GM005 | 1.6 | 6.6537 | . | ng/L | 0.82661 | 5.5 | Recoverable Result | 4434 | AT | TPE |  | 2016-12-15 | Abs 061416H: 50 µl & ChemService 5016100: 50 µl
20133050049 | 2013-10-31 07:00 | TESTOSTERONE | 64545GM005 | 1.6 | 7.2621 | . | ng/L | 0.70228 | 5.1 | Recoverable Result | 4434 | AT | RCR |  | 2014-02-25 | ERA 0415-13-01.1A: 50 µl & Abs 050813: 50 µl
20133540013 | 2013-12-19 07:30 | TESTOSTERONE | 64545GM005 | 1.6 | 7.2621 | . | ng/L | 0.74496 | 5.41 | Recoverable Result | 4434 | AT | RCR |  | 2014-03-05 | ERA 0415-13-01.1A: 50 µl & Abs 060413: 50 µl & Abs 071513: 50 µl
20140440054 | 2014-02-13 08:00 | TESTOSTERONE | 64545GM005 | 1.6 | 7.2621 | . | ng/L | 0.68988 | 5.01 | Recoverable Result | 4434 | AT | RCR |  | 2014-03-14 | Supelco LB99393: 50 µl & Abs 060413: 50 µl & Abs 071513: 50 µl
20140230084 | 2014-01-23 07:30 | TESTOSTERONE | 64545GM005 | 1.6 | 7.2621 | . | ng/L | 0.83034 | 6.03 | Recoverable Result | 4434 | AT | RCR |  | 2014-03-14 | Supelco LB99393: 50 µl & Abs 050813: 50 µl
20122230020 | 2012-08-09 07:00 | TESTOSTERONE | 64545GM005 | 1.6 | 8.3684 | . | ng/L | 0.85918 | 7.19 | Recoverable Result | 4434 | AT | RCR |  | 2012-08-31 | ERA 0511-12-02: 25 µl & Abs 051512: 25 µl
20130180026 | 2013-01-17 08:00 | TESTOSTERONE | 64545GM005 | 1.6 | 8.3684 | . | ng/L | 0.8305 | 6.95 | Recoverable Result | 4434 | AT | RCR |  | 2013-02-22 | Spex Organics T1120525010: 25 µl & ERA 0511-12-02: 25 µl
20130810107 | 2013-03-21 07:30 | TESTOSTERONE | 64545GM005 | 1.6 | 8.3684 | . | ng/L | 0.92132 | 7.71 | Recoverable Result | 4434 | AT | RCR |  | 2013-04-10 | ERA 0511-12-02: 25 µl & Supelco LB92781: 25 µl
20123260038 | 2012-11-20 08:30 | TESTOSTERONE | 64545GM005 | 1.6 | 8.4211 | . | ng/L | 0.81938 | 6.9 | Recoverable Result | 4434 | AT | RCR |  | 2012-12-18 | Restek A089631: 25 µl & Supelco LB92781: 25 µl
20111590009 | 2011-06-07 08:00 | TESTOSTERONE | 64545GM005 | 0.8 | 10.3363 | . | ng/L | 0.83105 | 8.59 | Recoverable Result | 4434 | AT | RCR |  | 2011-06-23 | Crescent 162776: 100 µl
20110210093 | 2011-01-20 08:00 | TESTOSTERONE | 64545GM005 | 0.8 | 10.3856 | . | ng/L | 0.78667 | 8.17 | Recoverable Result | 4434 | AT | RCR |  | 2011-03-10 | Crescent 162776: 100 µl
20120200075 | 2012-01-19 08:30 | TESTOSTERONE | 64545GM005 | 1.6 | 10.5474 | . | ng/L | 1.2231 | 12.9 | Recoverable Result | 4434 | AT | RCR |  | 2012-03-27 | Crescent 162776: 100 µl
20122570124 | 2012-09-13 08:00 | TESTOSTERONE | 64545GM005 | 1.6 | 16.7368 | . | ng/L | 0.86038 | 14.4 | Recoverable Result | 4434 | AT | RCR |  | 2012-11-07 | ERA 0507-12-04.1: 50 µl & ERA 0511-12-02: 50 µl
20122790026 | 2012-10-04 08:00 | TESTOSTERONE | 64545GM005 | 1.6 | 16.7368 | . | ng/L | 0.81258 | 13.6 | Recoverable Result | 4434 | AT | RCR |  | 2012-12-03 | ERA 0511-12-02: 50 µl & Abs 051512: 50 µl
20123070009 | 2012-11-01 08:30 | TESTOSTERONE | 64545GM005 | 1.6 | 16.8421 | . | ng/L | 0.8075 | 13.6 | Recoverable Result | 4434 | AT | RCR |  | 2012-12-18 | ERA 0507-12-04.1: 50 µl & Restek A089631: 50 µl
20130250063 | 2013-01-24 08:00 | TESTOSTERONE | 64545GM005 | 1.6 | 16.8421 | . | ng/L | 0.68875 | 11.6 | Recoverable Result | 4434 | AT | RCR |  | 2013-02-22 | Restek A089631: 50 µl & Supelco LB92781: 50 µl
20130650006 | 2013-03-05 08:00 | TESTOSTERONE | 64545GM005 | 1.6 | 16.8421 | . | ng/L | 0.76 | 12.8 | Recoverable Result | 4434 | AT | RCR |  | 2013-04-03 | Spex Organics T1120525010: 50 µl & Restek A089631: 50 µl
20130940099 | 2013-04-04 07:00 | TESTOSTERONE | 64545GM005 | 1.6 | 16.8421 | . | ng/L | 0.77188 | 13 | Recoverable Result | 4434 | AT | RCR |  | 2013-04-22 | ERA 0507-12-04.1: 50 µl & Restek A089631: 50 µl