## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20131160077 | 2013-04-25 07:00 | TRANS-DIETHYLSTILBESTROL | 64536GM005 | 0.8 |  | R | ng/L |  |  | Deleted Values | 4434 |  |  |  | 2013-04-25 07:00 | Abs 051512: 50 µl & Spex Organics T1120525010: 50 µl
20160430110 | 2016-02-11 09:00 | TRANS-DIETHYLSTILBESTROL | 64536GM005 | 0.8 | 1.2 | < | ng/L |  |  | False Negative | 4434 | AT | RCR |  | 2016-03-18 | Supelco LC13547: 30 µl & ChemService 4073900: 30 µl
20140860105 | 2014-03-27 08:00 | TRANS-DIETHYLSTILBESTROL | 64536GM005 | 0.8 | 1.4021 | < | ng/L |  |  | False Negative | 4434 | AT | RCR |  | 2014-04-14 | ERA 0415-13-01.1A: 20 µl & ERA 0415-13-01.2A: 20 µl & Abs 060413: 20 µl
20141150017 | 2014-04-24 08:00 | TRANS-DIETHYLSTILBESTROL | 64536GM005 | 0.8 | 1.5789 | < | ng/L |  |  | False Negative | 4434 | AT | RCR | v | 2014-05-14 | Abs 031014: 30 µl & ChemService 2561700: 30 µl
20161960002 | 2016-07-13 08:30 | TRANS-DIETHYLSTILBESTROL | 64536GM005 | 1.3 | 1.9768 | < | ng/L |  |  | False Negative | 4434 | AT | RCR |  | 2016-09-15 | Supelco LC20140V: 30 µl & Spex Organics EN160621015: 30 µl
20162020125 | 2016-07-20 07:30 | TRANS-DIETHYLSTILBESTROL | 64536GM005 | 1.3 | 1.9768 | < | ng/L |  |  | False Negative | 4434 | AT | RCR |  | 2016-09-16 | Spex Organics EN160621015: 30 µl & ChemService 5016200: 30 µl
20160910145 | 2016-03-31 07:30 | TRANS-DIETHYLSTILBESTROL | 64536GM005 | 1.3 | 2 | < | ng/L |  |  | False Negative | 4434 | AT | RCR |  | 2016-06-24 | Crescent 04EE007: 50 µl & Spex Organics EN150501025: 50 µl
20162300273 | 2016-08-17 08:00 | TRANS-DIETHYLSTILBESTROL | 64536GM005 | 1.3 | 2.0349 | < | ng/L |  |  | False Negative | 4434 | AT | TPE |  | 2016-12-05 | Abs 052616: 30 µl & Abs 061416H: 30 µl
20141080003 | 2014-04-17 06:30 | TRANS-DIETHYLSTILBESTROL | 64536GM005 | 0.8 | 3.1579 | < | ng/L |  |  | False Negative | 4434 | AT | RCR |  | 2014-05-06 | Abs 031014: 60 µl & ChemService 2561700: 60 µl
20141490203 | 2014-05-29 07:00 | TRANS-DIETHYLSTILBESTROL | 64536GM005 | 0.8 | 3.1579 | < | ng/L |  |  | False Negative | 4434 | AT | RCR | v | 2014-08-11 | Abs 031014: 60 µl & ERA 0227-14-07.2: 60 µl
20140590012 | 2014-02-27 08:00 | TRANS-DIETHYLSTILBESTROL | 64536GM005 | 0.8 | 3.5053 | < | ng/L |  |  | False Negative | 4434 | AT | RCR | v | 2014-03-14 | ERA 0415-13-01.2A: 50 µl & Spex Organics T1130423008: 50 µl
20140440054 | 2014-02-13 08:00 | TRANS-DIETHYLSTILBESTROL | 64536GM005 | 0.8 | 3.5263 | < | ng/L |  |  | False Negative | 4434 | AT | RCR | v | 2014-03-14 | Supelco LB99393: 50 µl & Abs 060413: 50 µl & Abs 071513: 50 µl
20163420126 | 2016-12-07 08:00 | TRANS-DIETHYLSTILBESTROL | 64536GM005 | 1.3 | 5.2716 | R | ng/L |  |  | Deleted Values | 4434 |  |  |  | 2016-12-07 08:00 | Spex Organics EN160621015: 80 µl & Abs 061416H: 80 µl
20152190002 | 2015-08-06 08:30 | TRANS-DIETHYLSTILBESTROL | 64536GM005 | 0.8 | 1.2 | . | ng/L | 0.68333 | 0.82 | Recoverable Result | 4434 | AT | RCR |  | 2015-09-23 | ChemService 4073900: 30 µl & Spex Organics EN150501025: 30 µl
20152330045 | 2015-08-20 07:30 | TRANS-DIETHYLSTILBESTROL | 64536GM005 | 0.8 | 1.2 | . | ng/L | 0.8 | 0.96 | Recoverable Result | 4434 | AT | RCR |  | 2015-11-02 | Supelco LC13547: 30 µl & Crescent 04EE007: 30 µl
20152460213 | 2015-09-03 08:30 | TRANS-DIETHYLSTILBESTROL | 64536GM005 | 0.8 | 1.2 | . | ng/L | 0.74167 | 0.89 | Recoverable Result | 4434 | AT | RCR |  | 2015-12-11 | Crescent 04EE007: 30 µl & Spex Organics EN150501025: 30 µl
20153440002 | 2015-12-09 06:30 | TRANS-DIETHYLSTILBESTROL | 64536GM005 | 0.8 | 1.2 | . | ng/L | 1.05 | 1.26 | Recoverable Result | 4434 | AT | RCR |  | 2016-01-08 | ERA 0601-15-04: 30 µl & Crescent 04EE007: 30 µl
20153090108 | 2015-11-05 09:00 | TRANS-DIETHYLSTILBESTROL | 64536GM005 | 0.8 | 1.2 | . | ng/L | 0.8 | 0.96 | Recoverable Result | 4434 | AT | RCR |  | 2016-01-08 | ERA 0601-15-04: 30 µl & ChemService 4073900: 30 µl
20160070058 | 2016-01-07 08:30 | TRANS-DIETHYLSTILBESTROL | 64536GM005 | 0.8 | 1.2 | . | ng/L | 0.78333 | 0.94 | Recoverable Result | 4434 | AT | RCR |  | 2016-03-07 | ChemService 4073900: 30 µl & Abs 041515: 30 µl
20160560045 | 2016-02-25 08:30 | TRANS-DIETHYLSTILBESTROL | 64536GM005 | 0.8 | 1.2 | . | ng/L | 0.85833 | 1.03 | Recoverable Result | 4434 | AT | RCR |  | 2016-03-18 | Crescent 04EE007: 30 µl & Spex Organics EN150501025: 30 µl
20131720019 | 2013-06-20 08:30 | TRANS-DIETHYLSTILBESTROL | 64536GM005 | 0.8 | 1.4021 | . | ng/L | 0.54917 | 0.77 | Recoverable Result | 4434 | AT | RCR | n | 2013-07-19 | Supelco LB99393: 20 µl & ERA 0415-13-01.2A: 20 µl
20132140004 | 2013-08-01 08:00 | TRANS-DIETHYLSTILBESTROL | 64536GM005 | 0.8 | 1.4021 | . | ng/L | 0.54917 | 0.77 | Recoverable Result | 4434 | AT | RCR | n | 2013-09-16 | ERA 0415-13-01.1A: 20 µl & ERA 0415-13-01.2A: 20 µl & Abs 060413: 20 µl
20132340084 | 2013-08-21 08:00 | TRANS-DIETHYLSTILBESTROL | 64536GM005 | 0.8 | 1.4021 | . | ng/L | 0.5991 | 0.84 | Recoverable Result | 4434 | AT | RCR |  | 2013-11-18 | ERA 0415-13-01.2A: 20 µl & Abs 050813: 20 µl
20132630005 | 2013-09-19 06:30 | TRANS-DIETHYLSTILBESTROL | 64536GM005 | 0.8 | 1.4021 | . | ng/L | 0.58483 | 0.82 | Recoverable Result | 4434 | AT | RCR |  | 2014-01-23 | Supelco LB99393: 20 µl & ERA 0415-13-01.2A: 20 µl & Abs 060413: 20 µl
20132980022 | 2013-10-24 08:00 | TRANS-DIETHYLSTILBESTROL | 64536GM005 | 0.8 | 1.4105 | . | ng/L | 0.61679 | 0.87 | Recoverable Result | 4434 | AT | RCR |  | 2014-02-19 | Abs 050813: 20 µl & Abs 071513: 20 µl
20133260007 | 2013-11-21 07:30 | TRANS-DIETHYLSTILBESTROL | 64536GM005 | 0.8 | 1.4105 | . | ng/L | 0.75149 | 1.06 | Recoverable Result | 4434 | AT | RCR |  | 2014-03-03 | Abs 050813: 20 µl & Abs 071513: 20 µl
20110490039 | 2011-02-17 07:00 | TRANS-DIETHYLSTILBESTROL | 64536GM005 | 0.8 | 1.5483 | . | ng/L | 0.64587 | 1 | Recoverable Result | 4434 | AT | RCR |  | 2011-03-31 | Supelco LB77167: 25 µl
20110770007 | 2011-03-17 09:00 | TRANS-DIETHYLSTILBESTROL | 64536GM005 | 0.8 | 1.5487 | . | ng/L | 0.59404 | 0.92 | Recoverable Result | 4434 | AT | JEM |  | 2011-05-09 | Crescent 162776: 25 µl
20111050148 | 2011-04-14 09:00 | TRANS-DIETHYLSTILBESTROL | 64536GM005 | 0.8 | 1.5586 | . | ng/L | 0.63518 | 0.99 | Recoverable Result | 4434 | AT | JEM |  | 2011-05-19 | Supelco LB77167: 25 µl
20112100009 | 2011-07-28 09:00 | TRANS-DIETHYLSTILBESTROL | 64536GM005 | 0.8 | 1.5789 | . | ng/L | 0.57 | 0.9 | Recoverable Result | 4434 | AT | JEM |  | 2011-09-29 | Supelco LB77167: 25 µl
20120400059 | 2012-02-09 08:00 | TRANS-DIETHYLSTILBESTROL | 64536GM005 | 0.8 | 1.5789 | . | ng/L | 0.52567 | 0.83 | Recoverable Result | 4434 | AT | RCR |  | 2012-04-04 | Supelco LB77167: 25 µl
20120830079 | 2012-03-22 08:00 | TRANS-DIETHYLSTILBESTROL | 64536GM005 | 0.8 | 1.5789 | . | ng/L | 0.57 | 0.9 | Recoverable Result | 4434 | AT | RCR |  | 2012-04-17 | Supelco LB77167: 25 µl
20121310026 | 2012-05-10 07:30 | TRANS-DIETHYLSTILBESTROL | 64536GM005 | 0.8 | 1.5789 | . | ng/L | 0.475 | 0.75 | Recoverable Result | 4434 | AT | RCR | n | 2012-07-27 | Supelco LB77167: 25 µl
20141290003 | 2014-05-08 08:00 | TRANS-DIETHYLSTILBESTROL | 64536GM005 | 0.8 | 1.5789 | . | ng/L | 0.79167 | 1.25 | Recoverable Result | 4434 | AT | RCR |  | 2014-07-14 | ERA 0227-14-07.2: 30 µl & Abs 031014: 30 µl
20141770146 | 2014-06-26 07:00 | TRANS-DIETHYLSTILBESTROL | 64536GM005 | 0.8 | 1.5789 | . | ng/L | 0.56367 | 0.89 | Recoverable Result | 4434 | AT | RCR |  | 2014-09-04 | ERA 0227-14-07.2: 30 µl & Spex Organics E1140505004: 30 µl
20142530088 | 2014-09-10 06:30 | TRANS-DIETHYLSTILBESTROL | 64536GM005 | 0.8 | 1.5789 | . | ng/L | 0.82967 | 1.31 | Recoverable Result | 4434 | AT | RCR |  | 2014-12-22 | Abs 042114: 30 µl & Abs 031014: 30 µl
20142620040 | 2014-09-18 07:00 | TRANS-DIETHYLSTILBESTROL | 64536GM005 | 0.8 | 1.5789 | . | ng/L | 0.50667 | 0.8 | Recoverable Result | 4434 | AT | RCR |  | 2014-12-23 | Spex Organics E1140505004: 30 µl & Supelco LC06946: 30 µl
20143110109 | 2014-11-06 06:30 | TRANS-DIETHYLSTILBESTROL | 64536GM005 | 0.8 | 1.5789 | . | ng/L | 0.46867 | 0.74 | Recoverable Result | 4434 | AT | RCR | n | 2015-01-29 | Abs 031014: 30 µl & Supelco LC06946: 30 µl
20143650001 | 2014-12-31 06:00 | TRANS-DIETHYLSTILBESTROL | 64536GM005 | 0.8 | 1.5789 | . | ng/L | 0.69033 | 1.09 | Recoverable Result | 4434 | AT | RCR |  | 2015-04-01 | ChemService 2561700: 30 µl & Spex Organics E1140505004: 30 µl
20151140151 | 2015-04-23 07:00 | TRANS-DIETHYLSTILBESTROL | 64536GM005 | 0.8 | 1.5789 | . | ng/L | 0.67767 | 1.07 | Recoverable Result | 4434 | AT | RCR |  | 2015-06-03 | Abs 031014: 30 µl & ERA 0227-14-07.2: 30 µl
20111810006 | 2011-06-29 08:30 | TRANS-DIETHYLSTILBESTROL | 64536GM005 | 0.8 | 1.5895 | . | ng/L | 0.5096 | 0.81 | Recoverable Result | 4434 | AT | RCR |  | 2011-07-25 | Crescent 162776: 25 µl
20112310028 | 2011-08-18 08:51 | TRANS-DIETHYLSTILBESTROL | 64536GM005 | 0.8 | 1.5895 | . | ng/L | 0.55364 | 0.88 | Recoverable Result | 4434 | AT | RCR |  | 2011-10-12 | Crescent 162776: 25 µl
20112930083 | 2011-10-20 08:00 | TRANS-DIETHYLSTILBESTROL | 64536GM005 | 0.8 | 1.5895 | . | ng/L | 0.5851 | 0.93 | Recoverable Result | 4434 | AT | RCR |  | 2011-11-17 | Crescent 162776: 25 µl
20120620012 | 2012-03-01 09:00 | TRANS-DIETHYLSTILBESTROL | 64536GM005 | 0.8 | 1.5895 | . | ng/L | 0.79901 | 1.27 | Recoverable Result | 4434 | AT | RCR |  | 2012-04-06 | Crescent 162776: 25 µl
20151900131 | 2015-07-09 07:30 | TRANS-DIETHYLSTILBESTROL | 64536GM005 | 0.8 | 2 | . | ng/L | 0.665 | 1.33 | Recoverable Result | 4434 | AT | RCR |  | 2015-08-10 | ERA 0601-15-04: 50 µl & Crescent 04EE007: 50 µl
20151970169 | 2015-07-16 07:00 | TRANS-DIETHYLSTILBESTROL | 64536GM005 | 0.8 | 2 | . | ng/L | 0.6 | 1.2 | Recoverable Result | 4434 | AT | RCR |  | 2015-08-17 | ChemService 4073900: 50 µl & Abs 041515: 50 µl
20152110198 | 2015-07-30 09:30 | TRANS-DIETHYLSTILBESTROL | 64536GM005 | 0.8 | 2 | . | ng/L | 0.805 | 1.61 | Recoverable Result | 4434 | AT | RCR |  | 2015-09-14 | ERA 0601-15-04: 50 µl & ChemService 4073900: 50 µl
20153280158 | 2015-11-24 08:30 | TRANS-DIETHYLSTILBESTROL | 64536GM005 | 0.8 | 2 | . | ng/L | 0.795 | 1.59 | Recoverable Result | 4434 | AT | RCR | * | 2016-01-08 | Crescent 04EE007: 50 µl & Spex Organics EN150501025: 50 µl
20160840085 | 2016-03-24 07:00 | TRANS-DIETHYLSTILBESTROL | 64536GM005 | 1.3 | 2 | . | ng/L | 0.7 | 1.4 | Recoverable Result | 4434 | AT | RCR |  | 2016-06-24 | ERA 0601-15-04: 50 µl & ChemService 4073900: 50 µl
20162800003 | 2016-10-05 08:00 | TRANS-DIETHYLSTILBESTROL | 64536GM005 | 1.3 | 2.0349 | . | ng/L | 0.63884 | 1.3 | Recoverable Result | 4434 | AT | TPE |  | 2016-12-29 | ChemService 5016100: 30 µl & Abs 052616: 30 µl
20162930166 | 2016-10-19 06:45 | TRANS-DIETHYLSTILBESTROL | 64536GM005 | 1.3 | 2.0349 | . | ng/L | 0.73712 | 1.5 | Recoverable Result | 4434 | AT | TPE |  | 2017-01-13 | Abs 052616: 30 µl & ChemService 5016200: 30 µl
20163220167 | 2016-11-16 08:00 | TRANS-DIETHYLSTILBESTROL | 64536GM005 | 1.3 | 2.0349 | . | ng/L | 0.63884 | 1.3 | Recoverable Result | 4434 | AT | TPE |  | 2017-02-01 | Supelco LC20140V: 30 µl & Abs 052616: 30 µl
20152750003 | 2015-10-01 08:30 | TRANS-DIETHYLSTILBESTROL | 64536GM005 | 0.8 | 2.4 | . | ng/L | 0.675 | 1.62 | Recoverable Result | 4434 | AT | RCR |  | 2016-01-05 | Supelco LC13547: 60 µl & ChemService 4073900: 60 µl
20152890008 | 2015-10-15 08:30 | TRANS-DIETHYLSTILBESTROL | 64536GM005 | 0.8 | 2.4 | . | ng/L | 0.50833 | 1.22 | Recoverable Result | 4434 | AT | RCR |  | 2016-01-07 | Crescent 04EE007: 60 µl & Abs 041515: 60 µl
20123260038 | 2012-11-20 08:30 | TRANS-DIETHYLSTILBESTROL | 64536GM005 | 0.8 | 3.1579 | . | ng/L | 0.53517 | 1.69 | Recoverable Result | 4434 | AT | RCR |  | 2012-12-18 | Restek A089631: 25 µl & Supelco LB92781: 25 µl
20141710107 | 2014-06-19 07:30 | TRANS-DIETHYLSTILBESTROL | 64536GM005 | 0.8 | 3.1579 | . | ng/L | 0.8265 | 2.61 | Recoverable Result | 4434 | AT | RCR |  | 2014-08-26 | Abs 031014: 60 µl & Abs 042114: 60 µl
20142340163 | 2014-08-18 07:00 | TRANS-DIETHYLSTILBESTROL | 64536GM005 | 0.8 | 3.1579 | . | ng/L | 0.57317 | 1.81 | Recoverable Result | 4434 | AT | RCR |  | 2014-12-09 | Abs 031014: 60 µl & Supelco LC06946: 60 µl
20142890075 | 2014-10-16 07:00 | TRANS-DIETHYLSTILBESTROL | 64536GM005 | 0.8 | 3.1579 | . | ng/L | 0.6365 | 2.01 | Recoverable Result | 4434 | AT | RCR |  | 2015-01-21 | ChemService 2561700: 60 µl & Spex Organics E1140505004: 60 µl
20150230030 | 2015-01-22 07:00 | TRANS-DIETHYLSTILBESTROL | 64536GM005 | 0.8 | 3.1579 | . | ng/L | 0.51933 | 1.64 | Recoverable Result | 4434 | AT | RCR |  | 2015-04-01 | Spex Organics E1140505004: 60 µl & Supelco LC06946: 60 µl
20150790010 | 2015-03-19 07:00 | TRANS-DIETHYLSTILBESTROL | 64536GM005 | 0.8 | 3.1579 | . | ng/L | 0.70933 | 2.24 | Recoverable Result | 4434 | AT | RCR |  | 2015-04-13 | Abs 042114: 60 µl & Spex Organics E1140505004: 60 µl
20122230020 | 2012-08-09 07:00 | TRANS-DIETHYLSTILBESTROL | 64536GM005 | 0.8 | 3.1737 | . | ng/L | 0.70896 | 2.25 | Recoverable Result | 4434 | AT | RCR |  | 2012-08-31 | ERA 0511-12-02: 25 µl & Abs 051512: 25 µl
20130180026 | 2013-01-17 08:00 | TRANS-DIETHYLSTILBESTROL | 64536GM005 | 0.8 | 3.1737 | . | ng/L | 0.74362 | 2.36 | Recoverable Result | 4434 | AT | RCR |  | 2013-02-22 | Spex Organics T1120525010: 25 µl & ERA 0511-12-02: 25 µl
20130810107 | 2013-03-21 07:30 | TRANS-DIETHYLSTILBESTROL | 64536GM005 | 0.8 | 3.1737 | . | ng/L | 0.6869 | 2.18 | Recoverable Result | 4434 | AT | RCR |  | 2013-04-10 | ERA 0511-12-02: 25 µl & Supelco LB92781: 25 µl
20131840103 | 2013-07-03 07:30 | TRANS-DIETHYLSTILBESTROL | 64536GM005 | 0.8 | 3.5053 | . | ng/L | 0.69039 | 2.42 | Recoverable Result | 4434 | AT | RCR |  | 2013-08-09 | ERA 0415-13-01.2A: 50 µl & Spex Organics T1130423008: 50 µl
20140030014 | 2014-01-02 06:30 | TRANS-DIETHYLSTILBESTROL | 64536GM005 | 0.8 | 3.5263 | . | ng/L | 0.72597 | 2.56 | Recoverable Result | 4434 | AT | RCR |  | 2014-03-05 | Spex Organics T1130423008: 50 µl & Abs 071513: 50 µl
20133540013 | 2013-12-19 07:30 | TRANS-DIETHYLSTILBESTROL | 64536GM005 | 0.8 | 3.5263 | . | ng/L | 0.76 | 2.68 | Recoverable Result | 4434 | AT | RCR |  | 2014-03-05 | ERA 0415-13-01.1A: 50 µl & Abs 060413: 50 µl & Abs 071513: 50 µl
20140730136 | 2014-03-13 08:00 | TRANS-DIETHYLSTILBESTROL | 64536GM005 | 0.8 | 3.5263 | . | ng/L | 0.82522 | 2.91 | Recoverable Result | 4434 | AT | RCR |  | 2014-04-14 | ERA 0415-13-01.1A: 50 µl & Abs 071513: 50 µl
20111590009 | 2011-06-07 08:00 | TRANS-DIETHYLSTILBESTROL | 64536GM005 | 0.8 | 6.2307 | . | ng/L | 0.66125 | 4.12 | Recoverable Result | 4434 | AT | RCR |  | 2011-06-23 | Crescent 162776: 100 µl
20111330150 | 2011-05-12 08:00 | TRANS-DIETHYLSTILBESTROL | 64536GM005 | 0.8 | 6.2318 | . | ng/L | 0.57768 | 3.6 | Recoverable Result | 4434 | AT | JEM |  | 2011-06-07 | Supelco LB77167: 100 µl
20110210093 | 2011-01-20 08:00 | TRANS-DIETHYLSTILBESTROL | 64536GM005 | 0.8 | 6.2604 | . | ng/L | 0.67248 | 4.21 | Recoverable Result | 4434 | AT | RCR |  | 2011-03-10 | Crescent 162776: 100 µl
20112450026 | 2011-09-01 09:30 | TRANS-DIETHYLSTILBESTROL | 64536GM005 | 0.8 | 6.3158 | . | ng/L | 0.49717 | 3.14 | Recoverable Result | 4434 | AT | RCR |  | 2011-10-13 | Supelco LB77167: 100 µl
20113220197 | 2011-11-17 07:30 | TRANS-DIETHYLSTILBESTROL | 64536GM005 | 0.8 | 6.3158 | . | ng/L | 0.58267 | 3.68 | Recoverable Result | 4434 | AT | RCR |  | 2012-01-27 | Supelco LB77167: 100 µl
20123070009 | 2012-11-01 08:30 | TRANS-DIETHYLSTILBESTROL | 64536GM005 | 0.8 | 6.3158 | . | ng/L | 0.57792 | 3.65 | Recoverable Result | 4434 | AT | RCR |  | 2012-12-18 | ERA 0507-12-04.1: 50 µl & Restek A089631: 50 µl
20130250063 | 2013-01-24 08:00 | TRANS-DIETHYLSTILBESTROL | 64536GM005 | 0.8 | 6.3158 | . | ng/L | 0.7315 | 4.62 | Recoverable Result | 4434 | AT | RCR |  | 2013-02-22 | Restek A089631: 50 µl & Supelco LB92781: 50 µl
20130650006 | 2013-03-05 08:00 | TRANS-DIETHYLSTILBESTROL | 64536GM005 | 0.8 | 6.3158 | . | ng/L | 0.78058 | 4.93 | Recoverable Result | 4434 | AT | RCR |  | 2013-04-03 | Spex Organics T1120525010: 50 µl & Restek A089631: 50 µl
20130940099 | 2013-04-04 07:00 | TRANS-DIETHYLSTILBESTROL | 64536GM005 | 0.8 | 6.3158 | . | ng/L | 0.60325 | 3.81 | Recoverable Result | 4434 | AT | RCR |  | 2013-04-22 | ERA 0507-12-04.1: 50 µl & Restek A089631: 50 µl
20122570124 | 2012-09-13 08:00 | TRANS-DIETHYLSTILBESTROL | 64536GM005 | 0.8 | 6.3474 | . | ng/L | 0.50887 | 3.23 | Recoverable Result | 4434 | AT | RCR |  | 2012-11-07 | ERA 0507-12-04.1: 50 µl & ERA 0511-12-02: 50 µl
20122790026 | 2012-10-04 08:00 | TRANS-DIETHYLSTILBESTROL | 64536GM005 | 0.8 | 6.3474 | . | ng/L | 0.56401 | 3.58 | Recoverable Result | 4434 | AT | RCR |  | 2012-12-03 | ERA 0511-12-02: 50 µl & Abs 051512: 50 µl
20120200075 | 2012-01-19 08:30 | TRANS-DIETHYLSTILBESTROL | 64536GM005 | 0.8 | 6.3579 | . | ng/L | 0.58982 | 3.75 | Recoverable Result | 4434 | AT | RCR |  | 2012-03-27 | Crescent 162776: 100 µl
20161400193 | 2016-05-18 06:15 | TRANS-DIETHYLSTILBESTROL | 64536GM005 | 1.3 | 3294.737 | E | ng/L | 0.48319 | 1592 | Estimated Values | 4434 | AT | RCR |  | 2016-08-11 | ChemService 5016100: 50 µl & Spex Organics TS160420010: 50 µl
20161540125 | 2016-06-02 06:00 | TRANS-DIETHYLSTILBESTROL | 64536GM005 | 1.3 | 3294.737 | . | ng/L | 0.56879 | 1874 | Recoverable Result | 4434 | AT | RCR |  | 2016-08-19 | Supelco LC20140V: 50 µl & Spex Organics TS160420010: 50 µl
20161740282 | 2016-06-22 07:00 | TRANS-DIETHYLSTILBESTROL | 64536GM005 | 1.3 | 3294.737 | E | ng/L | 0.57304 | 1888 | Estimated Values | 4434 | AT | RCR |  | 2016-08-31 | Spex Organics TS160420010: 50 µl & ChemService 5016200: 50 µl