## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20151380011 | 2015-05-14 06:30 | 1,3-DIOXOLANE | 81583GM016 | 0.38 | 0.572 | . | ug/L | 1.264 | 0.723 | Recoverable Result | 4437 | T | dlr |  | 2015-05-20 | ChemService 3818700: 10 µl & Accu 215041338: 10 µl
20152190008 | 2015-08-06 09:00 | 1,3-DIOXOLANE | 81583GM016 | 0.38 | 0.572 | . | ug/L | 0.87238 | 0.499 | Recoverable Result | 4437 | T | lmu | b | 2015-08-14 | Abs 040315: 10 µl & ERA 0601-15-05: 10 µl
20152950080 | 2015-10-22 09:00 | 1,3-DIOXOLANE | 81583GM016 | 0.38 | 0.572 | . | ug/L | 1.257 | 0.719 | Recoverable Result | 4437 | T | dlr |  | 2015-10-23 | Abs 040315: 10 µl & ChemService 3818700: 10 µl
20153160003 | 2015-11-10 09:00 | 1,3-DIOXOLANE | 81583GM016 | 0.38 | 0.572 | . | ug/L | 0.96853 | 0.554 | Recoverable Result | 4437 | T | dlr |  | 2015-11-14 | ERA 0601-15-05: 10 µl
20153370176 | 2015-12-03 09:00 | 1,3-DIOXOLANE | 81583GM016 | 0.38 | 0.572 | . | ug/L | 0.94755 | 0.542 | Recoverable Result | 4437 | T | dlr |  | 2015-12-05 | NSI 050515HVOC: 10 µl & ERA 0601-15-05: 10 µl
20153440004 | 2015-12-09 07:30 | 1,3-DIOXOLANE | 81583GM016 | 0.38 | 0.572 | . | ug/L | 0.96853 | 0.554 | Recoverable Result | 4437 | T | dlr |  | 2015-12-10 | ChemService 3818700: 10 µl & Supelco LC13544: 10 µl
20160350048 | 2016-02-04 09:00 | 1,3-DIOXOLANE | 81583GM016 | 0.38 | 0.572 | . | ug/L | 0.97028 | 0.555 | Recoverable Result | 4437 | T | dlr |  | 2016-02-12 | ERA 0601-15-05: 10 µl & Accu 215041338: 10 µl
20160980153 | 2016-04-07 07:00 | 1,3-DIOXOLANE | 81583GM016 | 0.38 | 0.572 | . | ug/L | 1.1836 | 0.677 | Recoverable Result | 4437 | T | dlr |  | 2016-04-09 | Abs 040315: 10 µl & ChemService 3818700: 10 µl
20141640079 | 2014-06-12 07:30 | 1,3-DIOXOLANE | 81583GM016 | 0.38 | 0.76 | . | ug/L | 1.1829 | 0.899 | Recoverable Result | 4437 | T | dlr |  | 2014-06-17 | Supelco LC06437: 10 µl & Abs 032014: 10 µl
20142060044 | 2014-07-24 07:00 | 1,3-DIOXOLANE | 81583GM016 | 0.38 | 0.76 | . | ug/L | 0.98289 | 0.747 | Recoverable Result | 4437 | T | dlr |  | 2014-07-30 | NSI 031814: 10 µl & ChemService 2615700: 10 µl
20142530089 | 2014-09-10 07:00 | 1,3-DIOXOLANE | 81583GM016 | 0.38 | 0.76 | . | ug/L | 1.2197 | 0.927 | Recoverable Result | 4437 | T | dlr |  | 2014-09-11 | Accu 214031128: 10 µl & Abs 032014: 10 µl
20143420011 | 2014-12-08 07:00 | 1,3-DIOXOLANE | 81583GM016 | 0.38 | 0.76 | . | ug/L | 1.0382 | 0.789 | Recoverable Result | 4437 | T | dlr |  | 2014-12-13 | Accu 214031128: 10 µl & NSI 031814: 10 µl
20151110020 | 2015-04-16 07:30 | 1,3-DIOXOLANE | 81583GM016 | 0.38 | 0.76 | . | ug/L | 1.0513 | 0.799 | Recoverable Result | 4437 | T | dlr |  | 2015-04-25 | Abs 032014: 10 µl & ERA 0321-14-05A: 10 µl
20151270113 | 2015-05-07 08:00 | 1,3-DIOXOLANE | 81583GM016 | 0.38 | 0.858 | . | ug/L | 1.0956 | 0.94 | Recoverable Result | 4437 | T | dlr |  | 2015-05-14 | ChemService 3818700: 15 µl & Supelco LC13544: 15 µl
20151620183 | 2015-06-11 07:00 | 1,3-DIOXOLANE | 81583GM016 | 0.38 | 0.858 | . | ug/L | 0.99767 | 0.856 | Recoverable Result | 4437 | T | dlr |  | 2015-06-16 | ChemService 3818700: 15 µl & NSI 050515HVOC: 15 µl
20152330040 | 2015-08-20 08:00 | 1,3-DIOXOLANE | 81583GM016 | 0.38 | 0.858 | . | ug/L | 0.82867 | 0.711 | Recoverable Result | 4437 | T | dlr |  | 2015-08-24 | ERA 0601-15-05: 15 µl & Supelco LC13544: 15 µl
20152610007 | 2015-09-17 07:30 | 1,3-DIOXOLANE | 81583GM016 | 0.38 | 0.858 | . | ug/L | 1.0058 | 0.863 | Recoverable Result | 4437 | T | dlr |  | 2015-09-24 | Abs 040315: 15 µl & ERA 0601-15-05: 15 µl
20161190073 | 2016-04-28 07:30 | 1,3-DIOXOLANE | 81583GM016 | 0.38 | 0.858 | . | ug/L | 1.0536 | 0.904 | Recoverable Result | 4437 | T | dlr |  | 2016-04-28 | ChemService 3818700: 15 µl & Supelco LC13544: 15 µl
20162020127 | 2016-07-20 07:00 | 1,3-DIOXOLANE | 81583GM016 | 0.38 | 0.948 | . | ug/L | 0.90823 | 0.861 | Recoverable Result | 4437 | T | dlr |  | 2016-07-27 | ChemService 5082800: 15 µl & Supelco LC20145V: 15 µl & Accu 216041225: 15 µl
20161340231 | 2016-05-13 06:05 | 1,3-DIOXOLANE | 81583GM016 | 0.38 | 0.9804 | . | ug/L | 1.3566 | 1.33 | Recoverable Result | 4437 | T | dlr |  | 2016-05-20 | Accu 216041354: 15 µl & NSI 041516: 15 µl & Accu 216041225: 15 µl
20161680364 | 2016-06-15 07:30 | 1,3-DIOXOLANE | 81583GM016 | 0.38 | 0.9804 | . | ug/L | 0.78029 | 0.765 | Recoverable Result | 4437 | T | dlr |  | 2016-06-23
20161820012 | 2016-06-29 07:30 | 1,3-DIOXOLANE | 81583GM016 | 0.38 | 0.9804 | . | ug/L | 0.92411 | 0.906 | Recoverable Result | 4437 | T | dlr |  | 2016-07-06 | Phenova B20160303: 15 µl & Accu 216041354: 15 µl & NSI 041416HVOC: 15 µl
20162230173 | 2016-08-10 06:45 | 1,3-DIOXOLANE | 81583GM016 | 0.38 | 0.9804 | . | ug/L | 0.96899 | 0.95 | Recoverable Result | 4437 | T | dlr |  | 2016-08-12 | Accu 216041354: 15 µl & Abs 060916HVOC: 15 µl
20151690196 | 2015-06-18 07:30 | 1,3-DIOXOLANE | 81583GM016 | 0.38 | 1.43 | . | ug/L | 1.0839 | 1.55 | Recoverable Result | 4437 | T | dlr |  | 2015-06-25 | ChemService 3818700: 25 µl & NSI 050515HVOC: 25 µl
20151760209 | 2015-06-25 07:00 | 1,3-DIOXOLANE | 81583GM016 | 0.38 | 1.43 | . | ug/L | 0.93007 | 1.33 | Recoverable Result | 4437 | T | dlr |  | 2015-06-26 | ChemService 3818700: 25 µl & Accu 215041338: 25 µl
20152750005 | 2015-10-01 09:00 | 1,3-DIOXOLANE | 81583GM016 | 0.38 | 1.43 | . | ug/L | 0.87413 | 1.25 | Recoverable Result | 4437 | T | dlr |  | 2015-10-09 | ERA 0601-15-05: 25 µl & Accu 215041338: 25 µl
20160210086 | 2016-01-21 08:30 | 1,3-DIOXOLANE | 81583GM016 | 0.38 | 1.43 | . | ug/L | 0.99301 | 1.42 | Recoverable Result | 4437 | T | dlr |  | 2016-01-22 | NSI 050515HVOC: 25 µl & ERA 0601-15-05: 25 µl
20141220027 | 2014-05-01 07:00 | 1,3-DIOXOLANE | 81583GM016 | 0.38 | 1.52 | . | ug/L | 1.0461 | 1.59 | Recoverable Result | 4437 | T | dlr |  | 2014-05-07 | NSI 031814: 20 µl & Accu 214031128: 20 µl
20141490200 | 2014-05-29 07:30 | 1,3-DIOXOLANE | 81583GM016 | 0.38 | 1.52 | . | ug/L | 0.92763 | 1.41 | Recoverable Result | 4437 | T | dlr |  | 2014-06-06 | NSI 031814: 20 µl & ChemService 2615700: 20 µl
20141770148 | 2014-06-26 07:30 | 1,3-DIOXOLANE | 81583GM016 | 0.38 | 1.52 | . | ug/L | 1.0526 | 1.6 | Recoverable Result | 4437 | T | dlr |  | 2014-07-03 | Abs 032014: 20 µl & ChemService 2615700: 20 µl
20141990077 | 2014-07-17 06:30 | 1,3-DIOXOLANE | 81583GM016 | 0.38 | 1.52 | . | ug/L | 1.2237 | 1.86 | Recoverable Result | 4437 | T | dlr |  | 2014-07-23 | Accu 214031128: 20 µl & Abs 032014: 20 µl
20150090092 | 2015-01-08 07:00 | 1,3-DIOXOLANE | 81583GM016 | 0.38 | 1.52 | . | ug/L | 1 | 1.52 | Recoverable Result | 4437 | T | dlr |  | 2015-01-10 | Abs 032014: 20 µl & ERA 0321-14-05A: 20 µl
20150720067 | 2015-03-12 06:30 | 1,3-DIOXOLANE | 81583GM016 | 0.38 | 1.52 | . | ug/L | 1.5855 | 2.41 | Recoverable Result | 4437 | T | dlr |  | 2015-03-19 | Supelco LC06437: 20 µl & NSI 031814: 20 µl
20161400192 | 2016-05-18 06:30 | 1,3-DIOXOLANE | 81583GM016 | 0.38 | 1.58 | . | ug/L | 1.557 | 2.46 | Recoverable Result | 4437 | T | dlr |  | 2016-05-21 | Supelco LC20145V: 25 µl & NSI 041516: 25 µl & NSI 041416HVOC: 25 µl
20162150211 | 2016-08-02 07:00 | 1,3-DIOXOLANE | 81583GM016 | 0.38 | 1.58 | . | ug/L | 0.93671 | 1.48 | Recoverable Result | 4437 | T | lmu |  | 2016-08-11 | Phenova B20160303: 25 µl & Supelco LC20145V: 25 µl & NSI 041416HVOC: 25 µl
20162100018 | 2016-07-27 06:15 | 1,3-DIOXOLANE | 81583GM016 | 0.38 | 2.528 | . | ug/L | 1.068 | 2.7 | Recoverable Result | 4437 | T | dlr |  | 2016-07-29 | Supelco LC20145V: 40 µl & NSI 041516: 40 µl & NSI 041416HVOC: 40 µl
20161880112 | 2016-07-06 06:30 | 1,3-DIOXOLANE | 81583GM016 | 0.38 | 2.6144 | . | ug/L | 1.1666 | 3.05 | Recoverable Result | 4437 | T | dlr |  | 2016-07-06 | Accu 216041354: 40 µl & NSI 041516: 40 µl & NSI 041416HVOC: 40 µl