## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20151380011 | 2015-05-14 06:30 | 1,4-DIOXANE | 81582GM016 | 0.7 | 1.0396 | . | ug/L | 0.96191 | 1 | Recoverable Result | 4437 | T | dlr |  | 2015-05-20 | ChemService 3818700: 10 µl & Accu 215041338: 10 µl
20153640101 | 2015-12-30 09:00 | 1,4-DIOXANE | 81582GM016 | 0.7 | 1.0396 | . | ug/L | 0.96191 | 1 | Recoverable Result | 4437 | T | dlr |  | 2016-01-05 | Accu 215041338: 10 µl & Abs 040315: 10 µl
20160350048 | 2016-02-04 09:00 | 1,4-DIOXANE | 81582GM016 | 0.7 | 1.0396 | . | ug/L | 0.96191 | 1 | Recoverable Result | 4437 | T | dlr |  | 2016-02-12 | ERA 0601-15-05: 10 µl & Accu 215041338: 10 µl
20151210034 | 2015-04-30 08:30 | 1,4-DIOXANE | 81582GM016 | 0.7 | 1.05 | . | ug/L | 1.0476 | 1.1 | Recoverable Result | 4437 | T | dlr |  | 2015-05-05 | Supelco LC13544: 10 µl & Abs 040315: 10 µl
20153440004 | 2015-12-09 07:30 | 1,4-DIOXANE | 81582GM016 | 0.7 | 1.05 | . | ug/L | 0.95238 | 1 | Recoverable Result | 4437 | T | dlr |  | 2015-12-10 | ChemService 3818700: 10 µl & Supelco LC13544: 10 µl
20160770091 | 2016-03-17 08:30 | 1,4-DIOXANE | 81582GM016 | 0.7 | 1.05 | . | ug/L | 0.95238 | 1 | Recoverable Result | 4437 | T | dlr |  | 2016-03-22 | Supelco LC13544: 10 µl & NSI 050515HVOC: 10 µl
20141360093 | 2014-05-16 07:00 | 1,4-DIOXANE | 81582GM016 | 0.7 | 1.39 | . | ug/L | 1.0791 | 1.5 | Recoverable Result | 4437 | T | dlr |  | 2014-05-20 | ChemService 2615700: 10 µl & Accu 214031128: 10 µl
20141360093 | 2014-05-16 07:00 | 1,4-DIOXANE | 81582GM016 | 0.7 | 1.39 | . | ug/L | 1.0791 | 1.5 | Recoverable Result | 4437 | T | dlr |  | 2014-05-20 | ChemService 2615700: 10 µl & Accu 214031128: 10 µl
20142060044 | 2014-07-24 07:00 | 1,4-DIOXANE | 81582GM016 | 0.7 | 1.39 | . | ug/L | 0.93525 | 1.3 | Recoverable Result | 4437 | T | dlr |  | 2014-07-30 | NSI 031814: 10 µl & ChemService 2615700: 10 µl
20142060044 | 2014-07-24 07:00 | 1,4-DIOXANE | 81582GM016 | 0.7 | 1.39 | . | ug/L | 0.93525 | 1.3 | Recoverable Result | 4437 | T | dlr |  | 2014-07-30 | NSI 031814: 10 µl & ChemService 2615700: 10 µl
20142480010 | 2014-09-04 07:30 | 1,4-DIOXANE | 81582GM016 | 0.7 | 1.39 | . | ug/L | 1.223 | 1.7 | Recoverable Result | 4437 | T | dlr |  | 2014-09-06 | ERA 0321-14-05: 10 µl & Supelco LC06437: 10 µl
20142480010 | 2014-09-04 07:30 | 1,4-DIOXANE | 81582GM016 | 0.7 | 1.39 | . | ug/L | 1.223 | 1.7 | Recoverable Result | 4437 | T | dlr |  | 2014-09-06 | ERA 0321-14-05: 10 µl & Supelco LC06437: 10 µl
20142890079 | 2014-10-16 07:30 | 1,4-DIOXANE | 81582GM016 | 0.7 | 1.39 | . | ug/L | 0.86331 | 1.2 | Recoverable Result | 4437 | T | dlr |  | 2014-10-21 | ERA 0321-14-05A: 10 µl & Accu 214031128: 10 µl
20143240096 | 2014-11-19 07:00 | 1,4-DIOXANE | 81582GM016 | 0.7 | 1.39 | . | ug/L | 0.93525 | 1.3 | Recoverable Result | 4437 | T | dlr |  | 2014-11-22 | ChemService 2615700: 10 µl & Supelco LC06437: 10 µl
20151110020 | 2015-04-16 07:30 | 1,4-DIOXANE | 81582GM016 | 0.7 | 1.39 | . | ug/L | 1.0791 | 1.5 | Recoverable Result | 4437 | T | dlr |  | 2015-04-25 | Abs 032014: 10 µl & ERA 0321-14-05A: 10 µl
20152460214 | 2015-09-03 09:00 | 1,4-DIOXANE | 81582GM016 | 0.7 | 1.5594 | . | ug/L | 0.89778 | 1.4 | Recoverable Result | 4437 | T | dlr |  | 2015-09-05 | Accu 215041338: 15 µl & NSI 050515HVOC: 15 µl
20153280159 | 2015-11-24 09:00 | 1,4-DIOXANE | 81582GM016 | 0.7 | 1.5594 | . | ug/L | 0.83365 | 1.3 | Recoverable Result | 4437 | T | dlr |  | 2015-11-25 | Accu 215041338: 15 µl & Abs 040315: 15 µl
20151270113 | 2015-05-07 08:00 | 1,4-DIOXANE | 81582GM016 | 0.7 | 1.575 | . | ug/L | 0.95238 | 1.5 | Recoverable Result | 4437 | T | dlr |  | 2015-05-14 | ChemService 3818700: 15 µl & Supelco LC13544: 15 µl
20152040180 | 2015-07-23 07:30 | 1,4-DIOXANE | 81582GM016 | 0.7 | 1.575 | . | ug/L | 1.0159 | 1.6 | Recoverable Result | 4437 | T | dlr |  | 2015-07-30 | Supelco LC13544: 15 µl & NSI 050515HVOC: 15 µl
20152330040 | 2015-08-20 08:00 | 1,4-DIOXANE | 81582GM016 | 0.7 | 1.575 | . | ug/L | 0.95238 | 1.5 | Recoverable Result | 4437 | T | dlr |  | 2015-08-24 | ERA 0601-15-05: 15 µl & Supelco LC13544: 15 µl
20161190073 | 2016-04-28 07:30 | 1,4-DIOXANE | 81582GM016 | 0.7 | 1.575 | . | ug/L | 0.95238 | 1.5 | Recoverable Result | 4437 | T | dlr |  | 2016-04-28 | ChemService 3818700: 15 µl & Supelco LC13544: 15 µl
20162230173 | 2016-08-10 06:45 | 1,4-DIOXANE | 81582GM016 | 0.7 | 1.749 | . | ug/L | 1.052 | 1.84 | Recoverable Result | 4437 | T | dlr |  | 2016-08-12 | Accu 216041354: 15 µl & Abs 060916HVOC: 15 µl
20151760209 | 2015-06-25 07:00 | 1,4-DIOXANE | 81582GM016 | 0.7 | 2.599 | . | ug/L | 0.84648 | 2.2 | Recoverable Result | 4437 | T | dlr |  | 2015-06-26 | ChemService 3818700: 25 µl & Accu 215041338: 25 µl
20152750005 | 2015-10-01 09:00 | 1,4-DIOXANE | 81582GM016 | 0.7 | 2.599 | . | ug/L | 0.88496 | 2.3 | Recoverable Result | 4437 | T | dlr |  | 2015-10-09 | ERA 0601-15-05: 25 µl & Accu 215041338: 25 µl
20152810127 | 2015-10-08 08:30 | 1,4-DIOXANE | 81582GM016 | 0.7 | 2.625 | . | ug/L | 0.95238 | 2.5 | Recoverable Result | 4437 | T | dlr |  | 2015-10-09 | Supelco LC13544: 25 µl & NSI 050515HVOC: 25 µl
20141490200 | 2014-05-29 07:30 | 1,4-DIOXANE | 81582GM016 | 0.7 | 2.78 | . | ug/L | 1.0432 | 2.9 | Recoverable Result | 4437 | T | dlr |  | 2014-06-06 | NSI 031814: 20 µl & ChemService 2615700: 20 µl
20141490200 | 2014-05-29 07:30 | 1,4-DIOXANE | 81582GM016 | 0.7 | 2.78 | . | ug/L | 1.0432 | 2.9 | Recoverable Result | 4437 | T | dlr |  | 2014-06-06 | NSI 031814: 20 µl & ChemService 2615700: 20 µl
20141570087 | 2014-06-05 07:30 | 1,4-DIOXANE | 81582GM016 | 0.7 | 2.78 | . | ug/L | 1.0072 | 2.8 | Recoverable Result | 4437 | T | dlr |  | 2014-06-07 | ChemService 2615700: 20 µl & Supelco LC06437: 20 µl
20141570087 | 2014-06-05 07:30 | 1,4-DIOXANE | 81582GM016 | 0.7 | 2.78 | . | ug/L | 1.0072 | 2.8 | Recoverable Result | 4437 | T | dlr |  | 2014-06-07 | ChemService 2615700: 20 µl & Supelco LC06437: 20 µl
20141770148 | 2014-06-26 07:30 | 1,4-DIOXANE | 81582GM016 | 0.7 | 2.78 | . | ug/L | 0.86331 | 2.4 | Recoverable Result | 4437 | T | dlr |  | 2014-07-03 | Abs 032014: 20 µl & ChemService 2615700: 20 µl
20141770148 | 2014-06-26 07:30 | 1,4-DIOXANE | 81582GM016 | 0.7 | 2.78 | . | ug/L | 0.86331 | 2.4 | Recoverable Result | 4437 | T | dlr |  | 2014-07-03 | Abs 032014: 20 µl & ChemService 2615700: 20 µl
20141840102 | 2014-07-02 07:30 | 1,4-DIOXANE | 81582GM016 | 0.7 | 2.78 | . | ug/L | 0.93525 | 2.6 | Recoverable Result | 4437 | T | dlr |  | 2014-07-11 | ChemService 2615700: 20 µl & Accu 214031128: 20 µl
20141840102 | 2014-07-02 07:30 | 1,4-DIOXANE | 81582GM016 | 0.7 | 2.78 | . | ug/L | 0.93525 | 2.6 | Recoverable Result | 4437 | T | dlr |  | 2014-07-11 | ChemService 2615700: 20 µl & Accu 214031128: 20 µl
20142200169 | 2014-08-07 08:00 | 1,4-DIOXANE | 81582GM016 | 0.7 | 2.78 | . | ug/L | 1.0432 | 2.9 | Recoverable Result | 4437 | T | dlr |  | 2014-08-13 | ERA 0321-14-05: 20 µl & Accu 214031128: 20 µl
20142200169 | 2014-08-07 08:00 | 1,4-DIOXANE | 81582GM016 | 0.7 | 2.78 | . | ug/L | 1.0432 | 2.9 | Recoverable Result | 4437 | T | dlr |  | 2014-08-13 | ERA 0321-14-05: 20 µl & Accu 214031128: 20 µl
20150090092 | 2015-01-08 07:00 | 1,4-DIOXANE | 81582GM016 | 0.7 | 2.78 | . | ug/L | 0.89928 | 2.5 | Recoverable Result | 4437 | T | dlr |  | 2015-01-10 | Abs 032014: 20 µl & ERA 0321-14-05A: 20 µl