## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20152190008 | 2015-08-06 09:00 | 1-OCTANOL | 77310GM016 | 1.8 | 2.7 | . | ug/L | 0.71852 | 1.94 | Recoverable Result | 4437 | T | lmu |  | 2015-08-14 | Abs 040315: 10 µl & ERA 0601-15-05: 10 µl
20153160003 | 2015-11-10 09:00 | 1-OCTANOL | 77310GM016 | 1.8 | 2.7 | . | ug/L | 0.85556 | 2.31 | Recoverable Result | 4437 | T | dlr |  | 2015-11-14 | ERA 0601-15-05: 10 µl
20153370176 | 2015-12-03 09:00 | 1-OCTANOL | 77310GM016 | 1.8 | 2.7 | . | ug/L | 0.84815 | 2.29 | Recoverable Result | 4437 | T | dlr |  | 2015-12-05 | NSI 050515HVOC: 10 µl & ERA 0601-15-05: 10 µl
20160350048 | 2016-02-04 09:00 | 1-OCTANOL | 77310GM016 | 1.8 | 2.7 | . | ug/L | 0.84074 | 2.27 | Recoverable Result | 4437 | T | dlr |  | 2016-02-12 | ERA 0601-15-05: 10 µl & Accu 215041338: 10 µl
20151380011 | 2015-05-14 06:30 | 1-OCTANOL | 77310GM016 | 1.8 | 2.722 | . | ug/L | 0.95885 | 2.61 | Recoverable Result | 4437 | T | dlr |  | 2015-05-20 | ChemService 3818700: 10 µl & Accu 215041338: 10 µl
20152950080 | 2015-10-22 09:00 | 1-OCTANOL | 77310GM016 | 1.8 | 2.722 | . | ug/L | 0.8817 | 2.4 | Recoverable Result | 4437 | T | dlr |  | 2015-10-23 | Abs 040315: 10 µl & ChemService 3818700: 10 µl
20153440004 | 2015-12-09 07:30 | 1-OCTANOL | 77310GM016 | 1.8 | 2.722 | . | ug/L | 0.95151 | 2.59 | Recoverable Result | 4437 | T | dlr |  | 2015-12-10 | ChemService 3818700: 10 µl & Supelco LC13544: 10 µl
20160980153 | 2016-04-07 07:00 | 1-OCTANOL | 77310GM016 | 1.8 | 2.722 | . | ug/L | 0.78986 | 2.15 | Recoverable Result | 4437 | T | dlr |  | 2016-04-09 | Abs 040315: 10 µl & ChemService 3818700: 10 µl
20141640079 | 2014-06-12 07:30 | 1-OCTANOL | 77310GM016 | 1.8 | 3.62 | . | ug/L | 0.98066 | 3.55 | Recoverable Result | 4437 | T | dlr |  | 2014-06-17 | Supelco LC06437: 10 µl & Abs 032014: 10 µl
20142480010 | 2014-09-04 07:30 | 1-OCTANOL | 77310GM016 | 1.8 | 3.62 | . | ug/L | 0.93923 | 3.4 | Recoverable Result | 4437 | T | dlr |  | 2014-09-06 | ERA 0321-14-05: 10 µl & Supelco LC06437: 10 µl
20143240096 | 2014-11-19 07:00 | 1-OCTANOL | 77310GM016 | 1.8 | 3.62 | . | ug/L | 0.88122 | 3.19 | Recoverable Result | 4437 | T | dlr |  | 2014-11-22 | ChemService 2615700: 10 µl & Supelco LC06437: 10 µl
20141360093 | 2014-05-16 07:00 | 1-OCTANOL | 77310GM016 | 1.8 | 3.632 | . | ug/L | 1.0352 | 3.76 | Recoverable Result | 4437 | T | dlr |  | 2014-05-20 | ChemService 2615700: 10 µl & Accu 214031128: 10 µl
20142530089 | 2014-09-10 07:00 | 1-OCTANOL | 77310GM016 | 1.8 | 3.632 | . | ug/L | 0.74339 | 2.7 | Recoverable Result | 4437 | T | dlr |  | 2014-09-11 | Accu 214031128: 10 µl & Abs 032014: 10 µl
20142890079 | 2014-10-16 07:30 | 1-OCTANOL | 77310GM016 | 1.8 | 3.632 | . | ug/L | 0.9196 | 3.34 | Recoverable Result | 4437 | T | dlr |  | 2014-10-21 | ERA 0321-14-05A: 10 µl & Accu 214031128: 10 µl
20143420011 | 2014-12-08 07:00 | 1-OCTANOL | 77310GM016 | 1.8 | 3.632 | . | ug/L | 0.94714 | 3.44 | Recoverable Result | 4437 | T | dlr |  | 2014-12-13 | Accu 214031128: 10 µl & NSI 031814: 10 µl
20152330040 | 2015-08-20 08:00 | 1-OCTANOL | 77310GM016 | 1.8 | 4.05 | . | ug/L | 0.88642 | 3.59 | Recoverable Result | 4437 | T | dlr |  | 2015-08-24 | ERA 0601-15-05: 15 µl & Supelco LC13544: 15 µl
20152610007 | 2015-09-17 07:30 | 1-OCTANOL | 77310GM016 | 1.8 | 4.05 | . | ug/L | 0.73827 | 2.99 | Recoverable Result | 4437 | T | dlr |  | 2015-09-24 | Abs 040315: 15 µl & ERA 0601-15-05: 15 µl
20151270113 | 2015-05-07 08:00 | 1-OCTANOL | 77310GM016 | 1.8 | 4.083 | . | ug/L | 0.95763 | 3.91 | Recoverable Result | 4437 | T | dlr |  | 2015-05-14 | ChemService 3818700: 15 µl & Supelco LC13544: 15 µl
20151620183 | 2015-06-11 07:00 | 1-OCTANOL | 77310GM016 | 1.8 | 4.083 | . | ug/L | 0.81068 | 3.31 | Recoverable Result | 4437 | T | dlr |  | 2015-06-16 | ChemService 3818700: 15 µl & NSI 050515HVOC: 15 µl
20161190073 | 2016-04-28 07:30 | 1-OCTANOL | 77310GM016 | 1.8 | 4.083 | . | ug/L | 0.9013 | 3.68 | Recoverable Result | 4437 | T | dlr |  | 2016-04-28 | ChemService 3818700: 15 µl & Supelco LC13544: 15 µl
20161340231 | 2016-05-13 06:05 | 1-OCTANOL | 77310GM016 | 1.8 | 4.497 | . | ug/L | 0.78719 | 3.54 | Recoverable Result | 4437 | T | dlr |  | 2016-05-20 | Accu 216041354: 15 µl & NSI 041516: 15 µl & Accu 216041225: 15 µl
20161540129 | 2016-06-02 06:30 | 1-OCTANOL | 77310GM016 | 1.8 | 4.497 | . | ug/L | 0.83389 | 3.75 | Recoverable Result | 4437 | T | dlr |  | 2016-06-03 | NSI 041516: 15 µl & Phenova B20160303: 15 µl & NSI 041416HVOC: 15 µl
20162230173 | 2016-08-10 06:45 | 1-OCTANOL | 77310GM016 | 1.8 | 4.53 | . | ug/L | 0.86976 | 3.94 | Recoverable Result | 4437 | T | dlr |  | 2016-08-12 | Accu 216041354: 15 µl & Abs 060916HVOC: 15 µl
20152750005 | 2015-10-01 09:00 | 1-OCTANOL | 77310GM016 | 1.8 | 6.75 | . | ug/L | 0.83259 | 5.62 | Recoverable Result | 4437 | T | dlr |  | 2015-10-09 | ERA 0601-15-05: 25 µl & Accu 215041338: 25 µl
20160210086 | 2016-01-21 08:30 | 1-OCTANOL | 77310GM016 | 1.8 | 6.75 | . | ug/L | 0.73333 | 4.95 | Recoverable Result | 4437 | T | dlr |  | 2016-01-22 | NSI 050515HVOC: 25 µl & ERA 0601-15-05: 25 µl
20151690196 | 2015-06-18 07:30 | 1-OCTANOL | 77310GM016 | 1.8 | 6.805 | . | ug/L | 0.77002 | 5.24 | Recoverable Result | 4437 | T | dlr |  | 2015-06-25 | ChemService 3818700: 25 µl & NSI 050515HVOC: 25 µl
20151760209 | 2015-06-25 07:00 | 1-OCTANOL | 77310GM016 | 1.8 | 6.805 | . | ug/L | 0.86701 | 5.9 | Recoverable Result | 4437 | T | dlr |  | 2015-06-26 | ChemService 3818700: 25 µl & Accu 215041338: 25 µl
20141570087 | 2014-06-05 07:30 | 1-OCTANOL | 77310GM016 | 1.8 | 7.24 | . | ug/L | 0.82044 | 5.94 | Recoverable Result | 4437 | T | dlr |  | 2014-06-07 | ChemService 2615700: 20 µl & Supelco LC06437: 20 µl
20142270004 | 2014-08-14 07:00 | 1-OCTANOL | 77310GM016 | 1.8 | 7.24 | . | ug/L | 1.0152 | 7.35 | Recoverable Result | 4437 | T | dlr |  | 2014-08-20 | Supelco LC06437: 20 µl & Abs 032014: 20 µl
20150720067 | 2015-03-12 06:30 | 1-OCTANOL | 77310GM016 | 1.8 | 7.24 | . | ug/L | 0.96547 | 6.99 | Recoverable Result | 4437 | T | dlr |  | 2015-03-19 | Supelco LC06437: 20 µl & NSI 031814: 20 µl
20141220027 | 2014-05-01 07:00 | 1-OCTANOL | 77310GM016 | 1.8 | 7.264 | . | ug/L | 0.8783 | 6.38 | Recoverable Result | 4437 | T | dlr |  | 2014-05-07 | NSI 031814: 20 µl & Accu 214031128: 20 µl
20141840102 | 2014-07-02 07:30 | 1-OCTANOL | 77310GM016 | 1.8 | 7.264 | . | ug/L | 0.8962 | 6.51 | Recoverable Result | 4437 | T | dlr |  | 2014-07-11 | ChemService 2615700: 20 µl & Accu 214031128: 20 µl
20141990077 | 2014-07-17 06:30 | 1-OCTANOL | 77310GM016 | 1.8 | 7.264 | . | ug/L | 0.83425 | 6.06 | Recoverable Result | 4437 | T | dlr |  | 2014-07-23 | Accu 214031128: 20 µl & Abs 032014: 20 µl
20142200169 | 2014-08-07 08:00 | 1-OCTANOL | 77310GM016 | 1.8 | 7.264 | . | ug/L | 0.82874 | 6.02 | Recoverable Result | 4437 | T | dlr |  | 2014-08-13 | ERA 0321-14-05: 20 µl & Accu 214031128: 20 µl
20161400192 | 2016-05-18 06:30 | 1-OCTANOL | 77310GM016 | 1.8 | 7.495 | . | ug/L | 0.79787 | 5.98 | Recoverable Result | 4437 | T | dlr |  | 2016-05-21 | Supelco LC20145V: 25 µl & NSI 041516: 25 µl & NSI 041416HVOC: 25 µl
20161960008 | 2016-07-13 07:30 | 1-OCTANOL | 77310GM016 | 1.8 | 7.495 | . | ug/L | 0.66578 | 4.99 | Recoverable Result | 4437 | T | dlr |  | 2016-07-14 | NSI 041516: 25 µl & ChemService 5082800: 25 µl & NSI 041416HVOC: 25 µl
20161740256 | 2016-06-22 06:45 | 1-OCTANOL | 77310GM016 | 1.8 | 11.992 | . | ug/L | 0.81388 | 9.76 | Recoverable Result | 4437 | T | dlr |  | 2016-06-29 | NSI 041516: 40 µl & ChemService 5082800: 40 µl
20161880112 | 2016-07-06 06:30 | 1-OCTANOL | 77310GM016 | 1.8 | 11.992 | . | ug/L | 0.76051 | 9.12 | Recoverable Result | 4437 | T | dlr |  | 2016-07-06 | Accu 216041354: 40 µl & NSI 041516: 40 µl & NSI 041416HVOC: 40 µl
20162100018 | 2016-07-27 06:15 | 1-OCTANOL | 77310GM016 | 1.8 | 11.992 | . | ug/L | 0.85057 | 10.2 | Recoverable Result | 4437 | T | dlr |  | 2016-07-29 | Supelco LC20145V: 40 µl & NSI 041516: 40 µl & NSI 041416HVOC: 40 µl