## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20151210034 | 2015-04-30 08:30 | 2-NITROPROPANE | 77076GM016 | 0.12 | 0.18 | . | ug/L | 0.98889 | 0.178 | Recoverable Result | 4437 | T | dlr |  | 2015-05-05 | Supelco LC13544: 10 µl & Abs 040315: 10 µl
20152190008 | 2015-08-06 09:00 | 2-NITROPROPANE | 77076GM016 | 0.12 | 0.18 | . | ug/L | 0.90556 | 0.163 | Recoverable Result | 4437 | T | lmu |  | 2015-08-14 | Abs 040315: 10 µl & ERA 0601-15-05: 10 µl
20152950080 | 2015-10-22 09:00 | 2-NITROPROPANE | 77076GM016 | 0.12 | 0.18 | . | ug/L | 1.0111 | 0.182 | Recoverable Result | 4437 | T | dlr |  | 2015-10-23 | Abs 040315: 10 µl & ChemService 3818700: 10 µl
20153370176 | 2015-12-03 09:00 | 2-NITROPROPANE | 77076GM016 | 0.12 | 0.18 | . | ug/L | 0.90556 | 0.163 | Recoverable Result | 4437 | T | dlr |  | 2015-12-05 | NSI 050515HVOC: 10 µl & ERA 0601-15-05: 10 µl
20153640101 | 2015-12-30 09:00 | 2-NITROPROPANE | 77076GM016 | 0.12 | 0.18 | . | ug/L | 0.99444 | 0.179 | Recoverable Result | 4437 | T | dlr |  | 2016-01-05 | Accu 215041338: 10 µl & Abs 040315: 10 µl
20160770091 | 2016-03-17 08:30 | 2-NITROPROPANE | 77076GM016 | 0.12 | 0.18 | . | ug/L | 0.89444 | 0.161 | Recoverable Result | 4437 | T | dlr |  | 2016-03-22 | Supelco LC13544: 10 µl & NSI 050515HVOC: 10 µl
20160980153 | 2016-04-07 07:00 | 2-NITROPROPANE | 77076GM016 | 0.12 | 0.18 | . | ug/L | 1.0389 | 0.187 | Recoverable Result | 4437 | T | dlr |  | 2016-04-09 | Abs 040315: 10 µl & ChemService 3818700: 10 µl
20141360093 | 2014-05-16 07:00 | 2-NITROPROPANE | 77076GM016 | 0.12 | 0.2362 | . | ug/L | 1.0711 | 0.253 | Recoverable Result | 4437 | T | dlr |  | 2014-05-20 | ChemService 2615700: 10 µl & Accu 214031128: 10 µl
20142530089 | 2014-09-10 07:00 | 2-NITROPROPANE | 77076GM016 | 0.12 | 0.2362 | . | ug/L | 0.82981 | 0.196 | Recoverable Result | 4437 | T | dlr |  | 2014-09-11 | Accu 214031128: 10 µl & Abs 032014: 10 µl
20142890079 | 2014-10-16 07:30 | 2-NITROPROPANE | 77076GM016 | 0.12 | 0.2362 | . | ug/L | 0.98222 | 0.232 | Recoverable Result | 4437 | T | dlr |  | 2014-10-21 | ERA 0321-14-05A: 10 µl & Accu 214031128: 10 µl
20143420011 | 2014-12-08 07:00 | 2-NITROPROPANE | 77076GM016 | 0.12 | 0.2362 | . | ug/L | 0.82557 | 0.195 | Recoverable Result | 4437 | T | dlr |  | 2014-12-13 | Accu 214031128: 10 µl & NSI 031814: 10 µl
20141640079 | 2014-06-12 07:30 | 2-NITROPROPANE | 77076GM016 | 0.12 | 0.24 | . | ug/L | 0.92917 | 0.223 | Recoverable Result | 4437 | T | dlr |  | 2014-06-17 | Supelco LC06437: 10 µl & Abs 032014: 10 µl
20142480010 | 2014-09-04 07:30 | 2-NITROPROPANE | 77076GM016 | 0.12 | 0.24 | . | ug/L | 0.99583 | 0.239 | Recoverable Result | 4437 | T | dlr |  | 2014-09-06 | ERA 0321-14-05: 10 µl & Supelco LC06437: 10 µl
20143240096 | 2014-11-19 07:00 | 2-NITROPROPANE | 77076GM016 | 0.12 | 0.24 | . | ug/L | 0.9125 | 0.219 | Recoverable Result | 4437 | T | dlr |  | 2014-11-22 | ChemService 2615700: 10 µl & Supelco LC06437: 10 µl
20151620183 | 2015-06-11 07:00 | 2-NITROPROPANE | 77076GM016 | 0.12 | 0.27 | . | ug/L | 0.91111 | 0.246 | Recoverable Result | 4437 | T | dlr |  | 2015-06-16 | ChemService 3818700: 15 µl & NSI 050515HVOC: 15 µl
20152040180 | 2015-07-23 07:30 | 2-NITROPROPANE | 77076GM016 | 0.12 | 0.27 | . | ug/L | 0.80741 | 0.218 | Recoverable Result | 4437 | T | dlr |  | 2015-07-30 | Supelco LC13544: 15 µl & NSI 050515HVOC: 15 µl
20152460214 | 2015-09-03 09:00 | 2-NITROPROPANE | 77076GM016 | 0.12 | 0.27 | . | ug/L | 0.78148 | 0.211 | Recoverable Result | 4437 | T | dlr |  | 2015-09-05 | Accu 215041338: 15 µl & NSI 050515HVOC: 15 µl
20152610007 | 2015-09-17 07:30 | 2-NITROPROPANE | 77076GM016 | 0.12 | 0.27 | . | ug/L | 0.95556 | 0.258 | Recoverable Result | 4437 | T | dlr |  | 2015-09-24 | Abs 040315: 15 µl & ERA 0601-15-05: 15 µl
20153280159 | 2015-11-24 09:00 | 2-NITROPROPANE | 77076GM016 | 0.12 | 0.27 | . | ug/L | 0.9037 | 0.244 | Recoverable Result | 4437 | T | dlr |  | 2015-11-25 | Accu 215041338: 15 µl & Abs 040315: 15 µl
20161340231 | 2016-05-13 06:05 | 2-NITROPROPANE | 77076GM016 | 0.12 | 0.2949 | . | ug/L | 0.87826 | 0.259 | Recoverable Result | 4437 | T | dlr |  | 2016-05-20 | Accu 216041354: 15 µl & NSI 041516: 15 µl & Accu 216041225: 15 µl
20161680364 | 2016-06-15 07:30 | 2-NITROPROPANE | 77076GM016 | 0.12 | 0.2949 | . | ug/L | 0.80366 | 0.237 | Recoverable Result | 4437 | T | dlr |  | 2016-06-23
20161820012 | 2016-06-29 07:30 | 2-NITROPROPANE | 77076GM016 | 0.12 | 0.2949 | . | ug/L | 0.77314 | 0.228 | Recoverable Result | 4437 | T | dlr |  | 2016-07-06 | Phenova B20160303: 15 µl & Accu 216041354: 15 µl & NSI 041416HVOC: 15 µl
20162230173 | 2016-08-10 06:45 | 2-NITROPROPANE | 77076GM016 | 0.12 | 0.2949 | . | ug/L | 0.78332 | 0.231 | Recoverable Result | 4437 | T | dlr |  | 2016-08-12 | Accu 216041354: 15 µl & Abs 060916HVOC: 15 µl
20162020127 | 2016-07-20 07:00 | 2-NITROPROPANE | 77076GM016 | 0.12 | 0.3 | . | ug/L | 0.82 | 0.246 | Recoverable Result | 4437 | T | dlr |  | 2016-07-27 | ChemService 5082800: 15 µl & Supelco LC20145V: 15 µl & Accu 216041225: 15 µl
20151690196 | 2015-06-18 07:30 | 2-NITROPROPANE | 77076GM016 | 0.12 | 0.45 | . | ug/L | 0.89333 | 0.402 | Recoverable Result | 4437 | T | dlr |  | 2015-06-25 | ChemService 3818700: 25 µl & NSI 050515HVOC: 25 µl
20152810127 | 2015-10-08 08:30 | 2-NITROPROPANE | 77076GM016 | 0.12 | 0.45 | . | ug/L | 0.81333 | 0.366 | Recoverable Result | 4437 | T | dlr |  | 2015-10-09 | Supelco LC13544: 25 µl & NSI 050515HVOC: 25 µl
20160210086 | 2016-01-21 08:30 | 2-NITROPROPANE | 77076GM016 | 0.12 | 0.45 | . | ug/L | 0.86222 | 0.388 | Recoverable Result | 4437 | T | dlr |  | 2016-01-22 | NSI 050515HVOC: 25 µl & ERA 0601-15-05: 25 µl
20141220027 | 2014-05-01 07:00 | 2-NITROPROPANE | 77076GM016 | 0.12 | 0.4724 | . | ug/L | 0.80864 | 0.382 | Recoverable Result | 4437 | T | dlr |  | 2014-05-07 | NSI 031814: 20 µl & Accu 214031128: 20 µl
20141840102 | 2014-07-02 07:30 | 2-NITROPROPANE | 77076GM016 | 0.12 | 0.4724 | . | ug/L | 0.92506 | 0.437 | Recoverable Result | 4437 | T | dlr |  | 2014-07-11 | ChemService 2615700: 20 µl & Accu 214031128: 20 µl
20141990077 | 2014-07-17 06:30 | 2-NITROPROPANE | 77076GM016 | 0.12 | 0.4724 | . | ug/L | 0.79805 | 0.377 | Recoverable Result | 4437 | T | dlr |  | 2014-07-23 | Accu 214031128: 20 µl & Abs 032014: 20 µl
20142200169 | 2014-08-07 08:00 | 2-NITROPROPANE | 77076GM016 | 0.12 | 0.4724 | . | ug/L | 0.87638 | 0.414 | Recoverable Result | 4437 | T | dlr |  | 2014-08-13 | ERA 0321-14-05: 20 µl & Accu 214031128: 20 µl
20141570087 | 2014-06-05 07:30 | 2-NITROPROPANE | 77076GM016 | 0.12 | 0.48 | . | ug/L | 0.93125 | 0.447 | Recoverable Result | 4437 | T | dlr |  | 2014-06-07 | ChemService 2615700: 20 µl & Supelco LC06437: 20 µl
20142270004 | 2014-08-14 07:00 | 2-NITROPROPANE | 77076GM016 | 0.12 | 0.48 | . | ug/L | 0.825 | 0.396 | Recoverable Result | 4437 | T | dlr |  | 2014-08-20 | Supelco LC06437: 20 µl & Abs 032014: 20 µl
20150720067 | 2015-03-12 06:30 | 2-NITROPROPANE | 77076GM016 | 0.12 | 0.48 | . | ug/L | 0.83333 | 0.4 | Recoverable Result | 4437 | T | dlr |  | 2015-03-19 | Supelco LC06437: 20 µl & NSI 031814: 20 µl
20161400192 | 2016-05-18 06:30 | 2-NITROPROPANE | 77076GM016 | 0.12 | 0.5 | . | ug/L | 0.898 | 0.449 | Recoverable Result | 4437 | T | dlr |  | 2016-05-21 | Supelco LC20145V: 25 µl & NSI 041516: 25 µl & NSI 041416HVOC: 25 µl
20162150211 | 2016-08-02 07:00 | 2-NITROPROPANE | 77076GM016 | 0.12 | 0.5 | . | ug/L | 0.906 | 0.453 | Recoverable Result | 4437 | T | lmu |  | 2016-08-11 | Phenova B20160303: 25 µl & Supelco LC20145V: 25 µl & NSI 041416HVOC: 25 µl
20161880112 | 2016-07-06 06:30 | 2-NITROPROPANE | 77076GM016 | 0.12 | 0.7864 | . | ug/L | 0.81129 | 0.638 | Recoverable Result | 4437 | T | dlr |  | 2016-07-06 | Accu 216041354: 40 µl & NSI 041516: 40 µl & NSI 041416HVOC: 40 µl
20162100018 | 2016-07-27 06:15 | 2-NITROPROPANE | 77076GM016 | 0.12 | 0.8 | . | ug/L | 0.89875 | 0.719 | Recoverable Result | 4437 | T | dlr |  | 2016-07-29 | Supelco LC20145V: 40 µl & NSI 041516: 40 µl & NSI 041416HVOC: 40 µl