## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20151210034 | 2015-04-30 08:30 | CYCLOHEXANONE | 77097GM016 | 1.2 | 1.8012 | . | ug/L | 0.96047 | 1.73 | Recoverable Result | 4437 | T | dlr |  | 2015-05-05 | Supelco LC13544: 10 µl & Abs 040315: 10 µl
20153440004 | 2015-12-09 07:30 | CYCLOHEXANONE | 77097GM016 | 1.2 | 1.8012 | . | ug/L | 0.93826 | 1.69 | Recoverable Result | 4437 | T | dlr |  | 2015-12-10 | ChemService 3818700: 10 µl & Supelco LC13544: 10 µl
20160770091 | 2016-03-17 08:30 | CYCLOHEXANONE | 77097GM016 | 1.2 | 1.8012 | . | ug/L | 0.92161 | 1.66 | Recoverable Result | 4437 | T | dlr |  | 2016-03-22 | Supelco LC13544: 10 µl & NSI 050515HVOC: 10 µl
20151380011 | 2015-05-14 06:30 | CYCLOHEXANONE | 77097GM016 | 1.2 | 1.8054 | . | ug/L | 0.91946 | 1.66 | Recoverable Result | 4437 | T | dlr |  | 2015-05-20 | ChemService 3818700: 10 µl & Accu 215041338: 10 µl
20153640101 | 2015-12-30 09:00 | CYCLOHEXANONE | 77097GM016 | 1.2 | 1.8054 | . | ug/L | 0.80315 | 1.45 | Recoverable Result | 4437 | T | dlr |  | 2016-01-05 | Accu 215041338: 10 µl & Abs 040315: 10 µl
20160350048 | 2016-02-04 09:00 | CYCLOHEXANONE | 77097GM016 | 1.2 | 1.8054 | . | ug/L | 0.84192 | 1.52 | Recoverable Result | 4437 | T | dlr |  | 2016-02-12 | ERA 0601-15-05: 10 µl & Accu 215041338: 10 µl
20141360093 | 2014-05-16 07:00 | CYCLOHEXANONE | 77097GM016 | 1.2 | 2.418 | . | ug/L | 0.88916 | 2.15 | Recoverable Result | 4437 | T | dlr |  | 2014-05-20 | ChemService 2615700: 10 µl & Accu 214031128: 10 µl
20142530089 | 2014-09-10 07:00 | CYCLOHEXANONE | 77097GM016 | 1.2 | 2.418 | . | ug/L | 0.78164 | 1.89 | Recoverable Result | 4437 | T | dlr |  | 2014-09-11 | Accu 214031128: 10 µl & Abs 032014: 10 µl
20142890079 | 2014-10-16 07:30 | CYCLOHEXANONE | 77097GM016 | 1.2 | 2.418 | . | ug/L | 0.80232 | 1.94 | Recoverable Result | 4437 | T | dlr |  | 2014-10-21 | ERA 0321-14-05A: 10 µl & Accu 214031128: 10 µl
20143420011 | 2014-12-08 07:00 | CYCLOHEXANONE | 77097GM016 | 1.2 | 2.418 | . | ug/L | 0.88089 | 2.13 | Recoverable Result | 4437 | T | dlr |  | 2014-12-13 | Accu 214031128: 10 µl & NSI 031814: 10 µl
20141640079 | 2014-06-12 07:30 | CYCLOHEXANONE | 77097GM016 | 1.2 | 2.42 | . | ug/L | 1.0413 | 2.52 | Recoverable Result | 4437 | T | dlr |  | 2014-06-17 | Supelco LC06437: 10 µl & Abs 032014: 10 µl
20142480010 | 2014-09-04 07:30 | CYCLOHEXANONE | 77097GM016 | 1.2 | 2.42 | . | ug/L | 1.1983 | 2.9 | Recoverable Result | 4437 | T | dlr |  | 2014-09-06 | ERA 0321-14-05: 10 µl & Supelco LC06437: 10 µl
20143240096 | 2014-11-19 07:00 | CYCLOHEXANONE | 77097GM016 | 1.2 | 2.42 | . | ug/L | 0.93388 | 2.26 | Recoverable Result | 4437 | T | dlr |  | 2014-11-22 | ChemService 2615700: 10 µl & Supelco LC06437: 10 µl
20151270113 | 2015-05-07 08:00 | CYCLOHEXANONE | 77097GM016 | 1.2 | 2.7018 | . | ug/L | 1.0252 | 2.77 | Recoverable Result | 4437 | T | dlr |  | 2015-05-14 | ChemService 3818700: 15 µl & Supelco LC13544: 15 µl
20152040180 | 2015-07-23 07:30 | CYCLOHEXANONE | 77097GM016 | 1.2 | 2.7018 | . | ug/L | 0.78096 | 2.11 | Recoverable Result | 4437 | T | dlr |  | 2015-07-30 | Supelco LC13544: 15 µl & NSI 050515HVOC: 15 µl
20152330040 | 2015-08-20 08:00 | CYCLOHEXANONE | 77097GM016 | 1.2 | 2.7018 | . | ug/L | 0.87719 | 2.37 | Recoverable Result | 4437 | T | dlr |  | 2015-08-24 | ERA 0601-15-05: 15 µl & Supelco LC13544: 15 µl
20161190073 | 2016-04-28 07:30 | CYCLOHEXANONE | 77097GM016 | 1.2 | 2.7018 | . | ug/L | 0.92161 | 2.49 | Recoverable Result | 4437 | T | dlr |  | 2016-04-28 | ChemService 3818700: 15 µl & Supelco LC13544: 15 µl
20152460214 | 2015-09-03 09:00 | CYCLOHEXANONE | 77097GM016 | 1.2 | 2.7081 | . | ug/L | 0.70529 | 1.91 | Recoverable Result | 4437 | T | dlr |  | 2015-09-05 | Accu 215041338: 15 µl & NSI 050515HVOC: 15 µl
20153280159 | 2015-11-24 09:00 | CYCLOHEXANONE | 77097GM016 | 1.2 | 2.7081 | . | ug/L | 0.68683 | 1.86 | Recoverable Result | 4437 | T | dlr |  | 2015-11-25 | Accu 215041338: 15 µl & Abs 040315: 15 µl
20161540129 | 2016-06-02 06:30 | CYCLOHEXANONE | 77097GM016 | 1.2 | 3 | . | ug/L | 0.98 | 2.94 | Recoverable Result | 4437 | T | dlr |  | 2016-06-03 | NSI 041516: 15 µl & Phenova B20160303: 15 µl & NSI 041416HVOC: 15 µl
20161820012 | 2016-06-29 07:30 | CYCLOHEXANONE | 77097GM016 | 1.2 | 3 | . | ug/L | 0.88 | 2.64 | Recoverable Result | 4437 | T | dlr |  | 2016-07-06 | Phenova B20160303: 15 µl & Accu 216041354: 15 µl & NSI 041416HVOC: 15 µl
20161680364 | 2016-06-15 07:30 | CYCLOHEXANONE | 77097GM016 | 1.2 | 3.066 | . | ug/L | 0.77299 | 2.37 | Recoverable Result | 4437 | T | dlr |  | 2016-06-23
20162020127 | 2016-07-20 07:00 | CYCLOHEXANONE | 77097GM016 | 1.2 | 3.066 | . | ug/L | 0.86758 | 2.66 | Recoverable Result | 4437 | T | dlr |  | 2016-07-27 | ChemService 5082800: 15 µl & Supelco LC20145V: 15 µl & Accu 216041225: 15 µl
20152810127 | 2015-10-08 08:30 | CYCLOHEXANONE | 77097GM016 | 1.2 | 4.503 | . | ug/L | 0.96602 | 4.35 | Recoverable Result | 4437 | T | dlr |  | 2015-10-09 | Supelco LC13544: 25 µl & NSI 050515HVOC: 25 µl
20151760209 | 2015-06-25 07:00 | CYCLOHEXANONE | 77097GM016 | 1.2 | 4.5135 | . | ug/L | 0.77988 | 3.52 | Recoverable Result | 4437 | T | dlr |  | 2015-06-26 | ChemService 3818700: 25 µl & Accu 215041338: 25 µl
20152750005 | 2015-10-01 09:00 | CYCLOHEXANONE | 77097GM016 | 1.2 | 4.5135 | . | ug/L | 0.82863 | 3.74 | Recoverable Result | 4437 | T | dlr |  | 2015-10-09 | ERA 0601-15-05: 25 µl & Accu 215041338: 25 µl
20141220027 | 2014-05-01 07:00 | CYCLOHEXANONE | 77097GM016 | 1.2 | 4.836 | . | ug/L | 0.84781 | 4.1 | Recoverable Result | 4437 | T | dlr |  | 2014-05-07 | NSI 031814: 20 µl & Accu 214031128: 20 µl
20141840102 | 2014-07-02 07:30 | CYCLOHEXANONE | 77097GM016 | 1.2 | 4.836 | . | ug/L | 1.0422 | 5.04 | Recoverable Result | 4437 | T | dlr |  | 2014-07-11 | ChemService 2615700: 20 µl & Accu 214031128: 20 µl
20141990077 | 2014-07-17 06:30 | CYCLOHEXANONE | 77097GM016 | 1.2 | 4.836 | . | ug/L | 0.90571 | 4.38 | Recoverable Result | 4437 | T | dlr |  | 2014-07-23 | Accu 214031128: 20 µl & Abs 032014: 20 µl
20142200169 | 2014-08-07 08:00 | CYCLOHEXANONE | 77097GM016 | 1.2 | 4.836 | . | ug/L | 1.0112 | 4.89 | Recoverable Result | 4437 | T | dlr |  | 2014-08-13 | ERA 0321-14-05: 20 µl & Accu 214031128: 20 µl
20141570087 | 2014-06-05 07:30 | CYCLOHEXANONE | 77097GM016 | 1.2 | 4.84 | . | ug/L | 0.95868 | 4.64 | Recoverable Result | 4437 | T | dlr |  | 2014-06-07 | ChemService 2615700: 20 µl & Supelco LC06437: 20 µl
20142270004 | 2014-08-14 07:00 | CYCLOHEXANONE | 77097GM016 | 1.2 | 4.84 | . | ug/L | 1.0537 | 5.1 | Recoverable Result | 4437 | T | dlr |  | 2014-08-20 | Supelco LC06437: 20 µl & Abs 032014: 20 µl
20150720067 | 2015-03-12 06:30 | CYCLOHEXANONE | 77097GM016 | 1.2 | 4.84 | . | ug/L | 1.1074 | 5.36 | Recoverable Result | 4437 | T | dlr |  | 2015-03-19 | Supelco LC06437: 20 µl & NSI 031814: 20 µl
20162150211 | 2016-08-02 07:00 | CYCLOHEXANONE | 77097GM016 | 1.2 | 5 | . | ug/L | 0.906 | 4.53 | Recoverable Result | 4437 | T | lmu |  | 2016-08-11 | Phenova B20160303: 25 µl & Supelco LC20145V: 25 µl & NSI 041416HVOC: 25 µl
20161960008 | 2016-07-13 07:30 | CYCLOHEXANONE | 77097GM016 | 1.2 | 5.11 | . | ug/L | 0.78474 | 4.01 | Recoverable Result | 4437 | T | dlr |  | 2016-07-14 | NSI 041516: 25 µl & ChemService 5082800: 25 µl & NSI 041416HVOC: 25 µl
20161740256 | 2016-06-22 06:45 | CYCLOHEXANONE | 77097GM016 | 1.2 | 8.176 | . | ug/L | 0.95279 | 7.79 | Recoverable Result | 4437 | T | dlr |  | 2016-06-29 | NSI 041516: 40 µl & ChemService 5082800: 40 µl