## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20152190008 | 2015-08-06 09:00 | ISOPHORONE | 34408GM016 | 5 | 7.54 | . | ug/L | 0.59019 | 4.45 | Recoverable Result | 4437 | T | lmu | n | 2015-08-14 | Abs 040315: 10 µl & ERA 0601-15-05: 10 µl
20153160003 | 2015-11-10 09:00 | ISOPHORONE | 34408GM016 | 5 | 7.54 | . | ug/L | 0.68568 | 5.17 | Recoverable Result | 4437 | T | dlr |  | 2015-11-14 | ERA 0601-15-05: 10 µl
20153370176 | 2015-12-03 09:00 | ISOPHORONE | 34408GM016 | 5 | 7.54 | . | ug/L | 0.71618 | 5.4 | Recoverable Result | 4437 | T | dlr |  | 2015-12-05 | NSI 050515HVOC: 10 µl & ERA 0601-15-05: 10 µl
20160350048 | 2016-02-04 09:00 | ISOPHORONE | 34408GM016 | 5 | 7.54 | . | ug/L | 0.77056 | 5.81 | Recoverable Result | 4437 | T | dlr |  | 2016-02-12 | ERA 0601-15-05: 10 µl & Accu 215041338: 10 µl
20151380011 | 2015-05-14 06:30 | ISOPHORONE | 34408GM016 | 5 | 7.546 | . | ug/L | 1.0986 | 8.29 | Recoverable Result | 4437 | T | dlr |  | 2015-05-20 | ChemService 3818700: 10 µl & Accu 215041338: 10 µl
20152950080 | 2015-10-22 09:00 | ISOPHORONE | 34408GM016 | 5 | 7.546 | . | ug/L | 0.99655 | 7.52 | Recoverable Result | 4437 | T | dlr |  | 2015-10-23 | Abs 040315: 10 µl & ChemService 3818700: 10 µl
20153440004 | 2015-12-09 07:30 | ISOPHORONE | 34408GM016 | 5 | 7.546 | . | ug/L | 0.84416 | 6.37 | Recoverable Result | 4437 | T | dlr |  | 2015-12-10 | ChemService 3818700: 10 µl & Supelco LC13544: 10 µl
20160980153 | 2016-04-07 07:00 | ISOPHORONE | 34408GM016 | 5 | 7.546 | . | ug/L | 0.84946 | 6.41 | Recoverable Result | 4437 | T | dlr |  | 2016-04-09 | Abs 040315: 10 µl & ChemService 3818700: 10 µl
20141640079 | 2014-06-12 07:30 | ISOPHORONE | 34408GM016 | 5 | 10.002 | . | ug/L | 1.1798 | 11.8 | Recoverable Result | 4437 | T | dlr |  | 2014-06-17 | Supelco LC06437: 10 µl & Abs 032014: 10 µl
20142530089 | 2014-09-10 07:00 | ISOPHORONE | 34408GM016 | 5 | 10.002 | . | ug/L | 0.71486 | 7.15 | Recoverable Result | 4437 | T | dlr |  | 2014-09-11 | Accu 214031128: 10 µl & Abs 032014: 10 µl
20151110020 | 2015-04-16 07:30 | ISOPHORONE | 34408GM016 | 5 | 10.002 | . | ug/L | 0.96681 | 9.67 | Recoverable Result | 4437 | T | dlr |  | 2015-04-25 | Abs 032014: 10 µl & ERA 0321-14-05A: 10 µl
20142060044 | 2014-07-24 07:00 | ISOPHORONE | 34408GM016 | 5 | 10.018 | E | ug/L | 1.5572 | 15.6 | Estimated Values | 4437 | T | dlr |  | 2014-07-30 | NSI 031814: 10 µl & ChemService 2615700: 10 µl
20143420011 | 2014-12-08 07:00 | ISOPHORONE | 34408GM016 | 5 | 10.018 | . | ug/L | 1.2178 | 12.2 | Recoverable Result | 4437 | T | dlr |  | 2014-12-13 | Accu 214031128: 10 µl & NSI 031814: 10 µl
20152330040 | 2015-08-20 08:00 | ISOPHORONE | 34408GM016 | 5 | 11.31 | . | ug/L | 0.83554 | 9.45 | Recoverable Result | 4437 | T | dlr |  | 2015-08-24 | ERA 0601-15-05: 15 µl & Supelco LC13544: 15 µl
20152610007 | 2015-09-17 07:30 | ISOPHORONE | 34408GM016 | 5 | 11.31 | . | ug/L | 0.75597 | 8.55 | Recoverable Result | 4437 | T | dlr |  | 2015-09-24 | Abs 040315: 15 µl & ERA 0601-15-05: 15 µl
20151270113 | 2015-05-07 08:00 | ISOPHORONE | 34408GM016 | 5 | 11.319 | . | ug/L | 1.0248 | 11.6 | Recoverable Result | 4437 | T | dlr |  | 2015-05-14 | ChemService 3818700: 15 µl & Supelco LC13544: 15 µl
20151620183 | 2015-06-11 07:00 | ISOPHORONE | 34408GM016 | 5 | 11.319 | . | ug/L | 0.83135 | 9.41 | Recoverable Result | 4437 | T | dlr |  | 2015-06-16 | ChemService 3818700: 15 µl & NSI 050515HVOC: 15 µl
20161190073 | 2016-04-28 07:30 | ISOPHORONE | 34408GM016 | 5 | 11.319 | . | ug/L | 1.0425 | 11.8 | Recoverable Result | 4437 | T | dlr |  | 2016-04-28 | ChemService 3818700: 15 µl & Supelco LC13544: 15 µl
20161340231 | 2016-05-13 06:05 | ISOPHORONE | 34408GM016 | 5 | 12.324 | . | ug/L | 0.82765 | 10.2 | Recoverable Result | 4437 | T | dlr |  | 2016-05-20 | Accu 216041354: 15 µl & NSI 041516: 15 µl & Accu 216041225: 15 µl
20161680364 | 2016-06-15 07:30 | ISOPHORONE | 34408GM016 | 5 | 12.324 | . | ug/L | 0.38299 | 4.72 | Recoverable Result | 4437 | T | dlr | n | 2016-06-23
20161820012 | 2016-06-29 07:30 | ISOPHORONE | 34408GM016 | 5 | 12.324 | . | ug/L | 0.73353 | 9.04 | Recoverable Result | 4437 | T | dlr |  | 2016-07-06 | Phenova B20160303: 15 µl & Accu 216041354: 15 µl & NSI 041416HVOC: 15 µl
20162230173 | 2016-08-10 06:45 | ISOPHORONE | 34408GM016 | 5 | 12.324 | . | ug/L | 0.77248 | 9.52 | Recoverable Result | 4437 | T | dlr |  | 2016-08-12 | Accu 216041354: 15 µl & Abs 060916HVOC: 15 µl
20162020127 | 2016-07-20 07:00 | ISOPHORONE | 34408GM016 | 5 | 12.51 | . | ug/L | 0.70743 | 8.85 | Recoverable Result | 4437 | T | dlr |  | 2016-07-27 | ChemService 5082800: 15 µl & Supelco LC20145V: 15 µl & Accu 216041225: 15 µl
20152750005 | 2015-10-01 09:00 | ISOPHORONE | 34408GM016 | 5 | 18.85 | . | ug/L | 0.83289 | 15.7 | Recoverable Result | 4437 | T | dlr |  | 2015-10-09 | ERA 0601-15-05: 25 µl & Accu 215041338: 25 µl
20160210086 | 2016-01-21 08:30 | ISOPHORONE | 34408GM016 | 5 | 18.85 | . | ug/L | 0.7374 | 13.9 | Recoverable Result | 4437 | T | dlr |  | 2016-01-22 | NSI 050515HVOC: 25 µl & ERA 0601-15-05: 25 µl
20151690196 | 2015-06-18 07:30 | ISOPHORONE | 34408GM016 | 5 | 18.865 | . | ug/L | 0.85343 | 16.1 | Recoverable Result | 4437 | T | dlr |  | 2015-06-25 | ChemService 3818700: 25 µl & NSI 050515HVOC: 25 µl
20151760209 | 2015-06-25 07:00 | ISOPHORONE | 34408GM016 | 5 | 18.865 | . | ug/L | 0.85343 | 16.1 | Recoverable Result | 4437 | T | dlr |  | 2015-06-26 | ChemService 3818700: 25 µl & Accu 215041338: 25 µl
20141770148 | 2014-06-26 07:30 | ISOPHORONE | 34408GM016 | 5 | 20.004 | . | ug/L | 1.2298 | 24.6 | Recoverable Result | 4437 | T | dlr |  | 2014-07-03 | Abs 032014: 20 µl & ChemService 2615700: 20 µl
20141990077 | 2014-07-17 06:30 | ISOPHORONE | 34408GM016 | 5 | 20.004 | . | ug/L | 1.1298 | 22.6 | Recoverable Result | 4437 | T | dlr |  | 2014-07-23 | Accu 214031128: 20 µl & Abs 032014: 20 µl
20142270004 | 2014-08-14 07:00 | ISOPHORONE | 34408GM016 | 5 | 20.004 | . | ug/L | 1.1998 | 24 | Recoverable Result | 4437 | T | dlr |  | 2014-08-20 | Supelco LC06437: 20 µl & Abs 032014: 20 µl
20150090092 | 2015-01-08 07:00 | ISOPHORONE | 34408GM016 | 5 | 20.004 | . | ug/L | 1.0048 | 20.1 | Recoverable Result | 4437 | T | dlr |  | 2015-01-10 | Abs 032014: 20 µl & ERA 0321-14-05A: 20 µl
20141220027 | 2014-05-01 07:00 | ISOPHORONE | 34408GM016 | 5 | 20.036 | . | ug/L | 1.2378 | 24.8 | Recoverable Result | 4437 | T | dlr |  | 2014-05-07 | NSI 031814: 20 µl & Accu 214031128: 20 µl
20141490200 | 2014-05-29 07:30 | ISOPHORONE | 34408GM016 | 5 | 20.036 | . | ug/L | 1.2527 | 25.1 | Recoverable Result | 4437 | T | dlr |  | 2014-06-06 | NSI 031814: 20 µl & ChemService 2615700: 20 µl
20150720067 | 2015-03-12 06:30 | ISOPHORONE | 34408GM016 | 5 | 20.036 | . | ug/L | 1.2128 | 24.3 | Recoverable Result | 4437 | T | dlr |  | 2015-03-19 | Supelco LC06437: 20 µl & NSI 031814: 20 µl
20161400192 | 2016-05-18 06:30 | ISOPHORONE | 34408GM016 | 5 | 20.85 | . | ug/L | 1.0072 | 21 | Recoverable Result | 4437 | T | dlr |  | 2016-05-21 | Supelco LC20145V: 25 µl & NSI 041516: 25 µl & NSI 041416HVOC: 25 µl
20162150211 | 2016-08-02 07:00 | ISOPHORONE | 34408GM016 | 5 | 20.85 | . | ug/L | 0.75779 | 15.8 | Recoverable Result | 4437 | T | lmu |  | 2016-08-11 | Phenova B20160303: 25 µl & Supelco LC20145V: 25 µl & NSI 041416HVOC: 25 µl
20161880112 | 2016-07-06 06:30 | ISOPHORONE | 34408GM016 | 5 | 32.864 | . | ug/L | 0.87634 | 28.8 | Recoverable Result | 4437 | T | dlr |  | 2016-07-06 | Accu 216041354: 40 µl & NSI 041516: 40 µl & NSI 041416HVOC: 40 µl
20162100018 | 2016-07-27 06:15 | ISOPHORONE | 34408GM016 | 5 | 33.36 | E | ug/L | 0.7524 | 25.1 | Estimated Values | 4437 | T | dlr |  | 2016-07-29 | Supelco LC20145V: 40 µl & NSI 041516: 40 µl & NSI 041416HVOC: 40 µl