## OBSP Data
Method | analytename | Parm+Method Code | Login Date | Laboratory ID | REPORTING LEVEL | Expected Conc. | Remark Code | Lab Value | reportunit | Pct Recovery | labequipment | analystsinitials | rlq | Analysis Date | spikemix
4437 | TERT-BUTYL ALCOHOL | 77035GM016 | 2014-06-26 07:30 | 20141770148 | 0.24 | 0.964 | . | 0.922 | ug/L | 0.95643 | T | dlr |  | 2014-07-03 | Abs 032014: 20 µl & ChemService 2615700: 20 µl
4437 | TERT-BUTYL ALCOHOL | 77035GM016 | 2015-01-08 07:00 | 20150090092 | 0.24 | 0.964 | . | 1.01 | ug/L | 1.0477 | T | dlr |  | 2015-01-10 | Abs 032014: 20 µl & ERA 0321-14-05A: 20 µl
4437 | TERT-BUTYL ALCOHOL | 77035GM016 | 2015-04-16 07:30 | 20151110020 | 0.24 | 0.482 | . | 0.546 | ug/L | 1.1328 | T | dlr |  | 2015-04-25 | Abs 032014: 10 µl & ERA 0321-14-05A: 10 µl
4437 | TERT-BUTYL ALCOHOL | 77035GM016 | 2015-10-22 09:00 | 20152950080 | 0.24 | 0.36 | . | 0.359 | ug/L | 0.99722 | T | dlr |  | 2015-10-23 | Abs 040315: 10 µl & ChemService 3818700: 10 µl
4437 | TERT-BUTYL ALCOHOL | 77035GM016 | 2016-04-07 07:00 | 20160980153 | 0.24 | 0.36 | . | 0.362 | ug/L | 1.0056 | T | dlr |  | 2016-04-09 | Abs 040315: 10 µl & ChemService 3818700: 10 µl
4437 | TERT-BUTYL ALCOHOL | 77035GM016 | 2015-08-06 09:00 | 20152190008 | 0.24 | 0.36 | . | 0.349 | ug/L | 0.96944 | T | lmu |  | 2015-08-14 | Abs 040315: 10 µl & ERA 0601-15-05: 10 µl
4437 | TERT-BUTYL ALCOHOL | 77035GM016 | 2015-09-17 07:30 | 20152610007 | 0.24 | 0.54 | . | 0.49 | ug/L | 0.90741 | T | dlr |  | 2015-09-24 | Abs 040315: 15 µl & ERA 0601-15-05: 15 µl
4437 | TERT-BUTYL ALCOHOL | 77035GM016 | 2014-07-17 06:30 | 20141990077 | 0.24 | 0.964 | . | 0.958 | ug/L | 0.99378 | T | dlr |  | 2014-07-23 | Accu 214031128: 20 µl & Abs 032014: 20 µl
4437 | TERT-BUTYL ALCOHOL | 77035GM016 | 2014-09-10 07:00 | 20142530089 | 0.24 | 0.482 | . | 0.54 | ug/L | 1.1203 | T | dlr |  | 2014-09-11 | Accu 214031128: 10 µl & Abs 032014: 10 µl
4437 | TERT-BUTYL ALCOHOL | 77035GM016 | 2014-12-08 07:00 | 20143420011 | 0.24 | 0.48 | . | 0.51 | ug/L | 1.0625 | T | dlr |  | 2014-12-13 | Accu 214031128: 10 µl & NSI 031814: 10 µl
4437 | TERT-BUTYL ALCOHOL | 77035GM016 | 2015-11-24 09:00 | 20153280159 | 0.24 | 0.54 | . | 0.501 | ug/L | 0.92778 | T | dlr |  | 2015-11-25 | Accu 215041338: 15 µl & Abs 040315: 15 µl
4437 | TERT-BUTYL ALCOHOL | 77035GM016 | 2015-12-30 09:00 | 20153640101 | 0.24 | 0.36 | . | 0.352 | ug/L | 0.97778 | T | dlr |  | 2016-01-05 | Accu 215041338: 10 µl & Abs 040315: 10 µl
4437 | TERT-BUTYL ALCOHOL | 77035GM016 | 2015-09-03 09:00 | 20152460214 | 0.24 | 0.54 | . | 0.474 | ug/L | 0.87778 | T | dlr |  | 2015-09-05 | Accu 215041338: 15 µl & NSI 050515HVOC: 15 µl
4437 | TERT-BUTYL ALCOHOL | 77035GM016 | 2016-08-10 06:45 | 20162230173 | 0.24 | 0.603 | . | 0.613 | ug/L | 1.0166 | T | dlr |  | 2016-08-12 | Accu 216041354: 15 µl & Abs 060916HVOC: 15 µl
4437 | TERT-BUTYL ALCOHOL | 77035GM016 | 2015-06-11 07:00 | 20151620183 | 0.24 | 0.54 | . | 0.466 | ug/L | 0.86296 | T | dlr |  | 2015-06-16 | ChemService 3818700: 15 µl & NSI 050515HVOC: 15 µl
4437 | TERT-BUTYL ALCOHOL | 77035GM016 | 2015-06-18 07:30 | 20151690196 | 0.24 | 0.9 | . | 0.805 | ug/L | 0.89444 | T | dlr |  | 2015-06-25 | ChemService 3818700: 25 µl & NSI 050515HVOC: 25 µl
4437 | TERT-BUTYL ALCOHOL | 77035GM016 | 2014-05-01 07:00 | 20141220027 | 0.24 | 0.96 | . | 0.98 | ug/L | 1.0208 | T | dlr |  | 2014-05-07 | NSI 031814: 20 µl & Accu 214031128: 20 µl
4437 | TERT-BUTYL ALCOHOL | 77035GM016 | 2014-05-29 07:30 | 20141490200 | 0.24 | 0.96 | . | 0.969 | ug/L | 1.0094 | T | dlr |  | 2014-06-06 | NSI 031814: 20 µl & ChemService 2615700: 20 µl
4437 | TERT-BUTYL ALCOHOL | 77035GM016 | 2014-07-24 07:00 | 20142060044 | 0.24 | 0.48 | . | 0.484 | ug/L | 1.0083 | T | dlr |  | 2014-07-30 | NSI 031814: 10 µl & ChemService 2615700: 10 µl
4437 | TERT-BUTYL ALCOHOL | 77035GM016 | 2015-12-03 09:00 | 20153370176 | 0.24 | 0.36 | . | 0.34 | ug/L | 0.94444 | T | dlr |  | 2015-12-05 | NSI 050515HVOC: 10 µl & ERA 0601-15-05: 10 µl
4437 | TERT-BUTYL ALCOHOL | 77035GM016 | 2016-01-21 08:30 | 20160210086 | 0.24 | 0.9 | . | 0.847 | ug/L | 0.94111 | T | dlr |  | 2016-01-22 | NSI 050515HVOC: 25 µl & ERA 0601-15-05: 25 µl
4437 | TERT-BUTYL ALCOHOL | 77035GM016 | 2014-06-12 07:30 | 20141640079 | 0.24 | 0.482 | . | 0.552 | ug/L | 1.1452 | T | dlr |  | 2014-06-17 | Supelco LC06437: 10 µl & Abs 032014: 10 µl
4437 | TERT-BUTYL ALCOHOL | 77035GM016 | 2014-08-14 07:00 | 20142270004 | 0.24 | 0.964 | . | 1 | ug/L | 1.0373 | T | dlr |  | 2014-08-20 | Supelco LC06437: 20 µl & Abs 032014: 20 µl
4437 | TERT-BUTYL ALCOHOL | 77035GM016 | 2015-03-12 06:30 | 20150720067 | 0.24 | 0.96 | . | 1.12 | ug/L | 1.1667 | T | dlr |  | 2015-03-19 | Supelco LC06437: 20 µl & NSI 031814: 20 µl
4437 | TERT-BUTYL ALCOHOL | 77035GM016 | 2015-04-30 08:30 | 20151210034 | 0.24 | 0.36 | . | 0.515 | ug/L | 1.4306 | T | dlr |  | 2015-05-05 | Supelco LC13544: 10 µl & Abs 040315: 10 µl
4437 | TERT-BUTYL ALCOHOL | 77035GM016 | 2015-07-23 07:30 | 20152040180 | 0.24 | 0.54 | . | 0.526 | ug/L | 0.97407 | T | dlr |  | 2015-07-30 | Supelco LC13544: 15 µl & NSI 050515HVOC: 15 µl
4437 | TERT-BUTYL ALCOHOL | 77035GM016 | 2015-10-08 08:30 | 20152810127 | 0.24 | 0.9 | . | 0.847 | ug/L | 0.94111 | T | dlr |  | 2015-10-09 | Supelco LC13544: 25 µl & NSI 050515HVOC: 25 µl
4437 | TERT-BUTYL ALCOHOL | 77035GM016 | 2016-03-17 08:30 | 20160770091 | 0.24 | 0.36 | . | 0.354 | ug/L | 0.98333 | T | dlr |  | 2016-03-22 | Supelco LC13544: 10 µl & NSI 050515HVOC: 10 µl