## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20151690197 | 2015-06-18 08:00 | 1,1,2-TRICHLOROTRIFLUOROETHANE | 77652GCM66 | 0.022 | 0.0334 | . | ug/L | 0.92515 | 0.0309 | Recoverable Result | 4440 | D | kas |  | 2015-06-27 | ERA 0406-15-03: 10 µl & Supelco LC13545: 10 µl
20152040181 | 2015-07-23 08:00 | 1,1,2-TRICHLOROTRIFLUOROETHANE | 77652GCM66 | 0.022 | 0.0334 | . | ug/L | 0.87725 | 0.0293 | Recoverable Result | 4440 | D | kas |  | 2015-07-31 | Crescent 04EE008: 10 µl & ERA 0406-15-03: 10 µl
20153230147 | 2015-11-19 09:30 | 1,1,2-TRICHLOROTRIFLUOROETHANE | 77652GCM66 | 0.022 | 0.0334 | . | ug/L | 0.96407 | 0.0322 | Recoverable Result | 4440 | D | kas |  | 2015-11-20 | Accu 215041380: 10 µl & ERA 0406-15-03: 10 µl
20152390224 | 2015-08-27 09:30 | 1,1,2-TRICHLOROTRIFLUOROETHANE | 77652GCM66 | 0.022 | 0.034 | . | ug/L | 1.2735 | 0.0433 | Recoverable Result | 4440 | D | mgu |  | 2015-09-03 | NSI 050515AVOC: 10 µl & Spex Organics EN150428007: 10 µl
20153440003 | 2015-12-09 08:00 | 1,1,2-TRICHLOROTRIFLUOROETHANE | 77652GCM66 | 0.022 | 0.034 | . | ug/L | 1.2206 | 0.0415 | Recoverable Result | 4440 | A | kas |  | 2015-12-10 | NSI 050515AVOC: 10 µl & Supelco LC13545: 10 µl
20160140041 | 2016-01-14 09:00 | 1,1,2-TRICHLOROTRIFLUOROETHANE | 77652GCM66 | 0.022 | 0.034 | . | ug/L | 1.1147 | 0.0379 | Recoverable Result | 4440 | D | kas |  | 2016-01-27 | Crescent 04EE008: 10 µl & NSI 050515AVOC: 10 µl
20160770093 | 2016-03-17 09:00 | 1,1,2-TRICHLOROTRIFLUOROETHANE | 77652GCM66 | 0.022 | 0.034 | . | ug/L | 1.0529 | 0.0358 | Recoverable Result | 4440 | D | lmu |  | 2016-03-17 | NSI 050515AVOC: 10 µl & Supelco LC13545: 10 µl
20141840101 | 2014-07-02 08:00 | 1,1,2-TRICHLOROTRIFLUOROETHANE | 77652GCM66 | 0.022 | 0.0438 | . | ug/L | 0.91781 | 0.0402 | Recoverable Result | 4440 | D | dlr |  | 2014-07-11 | Spex Organics C1140417015: 10 µl & ERA 0227-14-06.1A: 10 µl
20142720027 | 2014-09-25 07:30 | 1,1,2-TRICHLOROTRIFLUOROETHANE | 77652GCM66 | 0.022 | 0.0438 | . | ug/L | 1.2078 | 0.0529 | Recoverable Result | 4440 | D | dlr |  | 2014-10-04 | Crescent 03DD004: 10 µl & ERA 0227-14-06.1A: 10 µl
20142890080 | 2014-10-16 08:00 | 1,1,2-TRICHLOROTRIFLUOROETHANE | 77652GCM66 | 0.022 | 0.0438 | . | ug/L | 1.0616 | 0.0465 | Recoverable Result | 4440 | D | dlr |  | 2014-10-21 | ERA 0227-14-06.1A: 10 µl & Supelco LC06438: 10 µl
20150090093 | 2015-01-08 07:30 | 1,1,2-TRICHLOROTRIFLUOROETHANE | 77652GCM66 | 0.022 | 0.0438 | . | ug/L | 0.88356 | 0.0387 | Recoverable Result | 4440 | D | KAS |  | 2015-01-13 | Accu 214031115: 10 µl & ERA 0227-14-06.1A: 10 µl
20141360092 | 2014-05-16 07:30 | 1,1,2-TRICHLOROTRIFLUOROETHANE | 77652GCM66 | 0.022 | 0.044 | . | ug/L | 1.2614 | 0.0555 | Recoverable Result | 4440 | A | dlr |  | 2014-05-30 | NSI 032614: 10 µl & Supelco LC06438: 10 µl
20142060045 | 2014-07-24 07:30 | 1,1,2-TRICHLOROTRIFLUOROETHANE | 77652GCM66 | 0.022 | 0.044 | . | ug/L | 1.4886 | 0.0655 | Recoverable Result | 4440 | D | ahe |  | 2014-07-29 | Crescent 03DD004: 10 µl & NSI 032614: 10 µl
20142480009 | 2014-09-04 08:00 | 1,1,2-TRICHLOROTRIFLUOROETHANE | 77652GCM66 | 0.022 | 0.044 | . | ug/L | 1.4341 | 0.0631 | Recoverable Result | 4440 | D | dlr |  | 2014-09-09 | NSI 032614: 10 µl & Spex Organics C1140417015: 10 µl
20142470038 | 2014-09-03 07:15 | 1,1,2-TRICHLOROTRIFLUOROETHANE | 77652GCM66 | 0.022 | 0.044 | . | ug/L | 1.3909 | 0.0612 | Recoverable Result | 4440 | D | dlr | +c | 2014-09-09 | Accu 214031115: 10 µl & NSI 032614: 10 µl
20152810126 | 2015-10-08 09:00 | 1,1,2-TRICHLOROTRIFLUOROETHANE | 77652GCM66 | 0.022 | 0.0501 | . | ug/L | 0.84431 | 0.0423 | Recoverable Result | 4440 | D | kas |  | 2015-10-16 | ERA 0406-15-03: 15 µl & Spex Organics EN150428007: 15 µl
20160280060 | 2016-01-28 09:00 | 1,1,2-TRICHLOROTRIFLUOROETHANE | 77652GCM66 | 0.022 | 0.0501 | . | ug/L | 0.87824 | 0.044 | Recoverable Result | 4440 | D | kas |  | 2016-02-05 | ERA 0406-15-03: 15 µl & Spex Organics EN150428007: 15 µl
20160630052 | 2016-03-03 09:00 | 1,1,2-TRICHLOROTRIFLUOROETHANE | 77652GCM66 | 0.022 | 0.0501 | . | ug/L | 0.76248 | 0.0382 | Recoverable Result | 4440 | D | lmu |  | 2016-03-04 | Accu 215041380: 15 µl & ERA 0406-15-03: 15 µl
20161050145 | 2016-04-14 07:00 | 1,1,2-TRICHLOROTRIFLUOROETHANE | 77652GCM66 | 0.022 | 0.0501 | . | ug/L | 0.83433 | 0.0418 | Recoverable Result | 4440 | D | kas |  | 2016-04-26 | ERA 0406-15-03: 15 µl & Spex Organics EN150428007: 15 µl
20151480172 | 2015-05-28 07:30 | 1,1,2-TRICHLOROTRIFLUOROETHANE | 77652GCM66 | 0.022 | 0.051 | . | ug/L | 1.3961 | 0.0712 | Recoverable Result | 4440 | A | lmu |  | 2015-06-04 | NSI 050515AVOC: 15 µl & Accu 215041380: 15 µl
20152890011 | 2015-10-15 09:00 | 1,1,2-TRICHLOROTRIFLUOROETHANE | 77652GCM66 | 0.022 | 0.051 | . | ug/L | 1.0588 | 0.054 | Recoverable Result | 4440 | D | kas |  | 2015-10-17 | Crescent 04EE008: 15 µl & NSI 050515AVOC: 15 µl
20153030066 | 2015-10-29 09:00 | 1,1,2-TRICHLOROTRIFLUOROETHANE | 77652GCM66 | 0.022 | 0.051 | . | ug/L | 0.99216 | 0.0506 | Recoverable Result | 4440 | D | kas |  | 2015-11-04 | NSI 050515AVOC: 15 µl & Spex Organics EN150428007: 15 µl
20161600091 | 2016-06-08 06:00 | 1,1,2-TRICHLOROTRIFLUOROETHANE | 77652GCM66 | 0.022 | 0.054 | . | ug/L | 0.93333 | 0.0504 | Recoverable Result | 4440 | D | kas |  | 2016-06-10 | NSI 041816AVOC: 15 µl & ChemService 5082900: 15 µl
20162100019 | 2016-07-27 06:00 | 1,1,2-TRICHLOROTRIFLUOROETHANE | 77652GCM66 | 0.022 | 0.054 | . | ug/L | 0.97407 | 0.0526 | Recoverable Result | 4440 | A | kas |  | 2016-07-29 | Phenova B20160319: 15 µl & NSI 041816AVOC: 15 µl
20162300276 | 2016-08-17 07:00 | 1,1,2-TRICHLOROTRIFLUOROETHANE | 77652GCM66 | 0.022 | 0.054 | . | ug/L | 1.0148 | 0.0548 | Recoverable Result | 4440 | D | kas |  | 2016-08-20 | Accu 216041125: 15 µl & Crescent 03FF058: 15 µl
20162520004 | 2016-09-07 06:30 | 1,1,2-TRICHLOROTRIFLUOROETHANE | 77652GCM66 | 0.022 | 0.054 | . | ug/L | 0.92963 | 0.0502 | Recoverable Result | 4440 | D | kas |  | 2016-09-08 | Phenova B20160319: 15 µl & Crescent 03FF058: 15 µl
20162660007 | 2016-09-21 06:30 | 1,1,2-TRICHLOROTRIFLUOROETHANE | 77652GCM66 | 0.022 | 0.054 | . | ug/L | 0.98519 | 0.0532 | Recoverable Result | 4440 | A | jco |  | 2016-09-28 | Crescent 03FF058: 15 µl & ChemService 5082900: 15 µl
20162860092 | 2016-10-12 06:30 | 1,1,2-TRICHLOROTRIFLUOROETHANE | 77652GCM66 | 0.025 | 0.054 | . | ug/L | 0.94444 | 0.051 | Recoverable Result | 4440 | A | dlr |  | 2016-10-13 | NSI 041816AVOC: 15 µl & Supelco LC20141V: 15 µl
20162800001 | 2016-10-05 07:00 | 1,1,2-TRICHLOROTRIFLUOROETHANE | 77652GCM66 | 0.025 | 0.054 | . | ug/L | 1.0185 | 0.055 | Recoverable Result | 4440 | A | dlr |  | 2016-10-13 | Accu 216041125: 15 µl & NSI 041816AVOC: 15 µl
20151620184 | 2015-06-11 07:30 | 1,1,2-TRICHLOROTRIFLUOROETHANE | 77652GCM66 | 0.022 | 0.0835 | . | ug/L | 0.9006 | 0.0752 | Recoverable Result | 4440 | A | lmu |  | 2015-06-16 | ERA 0406-15-03: 25 µl & Supelco LC13545: 25 µl
20152610008 | 2015-09-17 08:00 | 1,1,2-TRICHLOROTRIFLUOROETHANE | 77652GCM66 | 0.022 | 0.0835 | . | ug/L | 0.93293 | 0.0779 | Recoverable Result | 4440 | A | KAS |  | 2015-09-29 | Accu 215041380: 25 µl & ERA 0406-15-03: 25 µl
20151820110 | 2015-07-01 08:00 | 1,1,2-TRICHLOROTRIFLUOROETHANE | 77652GCM66 | 0.022 | 0.085 | . | ug/L | 1.1412 | 0.097 | Recoverable Result | 4440 | D | kas |  | 2015-07-13 | Crescent 04EE008: 25 µl & NSI 050515AVOC: 25 µl
20141770147 | 2014-06-26 08:00 | 1,1,2-TRICHLOROTRIFLUOROETHANE | 77652GCM66 | 0.022 | 0.0876 | . | ug/L | 1.1872 | 0.104 | Recoverable Result | 4440 | D | ahe |  | 2014-07-01 | Accu 214031115: 20 µl & ERA 0227-14-06.1A: 20 µl
20142200168 | 2014-08-07 08:30 | 1,1,2-TRICHLOROTRIFLUOROETHANE | 77652GCM66 | 0.022 | 0.0876 | . | ug/L | 1.1393 | 0.0998 | Recoverable Result | 4440 | D | dlr |  | 2014-08-16 | ERA 0227-14-06.1A: 20 µl & Spex Organics C1140417015: 20 µl
20143110111 | 2014-11-06 07:30 | 1,1,2-TRICHLOROTRIFLUOROETHANE | 77652GCM66 | 0.022 | 0.0876 | . | ug/L | 0.98744 | 0.0865 | Recoverable Result | 4440 | D | dlr |  | 2014-11-14 | Crescent 03DD004: 20 µl & ERA 0227-14-06.1A: 20 µl
20150510046 | 2015-02-19 07:30 | 1,1,2-TRICHLOROTRIFLUOROETHANE | 77652GCM66 | 0.022 | 0.0876 | . | ug/L | 1.0137 | 0.0888 | Recoverable Result | 4440 | D | KAS |  | 2015-03-06 | ERA 0227-14-06.1A: 20 µl & Supelco LC06438: 20 µl
20150930003 | 2015-04-02 06:30 | 1,1,2-TRICHLOROTRIFLUOROETHANE | 77652GCM66 | 0.022 | 0.0876 | . | ug/L | 1.089 | 0.0954 | Recoverable Result | 4440 | D | mgu |  | 2015-04-09 | Accu 214031115: 20 µl & ERA 0227-14-06.1A: 20 µl
20141150020 | 2014-04-24 07:00 | 1,1,2-TRICHLOROTRIFLUOROETHANE | 77652GCM66 | 0.022 | 0.088 | . | ug/L | 1.3523 | 0.119 | Recoverable Result | 4440 | D | ahe |  | 2014-05-01 | Accu 214031115: 20 µl & NSI 032614: 20 µl
20141570084 | 2014-06-05 08:00 | 1,1,2-TRICHLOROTRIFLUOROETHANE | 77652GCM66 | 0.022 | 0.088 | . | ug/L | 1.4432 | 0.127 | Recoverable Result | 4440 | A | dlr |  | 2014-06-10 | NSI 032614: 20 µl & Supelco LC06438: 20 µl
20141490202 | 2014-05-29 08:00 | 1,1,2-TRICHLOROTRIFLUOROETHANE | 77652GCM66 | 0.022 | 0.088 | . | ug/L | 1.3523 | 0.119 | Recoverable Result | 4440 | A | dlr |  | 2014-06-10 | Crescent 03DD004: 20 µl & NSI 032614: 20 µl
20143240097 | 2014-11-19 07:30 | 1,1,2-TRICHLOROTRIFLUOROETHANE | 77652GCM66 | 0.022 | 0.088 | . | ug/L | 1.5114 | 0.133 | Recoverable Result | 4440 | D | dlr |  | 2014-11-22 | NSI 032614: 20 µl & Spex Organics C1140417015: 20 µl
20161340232 | 2016-05-13 06:10 | 1,1,2-TRICHLOROTRIFLUOROETHANE | 77652GCM66 | 0.022 | 0.09 | . | ug/L | 0.90556 | 0.0815 | Recoverable Result | 4440 | A | lmu |  | 2016-05-24 | Accu 216041125: 25 µl & Crescent 03FF058: 25 µl
20161680363 | 2016-06-15 07:00 | 1,1,2-TRICHLOROTRIFLUOROETHANE | 77652GCM66 | 0.022 | 0.09 | . | ug/L | 0.85556 | 0.077 | Recoverable Result | 4440 | D | dlr |  | 2016-06-21 | Phenova B20160319: 25 µl & Crescent 03FF058: 25 µl
20161740255 | 2016-06-22 06:30 | 1,1,2-TRICHLOROTRIFLUOROETHANE | 77652GCM66 | 0.022 | 0.09 | . | ug/L | 0.95333 | 0.0858 | Recoverable Result | 4440 | D | kas |  | 2016-06-30 | Crescent 03FF058: 25 µl & ChemService 5082900: 25 µl
20162380006 | 2016-08-24 06:15 | 1,1,2-TRICHLOROTRIFLUOROETHANE | 77652GCM66 | 0.022 | 0.09 | . | ug/L | 1.0567 | 0.0951 | Recoverable Result | 4440 | A | dlr |  | 2016-08-26 | NSI 041816AVOC: 25 µl & ChemService 5082900: 25 µl
20163220168 | 2016-11-16 07:00 | 1,1,2-TRICHLOROTRIFLUOROETHANE | 77652GCM66 | 0.025 | 0.09 | . | ug/L | 0.76667 | 0.069 | Recoverable Result | 4440 | A | dlr |  | 2016-11-21 | Crescent 03FF058: 25 µl & Supelco LC20141V: 25 µl
20161880113 | 2016-07-06 06:15 | 1,1,2-TRICHLOROTRIFLUOROETHANE | 77652GCM66 | 0.022 | 0.144 | . | ug/L | 0.98611 | 0.142 | Recoverable Result | 4440 | D | kas |  | 2016-07-14 | Accu 216041125: 40 µl & NSI 041816AVOC: 40 µl
20162150210 | 2016-08-02 06:30 | 1,1,2-TRICHLOROTRIFLUOROETHANE | 77652GCM66 | 0.022 | 0.144 | . | ug/L | 0.98611 | 0.142 | Recoverable Result | 4440 | D | kas |  | 2016-08-04 | Crescent 03FF058: 40 µl & Supelco LC20141V: 40 µl
20163420128 | 2016-12-07 07:00 | 1,1,2-TRICHLOROTRIFLUOROETHANE | 77652GCM66 | 0.025 | 0.144 | . | ug/L | 0.88194 | 0.127 | Recoverable Result | 4440 | A | dlr |  | 2016-12-12 | Accu 216041125: 40 µl & Crescent 03FF058: 40 µl
20163500004 | 2016-12-14 07:00 | 1,1,2-TRICHLOROTRIFLUOROETHANE | 77652GCM66 | 0.025 | 0.144 | . | ug/L | 0.94444 | 0.136 | Recoverable Result | 4440 | A | lmu |  | 2016-12-16 | NSI 041816AVOC: 40 µl & ChemService 5082900: 40 µl