## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20151690197 | 2015-06-18 08:00 | 1,2,3,4-TETRAHYDRONAPTHALENE | 77323GCM66 | 0.08 | 0.1196 | . | ug/L | 1.0619 | 0.127 | Recoverable Result | 4440 | D | kas |  | 2015-06-27 | ERA 0406-15-03: 10 µl & Supelco LC13545: 10 µl
20153230147 | 2015-11-19 09:30 | 1,2,3,4-TETRAHYDRONAPTHALENE | 77323GCM66 | 0.08 | 0.1196 | . | ug/L | 0.91137 | 0.109 | Recoverable Result | 4440 | D | kas |  | 2015-11-20 | Accu 215041380: 10 µl & ERA 0406-15-03: 10 µl
20152390224 | 2015-08-27 09:30 | 1,2,3,4-TETRAHYDRONAPTHALENE | 77323GCM66 | 0.08 | 0.12 | . | ug/L | 0.85833 | 0.103 | Recoverable Result | 4440 | D | mgu |  | 2015-09-03 | NSI 050515AVOC: 10 µl & Spex Organics EN150428007: 10 µl
20153440003 | 2015-12-09 08:00 | 1,2,3,4-TETRAHYDRONAPTHALENE | 77323GCM66 | 0.08 | 0.12 | . | ug/L | 0.9 | 0.108 | Recoverable Result | 4440 | A | kas |  | 2015-12-10 | NSI 050515AVOC: 10 µl & Supelco LC13545: 10 µl
20160770093 | 2016-03-17 09:00 | 1,2,3,4-TETRAHYDRONAPTHALENE | 77323GCM66 | 0.08 | 0.12 | . | ug/L | 0.66667 | 0.08 | Recoverable Result | 4440 | D | lmu |  | 2016-03-17 | NSI 050515AVOC: 10 µl & Supelco LC13545: 10 µl
20151210035 | 2015-04-30 08:00 | 1,2,3,4-TETRAHYDRONAPTHALENE | 77323GCM66 | 0.08 | 0.148 | . | ug/L | 0.77027 | 0.114 | Recoverable Result | 4440 | D | dlr |  | 2015-05-09 | Supelco LC13545: 10 µl & Crescent 04EE008: 10 µl
20161260157 | 2016-05-05 07:30 | 1,2,3,4-TETRAHYDRONAPTHALENE | 77323GCM66 | 0.08 | 0.148 | . | ug/L | 0.81757 | 0.121 | Recoverable Result | 4440 | A | kas |  | 2016-05-13 | Supelco LC13545: 10 µl & Crescent 04EE008: 10 µl
20141220028 | 2014-05-01 07:30 | 1,2,3,4-TETRAHYDRONAPTHALENE | 77323GCM66 | 0.08 | 0.158 | . | ug/L | 0.86076 | 0.136 | Recoverable Result | 4440 | D | dlr |  | 2014-05-03 | Crescent 03DD004: 10 µl & Supelco LC06438: 10 µl
20142060045 | 2014-07-24 07:30 | 1,2,3,4-TETRAHYDRONAPTHALENE | 77323GCM66 | 0.08 | 0.158 | . | ug/L | 0.82278 | 0.13 | Recoverable Result | 4440 | D | ahe |  | 2014-07-29 | Crescent 03DD004: 10 µl & NSI 032614: 10 µl
20142720027 | 2014-09-25 07:30 | 1,2,3,4-TETRAHYDRONAPTHALENE | 77323GCM66 | 0.08 | 0.158 | . | ug/L | 0.79114 | 0.125 | Recoverable Result | 4440 | D | dlr |  | 2014-10-04 | Crescent 03DD004: 10 µl & ERA 0227-14-06.1A: 10 µl
20143030098 | 2014-10-30 07:30 | 1,2,3,4-TETRAHYDRONAPTHALENE | 77323GCM66 | 0.08 | 0.158 | . | ug/L | 0.91139 | 0.144 | Recoverable Result | 4440 | D | dlr |  | 2014-11-06 | Spex Organics C1140417015: 10 µl & Crescent 03DD004: 10 µl
20141640078 | 2014-06-12 08:00 | 1,2,3,4-TETRAHYDRONAPTHALENE | 77323GCM66 | 0.08 | 0.1613 | . | ug/L | 0.79355 | 0.128 | Recoverable Result | 4440 | D | lmu | c | 2014-06-18 | Supelco LC06438: 10 µl & Accu 214031115: 10 µl
20141990078 | 2014-07-17 07:00 | 1,2,3,4-TETRAHYDRONAPTHALENE | 77323GCM66 | 0.08 | 0.1613 | . | ug/L | 0.88035 | 0.142 | Recoverable Result | 4440 | D | ahe |  | 2014-07-23 | Spex Organics C1140417015: 10 µl & Accu 214031115: 10 µl
20142470038 | 2014-09-03 07:15 | 1,2,3,4-TETRAHYDRONAPTHALENE | 77323GCM66 | 0.08 | 0.1613 | . | ug/L | 1.1655 | 0.188 | Recoverable Result | 4440 | D | dlr | +c | 2014-09-09 | Accu 214031115: 10 µl & NSI 032614: 10 µl
20150090093 | 2015-01-08 07:30 | 1,2,3,4-TETRAHYDRONAPTHALENE | 77323GCM66 | 0.08 | 0.1613 | . | ug/L | 0.87415 | 0.141 | Recoverable Result | 4440 | D | KAS |  | 2015-01-13 | Accu 214031115: 10 µl & ERA 0227-14-06.1A: 10 µl
20152810126 | 2015-10-08 09:00 | 1,2,3,4-TETRAHYDRONAPTHALENE | 77323GCM66 | 0.08 | 0.1794 | . | ug/L | 0.85284 | 0.153 | Recoverable Result | 4440 | D | kas |  | 2015-10-16 | ERA 0406-15-03: 15 µl & Spex Organics EN150428007: 15 µl
20160280060 | 2016-01-28 09:00 | 1,2,3,4-TETRAHYDRONAPTHALENE | 77323GCM66 | 0.08 | 0.1794 | . | ug/L | 0.80825 | 0.145 | Recoverable Result | 4440 | D | kas |  | 2016-02-05 | ERA 0406-15-03: 15 µl & Spex Organics EN150428007: 15 µl
20160630052 | 2016-03-03 09:00 | 1,2,3,4-TETRAHYDRONAPTHALENE | 77323GCM66 | 0.08 | 0.1794 | . | ug/L | 0.74693 | 0.134 | Recoverable Result | 4440 | D | lmu |  | 2016-03-04 | Accu 215041380: 15 µl & ERA 0406-15-03: 15 µl
20161050145 | 2016-04-14 07:00 | 1,2,3,4-TETRAHYDRONAPTHALENE | 77323GCM66 | 0.08 | 0.1794 | . | ug/L | 0.83612 | 0.15 | Recoverable Result | 4440 | D | kas |  | 2016-04-26 | ERA 0406-15-03: 15 µl & Spex Organics EN150428007: 15 µl
20151480172 | 2015-05-28 07:30 | 1,2,3,4-TETRAHYDRONAPTHALENE | 77323GCM66 | 0.08 | 0.18 | . | ug/L | 0.81667 | 0.147 | Recoverable Result | 4440 | A | lmu | c | 2015-06-04 | NSI 050515AVOC: 15 µl & Accu 215041380: 15 µl
20153030066 | 2015-10-29 09:00 | 1,2,3,4-TETRAHYDRONAPTHALENE | 77323GCM66 | 0.08 | 0.18 | . | ug/L | 1.1056 | 0.199 | Recoverable Result | 4440 | D | kas |  | 2015-11-04 | NSI 050515AVOC: 15 µl & Spex Organics EN150428007: 15 µl
20161470002 | 2016-05-25 06:10 | 1,2,3,4-TETRAHYDRONAPTHALENE | 77323GCM66 | 0.08 | 0.2019 | . | ug/L | 0.81228 | 0.164 | Recoverable Result | 4440 | A | lmu |  | 2016-05-27 | Phenova B20160319: 15 µl & Supelco LC20141V: 15 µl
20162860092 | 2016-10-12 06:30 | 1,2,3,4-TETRAHYDRONAPTHALENE | 77323GCM66 | 0.08 | 0.2019 | . | ug/L | 0.78257 | 0.158 | Recoverable Result | 4440 | A | dlr |  | 2016-10-13 | NSI 041816AVOC: 15 µl & Supelco LC20141V: 15 µl
20161600091 | 2016-06-08 06:00 | 1,2,3,4-TETRAHYDRONAPTHALENE | 77323GCM66 | 0.08 | 0.204 | . | ug/L | 0.82353 | 0.168 | Recoverable Result | 4440 | D | kas |  | 2016-06-10 | NSI 041816AVOC: 15 µl & ChemService 5082900: 15 µl
20161820011 | 2016-06-29 07:00 | 1,2,3,4-TETRAHYDRONAPTHALENE | 77323GCM66 | 0.08 | 0.204 | . | ug/L | 0.76471 | 0.156 | Recoverable Result | 4440 | D | kas |  | 2016-06-30 | ChemService 5082900: 15 µl & Accu 216041125: 15 µl
20162660007 | 2016-09-21 06:30 | 1,2,3,4-TETRAHYDRONAPTHALENE | 77323GCM66 | 0.08 | 0.204 | . | ug/L | 0.71078 | 0.145 | Recoverable Result | 4440 | A | jco |  | 2016-09-28 | Crescent 03FF058: 15 µl & ChemService 5082900: 15 µl
20163280006 | 2016-11-21 07:00 | 1,2,3,4-TETRAHYDRONAPTHALENE | 77323GCM66 | 0.08 | 0.204 | . | ug/L | 0.77941 | 0.159 | Recoverable Result | 4440 | A | jco |  | 2016-11-29 | ChemService 5082900: 15 µl & Phenova B20160319: 15 µl
20151270114 | 2015-05-07 07:30 | 1,2,3,4-TETRAHYDRONAPTHALENE | 77323GCM66 | 0.08 | 0.222 | . | ug/L | 0.74775 | 0.166 | Recoverable Result | 4440 | D | dlr |  | 2015-05-09 | Spex Organics EN150428007: 15 µl & Crescent 04EE008: 15 µl
20153510114 | 2015-12-17 08:30 | 1,2,3,4-TETRAHYDRONAPTHALENE | 77323GCM66 | 0.08 | 0.222 | . | ug/L | 0.84685 | 0.188 | Recoverable Result | 4440 | D | kas |  | 2015-12-18 | Supelco LC13545: 15 µl & Crescent 04EE008: 15 µl
20152040181 | 2015-07-23 08:00 | 1,2,3,4-TETRAHYDRONAPTHALENE | 77323GCM66 | 0.08 | 0.2676 | . | ug/L | 0.6988 | 0.187 | Recoverable Result | 4440 | D | kas |  | 2015-07-31 | Crescent 04EE008: 10 µl & ERA 0406-15-03: 10 µl
20160140041 | 2016-01-14 09:00 | 1,2,3,4-TETRAHYDRONAPTHALENE | 77323GCM66 | 0.08 | 0.268 | . | ug/L | 0.83582 | 0.224 | Recoverable Result | 4440 | D | kas |  | 2016-01-27 | Crescent 04EE008: 10 µl & NSI 050515AVOC: 10 µl
20151620184 | 2015-06-11 07:30 | 1,2,3,4-TETRAHYDRONAPTHALENE | 77323GCM66 | 0.08 | 0.299 | . | ug/L | 0.73913 | 0.221 | Recoverable Result | 4440 | A | lmu |  | 2015-06-16 | ERA 0406-15-03: 25 µl & Supelco LC13545: 25 µl
20152610008 | 2015-09-17 08:00 | 1,2,3,4-TETRAHYDRONAPTHALENE | 77323GCM66 | 0.08 | 0.299 | . | ug/L | 0.90635 | 0.271 | Recoverable Result | 4440 | A | KAS |  | 2015-09-29 | Accu 215041380: 25 µl & ERA 0406-15-03: 25 µl
20141490202 | 2014-05-29 08:00 | 1,2,3,4-TETRAHYDRONAPTHALENE | 77323GCM66 | 0.08 | 0.316 | . | ug/L | 0.72468 | 0.229 | Recoverable Result | 4440 | A | dlr |  | 2014-06-10 | Crescent 03DD004: 20 µl & NSI 032614: 20 µl
20143110111 | 2014-11-06 07:30 | 1,2,3,4-TETRAHYDRONAPTHALENE | 77323GCM66 | 0.08 | 0.316 | . | ug/L | 0.78165 | 0.247 | Recoverable Result | 4440 | D | dlr |  | 2014-11-14 | Crescent 03DD004: 20 µl & ERA 0227-14-06.1A: 20 µl
20143420010 | 2014-12-08 07:30 | 1,2,3,4-TETRAHYDRONAPTHALENE | 77323GCM66 | 0.08 | 0.316 | . | ug/L | 0.73734 | 0.233 | Recoverable Result | 4440 | D | KAS |  | 2014-12-17 | Supelco LC06438: 20 µl & Crescent 03DD004: 20 µl
20150720068 | 2015-03-12 07:00 | 1,2,3,4-TETRAHYDRONAPTHALENE | 77323GCM66 | 0.08 | 0.316 | . | ug/L | 0.78797 | 0.249 | Recoverable Result | 4440 | D | KAS |  | 2015-03-19 | Spex Organics C1140417015: 20 µl & Crescent 03DD004: 20 µl
20141150020 | 2014-04-24 07:00 | 1,2,3,4-TETRAHYDRONAPTHALENE | 77323GCM66 | 0.08 | 0.3226 | . | ug/L | 0.74706 | 0.241 | Recoverable Result | 4440 | D | ahe |  | 2014-05-01 | Accu 214031115: 20 µl & NSI 032614: 20 µl
20141770147 | 2014-06-26 08:00 | 1,2,3,4-TETRAHYDRONAPTHALENE | 77323GCM66 | 0.08 | 0.3226 | . | ug/L | 0.79665 | 0.257 | Recoverable Result | 4440 | D | ahe |  | 2014-07-01 | Accu 214031115: 20 µl & ERA 0227-14-06.1A: 20 µl
20142270005 | 2014-08-14 07:30 | 1,2,3,4-TETRAHYDRONAPTHALENE | 77323GCM66 | 0.08 | 0.3226 | . | ug/L | 0.89895 | 0.29 | Recoverable Result | 4440 | D | lmu |  | 2014-08-19 | Spex Organics C1140417015: 20 µl & Accu 214031115: 20 µl
20150930003 | 2015-04-02 06:30 | 1,2,3,4-TETRAHYDRONAPTHALENE | 77323GCM66 | 0.08 | 0.3226 | . | ug/L | 0.75635 | 0.244 | Recoverable Result | 4440 | D | mgu |  | 2015-04-09 | Accu 214031115: 20 µl & ERA 0227-14-06.1A: 20 µl
20162440115 | 2016-08-31 06:30 | 1,2,3,4-TETRAHYDRONAPTHALENE | 77323GCM66 | 0.08 | 0.3365 | . | ug/L | 0.81426 | 0.274 | Recoverable Result | 4440 | D | kas |  | 2016-09-08 | Supelco LC20141V: 25 µl & Accu 216041125: 25 µl
20163220168 | 2016-11-16 07:00 | 1,2,3,4-TETRAHYDRONAPTHALENE | 77323GCM66 | 0.08 | 0.3365 | . | ug/L | 0.86776 | 0.292 | Recoverable Result | 4440 | A | dlr |  | 2016-11-21 | Crescent 03FF058: 25 µl & Supelco LC20141V: 25 µl
20161740255 | 2016-06-22 06:30 | 1,2,3,4-TETRAHYDRONAPTHALENE | 77323GCM66 | 0.08 | 0.34 | . | ug/L | 0.74706 | 0.254 | Recoverable Result | 4440 | D | kas |  | 2016-06-30 | Crescent 03FF058: 25 µl & ChemService 5082900: 25 µl
20162230172 | 2016-08-10 06:30 | 1,2,3,4-TETRAHYDRONAPTHALENE | 77323GCM66 | 0.08 | 0.34 | . | ug/L | 0.73824 | 0.251 | Recoverable Result | 4440 | D | kas |  | 2016-08-12 | ChemService 5082900: 25 µl & Phenova B20160319: 25 µl
20162380006 | 2016-08-24 06:15 | 1,2,3,4-TETRAHYDRONAPTHALENE | 77323GCM66 | 0.08 | 0.34 | . | ug/L | 0.73235 | 0.249 | Recoverable Result | 4440 | A | dlr |  | 2016-08-26 | NSI 041816AVOC: 25 µl & ChemService 5082900: 25 µl
20152250274 | 2015-08-13 09:30 | 1,2,3,4-TETRAHYDRONAPTHALENE | 77323GCM66 | 0.08 | 0.37 | . | ug/L | 0.85135 | 0.315 | Recoverable Result | 4440 | A | mgu |  | 2015-08-15 | Supelco LC13545: 25 µl & Crescent 04EE008: 25 µl
20152890011 | 2015-10-15 09:00 | 1,2,3,4-TETRAHYDRONAPTHALENE | 77323GCM66 | 0.08 | 0.402 | . | ug/L | 0.80597 | 0.324 | Recoverable Result | 4440 | D | kas |  | 2015-10-17 | Crescent 04EE008: 15 µl & NSI 050515AVOC: 15 µl
20162020126 | 2016-07-20 06:45 | 1,2,3,4-TETRAHYDRONAPTHALENE | 77323GCM66 | 0.08 | 0.5384 | . | ug/L | 1.0048 | 0.541 | Recoverable Result | 4440 | A | kas |  | 2016-07-20 | Supelco LC20141V: 40 µl & Accu 216041125: 40 µl
20162150210 | 2016-08-02 06:30 | 1,2,3,4-TETRAHYDRONAPTHALENE | 77323GCM66 | 0.08 | 0.5384 | . | ug/L | 0.77452 | 0.417 | Recoverable Result | 4440 | D | kas |  | 2016-08-04 | Crescent 03FF058: 40 µl & Supelco LC20141V: 40 µl
20163500004 | 2016-12-14 07:00 | 1,2,3,4-TETRAHYDRONAPTHALENE | 77323GCM66 | 0.08 | 0.544 | . | ug/L | 0.84007 | 0.457 | Recoverable Result | 4440 | A | lmu |  | 2016-12-16 | NSI 041816AVOC: 40 µl & ChemService 5082900: 40 µl
20151820110 | 2015-07-01 08:00 | 1,2,3,4-TETRAHYDRONAPTHALENE | 77323GCM66 | 0.08 | 0.67 | . | ug/L | 0.69403 | 0.465 | Recoverable Result | 4440 | D | kas |  | 2015-07-13 | Crescent 04EE008: 25 µl & NSI 050515AVOC: 25 µl