## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20151380012 | 2015-05-14 07:00 | 1,2,3,4-TETRAMETHYLBENZENE | 49999GCM66 | 0.1 | 0.15114 | . | ug/L | 1.0983 | 0.166 | Recoverable Result | 4440 | D | KAS |  | 2015-05-21 | Spex Organics EN150428007: 10 µl & Accu 215041380: 10 µl
20153090111 | 2015-11-05 09:30 | 1,2,3,4-TETRAMETHYLBENZENE | 49999GCM66 | 0.1 | 0.15114 | . | ug/L | 0.89983 | 0.136 | Recoverable Result | 4440 | D | kas |  | 2015-11-12 | Spex Organics EN150428007: 10 µl & Accu 215041380: 10 µl
20153230147 | 2015-11-19 09:30 | 1,2,3,4-TETRAMETHYLBENZENE | 49999GCM66 | 0.1 | 0.15114 | . | ug/L | 1.0255 | 0.155 | Recoverable Result | 4440 | D | kas |  | 2015-11-20 | Accu 215041380: 10 µl & ERA 0406-15-03: 10 µl
20160490036 | 2016-02-18 09:00 | 1,2,3,4-TETRAMETHYLBENZENE | 49999GCM66 | 0.1 | 0.15114 | . | ug/L | 0.81382 | 0.123 | Recoverable Result | 4440 | D | kas |  | 2016-02-18 | Spex Organics EN150428007: 10 µl & Accu 215041380: 10 µl
20141220028 | 2014-05-01 07:30 | 1,2,3,4-TETRAMETHYLBENZENE | 49999GCM66 | 0.1 | 0.192 | . | ug/L | 1.0469 | 0.201 | Recoverable Result | 4440 | D | dlr |  | 2014-05-03 | Crescent 03DD004: 10 µl & Supelco LC06438: 10 µl
20142060045 | 2014-07-24 07:30 | 1,2,3,4-TETRAMETHYLBENZENE | 49999GCM66 | 0.1 | 0.192 | . | ug/L | 1.276 | 0.245 | Recoverable Result | 4440 | D | ahe | b | 2014-07-29 | Crescent 03DD004: 10 µl & NSI 032614: 10 µl
20142720027 | 2014-09-25 07:30 | 1,2,3,4-TETRAMETHYLBENZENE | 49999GCM66 | 0.1 | 0.192 | . | ug/L | 0.92187 | 0.177 | Recoverable Result | 4440 | D | dlr |  | 2014-10-04 | Crescent 03DD004: 10 µl & ERA 0227-14-06.1A: 10 µl
20143030098 | 2014-10-30 07:30 | 1,2,3,4-TETRAMETHYLBENZENE | 49999GCM66 | 0.1 | 0.192 | . | ug/L | 0.97396 | 0.187 | Recoverable Result | 4440 | D | dlr |  | 2014-11-06 | Spex Organics C1140417015: 10 µl & Crescent 03DD004: 10 µl
20141640078 | 2014-06-12 08:00 | 1,2,3,4-TETRAMETHYLBENZENE | 49999GCM66 | 0.1 | 0.2004 | . | ug/L | 0.75848 | 0.152 | Recoverable Result | 4440 | D | lmu |  | 2014-06-18 | Supelco LC06438: 10 µl & Accu 214031115: 10 µl
20141990078 | 2014-07-17 07:00 | 1,2,3,4-TETRAMETHYLBENZENE | 49999GCM66 | 0.1 | 0.2004 | . | ug/L | 0.97305 | 0.195 | Recoverable Result | 4440 | D | ahe |  | 2014-07-23 | Spex Organics C1140417015: 10 µl & Accu 214031115: 10 µl
20142470038 | 2014-09-03 07:15 | 1,2,3,4-TETRAMETHYLBENZENE | 49999GCM66 | 0.1 | 0.2004 | . | ug/L | 1.4321 | 0.287 | Recoverable Result | 4440 | D | dlr | +c | 2014-09-09 | Accu 214031115: 10 µl & NSI 032614: 10 µl
20150090093 | 2015-01-08 07:30 | 1,2,3,4-TETRAMETHYLBENZENE | 49999GCM66 | 0.1 | 0.2004 | . | ug/L | 1.018 | 0.204 | Recoverable Result | 4440 | D | KAS |  | 2015-01-13 | Accu 214031115: 10 µl & ERA 0227-14-06.1A: 10 µl
20151480172 | 2015-05-28 07:30 | 1,2,3,4-TETRAMETHYLBENZENE | 49999GCM66 | 0.1 | 0.22671 | . | ug/L | 0.77632 | 0.176 | Recoverable Result | 4440 | A | lmu |  | 2015-06-04 | NSI 050515AVOC: 15 µl & Accu 215041380: 15 µl
20160630052 | 2016-03-03 09:00 | 1,2,3,4-TETRAMETHYLBENZENE | 49999GCM66 | 0.1 | 0.22671 | . | ug/L | 0.71898 | 0.163 | Recoverable Result | 4440 | D | lmu |  | 2016-03-04 | Accu 215041380: 15 µl & ERA 0406-15-03: 15 µl
20160910143 | 2016-03-31 06:00 | 1,2,3,4-TETRAMETHYLBENZENE | 49999GCM66 | 0.1 | 0.22671 | . | ug/L | 0.82043 | 0.186 | Recoverable Result | 4440 | D | lmu |  | 2016-04-02 | Supelco LC13545: 15 µl & Accu 215041380: 15 µl
20161820011 | 2016-06-29 07:00 | 1,2,3,4-TETRAMETHYLBENZENE | 49999GCM66 | 0.1 | 0.25026 | . | ug/L | 0.54343 | 0.136 | Recoverable Result | 4440 | D | kas |  | 2016-06-30 | ChemService 5082900: 15 µl & Accu 216041125: 15 µl
20162300276 | 2016-08-17 07:00 | 1,2,3,4-TETRAMETHYLBENZENE | 49999GCM66 | 0.1 | 0.25026 | . | ug/L | 0.98697 | 0.247 | Recoverable Result | 4440 | D | kas |  | 2016-08-20 | Accu 216041125: 15 µl & Crescent 03FF058: 15 µl
20162800001 | 2016-10-05 07:00 | 1,2,3,4-TETRAMETHYLBENZENE | 49999GCM66 | 0.1 | 0.25026 | . | ug/L | 0.85511 | 0.214 | Recoverable Result | 4440 | A | dlr |  | 2016-10-13 | Accu 216041125: 15 µl & NSI 041816AVOC: 15 µl
20152610008 | 2015-09-17 08:00 | 1,2,3,4-TETRAMETHYLBENZENE | 49999GCM66 | 0.1 | 0.37785 | . | ug/L | 0.86013 | 0.325 | Recoverable Result | 4440 | A | KAS |  | 2015-09-29 | Accu 215041380: 25 µl & ERA 0406-15-03: 25 µl
20141490202 | 2014-05-29 08:00 | 1,2,3,4-TETRAMETHYLBENZENE | 49999GCM66 | 0.1 | 0.384 | . | ug/L | 0.73958 | 0.284 | Recoverable Result | 4440 | A | dlr |  | 2014-06-10 | Crescent 03DD004: 20 µl & NSI 032614: 20 µl
20143110111 | 2014-11-06 07:30 | 1,2,3,4-TETRAMETHYLBENZENE | 49999GCM66 | 0.1 | 0.384 | . | ug/L | 0.86458 | 0.332 | Recoverable Result | 4440 | D | dlr |  | 2014-11-14 | Crescent 03DD004: 20 µl & ERA 0227-14-06.1A: 20 µl
20143420010 | 2014-12-08 07:30 | 1,2,3,4-TETRAMETHYLBENZENE | 49999GCM66 | 0.1 | 0.384 | . | ug/L | 0.86719 | 0.333 | Recoverable Result | 4440 | D | KAS |  | 2014-12-17 | Supelco LC06438: 20 µl & Crescent 03DD004: 20 µl
20150720068 | 2015-03-12 07:00 | 1,2,3,4-TETRAMETHYLBENZENE | 49999GCM66 | 0.1 | 0.384 | . | ug/L | 0.78125 | 0.3 | Recoverable Result | 4440 | D | KAS |  | 2015-03-19 | Spex Organics C1140417015: 20 µl & Crescent 03DD004: 20 µl
20141150020 | 2014-04-24 07:00 | 1,2,3,4-TETRAMETHYLBENZENE | 49999GCM66 | 0.1 | 0.4008 | . | ug/L | 0.81337 | 0.326 | Recoverable Result | 4440 | D | ahe |  | 2014-05-01 | Accu 214031115: 20 µl & NSI 032614: 20 µl
20141770147 | 2014-06-26 08:00 | 1,2,3,4-TETRAMETHYLBENZENE | 49999GCM66 | 0.1 | 0.4008 | . | ug/L | 0.81836 | 0.328 | Recoverable Result | 4440 | D | ahe |  | 2014-07-01 | Accu 214031115: 20 µl & ERA 0227-14-06.1A: 20 µl
20142270005 | 2014-08-14 07:30 | 1,2,3,4-TETRAMETHYLBENZENE | 49999GCM66 | 0.1 | 0.4008 | . | ug/L | 1.0529 | 0.422 | Recoverable Result | 4440 | D | lmu |  | 2014-08-19 | Spex Organics C1140417015: 20 µl & Accu 214031115: 20 µl
20150930003 | 2015-04-02 06:30 | 1,2,3,4-TETRAMETHYLBENZENE | 49999GCM66 | 0.1 | 0.4008 | . | ug/L | 0.76098 | 0.305 | Recoverable Result | 4440 | D | mgu |  | 2015-04-09 | Accu 214031115: 20 µl & ERA 0227-14-06.1A: 20 µl
20161340232 | 2016-05-13 06:10 | 1,2,3,4-TETRAMETHYLBENZENE | 49999GCM66 | 0.1 | 0.4171 | . | ug/L | 0.89906 | 0.375 | Recoverable Result | 4440 | A | lmu |  | 2016-05-24 | Accu 216041125: 25 µl & Crescent 03FF058: 25 µl
20162440115 | 2016-08-31 06:30 | 1,2,3,4-TETRAMETHYLBENZENE | 49999GCM66 | 0.1 | 0.4171 | . | ug/L | 0.64253 | 0.268 | Recoverable Result | 4440 | D | kas |  | 2016-09-08 | Supelco LC20141V: 25 µl & Accu 216041125: 25 µl
20161880113 | 2016-07-06 06:15 | 1,2,3,4-TETRAMETHYLBENZENE | 49999GCM66 | 0.1 | 0.66736 | . | ug/L | 0.78069 | 0.521 | Recoverable Result | 4440 | D | kas |  | 2016-07-14 | Accu 216041125: 40 µl & NSI 041816AVOC: 40 µl
20162020126 | 2016-07-20 06:45 | 1,2,3,4-TETRAMETHYLBENZENE | 49999GCM66 | 0.1 | 0.66736 | . | ug/L | 0.88108 | 0.588 | Recoverable Result | 4440 | A | kas |  | 2016-07-20 | Supelco LC20141V: 40 µl & Accu 216041125: 40 µl
20163420128 | 2016-12-07 07:00 | 1,2,3,4-TETRAMETHYLBENZENE | 49999GCM66 | 0.1 | 0.66736 | . | ug/L | 1.0354 | 0.691 | Recoverable Result | 4440 | A | dlr |  | 2016-12-12 | Accu 216041125: 40 µl & Crescent 03FF058: 40 µl