## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20151210035 | 2015-04-30 08:00 | 1,2,4-TRICHLOROBENZENE | 34551GCM66 | 0.08 | 0.12 | . | ug/L | 0.875 | 0.105 | Recoverable Result | 4440 | D | dlr |  | 2015-05-09 | Supelco LC13545: 10 µl & Crescent 04EE008: 10 µl
20151380012 | 2015-05-14 07:00 | 1,2,4-TRICHLOROBENZENE | 34551GCM66 | 0.08 | 0.12 | . | ug/L | 0.95 | 0.114 | Recoverable Result | 4440 | D | KAS |  | 2015-05-21 | Spex Organics EN150428007: 10 µl & Accu 215041380: 10 µl
20151690197 | 2015-06-18 08:00 | 1,2,4-TRICHLOROBENZENE | 34551GCM66 | 0.08 | 0.12 | . | ug/L | 0.95833 | 0.115 | Recoverable Result | 4440 | D | kas |  | 2015-06-27 | ERA 0406-15-03: 10 µl & Supelco LC13545: 10 µl
20152390224 | 2015-08-27 09:30 | 1,2,4-TRICHLOROBENZENE | 34551GCM66 | 0.08 | 0.12 | . | ug/L | 0.85 | 0.102 | Recoverable Result | 4440 | D | mgu |  | 2015-09-03 | NSI 050515AVOC: 10 µl & Spex Organics EN150428007: 10 µl
20153090111 | 2015-11-05 09:30 | 1,2,4-TRICHLOROBENZENE | 34551GCM66 | 0.08 | 0.12 | . | ug/L | 0.89167 | 0.107 | Recoverable Result | 4440 | D | kas |  | 2015-11-12 | Spex Organics EN150428007: 10 µl & Accu 215041380: 10 µl
20153440003 | 2015-12-09 08:00 | 1,2,4-TRICHLOROBENZENE | 34551GCM66 | 0.08 | 0.12 | . | ug/L | 0.86667 | 0.104 | Recoverable Result | 4440 | A | kas |  | 2015-12-10 | NSI 050515AVOC: 10 µl & Supelco LC13545: 10 µl
20160490036 | 2016-02-18 09:00 | 1,2,4-TRICHLOROBENZENE | 34551GCM66 | 0.08 | 0.12 | . | ug/L | 0.88333 | 0.106 | Recoverable Result | 4440 | D | kas |  | 2016-02-18 | Spex Organics EN150428007: 10 µl & Accu 215041380: 10 µl
20160770093 | 2016-03-17 09:00 | 1,2,4-TRICHLOROBENZENE | 34551GCM66 | 0.08 | 0.12 | . | ug/L | 0.825 | 0.099 | Recoverable Result | 4440 | D | lmu |  | 2016-03-17 | NSI 050515AVOC: 10 µl & Supelco LC13545: 10 µl
20161260157 | 2016-05-05 07:30 | 1,2,4-TRICHLOROBENZENE | 34551GCM66 | 0.08 | 0.12 | . | ug/L | 0.925 | 0.111 | Recoverable Result | 4440 | A | kas |  | 2016-05-13 | Supelco LC13545: 10 µl & Crescent 04EE008: 10 µl
20141840101 | 2014-07-02 08:00 | 1,2,4-TRICHLOROBENZENE | 34551GCM66 | 0.08 | 0.16 | . | ug/L | 0.9 | 0.144 | Recoverable Result | 4440 | D | dlr |  | 2014-07-11 | Spex Organics C1140417015: 10 µl & ERA 0227-14-06.1A: 10 µl
20141990078 | 2014-07-17 07:00 | 1,2,4-TRICHLOROBENZENE | 34551GCM66 | 0.08 | 0.16 | . | ug/L | 0.9875 | 0.158 | Recoverable Result | 4440 | D | ahe |  | 2014-07-23 | Spex Organics C1140417015: 10 µl & Accu 214031115: 10 µl
20142480009 | 2014-09-04 08:00 | 1,2,4-TRICHLOROBENZENE | 34551GCM66 | 0.08 | 0.16 | . | ug/L | 1.075 | 0.172 | Recoverable Result | 4440 | D | dlr |  | 2014-09-09 | NSI 032614: 10 µl & Spex Organics C1140417015: 10 µl
20143030098 | 2014-10-30 07:30 | 1,2,4-TRICHLOROBENZENE | 34551GCM66 | 0.08 | 0.16 | . | ug/L | 0.96875 | 0.155 | Recoverable Result | 4440 | D | dlr |  | 2014-11-06 | Spex Organics C1140417015: 10 µl & Crescent 03DD004: 10 µl
20141220028 | 2014-05-01 07:30 | 1,2,4-TRICHLOROBENZENE | 34551GCM66 | 0.08 | 0.1604 | . | ug/L | 0.798 | 0.128 | Recoverable Result | 4440 | D | dlr |  | 2014-05-03 | Crescent 03DD004: 10 µl & Supelco LC06438: 10 µl
20141360092 | 2014-05-16 07:30 | 1,2,4-TRICHLOROBENZENE | 34551GCM66 | 0.08 | 0.1604 | . | ug/L | 0.60474 | 0.097 | Recoverable Result | 4440 | A | dlr |  | 2014-05-30 | NSI 032614: 10 µl & Supelco LC06438: 10 µl
20141640078 | 2014-06-12 08:00 | 1,2,4-TRICHLOROBENZENE | 34551GCM66 | 0.08 | 0.1604 | . | ug/L | 0.84165 | 0.135 | Recoverable Result | 4440 | D | lmu |  | 2014-06-18 | Supelco LC06438: 10 µl & Accu 214031115: 10 µl
20142890080 | 2014-10-16 08:00 | 1,2,4-TRICHLOROBENZENE | 34551GCM66 | 0.08 | 0.1604 | . | ug/L | 0.84165 | 0.135 | Recoverable Result | 4440 | D | dlr |  | 2014-10-21 | ERA 0227-14-06.1A: 10 µl & Supelco LC06438: 10 µl
20151270114 | 2015-05-07 07:30 | 1,2,4-TRICHLOROBENZENE | 34551GCM66 | 0.08 | 0.18 | . | ug/L | 0.89444 | 0.161 | Recoverable Result | 4440 | D | dlr |  | 2015-05-09 | Spex Organics EN150428007: 15 µl & Crescent 04EE008: 15 µl
20152810126 | 2015-10-08 09:00 | 1,2,4-TRICHLOROBENZENE | 34551GCM66 | 0.08 | 0.18 | . | ug/L | 0.93889 | 0.169 | Recoverable Result | 4440 | D | kas |  | 2015-10-16 | ERA 0406-15-03: 15 µl & Spex Organics EN150428007: 15 µl
20153030066 | 2015-10-29 09:00 | 1,2,4-TRICHLOROBENZENE | 34551GCM66 | 0.08 | 0.18 | . | ug/L | 0.94444 | 0.17 | Recoverable Result | 4440 | D | kas |  | 2015-11-04 | NSI 050515AVOC: 15 µl & Spex Organics EN150428007: 15 µl
20153510114 | 2015-12-17 08:30 | 1,2,4-TRICHLOROBENZENE | 34551GCM66 | 0.08 | 0.18 | . | ug/L | 0.99444 | 0.179 | Recoverable Result | 4440 | D | kas |  | 2015-12-18 | Supelco LC13545: 15 µl & Crescent 04EE008: 15 µl
20160280060 | 2016-01-28 09:00 | 1,2,4-TRICHLOROBENZENE | 34551GCM66 | 0.08 | 0.18 | . | ug/L | 0.82222 | 0.148 | Recoverable Result | 4440 | D | kas |  | 2016-02-05 | ERA 0406-15-03: 15 µl & Spex Organics EN150428007: 15 µl
20160910143 | 2016-03-31 06:00 | 1,2,4-TRICHLOROBENZENE | 34551GCM66 | 0.08 | 0.18 | . | ug/L | 0.84444 | 0.152 | Recoverable Result | 4440 | D | lmu |  | 2016-04-02 | Supelco LC13545: 15 µl & Accu 215041380: 15 µl
20161050145 | 2016-04-14 07:00 | 1,2,4-TRICHLOROBENZENE | 34551GCM66 | 0.08 | 0.18 | . | ug/L | 0.96111 | 0.173 | Recoverable Result | 4440 | D | kas |  | 2016-04-26 | ERA 0406-15-03: 15 µl & Spex Organics EN150428007: 15 µl
20161820011 | 2016-06-29 07:00 | 1,2,4-TRICHLOROBENZENE | 34551GCM66 | 0.08 | 0.19989 | . | ug/L | 0.63535 | 0.127 | Recoverable Result | 4440 | D | kas |  | 2016-06-30 | ChemService 5082900: 15 µl & Accu 216041125: 15 µl
20162300276 | 2016-08-17 07:00 | 1,2,4-TRICHLOROBENZENE | 34551GCM66 | 0.08 | 0.19989 | . | ug/L | 0.87048 | 0.174 | Recoverable Result | 4440 | D | kas |  | 2016-08-20 | Accu 216041125: 15 µl & Crescent 03FF058: 15 µl
20162800001 | 2016-10-05 07:00 | 1,2,4-TRICHLOROBENZENE | 34551GCM66 | 0.08 | 0.19989 | . | ug/L | 0.80544 | 0.161 | Recoverable Result | 4440 | A | dlr |  | 2016-10-13 | Accu 216041125: 15 µl & NSI 041816AVOC: 15 µl
20161470002 | 2016-05-25 06:10 | 1,2,4-TRICHLOROBENZENE | 34551GCM66 | 0.08 | 0.2013 | . | ug/L | 0.97367 | 0.196 | Recoverable Result | 4440 | A | lmu |  | 2016-05-27 | Phenova B20160319: 15 µl & Supelco LC20141V: 15 µl
20162100019 | 2016-07-27 06:00 | 1,2,4-TRICHLOROBENZENE | 34551GCM66 | 0.08 | 0.2013 | . | ug/L | 0.7998 | 0.161 | Recoverable Result | 4440 | A | kas |  | 2016-07-29 | Phenova B20160319: 15 µl & NSI 041816AVOC: 15 µl
20162520004 | 2016-09-07 06:30 | 1,2,4-TRICHLOROBENZENE | 34551GCM66 | 0.08 | 0.2013 | . | ug/L | 0.88425 | 0.178 | Recoverable Result | 4440 | D | kas |  | 2016-09-08 | Phenova B20160319: 15 µl & Crescent 03FF058: 15 µl
20163280006 | 2016-11-21 07:00 | 1,2,4-TRICHLOROBENZENE | 34551GCM66 | 0.08 | 0.2013 | . | ug/L | 0.8147 | 0.164 | Recoverable Result | 4440 | A | jco |  | 2016-11-29 | ChemService 5082900: 15 µl & Phenova B20160319: 15 µl
20151620184 | 2015-06-11 07:30 | 1,2,4-TRICHLOROBENZENE | 34551GCM66 | 0.08 | 0.3 | . | ug/L | 0.94333 | 0.283 | Recoverable Result | 4440 | A | lmu |  | 2015-06-16 | ERA 0406-15-03: 25 µl & Supelco LC13545: 25 µl
20152250274 | 2015-08-13 09:30 | 1,2,4-TRICHLOROBENZENE | 34551GCM66 | 0.08 | 0.3 | . | ug/L | 0.96333 | 0.289 | Recoverable Result | 4440 | A | mgu |  | 2015-08-15 | Supelco LC13545: 25 µl & Crescent 04EE008: 25 µl
20142200168 | 2014-08-07 08:30 | 1,2,4-TRICHLOROBENZENE | 34551GCM66 | 0.08 | 0.32 | . | ug/L | 0.8625 | 0.276 | Recoverable Result | 4440 | D | dlr |  | 2014-08-16 | ERA 0227-14-06.1A: 20 µl & Spex Organics C1140417015: 20 µl
20142270005 | 2014-08-14 07:30 | 1,2,4-TRICHLOROBENZENE | 34551GCM66 | 0.08 | 0.32 | . | ug/L | 0.95312 | 0.305 | Recoverable Result | 4440 | D | lmu |  | 2014-08-19 | Spex Organics C1140417015: 20 µl & Accu 214031115: 20 µl
20143240097 | 2014-11-19 07:30 | 1,2,4-TRICHLOROBENZENE | 34551GCM66 | 0.08 | 0.32 | . | ug/L | 0.93125 | 0.298 | Recoverable Result | 4440 | D | dlr |  | 2014-11-22 | NSI 032614: 20 µl & Spex Organics C1140417015: 20 µl
20150720068 | 2015-03-12 07:00 | 1,2,4-TRICHLOROBENZENE | 34551GCM66 | 0.08 | 0.32 | . | ug/L | 1 | 0.32 | Recoverable Result | 4440 | D | KAS |  | 2015-03-19 | Spex Organics C1140417015: 20 µl & Crescent 03DD004: 20 µl
20141570084 | 2014-06-05 08:00 | 1,2,4-TRICHLOROBENZENE | 34551GCM66 | 0.08 | 0.3208 | . | ug/L | 0.87282 | 0.28 | Recoverable Result | 4440 | A | dlr |  | 2014-06-10 | NSI 032614: 20 µl & Supelco LC06438: 20 µl
20142530090 | 2014-09-10 07:30 | 1,2,4-TRICHLOROBENZENE | 34551GCM66 | 0.08 | 0.3208 | . | ug/L | 0.66085 | 0.212 | Recoverable Result | 4440 | D | dlr |  | 2014-09-21 | Supelco LC06438: 20 µl
20143420010 | 2014-12-08 07:30 | 1,2,4-TRICHLOROBENZENE | 34551GCM66 | 0.08 | 0.3208 | . | ug/L | 0.77618 | 0.249 | Recoverable Result | 4440 | D | KAS |  | 2014-12-17 | Supelco LC06438: 20 µl & Crescent 03DD004: 20 µl
20150510046 | 2015-02-19 07:30 | 1,2,4-TRICHLOROBENZENE | 34551GCM66 | 0.08 | 0.3208 | . | ug/L | 0.79489 | 0.255 | Recoverable Result | 4440 | D | KAS |  | 2015-03-06 | ERA 0227-14-06.1A: 20 µl & Supelco LC06438: 20 µl
20161340232 | 2016-05-13 06:10 | 1,2,4-TRICHLOROBENZENE | 34551GCM66 | 0.08 | 0.33315 | . | ug/L | 0.84046 | 0.28 | Recoverable Result | 4440 | A | lmu |  | 2016-05-24 | Accu 216041125: 25 µl & Crescent 03FF058: 25 µl
20162440115 | 2016-08-31 06:30 | 1,2,4-TRICHLOROBENZENE | 34551GCM66 | 0.08 | 0.33315 | . | ug/L | 0.7354 | 0.245 | Recoverable Result | 4440 | D | kas |  | 2016-09-08 | Supelco LC20141V: 25 µl & Accu 216041125: 25 µl
20161680363 | 2016-06-15 07:00 | 1,2,4-TRICHLOROBENZENE | 34551GCM66 | 0.08 | 0.3355 | . | ug/L | 0.92101 | 0.309 | Recoverable Result | 4440 | D | dlr |  | 2016-06-21 | Phenova B20160319: 25 µl & Crescent 03FF058: 25 µl
20162230172 | 2016-08-10 06:30 | 1,2,4-TRICHLOROBENZENE | 34551GCM66 | 0.08 | 0.3355 | . | ug/L | 0.85544 | 0.287 | Recoverable Result | 4440 | D | kas |  | 2016-08-12 | ChemService 5082900: 25 µl & Phenova B20160319: 25 µl
20161880113 | 2016-07-06 06:15 | 1,2,4-TRICHLOROBENZENE | 34551GCM66 | 0.08 | 0.53304 | . | ug/L | 0.78418 | 0.418 | Recoverable Result | 4440 | D | kas |  | 2016-07-14 | Accu 216041125: 40 µl & NSI 041816AVOC: 40 µl
20162020126 | 2016-07-20 06:45 | 1,2,4-TRICHLOROBENZENE | 34551GCM66 | 0.08 | 0.53304 | . | ug/L | 0.88924 | 0.474 | Recoverable Result | 4440 | A | kas |  | 2016-07-20 | Supelco LC20141V: 40 µl & Accu 216041125: 40 µl
20163420128 | 2016-12-07 07:00 | 1,2,4-TRICHLOROBENZENE | 34551GCM66 | 0.08 | 0.53304 | . | ug/L | 0.91738 | 0.489 | Recoverable Result | 4440 | A | dlr |  | 2016-12-12 | Accu 216041125: 40 µl & Crescent 03FF058: 40 µl