## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20151380012 | 2015-05-14 07:00 | 1,3-DICHLOROBENZENE | 34566GCM66 | 0.024 | 0.03592 | . | ug/L | 0.97996 | 0.0352 | Recoverable Result | 4440 | D | KAS |  | 2015-05-21 | Spex Organics EN150428007: 10 µl & Accu 215041380: 10 µl
20153090111 | 2015-11-05 09:30 | 1,3-DICHLOROBENZENE | 34566GCM66 | 0.024 | 0.03592 | . | ug/L | 0.80178 | 0.0288 | Recoverable Result | 4440 | D | kas |  | 2015-11-12 | Spex Organics EN150428007: 10 µl & Accu 215041380: 10 µl
20153230147 | 2015-11-19 09:30 | 1,3-DICHLOROBENZENE | 34566GCM66 | 0.024 | 0.03592 | . | ug/L | 0.87416 | 0.0314 | Recoverable Result | 4440 | D | kas |  | 2015-11-20 | Accu 215041380: 10 µl & ERA 0406-15-03: 10 µl
20160490036 | 2016-02-18 09:00 | 1,3-DICHLOROBENZENE | 34566GCM66 | 0.024 | 0.03592 | . | ug/L | 0.84633 | 0.0304 | Recoverable Result | 4440 | D | kas |  | 2016-02-18 | Spex Organics EN150428007: 10 µl & Accu 215041380: 10 µl
20151210035 | 2015-04-30 08:00 | 1,3-DICHLOROBENZENE | 34566GCM66 | 0.024 | 0.036 | . | ug/L | 0.96389 | 0.0347 | Recoverable Result | 4440 | D | dlr |  | 2015-05-09 | Supelco LC13545: 10 µl & Crescent 04EE008: 10 µl
20152040181 | 2015-07-23 08:00 | 1,3-DICHLOROBENZENE | 34566GCM66 | 0.024 | 0.036 | . | ug/L | 1.0028 | 0.0361 | Recoverable Result | 4440 | D | kas |  | 2015-07-31 | Crescent 04EE008: 10 µl & ERA 0406-15-03: 10 µl
20160140041 | 2016-01-14 09:00 | 1,3-DICHLOROBENZENE | 34566GCM66 | 0.024 | 0.036 | . | ug/L | 1.05 | 0.0378 | Recoverable Result | 4440 | D | kas |  | 2016-01-27 | Crescent 04EE008: 10 µl & NSI 050515AVOC: 10 µl
20161260157 | 2016-05-05 07:30 | 1,3-DICHLOROBENZENE | 34566GCM66 | 0.024 | 0.036 | . | ug/L | 1.0028 | 0.0361 | Recoverable Result | 4440 | A | kas |  | 2016-05-13 | Supelco LC13545: 10 µl & Crescent 04EE008: 10 µl
20141360092 | 2014-05-16 07:30 | 1,3-DICHLOROBENZENE | 34566GCM66 | 0.024 | 0.048 | . | ug/L | 0.74792 | 0.0359 | Recoverable Result | 4440 | A | dlr |  | 2014-05-30 | NSI 032614: 10 µl & Supelco LC06438: 10 µl
20142060045 | 2014-07-24 07:30 | 1,3-DICHLOROBENZENE | 34566GCM66 | 0.024 | 0.048 | . | ug/L | 0.825 | 0.0396 | Recoverable Result | 4440 | D | ahe |  | 2014-07-29 | Crescent 03DD004: 10 µl & NSI 032614: 10 µl
20142480009 | 2014-09-04 08:00 | 1,3-DICHLOROBENZENE | 34566GCM66 | 0.024 | 0.048 | . | ug/L | 0.9625 | 0.0462 | Recoverable Result | 4440 | D | dlr |  | 2014-09-09 | NSI 032614: 10 µl & Spex Organics C1140417015: 10 µl
20142470038 | 2014-09-03 07:15 | 1,3-DICHLOROBENZENE | 34566GCM66 | 0.024 | 0.048 | . | ug/L | 1.0167 | 0.0488 | Recoverable Result | 4440 | D | dlr | +c | 2014-09-09 | Accu 214031115: 10 µl & NSI 032614: 10 µl
20141840101 | 2014-07-02 08:00 | 1,3-DICHLOROBENZENE | 34566GCM66 | 0.024 | 0.0486 | . | ug/L | 0.90329 | 0.0439 | Recoverable Result | 4440 | D | dlr |  | 2014-07-11 | Spex Organics C1140417015: 10 µl & ERA 0227-14-06.1A: 10 µl
20142720027 | 2014-09-25 07:30 | 1,3-DICHLOROBENZENE | 34566GCM66 | 0.024 | 0.0486 | . | ug/L | 1.0062 | 0.0489 | Recoverable Result | 4440 | D | dlr |  | 2014-10-04 | Crescent 03DD004: 10 µl & ERA 0227-14-06.1A: 10 µl
20142890080 | 2014-10-16 08:00 | 1,3-DICHLOROBENZENE | 34566GCM66 | 0.024 | 0.0486 | . | ug/L | 0.96914 | 0.0471 | Recoverable Result | 4440 | D | dlr |  | 2014-10-21 | ERA 0227-14-06.1A: 10 µl & Supelco LC06438: 10 µl
20150090093 | 2015-01-08 07:30 | 1,3-DICHLOROBENZENE | 34566GCM66 | 0.024 | 0.0486 | . | ug/L | 0.97119 | 0.0472 | Recoverable Result | 4440 | D | KAS |  | 2015-01-13 | Accu 214031115: 10 µl & ERA 0227-14-06.1A: 10 µl
20151480172 | 2015-05-28 07:30 | 1,3-DICHLOROBENZENE | 34566GCM66 | 0.024 | 0.05388 | . | ug/L | 0.75167 | 0.0405 | Recoverable Result | 4440 | A | lmu |  | 2015-06-04 | NSI 050515AVOC: 15 µl & Accu 215041380: 15 µl
20160630052 | 2016-03-03 09:00 | 1,3-DICHLOROBENZENE | 34566GCM66 | 0.024 | 0.05388 | . | ug/L | 0.80549 | 0.0434 | Recoverable Result | 4440 | D | lmu |  | 2016-03-04 | Accu 215041380: 15 µl & ERA 0406-15-03: 15 µl
20160910143 | 2016-03-31 06:00 | 1,3-DICHLOROBENZENE | 34566GCM66 | 0.024 | 0.05388 | . | ug/L | 0.85561 | 0.0461 | Recoverable Result | 4440 | D | lmu |  | 2016-04-02 | Supelco LC13545: 15 µl & Accu 215041380: 15 µl
20151270114 | 2015-05-07 07:30 | 1,3-DICHLOROBENZENE | 34566GCM66 | 0.024 | 0.054 | . | ug/L | 1.0241 | 0.0553 | Recoverable Result | 4440 | D | dlr |  | 2015-05-09 | Spex Organics EN150428007: 15 µl & Crescent 04EE008: 15 µl
20152890011 | 2015-10-15 09:00 | 1,3-DICHLOROBENZENE | 34566GCM66 | 0.024 | 0.054 | . | ug/L | 0.91852 | 0.0496 | Recoverable Result | 4440 | D | kas |  | 2015-10-17 | Crescent 04EE008: 15 µl & NSI 050515AVOC: 15 µl
20153510114 | 2015-12-17 08:30 | 1,3-DICHLOROBENZENE | 34566GCM66 | 0.024 | 0.054 | . | ug/L | 1.0685 | 0.0577 | Recoverable Result | 4440 | D | kas |  | 2015-12-18 | Supelco LC13545: 15 µl & Crescent 04EE008: 15 µl
20162300276 | 2016-08-17 07:00 | 1,3-DICHLOROBENZENE | 34566GCM66 | 0.024 | 0.06 | . | ug/L | 1.0217 | 0.0613 | Recoverable Result | 4440 | D | kas |  | 2016-08-20 | Accu 216041125: 15 µl & Crescent 03FF058: 15 µl
20162520004 | 2016-09-07 06:30 | 1,3-DICHLOROBENZENE | 34566GCM66 | 0.024 | 0.06 | . | ug/L | 0.95 | 0.057 | Recoverable Result | 4440 | D | kas |  | 2016-09-08 | Phenova B20160319: 15 µl & Crescent 03FF058: 15 µl
20162660007 | 2016-09-21 06:30 | 1,3-DICHLOROBENZENE | 34566GCM66 | 0.024 | 0.06 | . | ug/L | 0.88333 | 0.053 | Recoverable Result | 4440 | A | jco |  | 2016-09-28 | Crescent 03FF058: 15 µl & ChemService 5082900: 15 µl
20152610008 | 2015-09-17 08:00 | 1,3-DICHLOROBENZENE | 34566GCM66 | 0.024 | 0.0898 | . | ug/L | 0.78174 | 0.0702 | Recoverable Result | 4440 | A | KAS |  | 2015-09-29 | Accu 215041380: 25 µl & ERA 0406-15-03: 25 µl
20151820110 | 2015-07-01 08:00 | 1,3-DICHLOROBENZENE | 34566GCM66 | 0.024 | 0.09 | . | ug/L | 0.84333 | 0.0759 | Recoverable Result | 4440 | D | kas |  | 2015-07-13 | Crescent 04EE008: 25 µl & NSI 050515AVOC: 25 µl
20152250274 | 2015-08-13 09:30 | 1,3-DICHLOROBENZENE | 34566GCM66 | 0.024 | 0.09 | . | ug/L | 1.0722 | 0.0965 | Recoverable Result | 4440 | A | mgu |  | 2015-08-15 | Supelco LC13545: 25 µl & Crescent 04EE008: 25 µl
20141150020 | 2014-04-24 07:00 | 1,3-DICHLOROBENZENE | 34566GCM66 | 0.024 | 0.096 | . | ug/L | 0.80729 | 0.0775 | Recoverable Result | 4440 | D | ahe |  | 2014-05-01 | Accu 214031115: 20 µl & NSI 032614: 20 µl
20141570084 | 2014-06-05 08:00 | 1,3-DICHLOROBENZENE | 34566GCM66 | 0.024 | 0.096 | . | ug/L | 1.0031 | 0.0963 | Recoverable Result | 4440 | A | dlr |  | 2014-06-10 | NSI 032614: 20 µl & Supelco LC06438: 20 µl
20141490202 | 2014-05-29 08:00 | 1,3-DICHLOROBENZENE | 34566GCM66 | 0.024 | 0.096 | . | ug/L | 0.82292 | 0.079 | Recoverable Result | 4440 | A | dlr |  | 2014-06-10 | Crescent 03DD004: 20 µl & NSI 032614: 20 µl
20143240097 | 2014-11-19 07:30 | 1,3-DICHLOROBENZENE | 34566GCM66 | 0.024 | 0.096 | . | ug/L | 0.99167 | 0.0952 | Recoverable Result | 4440 | D | dlr |  | 2014-11-22 | NSI 032614: 20 µl & Spex Organics C1140417015: 20 µl
20141770147 | 2014-06-26 08:00 | 1,3-DICHLOROBENZENE | 34566GCM66 | 0.024 | 0.0972 | . | ug/L | 0.88683 | 0.0862 | Recoverable Result | 4440 | D | ahe |  | 2014-07-01 | Accu 214031115: 20 µl & ERA 0227-14-06.1A: 20 µl
20142200168 | 2014-08-07 08:30 | 1,3-DICHLOROBENZENE | 34566GCM66 | 0.024 | 0.0972 | . | ug/L | 0.88374 | 0.0859 | Recoverable Result | 4440 | D | dlr |  | 2014-08-16 | ERA 0227-14-06.1A: 20 µl & Spex Organics C1140417015: 20 µl
20143110111 | 2014-11-06 07:30 | 1,3-DICHLOROBENZENE | 34566GCM66 | 0.024 | 0.0972 | . | ug/L | 0.94547 | 0.0919 | Recoverable Result | 4440 | D | dlr |  | 2014-11-14 | Crescent 03DD004: 20 µl & ERA 0227-14-06.1A: 20 µl
20150510046 | 2015-02-19 07:30 | 1,3-DICHLOROBENZENE | 34566GCM66 | 0.024 | 0.0972 | . | ug/L | 0.99691 | 0.0969 | Recoverable Result | 4440 | D | KAS |  | 2015-03-06 | ERA 0227-14-06.1A: 20 µl & Supelco LC06438: 20 µl
20150930003 | 2015-04-02 06:30 | 1,3-DICHLOROBENZENE | 34566GCM66 | 0.024 | 0.0972 | . | ug/L | 0.88066 | 0.0856 | Recoverable Result | 4440 | D | mgu |  | 2015-04-09 | Accu 214031115: 20 µl & ERA 0227-14-06.1A: 20 µl
20161340232 | 2016-05-13 06:10 | 1,3-DICHLOROBENZENE | 34566GCM66 | 0.024 | 0.1 | . | ug/L | 0.983 | 0.0983 | Recoverable Result | 4440 | A | lmu |  | 2016-05-24 | Accu 216041125: 25 µl & Crescent 03FF058: 25 µl
20161680363 | 2016-06-15 07:00 | 1,3-DICHLOROBENZENE | 34566GCM66 | 0.024 | 0.1 | . | ug/L | 1.07 | 0.107 | Recoverable Result | 4440 | D | dlr |  | 2016-06-21 | Phenova B20160319: 25 µl & Crescent 03FF058: 25 µl
20161740255 | 2016-06-22 06:30 | 1,3-DICHLOROBENZENE | 34566GCM66 | 0.024 | 0.1 | . | ug/L | 0.975 | 0.0975 | Recoverable Result | 4440 | D | kas |  | 2016-06-30 | Crescent 03FF058: 25 µl & ChemService 5082900: 25 µl
20163220168 | 2016-11-16 07:00 | 1,3-DICHLOROBENZENE | 34566GCM66 | 0.025 | 0.1 | . | ug/L | 0.96 | 0.096 | Recoverable Result | 4440 | A | dlr |  | 2016-11-21 | Crescent 03FF058: 25 µl & Supelco LC20141V: 25 µl
20162150210 | 2016-08-02 06:30 | 1,3-DICHLOROBENZENE | 34566GCM66 | 0.024 | 0.16 | . | ug/L | 0.94375 | 0.151 | Recoverable Result | 4440 | D | kas |  | 2016-08-04 | Crescent 03FF058: 40 µl & Supelco LC20141V: 40 µl
20163420128 | 2016-12-07 07:00 | 1,3-DICHLOROBENZENE | 34566GCM66 | 0.025 | 0.16 | . | ug/L | 1.0812 | 0.173 | Recoverable Result | 4440 | A | dlr |  | 2016-12-12 | Accu 216041125: 40 µl & Crescent 03FF058: 40 µl