## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20151210035 | 2015-04-30 08:00 | 2-BUTANONE | 81595GCM66 | 2 | 2.998 | . | ug/L | 0.87392 | 2.62 | Recoverable Result | 4440 | D | dlr |  | 2015-05-09 | Supelco LC13545: 10 µl & Crescent 04EE008: 10 µl
20152040181 | 2015-07-23 08:00 | 2-BUTANONE | 81595GCM66 | 2 | 2.998 | . | ug/L | 1.0974 | 3.29 | Recoverable Result | 4440 | D | kas |  | 2015-07-31 | Crescent 04EE008: 10 µl & ERA 0406-15-03: 10 µl
20160140041 | 2016-01-14 09:00 | 2-BUTANONE | 81595GCM66 | 2 | 2.998 | . | ug/L | 0.86724 | 2.6 | Recoverable Result | 4440 | D | kas |  | 2016-01-27 | Crescent 04EE008: 10 µl & NSI 050515AVOC: 10 µl
20161260157 | 2016-05-05 07:30 | 2-BUTANONE | 81595GCM66 | 2 | 2.998 | . | ug/L | 0.9006 | 2.7 | Recoverable Result | 4440 | A | kas |  | 2016-05-13 | Supelco LC13545: 10 µl & Crescent 04EE008: 10 µl
20151380012 | 2015-05-14 07:00 | 2-BUTANONE | 81595GCM66 | 2 | 3.004 | . | ug/L | 1.022 | 3.07 | Recoverable Result | 4440 | D | KAS |  | 2015-05-21 | Spex Organics EN150428007: 10 µl & Accu 215041380: 10 µl
20153090111 | 2015-11-05 09:30 | 2-BUTANONE | 81595GCM66 | 2 | 3.004 | . | ug/L | 0.84221 | 2.53 | Recoverable Result | 4440 | D | kas |  | 2015-11-12 | Spex Organics EN150428007: 10 µl & Accu 215041380: 10 µl
20153230147 | 2015-11-19 09:30 | 2-BUTANONE | 81595GCM66 | 2 | 3.004 | . | ug/L | 0.8522 | 2.56 | Recoverable Result | 4440 | D | kas |  | 2015-11-20 | Accu 215041380: 10 µl & ERA 0406-15-03: 10 µl
20160490036 | 2016-02-18 09:00 | 2-BUTANONE | 81595GCM66 | 2 | 3.004 | . | ug/L | 0.81558 | 2.45 | Recoverable Result | 4440 | D | kas |  | 2016-02-18 | Spex Organics EN150428007: 10 µl & Accu 215041380: 10 µl
20141840101 | 2014-07-02 08:00 | 2-BUTANONE | 81595GCM66 | 1.6 | 3.18 | . | ug/L | 1.0535 | 3.35 | Recoverable Result | 4440 | D | dlr |  | 2014-07-11 | Spex Organics C1140417015: 10 µl & ERA 0227-14-06.1A: 10 µl
20142720027 | 2014-09-25 07:30 | 2-BUTANONE | 81595GCM66 | 2 | 3.18 | . | ug/L | 0.76415 | 2.43 | Recoverable Result | 4440 | D | dlr |  | 2014-10-04 | Crescent 03DD004: 10 µl & ERA 0227-14-06.1A: 10 µl
20142890080 | 2014-10-16 08:00 | 2-BUTANONE | 81595GCM66 | 2 | 3.18 | . | ug/L | 0.89937 | 2.86 | Recoverable Result | 4440 | D | dlr |  | 2014-10-21 | ERA 0227-14-06.1A: 10 µl & Supelco LC06438: 10 µl
20150090093 | 2015-01-08 07:30 | 2-BUTANONE | 81595GCM66 | 2 | 3.18 | . | ug/L | 0.95283 | 3.03 | Recoverable Result | 4440 | D | KAS |  | 2015-01-13 | Accu 214031115: 10 µl & ERA 0227-14-06.1A: 10 µl
20141360092 | 2014-05-16 07:30 | 2-BUTANONE | 81595GCM66 | 1.6 | 3.212 | . | ug/L | 1.1488 | 3.69 | Recoverable Result | 4440 | A | dlr |  | 2014-05-30 | NSI 032614: 10 µl & Supelco LC06438: 10 µl
20142060045 | 2014-07-24 07:30 | 2-BUTANONE | 81595GCM66 | 1.6 | 3.212 | . | ug/L | 0.93711 | 3.01 | Recoverable Result | 4440 | D | ahe |  | 2014-07-29 | Crescent 03DD004: 10 µl & NSI 032614: 10 µl
20142480009 | 2014-09-04 08:00 | 2-BUTANONE | 81595GCM66 | 1.6 | 3.212 | . | ug/L | 1.0336 | 3.32 | Recoverable Result | 4440 | D | dlr |  | 2014-09-09 | NSI 032614: 10 µl & Spex Organics C1140417015: 10 µl
20142470038 | 2014-09-03 07:15 | 2-BUTANONE | 81595GCM66 | 1.6 | 3.212 | . | ug/L | 1.1301 | 3.63 | Recoverable Result | 4440 | D | dlr | +c | 2014-09-09 | Accu 214031115: 10 µl & NSI 032614: 10 µl
20151270114 | 2015-05-07 07:30 | 2-BUTANONE | 81595GCM66 | 2 | 4.497 | . | ug/L | 1.0607 | 4.77 | Recoverable Result | 4440 | D | dlr |  | 2015-05-09 | Spex Organics EN150428007: 15 µl & Crescent 04EE008: 15 µl
20152890011 | 2015-10-15 09:00 | 2-BUTANONE | 81595GCM66 | 2 | 4.497 | . | ug/L | 0.96954 | 4.36 | Recoverable Result | 4440 | D | kas |  | 2015-10-17 | Crescent 04EE008: 15 µl & NSI 050515AVOC: 15 µl
20153510114 | 2015-12-17 08:30 | 2-BUTANONE | 81595GCM66 | 2 | 4.497 | . | ug/L | 1.0385 | 4.67 | Recoverable Result | 4440 | D | kas |  | 2015-12-18 | Supelco LC13545: 15 µl & Crescent 04EE008: 15 µl
20151480172 | 2015-05-28 07:30 | 2-BUTANONE | 81595GCM66 | 2 | 4.506 | . | ug/L | 0.76565 | 3.45 | Recoverable Result | 4440 | A | lmu |  | 2015-06-04 | NSI 050515AVOC: 15 µl & Accu 215041380: 15 µl
20160630052 | 2016-03-03 09:00 | 2-BUTANONE | 81595GCM66 | 2 | 4.506 | . | ug/L | 0.86551 | 3.9 | Recoverable Result | 4440 | D | lmu |  | 2016-03-04 | Accu 215041380: 15 µl & ERA 0406-15-03: 15 µl
20160910143 | 2016-03-31 06:00 | 2-BUTANONE | 81595GCM66 | 2 | 4.506 | . | ug/L | 0.79228 | 3.57 | Recoverable Result | 4440 | D | lmu |  | 2016-04-02 | Supelco LC13545: 15 µl & Accu 215041380: 15 µl
20161820011 | 2016-06-29 07:00 | 2-BUTANONE | 81595GCM66 | 2 | 5.004 | . | ug/L | 0.60751 | 3.04 | Recoverable Result | 4440 | D | kas |  | 2016-06-30 | ChemService 5082900: 15 µl & Accu 216041125: 15 µl
20162300276 | 2016-08-17 07:00 | 2-BUTANONE | 81595GCM66 | 2 | 5.004 | . | ug/L | 1.1071 | 5.54 | Recoverable Result | 4440 | D | kas |  | 2016-08-20 | Accu 216041125: 15 µl & Crescent 03FF058: 15 µl
20162800001 | 2016-10-05 07:00 | 2-BUTANONE | 81595GCM66 | 2 | 5.004 | . | ug/L | 0.95923 | 4.8 | Recoverable Result | 4440 | A | dlr |  | 2016-10-13 | Accu 216041125: 15 µl & NSI 041816AVOC: 15 µl
20161470002 | 2016-05-25 06:10 | 2-BUTANONE | 81595GCM66 | 2 | 5.07 | . | ug/L | 0.88363 | 4.48 | Recoverable Result | 4440 | A | lmu |  | 2016-05-27 | Phenova B20160319: 15 µl & Supelco LC20141V: 15 µl
20162100019 | 2016-07-27 06:00 | 2-BUTANONE | 81595GCM66 | 2 | 5.07 | . | ug/L | 0.90138 | 4.57 | Recoverable Result | 4440 | A | kas |  | 2016-07-29 | Phenova B20160319: 15 µl & NSI 041816AVOC: 15 µl
20162520004 | 2016-09-07 06:30 | 2-BUTANONE | 81595GCM66 | 2 | 5.07 | . | ug/L | 0.8146 | 4.13 | Recoverable Result | 4440 | D | kas |  | 2016-09-08 | Phenova B20160319: 15 µl & Crescent 03FF058: 15 µl
20163280006 | 2016-11-21 07:00 | 2-BUTANONE | 81595GCM66 | 2 | 5.07 | . | ug/L | 0.96647 | 4.9 | Recoverable Result | 4440 | A | jco |  | 2016-11-29 | ChemService 5082900: 15 µl & Phenova B20160319: 15 µl
20141770147 | 2014-06-26 08:00 | 2-BUTANONE | 81595GCM66 | 1.6 | 6.36 | . | ug/L | 0.94182 | 5.99 | Recoverable Result | 4440 | D | ahe |  | 2014-07-01 | Accu 214031115: 20 µl & ERA 0227-14-06.1A: 20 µl
20142200168 | 2014-08-07 08:30 | 2-BUTANONE | 81595GCM66 | 1.6 | 6.36 | . | ug/L | 0.86164 | 5.48 | Recoverable Result | 4440 | D | dlr |  | 2014-08-16 | ERA 0227-14-06.1A: 20 µl & Spex Organics C1140417015: 20 µl
20143110111 | 2014-11-06 07:30 | 2-BUTANONE | 81595GCM66 | 2 | 6.36 | . | ug/L | 0.91509 | 5.82 | Recoverable Result | 4440 | D | dlr |  | 2014-11-14 | Crescent 03DD004: 20 µl & ERA 0227-14-06.1A: 20 µl
20150510046 | 2015-02-19 07:30 | 2-BUTANONE | 81595GCM66 | 2 | 6.36 | . | ug/L | 1.1415 | 7.26 | Recoverable Result | 4440 | D | KAS |  | 2015-03-06 | ERA 0227-14-06.1A: 20 µl & Supelco LC06438: 20 µl
20150930003 | 2015-04-02 06:30 | 2-BUTANONE | 81595GCM66 | 2 | 6.36 | . | ug/L | 0.90409 | 5.75 | Recoverable Result | 4440 | D | mgu |  | 2015-04-09 | Accu 214031115: 20 µl & ERA 0227-14-06.1A: 20 µl
20141150020 | 2014-04-24 07:00 | 2-BUTANONE | 81595GCM66 | 1.6 | 6.424 | . | ug/L | 0.89975 | 5.78 | Recoverable Result | 4440 | D | ahe |  | 2014-05-01 | Accu 214031115: 20 µl & NSI 032614: 20 µl
20141570084 | 2014-06-05 08:00 | 2-BUTANONE | 81595GCM66 | 1.6 | 6.424 | . | ug/L | 1.2033 | 7.73 | Recoverable Result | 4440 | A | dlr |  | 2014-06-10 | NSI 032614: 20 µl & Supelco LC06438: 20 µl
20141490202 | 2014-05-29 08:00 | 2-BUTANONE | 81595GCM66 | 1.6 | 6.424 | . | ug/L | 1.0803 | 6.94 | Recoverable Result | 4440 | A | dlr |  | 2014-06-10 | Crescent 03DD004: 20 µl & NSI 032614: 20 µl
20143240097 | 2014-11-19 07:30 | 2-BUTANONE | 81595GCM66 | 2 | 6.424 | . | ug/L | 0.88885 | 5.71 | Recoverable Result | 4440 | D | dlr |  | 2014-11-22 | NSI 032614: 20 µl & Spex Organics C1140417015: 20 µl
20151820110 | 2015-07-01 08:00 | 2-BUTANONE | 81595GCM66 | 2 | 7.495 | . | ug/L | 0.94196 | 7.06 | Recoverable Result | 4440 | D | kas |  | 2015-07-13 | Crescent 04EE008: 25 µl & NSI 050515AVOC: 25 µl
20152250274 | 2015-08-13 09:30 | 2-BUTANONE | 81595GCM66 | 2 | 7.495 | . | ug/L | 0.99933 | 7.49 | Recoverable Result | 4440 | A | mgu |  | 2015-08-15 | Supelco LC13545: 25 µl & Crescent 04EE008: 25 µl
20152610008 | 2015-09-17 08:00 | 2-BUTANONE | 81595GCM66 | 2 | 7.51 | . | ug/L | 0.85486 | 6.42 | Recoverable Result | 4440 | A | KAS |  | 2015-09-29 | Accu 215041380: 25 µl & ERA 0406-15-03: 25 µl
20161340232 | 2016-05-13 06:10 | 2-BUTANONE | 81595GCM66 | 2 | 8.34 | . | ug/L | 0.97242 | 8.11 | Recoverable Result | 4440 | A | lmu |  | 2016-05-24 | Accu 216041125: 25 µl & Crescent 03FF058: 25 µl
20162440115 | 2016-08-31 06:30 | 2-BUTANONE | 81595GCM66 | 2 | 8.34 | . | ug/L | 0.70983 | 5.92 | Recoverable Result | 4440 | D | kas |  | 2016-09-08 | Supelco LC20141V: 25 µl & Accu 216041125: 25 µl
20161680363 | 2016-06-15 07:00 | 2-BUTANONE | 81595GCM66 | 2 | 8.45 | . | ug/L | 0.98817 | 8.35 | Recoverable Result | 4440 | D | dlr |  | 2016-06-21 | Phenova B20160319: 25 µl & Crescent 03FF058: 25 µl
20162230172 | 2016-08-10 06:30 | 2-BUTANONE | 81595GCM66 | 2 | 8.45 | . | ug/L | 0.93491 | 7.9 | Recoverable Result | 4440 | D | kas |  | 2016-08-12 | ChemService 5082900: 25 µl & Phenova B20160319: 25 µl
20161880113 | 2016-07-06 06:15 | 2-BUTANONE | 81595GCM66 | 2 | 13.344 | . | ug/L | 0.83183 | 11.1 | Recoverable Result | 4440 | D | kas |  | 2016-07-14 | Accu 216041125: 40 µl & NSI 041816AVOC: 40 µl
20162020126 | 2016-07-20 06:45 | 2-BUTANONE | 81595GCM66 | 2 | 13.344 | . | ug/L | 1.0342 | 13.8 | Recoverable Result | 4440 | A | kas |  | 2016-07-20 | Supelco LC20141V: 40 µl & Accu 216041125: 40 µl
20163420128 | 2016-12-07 07:00 | 2-BUTANONE | 81595GCM66 | 2 | 13.344 | . | ug/L | 1.0716 | 14.3 | Recoverable Result | 4440 | A | dlr |  | 2016-12-12 | Accu 216041125: 40 µl & Crescent 03FF058: 40 µl