## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20151210035 | 2015-04-30 08:00 | 2-CHLOROTOLUENE | 77275GCM66 | 0.028 | 0.0422 | . | ug/L | 0.97393 | 0.0411 | Recoverable Result | 4440 | D | dlr |  | 2015-05-09 | Supelco LC13545: 10 µl & Crescent 04EE008: 10 µl
20151690197 | 2015-06-18 08:00 | 2-CHLOROTOLUENE | 77275GCM66 | 0.028 | 0.0422 | . | ug/L | 0.97156 | 0.041 | Recoverable Result | 4440 | D | kas |  | 2015-06-27 | ERA 0406-15-03: 10 µl & Supelco LC13545: 10 µl
20153440003 | 2015-12-09 08:00 | 2-CHLOROTOLUENE | 77275GCM66 | 0.028 | 0.0422 | . | ug/L | 0.94313 | 0.0398 | Recoverable Result | 4440 | A | kas |  | 2015-12-10 | NSI 050515AVOC: 10 µl & Supelco LC13545: 10 µl
20160770093 | 2016-03-17 09:00 | 2-CHLOROTOLUENE | 77275GCM66 | 0.028 | 0.0422 | . | ug/L | 0.87678 | 0.037 | Recoverable Result | 4440 | D | lmu |  | 2016-03-17 | NSI 050515AVOC: 10 µl & Supelco LC13545: 10 µl
20161260157 | 2016-05-05 07:30 | 2-CHLOROTOLUENE | 77275GCM66 | 0.028 | 0.0422 | . | ug/L | 1.0664 | 0.045 | Recoverable Result | 4440 | A | kas |  | 2016-05-13 | Supelco LC13545: 10 µl & Crescent 04EE008: 10 µl
20151380012 | 2015-05-14 07:00 | 2-CHLOROTOLUENE | 77275GCM66 | 0.028 | 0.0428 | . | ug/L | 1.1542 | 0.0494 | Recoverable Result | 4440 | D | KAS |  | 2015-05-21 | Spex Organics EN150428007: 10 µl & Accu 215041380: 10 µl
20152390224 | 2015-08-27 09:30 | 2-CHLOROTOLUENE | 77275GCM66 | 0.028 | 0.0428 | . | ug/L | 0.90187 | 0.0386 | Recoverable Result | 4440 | D | mgu |  | 2015-09-03 | NSI 050515AVOC: 10 µl & Spex Organics EN150428007: 10 µl
20153090111 | 2015-11-05 09:30 | 2-CHLOROTOLUENE | 77275GCM66 | 0.028 | 0.0428 | . | ug/L | 0.9229 | 0.0395 | Recoverable Result | 4440 | D | kas |  | 2015-11-12 | Spex Organics EN150428007: 10 µl & Accu 215041380: 10 µl
20160490036 | 2016-02-18 09:00 | 2-CHLOROTOLUENE | 77275GCM66 | 0.028 | 0.0428 | . | ug/L | 1.0444 | 0.0447 | Recoverable Result | 4440 | D | kas |  | 2016-02-18 | Spex Organics EN150428007: 10 µl & Accu 215041380: 10 µl
20141220028 | 2014-05-01 07:30 | 2-CHLOROTOLUENE | 77275GCM66 | 0.028 | 0.056 | . | ug/L | 1.4357 | 0.0804 | Recoverable Result | 4440 | D | dlr |  | 2014-05-03 | Crescent 03DD004: 10 µl & Supelco LC06438: 10 µl
20142060045 | 2014-07-24 07:30 | 2-CHLOROTOLUENE | 77275GCM66 | 0.028 | 0.056 | . | ug/L | 1.2518 | 0.0701 | Recoverable Result | 4440 | D | ahe |  | 2014-07-29 | Crescent 03DD004: 10 µl & NSI 032614: 10 µl
20142720027 | 2014-09-25 07:30 | 2-CHLOROTOLUENE | 77275GCM66 | 0.028 | 0.056 | . | ug/L | 1.2321 | 0.069 | Recoverable Result | 4440 | D | dlr |  | 2014-10-04 | Crescent 03DD004: 10 µl & ERA 0227-14-06.1A: 10 µl
20143030098 | 2014-10-30 07:30 | 2-CHLOROTOLUENE | 77275GCM66 | 0.028 | 0.056 | . | ug/L | 1.4054 | 0.0787 | Recoverable Result | 4440 | D | dlr |  | 2014-11-06 | Spex Organics C1140417015: 10 µl & Crescent 03DD004: 10 µl
20141640078 | 2014-06-12 08:00 | 2-CHLOROTOLUENE | 77275GCM66 | 0.028 | 0.05938 | . | ug/L | 0.91613 | 0.0544 | Recoverable Result | 4440 | D | lmu |  | 2014-06-18 | Supelco LC06438: 10 µl & Accu 214031115: 10 µl
20141990078 | 2014-07-17 07:00 | 2-CHLOROTOLUENE | 77275GCM66 | 0.028 | 0.05938 | . | ug/L | 1.1418 | 0.0678 | Recoverable Result | 4440 | D | ahe |  | 2014-07-23 | Spex Organics C1140417015: 10 µl & Accu 214031115: 10 µl
20142470038 | 2014-09-03 07:15 | 2-CHLOROTOLUENE | 77275GCM66 | 0.028 | 0.05938 | . | ug/L | 0.90771 | 0.0539 | Recoverable Result | 4440 | D | dlr | +c | 2014-09-09 | Accu 214031115: 10 µl & NSI 032614: 10 µl
20150090093 | 2015-01-08 07:30 | 2-CHLOROTOLUENE | 77275GCM66 | 0.028 | 0.05938 | . | ug/L | 0.86056 | 0.0511 | Recoverable Result | 4440 | D | KAS |  | 2015-01-13 | Accu 214031115: 10 µl & ERA 0227-14-06.1A: 10 µl
20153510114 | 2015-12-17 08:30 | 2-CHLOROTOLUENE | 77275GCM66 | 0.028 | 0.0633 | . | ug/L | 0.88626 | 0.0561 | Recoverable Result | 4440 | D | kas |  | 2015-12-18 | Supelco LC13545: 15 µl & Crescent 04EE008: 15 µl
20160910143 | 2016-03-31 06:00 | 2-CHLOROTOLUENE | 77275GCM66 | 0.028 | 0.0633 | . | ug/L | 0.90995 | 0.0576 | Recoverable Result | 4440 | D | lmu |  | 2016-04-02 | Supelco LC13545: 15 µl & Accu 215041380: 15 µl
20151270114 | 2015-05-07 07:30 | 2-CHLOROTOLUENE | 77275GCM66 | 0.028 | 0.0642 | . | ug/L | 1.1838 | 0.076 | Recoverable Result | 4440 | D | dlr |  | 2015-05-09 | Spex Organics EN150428007: 15 µl & Crescent 04EE008: 15 µl
20152810126 | 2015-10-08 09:00 | 2-CHLOROTOLUENE | 77275GCM66 | 0.028 | 0.0642 | . | ug/L | 0.92523 | 0.0594 | Recoverable Result | 4440 | D | kas |  | 2015-10-16 | ERA 0406-15-03: 15 µl & Spex Organics EN150428007: 15 µl
20153030066 | 2015-10-29 09:00 | 2-CHLOROTOLUENE | 77275GCM66 | 0.028 | 0.0642 | . | ug/L | 0.83178 | 0.0534 | Recoverable Result | 4440 | D | kas |  | 2015-11-04 | NSI 050515AVOC: 15 µl & Spex Organics EN150428007: 15 µl
20160280060 | 2016-01-28 09:00 | 2-CHLOROTOLUENE | 77275GCM66 | 0.028 | 0.0642 | . | ug/L | 0.99533 | 0.0639 | Recoverable Result | 4440 | D | kas |  | 2016-02-05 | ERA 0406-15-03: 15 µl & Spex Organics EN150428007: 15 µl
20161050145 | 2016-04-14 07:00 | 2-CHLOROTOLUENE | 77275GCM66 | 0.028 | 0.0642 | . | ug/L | 0.88785 | 0.057 | Recoverable Result | 4440 | D | kas |  | 2016-04-26 | ERA 0406-15-03: 15 µl & Spex Organics EN150428007: 15 µl
20161470002 | 2016-05-25 06:10 | 2-CHLOROTOLUENE | 77275GCM66 | 0.028 | 0.0687 | . | ug/L | 0.97817 | 0.0672 | Recoverable Result | 4440 | A | lmu |  | 2016-05-27 | Phenova B20160319: 15 µl & Supelco LC20141V: 15 µl
20162860092 | 2016-10-12 06:30 | 2-CHLOROTOLUENE | 77275GCM66 | 0.028 | 0.0687 | . | ug/L | 0.85444 | 0.0587 | Recoverable Result | 4440 | A | dlr |  | 2016-10-13 | NSI 041816AVOC: 15 µl & Supelco LC20141V: 15 µl
20161600091 | 2016-06-08 06:00 | 2-CHLOROTOLUENE | 77275GCM66 | 0.028 | 0.069 | . | ug/L | 1.0101 | 0.0697 | Recoverable Result | 4440 | D | kas |  | 2016-06-10 | NSI 041816AVOC: 15 µl & ChemService 5082900: 15 µl
20161820011 | 2016-06-29 07:00 | 2-CHLOROTOLUENE | 77275GCM66 | 0.028 | 0.069 | . | ug/L | 0.98551 | 0.068 | Recoverable Result | 4440 | D | kas |  | 2016-06-30 | ChemService 5082900: 15 µl & Accu 216041125: 15 µl
20162660007 | 2016-09-21 06:30 | 2-CHLOROTOLUENE | 77275GCM66 | 0.028 | 0.069 | . | ug/L | 0.91014 | 0.0628 | Recoverable Result | 4440 | A | jco |  | 2016-09-28 | Crescent 03FF058: 15 µl & ChemService 5082900: 15 µl
20163280006 | 2016-11-21 07:00 | 2-CHLOROTOLUENE | 77275GCM66 | 0.028 | 0.069 | . | ug/L | 0.96232 | 0.0664 | Recoverable Result | 4440 | A | jco |  | 2016-11-29 | ChemService 5082900: 15 µl & Phenova B20160319: 15 µl
20151620184 | 2015-06-11 07:30 | 2-CHLOROTOLUENE | 77275GCM66 | 0.028 | 0.1055 | . | ug/L | 0.8654 | 0.0913 | Recoverable Result | 4440 | A | lmu |  | 2015-06-16 | ERA 0406-15-03: 25 µl & Supelco LC13545: 25 µl
20152250274 | 2015-08-13 09:30 | 2-CHLOROTOLUENE | 77275GCM66 | 0.028 | 0.1055 | . | ug/L | 0.99526 | 0.105 | Recoverable Result | 4440 | A | mgu |  | 2015-08-15 | Supelco LC13545: 25 µl & Crescent 04EE008: 25 µl
20141490202 | 2014-05-29 08:00 | 2-CHLOROTOLUENE | 77275GCM66 | 0.028 | 0.112 | . | ug/L | 1 | 0.112 | Recoverable Result | 4440 | A | dlr |  | 2014-06-10 | Crescent 03DD004: 20 µl & NSI 032614: 20 µl
20143110111 | 2014-11-06 07:30 | 2-CHLOROTOLUENE | 77275GCM66 | 0.028 | 0.112 | . | ug/L | 1.1696 | 0.131 | Recoverable Result | 4440 | D | dlr |  | 2014-11-14 | Crescent 03DD004: 20 µl & ERA 0227-14-06.1A: 20 µl
20143420010 | 2014-12-08 07:30 | 2-CHLOROTOLUENE | 77275GCM66 | 0.028 | 0.112 | . | ug/L | 1.2857 | 0.144 | Recoverable Result | 4440 | D | KAS |  | 2014-12-17 | Supelco LC06438: 20 µl & Crescent 03DD004: 20 µl
20150720068 | 2015-03-12 07:00 | 2-CHLOROTOLUENE | 77275GCM66 | 0.028 | 0.112 | . | ug/L | 1.4732 | 0.165 | Recoverable Result | 4440 | D | KAS |  | 2015-03-19 | Spex Organics C1140417015: 20 µl & Crescent 03DD004: 20 µl
20162440115 | 2016-08-31 06:30 | 2-CHLOROTOLUENE | 77275GCM66 | 0.028 | 0.1145 | . | ug/L | 0.8821 | 0.101 | Recoverable Result | 4440 | D | kas |  | 2016-09-08 | Supelco LC20141V: 25 µl & Accu 216041125: 25 µl
20163220168 | 2016-11-16 07:00 | 2-CHLOROTOLUENE | 77275GCM66 | 0.028 | 0.1145 | . | ug/L | 0.8655 | 0.0991 | Recoverable Result | 4440 | A | dlr |  | 2016-11-21 | Crescent 03FF058: 25 µl & Supelco LC20141V: 25 µl
20161740255 | 2016-06-22 06:30 | 2-CHLOROTOLUENE | 77275GCM66 | 0.028 | 0.115 | . | ug/L | 0.91304 | 0.105 | Recoverable Result | 4440 | D | kas |  | 2016-06-30 | Crescent 03FF058: 25 µl & ChemService 5082900: 25 µl
20162230172 | 2016-08-10 06:30 | 2-CHLOROTOLUENE | 77275GCM66 | 0.028 | 0.115 | . | ug/L | 1 | 0.115 | Recoverable Result | 4440 | D | kas |  | 2016-08-12 | ChemService 5082900: 25 µl & Phenova B20160319: 25 µl
20162380006 | 2016-08-24 06:15 | 2-CHLOROTOLUENE | 77275GCM66 | 0.028 | 0.115 | . | ug/L | 0.94783 | 0.109 | Recoverable Result | 4440 | A | dlr |  | 2016-08-26 | NSI 041816AVOC: 25 µl & ChemService 5082900: 25 µl
20141150020 | 2014-04-24 07:00 | 2-CHLOROTOLUENE | 77275GCM66 | 0.028 | 0.11876 | . | ug/L | 0.7191 | 0.0854 | Recoverable Result | 4440 | D | ahe |  | 2014-05-01 | Accu 214031115: 20 µl & NSI 032614: 20 µl
20141770147 | 2014-06-26 08:00 | 2-CHLOROTOLUENE | 77275GCM66 | 0.028 | 0.11876 | . | ug/L | 0.87572 | 0.104 | Recoverable Result | 4440 | D | ahe |  | 2014-07-01 | Accu 214031115: 20 µl & ERA 0227-14-06.1A: 20 µl
20142270005 | 2014-08-14 07:30 | 2-CHLOROTOLUENE | 77275GCM66 | 0.028 | 0.11876 | . | ug/L | 1.0104 | 0.12 | Recoverable Result | 4440 | D | lmu |  | 2014-08-19 | Spex Organics C1140417015: 20 µl & Accu 214031115: 20 µl
20150930003 | 2015-04-02 06:30 | 2-CHLOROTOLUENE | 77275GCM66 | 0.028 | 0.11876 | . | ug/L | 0.8092 | 0.0961 | Recoverable Result | 4440 | D | mgu |  | 2015-04-09 | Accu 214031115: 20 µl & ERA 0227-14-06.1A: 20 µl
20162020126 | 2016-07-20 06:45 | 2-CHLOROTOLUENE | 77275GCM66 | 0.028 | 0.1832 | . | ug/L | 0.99891 | 0.183 | Recoverable Result | 4440 | A | kas |  | 2016-07-20 | Supelco LC20141V: 40 µl & Accu 216041125: 40 µl
20162150210 | 2016-08-02 06:30 | 2-CHLOROTOLUENE | 77275GCM66 | 0.028 | 0.1832 | . | ug/L | 0.88974 | 0.163 | Recoverable Result | 4440 | D | kas |  | 2016-08-04 | Crescent 03FF058: 40 µl & Supelco LC20141V: 40 µl
20163500004 | 2016-12-14 07:00 | 2-CHLOROTOLUENE | 77275GCM66 | 0.028 | 0.184 | . | ug/L | 0.94565 | 0.174 | Recoverable Result | 4440 | A | lmu |  | 2016-12-16 | NSI 041816AVOC: 40 µl & ChemService 5082900: 40 µl