## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20151210035 | 2015-04-30 08:00 | 3-CHLOROPROPENE | 78109GCM66 | 0.08 | 0.118 | E | ug/L | 1.0424 | 0.123 | Estimated Values | 4440 | D | dlr | mc | 2015-05-09 | Supelco LC13545: 10 µl & Crescent 04EE008: 10 µl
20152040181 | 2015-07-23 08:00 | 3-CHLOROPROPENE | 78109GCM66 | 0.08 | 0.118 | E | ug/L | 0.79661 | 0.094 | Estimated Values | 4440 | D | kas | mc | 2015-07-31 | Crescent 04EE008: 10 µl & ERA 0406-15-03: 10 µl
20160140041 | 2016-01-14 09:00 | 3-CHLOROPROPENE | 78109GCM66 | 0.08 | 0.118 | E | ug/L | 0.9322 | 0.11 | Estimated Values | 4440 | D | kas | mc | 2016-01-27 | Crescent 04EE008: 10 µl & NSI 050515AVOC: 10 µl
20161260157 | 2016-05-05 07:30 | 3-CHLOROPROPENE | 78109GCM66 | 0.08 | 0.118 | E | ug/L | 0.94915 | 0.112 | Estimated Values | 4440 | A | kas | mc | 2016-05-13 | Supelco LC13545: 10 µl & Crescent 04EE008: 10 µl
20151380012 | 2015-05-14 07:00 | 3-CHLOROPROPENE | 78109GCM66 | 0.08 | 0.1191 | E | ug/L | 0.92359 | 0.11 | Estimated Values | 4440 | D | KAS | mc | 2015-05-21 | Spex Organics EN150428007: 10 µl & Accu 215041380: 10 µl
20153090111 | 2015-11-05 09:30 | 3-CHLOROPROPENE | 78109GCM66 | 0.08 | 0.1191 | E | ug/L | 0.93199 | 0.111 | Estimated Values | 4440 | D | kas | mc | 2015-11-12 | Spex Organics EN150428007: 10 µl & Accu 215041380: 10 µl
20153230147 | 2015-11-19 09:30 | 3-CHLOROPROPENE | 78109GCM66 | 0.08 | 0.1191 | E | ug/L | 0.8984 | 0.107 | Estimated Values | 4440 | D | kas | mc | 2015-11-20 | Accu 215041380: 10 µl & ERA 0406-15-03: 10 µl
20160490036 | 2016-02-18 09:00 | 3-CHLOROPROPENE | 78109GCM66 | 0.08 | 0.1191 | E | ug/L | 0.9152 | 0.109 | Estimated Values | 4440 | D | kas | mc | 2016-02-18 | Spex Organics EN150428007: 10 µl & Accu 215041380: 10 µl
20141840101 | 2014-07-02 08:00 | 3-CHLOROPROPENE | 78109GCM66 | 0.08 | 0.16 | E | ug/L | 1.0375 | 0.166 | Estimated Values | 4440 | D | dlr | mc | 2014-07-11 | Spex Organics C1140417015: 10 µl & ERA 0227-14-06.1A: 10 µl
20141990078 | 2014-07-17 07:00 | 3-CHLOROPROPENE | 78109GCM66 | 0.08 | 0.16 | E | ug/L | 1.1812 | 0.189 | Estimated Values | 4440 | D | ahe | mc | 2014-07-23 | Spex Organics C1140417015: 10 µl & Accu 214031115: 10 µl
20142480009 | 2014-09-04 08:00 | 3-CHLOROPROPENE | 78109GCM66 | 0.08 | 0.16 | E | ug/L | 1.1125 | 0.178 | Estimated Values | 4440 | D | dlr | mc | 2014-09-09 | NSI 032614: 10 µl & Spex Organics C1140417015: 10 µl
20143030098 | 2014-10-30 07:30 | 3-CHLOROPROPENE | 78109GCM66 | 0.08 | 0.16 | E | ug/L | 0.925 | 0.148 | Estimated Values | 4440 | D | dlr | mc | 2014-11-06 | Spex Organics C1140417015: 10 µl & Crescent 03DD004: 10 µl
20141220028 | 2014-05-01 07:30 | 3-CHLOROPROPENE | 78109GCM66 | 0.08 | 0.1604 | E | ug/L | 1.0474 | 0.168 | Estimated Values | 4440 | D | dlr | mc | 2014-05-03 | Crescent 03DD004: 10 µl & Supelco LC06438: 10 µl
20141360092 | 2014-05-16 07:30 | 3-CHLOROPROPENE | 78109GCM66 | 0.08 | 0.1604 | E | ug/L | 1.0973 | 0.176 | Estimated Values | 4440 | A | dlr | mc | 2014-05-30 | NSI 032614: 10 µl & Supelco LC06438: 10 µl
20141640078 | 2014-06-12 08:00 | 3-CHLOROPROPENE | 78109GCM66 | 0.08 | 0.1604 | E | ug/L | 1.1347 | 0.182 | Estimated Values | 4440 | D | lmu | mc | 2014-06-18 | Supelco LC06438: 10 µl & Accu 214031115: 10 µl
20142890080 | 2014-10-16 08:00 | 3-CHLOROPROPENE | 78109GCM66 | 0.08 | 0.1604 | E | ug/L | 0.99751 | 0.16 | Estimated Values | 4440 | D | dlr | mc | 2014-10-21 | ERA 0227-14-06.1A: 10 µl & Supelco LC06438: 10 µl
20151270114 | 2015-05-07 07:30 | 3-CHLOROPROPENE | 78109GCM66 | 0.08 | 0.177 | E | ug/L | 0.96045 | 0.17 | Estimated Values | 4440 | D | dlr | mc | 2015-05-09 | Spex Organics EN150428007: 15 µl & Crescent 04EE008: 15 µl
20152890011 | 2015-10-15 09:00 | 3-CHLOROPROPENE | 78109GCM66 | 0.08 | 0.177 | E | ug/L | 0.87571 | 0.155 | Estimated Values | 4440 | D | kas | mc | 2015-10-17 | Crescent 04EE008: 15 µl & NSI 050515AVOC: 15 µl
20153510114 | 2015-12-17 08:30 | 3-CHLOROPROPENE | 78109GCM66 | 0.08 | 0.177 | E | ug/L | 0.90395 | 0.16 | Estimated Values | 4440 | D | kas | mc | 2015-12-18 | Supelco LC13545: 15 µl & Crescent 04EE008: 15 µl
20151480172 | 2015-05-28 07:30 | 3-CHLOROPROPENE | 78109GCM66 | 0.08 | 0.17865 | E | ug/L | 0.94039 | 0.168 | Estimated Values | 4440 | A | lmu | mc | 2015-06-04 | NSI 050515AVOC: 15 µl & Accu 215041380: 15 µl
20160630052 | 2016-03-03 09:00 | 3-CHLOROPROPENE | 78109GCM66 | 0.08 | 0.17865 | E | ug/L | 0.97397 | 0.174 | Estimated Values | 4440 | D | lmu | mc | 2016-03-04 | Accu 215041380: 15 µl & ERA 0406-15-03: 15 µl
20160910143 | 2016-03-31 06:00 | 3-CHLOROPROPENE | 78109GCM66 | 0.08 | 0.17865 | E | ug/L | 0.9124 | 0.163 | Estimated Values | 4440 | D | lmu | mc | 2016-04-02 | Supelco LC13545: 15 µl & Accu 215041380: 15 µl
20161470002 | 2016-05-25 06:10 | 3-CHLOROPROPENE | 78109GCM66 | 0.08 | 0.2019 | E | ug/L | 0.87172 | 0.176 | Estimated Values | 4440 | A | lmu | mc | 2016-05-27 | Phenova B20160319: 15 µl & Supelco LC20141V: 15 µl
20162860092 | 2016-10-12 06:30 | 3-CHLOROPROPENE | 78109GCM66 | 0.08 | 0.2019 | E | ug/L | 1.0599 | 0.214 | Estimated Values | 4440 | A | dlr | bmc | 2016-10-13 | NSI 041816AVOC: 15 µl & Supelco LC20141V: 15 µl
20151820110 | 2015-07-01 08:00 | 3-CHLOROPROPENE | 78109GCM66 | 0.08 | 0.295 | E | ug/L | 0.93898 | 0.277 | Estimated Values | 4440 | D | kas | mc | 2015-07-13 | Crescent 04EE008: 25 µl & NSI 050515AVOC: 25 µl
20152250274 | 2015-08-13 09:30 | 3-CHLOROPROPENE | 78109GCM66 | 0.08 | 0.295 | E | ug/L | 0.84068 | 0.248 | Estimated Values | 4440 | A | mgu | mc | 2015-08-15 | Supelco LC13545: 25 µl & Crescent 04EE008: 25 µl
20152610008 | 2015-09-17 08:00 | 3-CHLOROPROPENE | 78109GCM66 | 0.08 | 0.29775 | E | ug/L | 0.80605 | 0.24 | Estimated Values | 4440 | A | KAS | mc | 2015-09-29 | Accu 215041380: 25 µl & ERA 0406-15-03: 25 µl
20142200168 | 2014-08-07 08:30 | 3-CHLOROPROPENE | 78109GCM66 | 0.08 | 0.32 | E | ug/L | 1.0219 | 0.327 | Estimated Values | 4440 | D | dlr | mc | 2014-08-16 | ERA 0227-14-06.1A: 20 µl & Spex Organics C1140417015: 20 µl
20142270005 | 2014-08-14 07:30 | 3-CHLOROPROPENE | 78109GCM66 | 0.08 | 0.32 | E | ug/L | 1.0031 | 0.321 | Estimated Values | 4440 | D | lmu | mc | 2014-08-19 | Spex Organics C1140417015: 20 µl & Accu 214031115: 20 µl
20143240097 | 2014-11-19 07:30 | 3-CHLOROPROPENE | 78109GCM66 | 0.08 | 0.32 | E | ug/L | 1.0219 | 0.327 | Estimated Values | 4440 | D | dlr | mc | 2014-11-22 | NSI 032614: 20 µl & Spex Organics C1140417015: 20 µl
20150720068 | 2015-03-12 07:00 | 3-CHLOROPROPENE | 78109GCM66 | 0.08 | 0.32 | E | ug/L | 1.0375 | 0.332 | Estimated Values | 4440 | D | KAS | mc | 2015-03-19 | Spex Organics C1140417015: 20 µl & Crescent 03DD004: 20 µl
20141570084 | 2014-06-05 08:00 | 3-CHLOROPROPENE | 78109GCM66 | 0.08 | 0.3208 | E | ug/L | 1.1253 | 0.361 | Estimated Values | 4440 | A | dlr | mc | 2014-06-10 | NSI 032614: 20 µl & Supelco LC06438: 20 µl
20142530090 | 2014-09-10 07:30 | 3-CHLOROPROPENE | 78109GCM66 | 0.08 | 0.3208 | E | ug/L | 1.0349 | 0.332 | Estimated Values | 4440 | D | dlr | mc | 2014-09-21 | Supelco LC06438: 20 µl
20143420010 | 2014-12-08 07:30 | 3-CHLOROPROPENE | 78109GCM66 | 0.08 | 0.3208 | E | ug/L | 0.93516 | 0.3 | Estimated Values | 4440 | D | KAS | mc | 2014-12-17 | Supelco LC06438: 20 µl & Crescent 03DD004: 20 µl
20150510046 | 2015-02-19 07:30 | 3-CHLOROPROPENE | 78109GCM66 | 0.08 | 0.3208 | E | ug/L | 0.96633 | 0.31 | Estimated Values | 4440 | D | KAS | mc | 2015-03-06 | ERA 0227-14-06.1A: 20 µl & Supelco LC06438: 20 µl
20162440115 | 2016-08-31 06:30 | 3-CHLOROPROPENE | 78109GCM66 | 0.08 | 0.3365 | E | ug/L | 0.90639 | 0.305 | Estimated Values | 4440 | D | kas | mc | 2016-09-08 | Supelco LC20141V: 25 µl & Accu 216041125: 25 µl
20163220168 | 2016-11-16 07:00 | 3-CHLOROPROPENE | 78109GCM66 | 0.08 | 0.3365 | E | ug/L | 0.86776 | 0.292 | Estimated Values | 4440 | A | dlr | mc | 2016-11-21 | Crescent 03FF058: 25 µl & Supelco LC20141V: 25 µl
20162020126 | 2016-07-20 06:45 | 3-CHLOROPROPENE | 78109GCM66 | 0.08 | 0.5384 | E | ug/L | 0.88782 | 0.478 | Estimated Values | 4440 | A | kas | mc | 2016-07-20 | Supelco LC20141V: 40 µl & Accu 216041125: 40 µl
20162150210 | 2016-08-02 06:30 | 3-CHLOROPROPENE | 78109GCM66 | 0.08 | 0.5384 | E | ug/L | 0.97883 | 0.527 | Estimated Values | 4440 | D | kas | mc | 2016-08-04 | Crescent 03FF058: 40 µl & Supelco LC20141V: 40 µl