## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20151210035 | 2015-04-30 08:00 | 4-CHLOROTOLUENE | 77277GCM66 | 0.042 | 0.062 | . | ug/L | 0.88548 | 0.0549 | Recoverable Result | 4440 | D | dlr |  | 2015-05-09 | Supelco LC13545: 10 µl & Crescent 04EE008: 10 µl
20152040181 | 2015-07-23 08:00 | 4-CHLOROTOLUENE | 77277GCM66 | 0.042 | 0.062 | . | ug/L | 0.79839 | 0.0495 | Recoverable Result | 4440 | D | kas |  | 2015-07-31 | Crescent 04EE008: 10 µl & ERA 0406-15-03: 10 µl
20160140041 | 2016-01-14 09:00 | 4-CHLOROTOLUENE | 77277GCM66 | 0.042 | 0.062 | . | ug/L | 0.91935 | 0.057 | Recoverable Result | 4440 | D | kas |  | 2016-01-27 | Crescent 04EE008: 10 µl & NSI 050515AVOC: 10 µl
20161260157 | 2016-05-05 07:30 | 4-CHLOROTOLUENE | 77277GCM66 | 0.042 | 0.062 | . | ug/L | 0.90484 | 0.0561 | Recoverable Result | 4440 | A | kas |  | 2016-05-13 | Supelco LC13545: 10 µl & Crescent 04EE008: 10 µl
20151380012 | 2015-05-14 07:00 | 4-CHLOROTOLUENE | 77277GCM66 | 0.042 | 0.0632 | . | ug/L | 1.0063 | 0.0636 | Recoverable Result | 4440 | D | KAS |  | 2015-05-21 | Spex Organics EN150428007: 10 µl & Accu 215041380: 10 µl
20153090111 | 2015-11-05 09:30 | 4-CHLOROTOLUENE | 77277GCM66 | 0.042 | 0.0632 | . | ug/L | 0.85443 | 0.054 | Recoverable Result | 4440 | D | kas |  | 2015-11-12 | Spex Organics EN150428007: 10 µl & Accu 215041380: 10 µl
20153230147 | 2015-11-19 09:30 | 4-CHLOROTOLUENE | 77277GCM66 | 0.042 | 0.0632 | . | ug/L | 0.89873 | 0.0568 | Recoverable Result | 4440 | D | kas |  | 2015-11-20 | Accu 215041380: 10 µl & ERA 0406-15-03: 10 µl
20160490036 | 2016-02-18 09:00 | 4-CHLOROTOLUENE | 77277GCM66 | 0.042 | 0.0632 | . | ug/L | 0.88608 | 0.056 | Recoverable Result | 4440 | D | kas |  | 2016-02-18 | Spex Organics EN150428007: 10 µl & Accu 215041380: 10 µl
20141360092 | 2014-05-16 07:30 | 4-CHLOROTOLUENE | 77277GCM66 | 0.042 | 0.084 | . | ug/L | 0.73333 | 0.0616 | Recoverable Result | 4440 | A | dlr |  | 2014-05-30 | NSI 032614: 10 µl & Supelco LC06438: 10 µl
20142060045 | 2014-07-24 07:30 | 4-CHLOROTOLUENE | 77277GCM66 | 0.042 | 0.084 | . | ug/L | 0.96429 | 0.081 | Recoverable Result | 4440 | D | ahe |  | 2014-07-29 | Crescent 03DD004: 10 µl & NSI 032614: 10 µl
20142480009 | 2014-09-04 08:00 | 4-CHLOROTOLUENE | 77277GCM66 | 0.042 | 0.084 | . | ug/L | 1.0405 | 0.0874 | Recoverable Result | 4440 | D | dlr |  | 2014-09-09 | NSI 032614: 10 µl & Spex Organics C1140417015: 10 µl
20142470038 | 2014-09-03 07:15 | 4-CHLOROTOLUENE | 77277GCM66 | 0.042 | 0.084 | . | ug/L | 1.0679 | 0.0897 | Recoverable Result | 4440 | D | dlr | +c | 2014-09-09 | Accu 214031115: 10 µl & NSI 032614: 10 µl
20141840101 | 2014-07-02 08:00 | 4-CHLOROTOLUENE | 77277GCM66 | 0.042 | 0.0856 | . | ug/L | 0.92407 | 0.0791 | Recoverable Result | 4440 | D | dlr |  | 2014-07-11 | Spex Organics C1140417015: 10 µl & ERA 0227-14-06.1A: 10 µl
20142720027 | 2014-09-25 07:30 | 4-CHLOROTOLUENE | 77277GCM66 | 0.042 | 0.0856 | . | ug/L | 0.83178 | 0.0712 | Recoverable Result | 4440 | D | dlr |  | 2014-10-04 | Crescent 03DD004: 10 µl & ERA 0227-14-06.1A: 10 µl
20142890080 | 2014-10-16 08:00 | 4-CHLOROTOLUENE | 77277GCM66 | 0.042 | 0.0856 | . | ug/L | 0.86215 | 0.0738 | Recoverable Result | 4440 | D | dlr |  | 2014-10-21 | ERA 0227-14-06.1A: 10 µl & Supelco LC06438: 10 µl
20150090093 | 2015-01-08 07:30 | 4-CHLOROTOLUENE | 77277GCM66 | 0.042 | 0.0856 | . | ug/L | 0.76752 | 0.0657 | Recoverable Result | 4440 | D | KAS |  | 2015-01-13 | Accu 214031115: 10 µl & ERA 0227-14-06.1A: 10 µl
20151270114 | 2015-05-07 07:30 | 4-CHLOROTOLUENE | 77277GCM66 | 0.042 | 0.093 | . | ug/L | 0.96129 | 0.0894 | Recoverable Result | 4440 | D | dlr |  | 2015-05-09 | Spex Organics EN150428007: 15 µl & Crescent 04EE008: 15 µl
20152890011 | 2015-10-15 09:00 | 4-CHLOROTOLUENE | 77277GCM66 | 0.042 | 0.093 | . | ug/L | 0.84946 | 0.079 | Recoverable Result | 4440 | D | kas |  | 2015-10-17 | Crescent 04EE008: 15 µl & NSI 050515AVOC: 15 µl
20153510114 | 2015-12-17 08:30 | 4-CHLOROTOLUENE | 77277GCM66 | 0.042 | 0.093 | . | ug/L | 0.84301 | 0.0784 | Recoverable Result | 4440 | D | kas |  | 2015-12-18 | Supelco LC13545: 15 µl & Crescent 04EE008: 15 µl
20151480172 | 2015-05-28 07:30 | 4-CHLOROTOLUENE | 77277GCM66 | 0.042 | 0.0948 | . | ug/L | 0.89662 | 0.085 | Recoverable Result | 4440 | A | lmu |  | 2015-06-04 | NSI 050515AVOC: 15 µl & Accu 215041380: 15 µl
20160630052 | 2016-03-03 09:00 | 4-CHLOROTOLUENE | 77277GCM66 | 0.042 | 0.0948 | . | ug/L | 0.83966 | 0.0796 | Recoverable Result | 4440 | D | lmu |  | 2016-03-04 | Accu 215041380: 15 µl & ERA 0406-15-03: 15 µl
20160910143 | 2016-03-31 06:00 | 4-CHLOROTOLUENE | 77277GCM66 | 0.042 | 0.0948 | . | ug/L | 0.89241 | 0.0846 | Recoverable Result | 4440 | D | lmu |  | 2016-04-02 | Supelco LC13545: 15 µl & Accu 215041380: 15 µl
20161820011 | 2016-06-29 07:00 | 4-CHLOROTOLUENE | 77277GCM66 | 0.042 | 0.10371 | . | ug/L | 0.6846 | 0.071 | Recoverable Result | 4440 | D | kas |  | 2016-06-30 | ChemService 5082900: 15 µl & Accu 216041125: 15 µl
20162300276 | 2016-08-17 07:00 | 4-CHLOROTOLUENE | 77277GCM66 | 0.042 | 0.10371 | . | ug/L | 0.84563 | 0.0877 | Recoverable Result | 4440 | D | kas |  | 2016-08-20 | Accu 216041125: 15 µl & Crescent 03FF058: 15 µl
20162800001 | 2016-10-05 07:00 | 4-CHLOROTOLUENE | 77277GCM66 | 0.042 | 0.10371 | . | ug/L | 0.8977 | 0.0931 | Recoverable Result | 4440 | A | dlr |  | 2016-10-13 | Accu 216041125: 15 µl & NSI 041816AVOC: 15 µl
20161470002 | 2016-05-25 06:10 | 4-CHLOROTOLUENE | 77277GCM66 | 0.042 | 0.1047 | . | ug/L | 0.95129 | 0.0996 | Recoverable Result | 4440 | A | lmu |  | 2016-05-27 | Phenova B20160319: 15 µl & Supelco LC20141V: 15 µl
20162100019 | 2016-07-27 06:00 | 4-CHLOROTOLUENE | 77277GCM66 | 0.042 | 0.1047 | . | ug/L | 0.87584 | 0.0917 | Recoverable Result | 4440 | A | kas |  | 2016-07-29 | Phenova B20160319: 15 µl & NSI 041816AVOC: 15 µl
20162520004 | 2016-09-07 06:30 | 4-CHLOROTOLUENE | 77277GCM66 | 0.042 | 0.1047 | . | ug/L | 0.81089 | 0.0849 | Recoverable Result | 4440 | D | kas |  | 2016-09-08 | Phenova B20160319: 15 µl & Crescent 03FF058: 15 µl
20163280006 | 2016-11-21 07:00 | 4-CHLOROTOLUENE | 77277GCM66 | 0.042 | 0.1047 | . | ug/L | 0.89016 | 0.0932 | Recoverable Result | 4440 | A | jco |  | 2016-11-29 | ChemService 5082900: 15 µl & Phenova B20160319: 15 µl
20151820110 | 2015-07-01 08:00 | 4-CHLOROTOLUENE | 77277GCM66 | 0.042 | 0.155 | . | ug/L | 0.79355 | 0.123 | Recoverable Result | 4440 | D | kas |  | 2015-07-13 | Crescent 04EE008: 25 µl & NSI 050515AVOC: 25 µl
20152250274 | 2015-08-13 09:30 | 4-CHLOROTOLUENE | 77277GCM66 | 0.042 | 0.155 | . | ug/L | 0.94194 | 0.146 | Recoverable Result | 4440 | A | mgu |  | 2015-08-15 | Supelco LC13545: 25 µl & Crescent 04EE008: 25 µl
20152610008 | 2015-09-17 08:00 | 4-CHLOROTOLUENE | 77277GCM66 | 0.042 | 0.158 | . | ug/L | 0.81646 | 0.129 | Recoverable Result | 4440 | A | KAS |  | 2015-09-29 | Accu 215041380: 25 µl & ERA 0406-15-03: 25 µl
20141150020 | 2014-04-24 07:00 | 4-CHLOROTOLUENE | 77277GCM66 | 0.042 | 0.168 | . | ug/L | 0.75 | 0.126 | Recoverable Result | 4440 | D | ahe |  | 2014-05-01 | Accu 214031115: 20 µl & NSI 032614: 20 µl
20141570084 | 2014-06-05 08:00 | 4-CHLOROTOLUENE | 77277GCM66 | 0.042 | 0.168 | . | ug/L | 0.92262 | 0.155 | Recoverable Result | 4440 | A | dlr |  | 2014-06-10 | NSI 032614: 20 µl & Supelco LC06438: 20 µl
20141490202 | 2014-05-29 08:00 | 4-CHLOROTOLUENE | 77277GCM66 | 0.042 | 0.168 | . | ug/L | 0.80357 | 0.135 | Recoverable Result | 4440 | A | dlr |  | 2014-06-10 | Crescent 03DD004: 20 µl & NSI 032614: 20 µl
20143240097 | 2014-11-19 07:30 | 4-CHLOROTOLUENE | 77277GCM66 | 0.042 | 0.168 | . | ug/L | 0.99405 | 0.167 | Recoverable Result | 4440 | D | dlr |  | 2014-11-22 | NSI 032614: 20 µl & Spex Organics C1140417015: 20 µl
20141770147 | 2014-06-26 08:00 | 4-CHLOROTOLUENE | 77277GCM66 | 0.042 | 0.1712 | . | ug/L | 0.78855 | 0.135 | Recoverable Result | 4440 | D | ahe |  | 2014-07-01 | Accu 214031115: 20 µl & ERA 0227-14-06.1A: 20 µl
20142200168 | 2014-08-07 08:30 | 4-CHLOROTOLUENE | 77277GCM66 | 0.042 | 0.1712 | . | ug/L | 0.84112 | 0.144 | Recoverable Result | 4440 | D | dlr |  | 2014-08-16 | ERA 0227-14-06.1A: 20 µl & Spex Organics C1140417015: 20 µl
20143110111 | 2014-11-06 07:30 | 4-CHLOROTOLUENE | 77277GCM66 | 0.042 | 0.1712 | . | ug/L | 0.81776 | 0.14 | Recoverable Result | 4440 | D | dlr |  | 2014-11-14 | Crescent 03DD004: 20 µl & ERA 0227-14-06.1A: 20 µl
20150510046 | 2015-02-19 07:30 | 4-CHLOROTOLUENE | 77277GCM66 | 0.042 | 0.1712 | . | ug/L | 0.9229 | 0.158 | Recoverable Result | 4440 | D | KAS |  | 2015-03-06 | ERA 0227-14-06.1A: 20 µl & Supelco LC06438: 20 µl
20150930003 | 2015-04-02 06:30 | 4-CHLOROTOLUENE | 77277GCM66 | 0.042 | 0.1712 | . | ug/L | 0.8236 | 0.141 | Recoverable Result | 4440 | D | mgu |  | 2015-04-09 | Accu 214031115: 20 µl & ERA 0227-14-06.1A: 20 µl
20161340232 | 2016-05-13 06:10 | 4-CHLOROTOLUENE | 77277GCM66 | 0.042 | 0.17285 | . | ug/L | 0.85045 | 0.147 | Recoverable Result | 4440 | A | lmu |  | 2016-05-24 | Accu 216041125: 25 µl & Crescent 03FF058: 25 µl
20162440115 | 2016-08-31 06:30 | 4-CHLOROTOLUENE | 77277GCM66 | 0.042 | 0.17285 | . | ug/L | 0.76367 | 0.132 | Recoverable Result | 4440 | D | kas |  | 2016-09-08 | Supelco LC20141V: 25 µl & Accu 216041125: 25 µl
20161680363 | 2016-06-15 07:00 | 4-CHLOROTOLUENE | 77277GCM66 | 0.042 | 0.1745 | . | ug/L | 0.95702 | 0.167 | Recoverable Result | 4440 | D | dlr |  | 2016-06-21 | Phenova B20160319: 25 µl & Crescent 03FF058: 25 µl
20162230172 | 2016-08-10 06:30 | 4-CHLOROTOLUENE | 77277GCM66 | 0.042 | 0.1745 | . | ug/L | 0.83095 | 0.145 | Recoverable Result | 4440 | D | kas |  | 2016-08-12 | ChemService 5082900: 25 µl & Phenova B20160319: 25 µl
20161880113 | 2016-07-06 06:15 | 4-CHLOROTOLUENE | 77277GCM66 | 0.042 | 0.27656 | . | ug/L | 0.82441 | 0.228 | Recoverable Result | 4440 | D | kas |  | 2016-07-14 | Accu 216041125: 40 µl & NSI 041816AVOC: 40 µl
20162020126 | 2016-07-20 06:45 | 4-CHLOROTOLUENE | 77277GCM66 | 0.042 | 0.27656 | . | ug/L | 0.95458 | 0.264 | Recoverable Result | 4440 | A | kas |  | 2016-07-20 | Supelco LC20141V: 40 µl & Accu 216041125: 40 µl
20163420128 | 2016-12-07 07:00 | 4-CHLOROTOLUENE | 77277GCM66 | 0.042 | 0.27656 | . | ug/L | 0.9582 | 0.265 | Recoverable Result | 4440 | A | dlr |  | 2016-12-12 | Accu 216041125: 40 µl & Crescent 03FF058: 40 µl