## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20160910143 | 2016-03-31 06:00 | ACETONE | 81552GCM66 | 4.2 |  | . | ug/L |  | 0.75 | False Positive | 4440 | D | lmu | bt | 2016-04-02 | Supelco LC13545: 15 µl & Accu 215041380: 15 µl
20151690197 | 2015-06-18 08:00 | ACETONE | 81552GCM66 | 4.2 | 6.3 | . | ug/L | 1.1857 | 7.47 | Recoverable Result | 4440 | D | kas |  | 2015-06-27 | ERA 0406-15-03: 10 µl & Supelco LC13545: 10 µl
20152040181 | 2015-07-23 08:00 | ACETONE | 81552GCM66 | 4.2 | 6.3 | . | ug/L | 1.0698 | 6.74 | Recoverable Result | 4440 | D | kas |  | 2015-07-31 | Crescent 04EE008: 10 µl & ERA 0406-15-03: 10 µl
20153230147 | 2015-11-19 09:30 | ACETONE | 81552GCM66 | 4.2 | 6.3 | . | ug/L | 1.1794 | 7.43 | Recoverable Result | 4440 | D | kas |  | 2015-11-20 | Accu 215041380: 10 µl & ERA 0406-15-03: 10 µl
20152390224 | 2015-08-27 09:30 | ACETONE | 81552GCM66 | 4.2 | 6.304 | . | ug/L | 0.92322 | 5.82 | Recoverable Result | 4440 | D | mgu |  | 2015-09-03 | NSI 050515AVOC: 10 µl & Spex Organics EN150428007: 10 µl
20153440003 | 2015-12-09 08:00 | ACETONE | 81552GCM66 | 4.2 | 6.304 | . | ug/L | 1.1532 | 7.27 | Recoverable Result | 4440 | A | kas |  | 2015-12-10 | NSI 050515AVOC: 10 µl & Supelco LC13545: 10 µl
20160140041 | 2016-01-14 09:00 | ACETONE | 81552GCM66 | 4.2 | 6.304 | . | ug/L | 0.90736 | 5.72 | Recoverable Result | 4440 | D | kas |  | 2016-01-27 | Crescent 04EE008: 10 µl & NSI 050515AVOC: 10 µl
20160770093 | 2016-03-17 09:00 | ACETONE | 81552GCM66 | 4.2 | 6.304 | . | ug/L | 1.1421 | 7.2 | Recoverable Result | 4440 | D | lmu |  | 2016-03-17 | NSI 050515AVOC: 10 µl & Supelco LC13545: 10 µl
20141220028 | 2014-05-01 07:30 | ACETONE | 81552GCM66 | 3.4 | 6.794 | . | ug/L | 1.2702 | 8.63 | Recoverable Result | 4440 | D | dlr |  | 2014-05-03 | Crescent 03DD004: 10 µl & Supelco LC06438: 10 µl
20142060045 | 2014-07-24 07:30 | ACETONE | 81552GCM66 | 3.4 | 6.794 | . | ug/L | 1.1569 | 7.86 | Recoverable Result | 4440 | D | ahe |  | 2014-07-29 | Crescent 03DD004: 10 µl & NSI 032614: 10 µl
20142720027 | 2014-09-25 07:30 | ACETONE | 81552GCM66 | 4.2 | 6.794 | . | ug/L | 0.84634 | 5.75 | Recoverable Result | 4440 | D | dlr |  | 2014-10-04 | Crescent 03DD004: 10 µl & ERA 0227-14-06.1A: 10 µl
20143030098 | 2014-10-30 07:30 | ACETONE | 81552GCM66 | 4.2 | 6.794 | . | ug/L | 1.1407 | 7.75 | Recoverable Result | 4440 | D | dlr | c | 2014-11-06 | Spex Organics C1140417015: 10 µl & Crescent 03DD004: 10 µl
20141640078 | 2014-06-12 08:00 | ACETONE | 81552GCM66 | 3.4 | 6.8 | . | ug/L | 1.1971 | 8.14 | Recoverable Result | 4440 | D | lmu |  | 2014-06-18 | Supelco LC06438: 10 µl & Accu 214031115: 10 µl
20141990078 | 2014-07-17 07:00 | ACETONE | 81552GCM66 | 3.4 | 6.8 | . | ug/L | 1.3279 | 9.03 | Recoverable Result | 4440 | D | ahe |  | 2014-07-23 | Spex Organics C1140417015: 10 µl & Accu 214031115: 10 µl
20142470038 | 2014-09-03 07:15 | ACETONE | 81552GCM66 | 3.4 | 6.8 | . | ug/L | 1.75 | 11.9 | Recoverable Result | 4440 | D | dlr | +c | 2014-09-09 | Accu 214031115: 10 µl & NSI 032614: 10 µl
20150090093 | 2015-01-08 07:30 | ACETONE | 81552GCM66 | 4.2 | 6.8 | . | ug/L | 1.1471 | 7.8 | Recoverable Result | 4440 | D | KAS |  | 2015-01-24 | Accu 214031115: 10 µl & ERA 0227-14-06.1A: 10 µl
20152810126 | 2015-10-08 09:00 | ACETONE | 81552GCM66 | 4.2 | 9.45 | . | ug/L | 1.0688 | 10.1 | Recoverable Result | 4440 | D | kas |  | 2015-10-16 | ERA 0406-15-03: 15 µl & Spex Organics EN150428007: 15 µl
20160280060 | 2016-01-28 09:00 | ACETONE | 81552GCM66 | 4.2 | 9.45 | . | ug/L | 0.99365 | 9.39 | Recoverable Result | 4440 | D | kas |  | 2016-02-05 | ERA 0406-15-03: 15 µl & Spex Organics EN150428007: 15 µl
20160630052 | 2016-03-03 09:00 | ACETONE | 81552GCM66 | 4.2 | 9.45 | . | ug/L | 1.2169 | 11.5 | Recoverable Result | 4440 | D | lmu |  | 2016-03-04 | Accu 215041380: 15 µl & ERA 0406-15-03: 15 µl
20161050145 | 2016-04-14 07:00 | ACETONE | 81552GCM66 | 4.2 | 9.45 | . | ug/L | 1.1534 | 10.9 | Recoverable Result | 4440 | D | kas |  | 2016-04-26 | ERA 0406-15-03: 15 µl & Spex Organics EN150428007: 15 µl
20151480172 | 2015-05-28 07:30 | ACETONE | 81552GCM66 | 4.2 | 9.456 | . | ug/L | 0.98879 | 9.35 | Recoverable Result | 4440 | A | lmu |  | 2015-06-04 | NSI 050515AVOC: 15 µl & Accu 215041380: 15 µl
20152890011 | 2015-10-15 09:00 | ACETONE | 81552GCM66 | 4.2 | 9.456 | . | ug/L | 1.0226 | 9.67 | Recoverable Result | 4440 | D | kas |  | 2015-10-17 | Crescent 04EE008: 15 µl & NSI 050515AVOC: 15 µl
20153030066 | 2015-10-29 09:00 | ACETONE | 81552GCM66 | 4.2 | 9.456 | . | ug/L | 1.1739 | 11.1 | Recoverable Result | 4440 | D | kas |  | 2015-11-04 | NSI 050515AVOC: 15 µl & Spex Organics EN150428007: 15 µl
20161470002 | 2016-05-25 06:10 | ACETONE | 81552GCM66 | 4.2 | 10.44 | . | ug/L | 1.0632 | 11.1 | Recoverable Result | 4440 | A | lmu |  | 2016-05-27 | Phenova B20160319: 15 µl & Supelco LC20141V: 15 µl
20162100019 | 2016-07-27 06:00 | ACETONE | 81552GCM66 | 4.2 | 10.44 | . | ug/L | 0.97701 | 10.2 | Recoverable Result | 4440 | A | kas |  | 2016-07-29 | Phenova B20160319: 15 µl & NSI 041816AVOC: 15 µl
20162520004 | 2016-09-07 06:30 | ACETONE | 81552GCM66 | 4.2 | 10.44 | . | ug/L | 1.159 | 12.1 | Recoverable Result | 4440 | D | kas |  | 2016-09-08 | Phenova B20160319: 15 µl & Crescent 03FF058: 15 µl
20163280006 | 2016-11-21 07:00 | ACETONE | 81552GCM66 | 3.4 | 10.44 | . | ug/L | 1.0441 | 10.9 | Recoverable Result | 4440 | A | jco |  | 2016-11-29 | ChemService 5082900: 15 µl & Phenova B20160319: 15 µl
20161820011 | 2016-06-29 07:00 | ACETONE | 81552GCM66 | 4.2 | 10.509 | . | ug/L | 0.79741 | 8.38 | Recoverable Result | 4440 | D | kas |  | 2016-06-30 | ChemService 5082900: 15 µl & Accu 216041125: 15 µl
20162300276 | 2016-08-17 07:00 | ACETONE | 81552GCM66 | 4.2 | 10.509 | . | ug/L | 1.3798 | 14.5 | Recoverable Result | 4440 | D | kas |  | 2016-08-20 | Accu 216041125: 15 µl & Crescent 03FF058: 15 µl
20162800001 | 2016-10-05 07:00 | ACETONE | 81552GCM66 | 3.4 | 10.509 | . | ug/L | 1.237 | 13 | Recoverable Result | 4440 | A | dlr |  | 2016-10-13 | Accu 216041125: 15 µl & NSI 041816AVOC: 15 µl
20141490202 | 2014-05-29 08:00 | ACETONE | 81552GCM66 | 3.4 | 13.588 | . | ug/L | 1.2658 | 17.2 | Recoverable Result | 4440 | A | dlr |  | 2014-06-10 | Crescent 03DD004: 20 µl & NSI 032614: 20 µl
20143110111 | 2014-11-06 07:30 | ACETONE | 81552GCM66 | 4.2 | 13.588 | . | ug/L | 1.0598 | 14.4 | Recoverable Result | 4440 | D | dlr |  | 2014-11-14 | Crescent 03DD004: 20 µl & ERA 0227-14-06.1A: 20 µl
20143420010 | 2014-12-08 07:30 | ACETONE | 81552GCM66 | 4.2 | 13.588 | . | ug/L | 1.1186 | 15.2 | Recoverable Result | 4440 | D | KAS |  | 2014-12-17 | Supelco LC06438: 20 µl & Crescent 03DD004: 20 µl
20150720068 | 2015-03-12 07:00 | ACETONE | 81552GCM66 | 4.2 | 13.588 | . | ug/L | 1.0892 | 14.8 | Recoverable Result | 4440 | D | KAS |  | 2015-03-19 | Spex Organics C1140417015: 20 µl & Crescent 03DD004: 20 µl
20141150020 | 2014-04-24 07:00 | ACETONE | 81552GCM66 | 3.4 | 13.6 | . | ug/L | 1.2426 | 16.9 | Recoverable Result | 4440 | D | ahe |  | 2014-05-01 | Accu 214031115: 20 µl & NSI 032614: 20 µl
20141770147 | 2014-06-26 08:00 | ACETONE | 81552GCM66 | 3.4 | 13.6 | . | ug/L | 1.2574 | 17.1 | Recoverable Result | 4440 | D | ahe |  | 2014-07-01 | Accu 214031115: 20 µl & ERA 0227-14-06.1A: 20 µl
20142270005 | 2014-08-14 07:30 | ACETONE | 81552GCM66 | 3.4 | 13.6 | . | ug/L | 1.3529 | 18.4 | Recoverable Result | 4440 | D | lmu |  | 2014-08-19 | Spex Organics C1140417015: 20 µl & Accu 214031115: 20 µl
20150930003 | 2015-04-02 06:30 | ACETONE | 81552GCM66 | 4.2 | 13.6 | . | ug/L | 1.0515 | 14.3 | Recoverable Result | 4440 | D | mgu |  | 2015-04-09 | Accu 214031115: 20 µl & ERA 0227-14-06.1A: 20 µl
20151620184 | 2015-06-11 07:30 | ACETONE | 81552GCM66 | 4.2 | 15.75 | . | ug/L | 0.92063 | 14.5 | Recoverable Result | 4440 | A | lmu |  | 2015-06-16 | ERA 0406-15-03: 25 µl & Supelco LC13545: 25 µl
20152610008 | 2015-09-17 08:00 | ACETONE | 81552GCM66 | 4.2 | 15.75 | . | ug/L | 1.1111 | 17.5 | Recoverable Result | 4440 | A | KAS |  | 2015-09-29 | Accu 215041380: 25 µl & ERA 0406-15-03: 25 µl
20151820110 | 2015-07-01 08:00 | ACETONE | 81552GCM66 | 4.2 | 15.76 | . | ug/L | 1.2944 | 20.4 | Recoverable Result | 4440 | D | kas |  | 2015-07-13 | Crescent 04EE008: 25 µl & NSI 050515AVOC: 25 µl
20161680363 | 2016-06-15 07:00 | ACETONE | 81552GCM66 | 4.2 | 17.4 | . | ug/L | 1.1494 | 20 | Recoverable Result | 4440 | D | dlr |  | 2016-06-21 | Phenova B20160319: 25 µl & Crescent 03FF058: 25 µl
20162230172 | 2016-08-10 06:30 | ACETONE | 81552GCM66 | 4.2 | 17.4 | . | ug/L | 1.092 | 19 | Recoverable Result | 4440 | D | kas |  | 2016-08-12 | ChemService 5082900: 25 µl & Phenova B20160319: 25 µl
20161340232 | 2016-05-13 06:10 | ACETONE | 81552GCM66 | 4.2 | 17.515 | . | ug/L | 1.0791 | 18.9 | Recoverable Result | 4440 | A | lmu |  | 2016-05-24 | Accu 216041125: 25 µl & Crescent 03FF058: 25 µl
20162440115 | 2016-08-31 06:30 | ACETONE | 81552GCM66 | 4.2 | 17.515 | . | ug/L | 1.0677 | 18.7 | Recoverable Result | 4440 | D | kas |  | 2016-09-08 | Supelco LC20141V: 25 µl & Accu 216041125: 25 µl
20161880113 | 2016-07-06 06:15 | ACETONE | 81552GCM66 | 4.2 | 28.024 | . | ug/L | 0.98487 | 27.6 | Recoverable Result | 4440 | D | kas |  | 2016-07-14 | Accu 216041125: 40 µl & NSI 041816AVOC: 40 µl
20162020126 | 2016-07-20 06:45 | ACETONE | 81552GCM66 | 4.2 | 28.024 | . | ug/L | 1.1597 | 32.5 | Recoverable Result | 4440 | A | kas |  | 2016-07-20 | Supelco LC20141V: 40 µl & Accu 216041125: 40 µl
20163420128 | 2016-12-07 07:00 | ACETONE | 81552GCM66 | 3.4 | 28.024 | . | ug/L | 1.2668 | 35.5 | Recoverable Result | 4440 | A | dlr |  | 2016-12-12 | Accu 216041125: 40 µl & Crescent 03FF058: 40 µl