## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20161340232 | 2016-05-13 06:10 | BROMOCHLOROMETHANE | 77297GCM66 | 0.06 |  | . | ug/L |  | 0.051 | False Positive | 4440 | A | lmu | n | 2016-05-24 | Accu 216041125: 25 µl & Crescent 03FF058: 25 µl
20161680363 | 2016-06-15 07:00 | BROMOCHLOROMETHANE | 77297GCM66 | 0.06 |  | . | ug/L |  | 0.055 | False Positive | 4440 | D | dlr | n | 2016-06-21 | Phenova B20160319: 25 µl & Crescent 03FF058: 25 µl
20161880113 | 2016-07-06 06:15 | BROMOCHLOROMETHANE | 77297GCM66 | 0.06 |  | . | ug/L |  | 0.054 | False Positive | 4440 | D | kas | n | 2016-07-14 | Accu 216041125: 40 µl & NSI 041816AVOC: 40 µl
20162300276 | 2016-08-17 07:00 | BROMOCHLOROMETHANE | 77297GCM66 | 0.06 |  | . | ug/L |  | 0.027 | False Positive | 4440 | D | kas | t | 2016-08-20 | Accu 216041125: 15 µl & Crescent 03FF058: 15 µl
20162520004 | 2016-09-07 06:30 | BROMOCHLOROMETHANE | 77297GCM66 | 0.06 |  | . | ug/L |  | 0.029 | False Positive | 4440 | D | kas | t | 2016-09-08 | Phenova B20160319: 15 µl & Crescent 03FF058: 15 µl
20163420128 | 2016-12-07 07:00 | BROMOCHLOROMETHANE | 77297GCM66 | 0.06 |  | . | ug/L |  | 0.081 | False Positive | 4440 | A | dlr |  | 2016-12-12 | Accu 216041125: 40 µl & Crescent 03FF058: 40 µl
20151380012 | 2015-05-14 07:00 | BROMOCHLOROMETHANE | 77297GCM66 | 0.06 | 0.08958 | . | ug/L | 1.0493 | 0.094 | Recoverable Result | 4440 | D | KAS |  | 2015-05-21 | Spex Organics EN150428007: 10 µl & Accu 215041380: 10 µl
20153090111 | 2015-11-05 09:30 | BROMOCHLOROMETHANE | 77297GCM66 | 0.06 | 0.08958 | . | ug/L | 0.99353 | 0.089 | Recoverable Result | 4440 | D | kas |  | 2015-11-12 | Spex Organics EN150428007: 10 µl & Accu 215041380: 10 µl
20153230147 | 2015-11-19 09:30 | BROMOCHLOROMETHANE | 77297GCM66 | 0.06 | 0.08958 | . | ug/L | 1.027 | 0.092 | Recoverable Result | 4440 | D | kas |  | 2015-11-20 | Accu 215041380: 10 µl & ERA 0406-15-03: 10 µl
20160490036 | 2016-02-18 09:00 | BROMOCHLOROMETHANE | 77297GCM66 | 0.06 | 0.08958 | . | ug/L | 0.89306 | 0.08 | Recoverable Result | 4440 | D | kas |  | 2016-02-18 | Spex Organics EN150428007: 10 µl & Accu 215041380: 10 µl
20151210035 | 2015-04-30 08:00 | BROMOCHLOROMETHANE | 77297GCM66 | 0.06 | 0.09 | . | ug/L | 0.95556 | 0.086 | Recoverable Result | 4440 | D | dlr |  | 2015-05-09 | Supelco LC13545: 10 µl & Crescent 04EE008: 10 µl
20152040181 | 2015-07-23 08:00 | BROMOCHLOROMETHANE | 77297GCM66 | 0.06 | 0.09 | . | ug/L | 0.85556 | 0.077 | Recoverable Result | 4440 | D | kas |  | 2015-07-31 | Crescent 04EE008: 10 µl & ERA 0406-15-03: 10 µl
20160140041 | 2016-01-14 09:00 | BROMOCHLOROMETHANE | 77297GCM66 | 0.06 | 0.09 | . | ug/L | 1.1111 | 0.1 | Recoverable Result | 4440 | D | kas |  | 2016-01-27 | Crescent 04EE008: 10 µl & NSI 050515AVOC: 10 µl
20161260157 | 2016-05-05 07:30 | BROMOCHLOROMETHANE | 77297GCM66 | 0.06 | 0.09 | . | ug/L | 1.0333 | 0.093 | Recoverable Result | 4440 | A | kas |  | 2016-05-13 | Supelco LC13545: 10 µl & Crescent 04EE008: 10 µl
20141840101 | 2014-07-02 08:00 | BROMOCHLOROMETHANE | 77297GCM66 | 0.06 | 0.12 | . | ug/L | 1.0083 | 0.121 | Recoverable Result | 4440 | D | dlr |  | 2014-07-11 | Spex Organics C1140417015: 10 µl & ERA 0227-14-06.1A: 10 µl
20141990078 | 2014-07-17 07:00 | BROMOCHLOROMETHANE | 77297GCM66 | 0.06 | 0.12 | . | ug/L | 1.0583 | 0.127 | Recoverable Result | 4440 | D | ahe |  | 2014-07-23 | Spex Organics C1140417015: 10 µl & Accu 214031115: 10 µl
20142480009 | 2014-09-04 08:00 | BROMOCHLOROMETHANE | 77297GCM66 | 0.06 | 0.12 | . | ug/L | 1.0167 | 0.122 | Recoverable Result | 4440 | D | dlr |  | 2014-09-09 | NSI 032614: 10 µl & Spex Organics C1140417015: 10 µl
20143030098 | 2014-10-30 07:30 | BROMOCHLOROMETHANE | 77297GCM66 | 0.06 | 0.12 | . | ug/L | 0.95 | 0.114 | Recoverable Result | 4440 | D | dlr |  | 2014-11-06 | Spex Organics C1140417015: 10 µl & Crescent 03DD004: 10 µl
20141220028 | 2014-05-01 07:30 | BROMOCHLOROMETHANE | 77297GCM66 | 0.06 | 0.1202 | . | ug/L | 1.0483 | 0.126 | Recoverable Result | 4440 | D | dlr |  | 2014-05-03 | Crescent 03DD004: 10 µl & Supelco LC06438: 10 µl
20141360092 | 2014-05-16 07:30 | BROMOCHLOROMETHANE | 77297GCM66 | 0.06 | 0.1202 | . | ug/L | 0.84027 | 0.101 | Recoverable Result | 4440 | A | dlr |  | 2014-05-30 | NSI 032614: 10 µl & Supelco LC06438: 10 µl
20141640078 | 2014-06-12 08:00 | BROMOCHLOROMETHANE | 77297GCM66 | 0.06 | 0.1202 | . | ug/L | 0.99834 | 0.12 | Recoverable Result | 4440 | D | lmu |  | 2014-06-18 | Supelco LC06438: 10 µl & Accu 214031115: 10 µl
20142890080 | 2014-10-16 08:00 | BROMOCHLOROMETHANE | 77297GCM66 | 0.06 | 0.1202 | . | ug/L | 0.99002 | 0.119 | Recoverable Result | 4440 | D | dlr |  | 2014-10-21 | ERA 0227-14-06.1A: 10 µl & Supelco LC06438: 10 µl
20151480172 | 2015-05-28 07:30 | BROMOCHLOROMETHANE | 77297GCM66 | 0.06 | 0.13437 | . | ug/L | 0.86329 | 0.116 | Recoverable Result | 4440 | A | lmu |  | 2015-06-04 | NSI 050515AVOC: 15 µl & Accu 215041380: 15 µl
20160630052 | 2016-03-03 09:00 | BROMOCHLOROMETHANE | 77297GCM66 | 0.06 | 0.13437 | . | ug/L | 0.87817 | 0.118 | Recoverable Result | 4440 | D | lmu |  | 2016-03-04 | Accu 215041380: 15 µl & ERA 0406-15-03: 15 µl
20160910143 | 2016-03-31 06:00 | BROMOCHLOROMETHANE | 77297GCM66 | 0.06 | 0.13437 | . | ug/L | 1.0345 | 0.139 | Recoverable Result | 4440 | D | lmu |  | 2016-04-02 | Supelco LC13545: 15 µl & Accu 215041380: 15 µl
20151270114 | 2015-05-07 07:30 | BROMOCHLOROMETHANE | 77297GCM66 | 0.06 | 0.135 | . | ug/L | 1.0296 | 0.139 | Recoverable Result | 4440 | D | dlr |  | 2015-05-09 | Spex Organics EN150428007: 15 µl & Crescent 04EE008: 15 µl
20152890011 | 2015-10-15 09:00 | BROMOCHLOROMETHANE | 77297GCM66 | 0.06 | 0.135 | . | ug/L | 1.0667 | 0.144 | Recoverable Result | 4440 | D | kas |  | 2015-10-17 | Crescent 04EE008: 15 µl & NSI 050515AVOC: 15 µl
20153510114 | 2015-12-17 08:30 | BROMOCHLOROMETHANE | 77297GCM66 | 0.06 | 0.135 | . | ug/L | 0.94074 | 0.127 | Recoverable Result | 4440 | D | kas |  | 2015-12-18 | Supelco LC13545: 15 µl & Crescent 04EE008: 15 µl
20161470002 | 2016-05-25 06:10 | BROMOCHLOROMETHANE | 77297GCM66 | 0.06 | 0.1494 | . | ug/L | 1.004 | 0.15 | Recoverable Result | 4440 | A | lmu |  | 2016-05-27 | Phenova B20160319: 15 µl & Supelco LC20141V: 15 µl
20162860092 | 2016-10-12 06:30 | BROMOCHLOROMETHANE | 77297GCM66 | 0.06 | 0.1494 | . | ug/L | 1.0375 | 0.155 | Recoverable Result | 4440 | A | dlr |  | 2016-10-13 | NSI 041816AVOC: 15 µl & Supelco LC20141V: 15 µl
20161600091 | 2016-06-08 06:00 | BROMOCHLOROMETHANE | 77297GCM66 | 0.06 | 0.15 | . | ug/L | 1.1133 | 0.167 | Recoverable Result | 4440 | D | kas |  | 2016-06-10 | NSI 041816AVOC: 15 µl & ChemService 5082900: 15 µl
20161820011 | 2016-06-29 07:00 | BROMOCHLOROMETHANE | 77297GCM66 | 0.06 | 0.15 | . | ug/L | 1.1467 | 0.172 | Recoverable Result | 4440 | D | kas |  | 2016-06-30 | ChemService 5082900: 15 µl & Accu 216041125: 15 µl
20162660007 | 2016-09-21 06:30 | BROMOCHLOROMETHANE | 77297GCM66 | 0.06 | 0.15 | . | ug/L | 1.32 | 0.198 | Recoverable Result | 4440 | A | jco |  | 2016-09-28 | Crescent 03FF058: 15 µl & ChemService 5082900: 15 µl
20163280006 | 2016-11-21 07:00 | BROMOCHLOROMETHANE | 77297GCM66 | 0.06 | 0.15 | . | ug/L | 1.04 | 0.156 | Recoverable Result | 4440 | A | jco |  | 2016-11-29 | ChemService 5082900: 15 µl & Phenova B20160319: 15 µl
20152610008 | 2015-09-17 08:00 | BROMOCHLOROMETHANE | 77297GCM66 | 0.06 | 0.22395 | . | ug/L | 0.94664 | 0.212 | Recoverable Result | 4440 | A | KAS |  | 2015-09-29 | Accu 215041380: 25 µl & ERA 0406-15-03: 25 µl
20151820110 | 2015-07-01 08:00 | BROMOCHLOROMETHANE | 77297GCM66 | 0.06 | 0.225 | . | ug/L | 0.99111 | 0.223 | Recoverable Result | 4440 | D | kas |  | 2015-07-13 | Crescent 04EE008: 25 µl & NSI 050515AVOC: 25 µl
20152250274 | 2015-08-13 09:30 | BROMOCHLOROMETHANE | 77297GCM66 | 0.06 | 0.225 | . | ug/L | 1.0267 | 0.231 | Recoverable Result | 4440 | A | mgu |  | 2015-08-15 | Supelco LC13545: 25 µl & Crescent 04EE008: 25 µl
20142200168 | 2014-08-07 08:30 | BROMOCHLOROMETHANE | 77297GCM66 | 0.06 | 0.24 | . | ug/L | 1.1208 | 0.269 | Recoverable Result | 4440 | D | dlr |  | 2014-08-16 | ERA 0227-14-06.1A: 20 µl & Spex Organics C1140417015: 20 µl
20142270005 | 2014-08-14 07:30 | BROMOCHLOROMETHANE | 77297GCM66 | 0.06 | 0.24 | . | ug/L | 1.0125 | 0.243 | Recoverable Result | 4440 | D | lmu |  | 2014-08-19 | Spex Organics C1140417015: 20 µl & Accu 214031115: 20 µl
20143240097 | 2014-11-19 07:30 | BROMOCHLOROMETHANE | 77297GCM66 | 0.06 | 0.24 | . | ug/L | 0.975 | 0.234 | Recoverable Result | 4440 | D | dlr |  | 2014-11-22 | NSI 032614: 20 µl & Spex Organics C1140417015: 20 µl
20150720068 | 2015-03-12 07:00 | BROMOCHLOROMETHANE | 77297GCM66 | 0.06 | 0.24 | . | ug/L | 1.075 | 0.258 | Recoverable Result | 4440 | D | KAS |  | 2015-03-19 | Spex Organics C1140417015: 20 µl & Crescent 03DD004: 20 µl
20141570084 | 2014-06-05 08:00 | BROMOCHLOROMETHANE | 77297GCM66 | 0.06 | 0.2404 | . | ug/L | 0.93594 | 0.225 | Recoverable Result | 4440 | A | dlr |  | 2014-06-10 | NSI 032614: 20 µl & Supelco LC06438: 20 µl
20142530090 | 2014-09-10 07:30 | BROMOCHLOROMETHANE | 77297GCM66 | 0.06 | 0.2404 | . | ug/L | 0.87354 | 0.21 | Recoverable Result | 4440 | D | dlr |  | 2014-09-21 | Supelco LC06438: 20 µl
20143420010 | 2014-12-08 07:30 | BROMOCHLOROMETHANE | 77297GCM66 | 0.06 | 0.2404 | . | ug/L | 0.99002 | 0.238 | Recoverable Result | 4440 | D | KAS |  | 2014-12-17 | Supelco LC06438: 20 µl & Crescent 03DD004: 20 µl
20150510046 | 2015-02-19 07:30 | BROMOCHLOROMETHANE | 77297GCM66 | 0.06 | 0.2404 | . | ug/L | 0.99002 | 0.238 | Recoverable Result | 4440 | D | KAS |  | 2015-03-06 | ERA 0227-14-06.1A: 20 µl & Supelco LC06438: 20 µl
20162440115 | 2016-08-31 06:30 | BROMOCHLOROMETHANE | 77297GCM66 | 0.06 | 0.249 | . | ug/L | 1.1205 | 0.279 | Recoverable Result | 4440 | D | kas |  | 2016-09-08 | Supelco LC20141V: 25 µl & Accu 216041125: 25 µl
20163220168 | 2016-11-16 07:00 | BROMOCHLOROMETHANE | 77297GCM66 | 0.06 | 0.249 | . | ug/L | 1.1566 | 0.288 | Recoverable Result | 4440 | A | dlr |  | 2016-11-21 | Crescent 03FF058: 25 µl & Supelco LC20141V: 25 µl
20161740255 | 2016-06-22 06:30 | BROMOCHLOROMETHANE | 77297GCM66 | 0.06 | 0.25 | . | ug/L | 1.376 | 0.344 | Recoverable Result | 4440 | D | kas |  | 2016-06-30 | Crescent 03FF058: 25 µl & ChemService 5082900: 25 µl
20162230172 | 2016-08-10 06:30 | BROMOCHLOROMETHANE | 77297GCM66 | 0.06 | 0.25 | . | ug/L | 1.132 | 0.283 | Recoverable Result | 4440 | D | kas |  | 2016-08-12 | ChemService 5082900: 25 µl & Phenova B20160319: 25 µl
20162380006 | 2016-08-24 06:15 | BROMOCHLOROMETHANE | 77297GCM66 | 0.06 | 0.25 | . | ug/L | 1.216 | 0.304 | Recoverable Result | 4440 | A | dlr |  | 2016-08-26 | NSI 041816AVOC: 25 µl & ChemService 5082900: 25 µl
20162020126 | 2016-07-20 06:45 | BROMOCHLOROMETHANE | 77297GCM66 | 0.06 | 0.3984 | . | ug/L | 0.92118 | 0.367 | Recoverable Result | 4440 | A | kas |  | 2016-07-20 | Supelco LC20141V: 40 µl & Accu 216041125: 40 µl
20162150210 | 2016-08-02 06:30 | BROMOCHLOROMETHANE | 77297GCM66 | 0.06 | 0.3984 | . | ug/L | 1.24 | 0.494 | Recoverable Result | 4440 | D | kas |  | 2016-08-04 | Crescent 03FF058: 40 µl & Supelco LC20141V: 40 µl
20163500004 | 2016-12-14 07:00 | BROMOCHLOROMETHANE | 77297GCM66 | 0.06 | 0.4 | . | ug/L | 1.165 | 0.466 | Recoverable Result | 4440 | A | lmu |  | 2016-12-16 | NSI 041816AVOC: 40 µl & ChemService 5082900: 40 µl