## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20161880113 | 2016-07-06 06:15 | BROMODICHLOROMETHANE | 32101GCM66 | 0.034 |  | . | ug/L |  | 0.0374 | False Positive | 4440 | D | kas |  | 2016-07-14 | Accu 216041125: 40 µl & NSI 041816AVOC: 40 µl
20151210035 | 2015-04-30 08:00 | BROMODICHLOROMETHANE | 32101GCM66 | 0.034 | 0.052 | . | ug/L | 0.99615 | 0.0518 | Recoverable Result | 4440 | D | dlr |  | 2015-05-09 | Supelco LC13545: 10 µl & Crescent 04EE008: 10 µl
20151380012 | 2015-05-14 07:00 | BROMODICHLOROMETHANE | 32101GCM66 | 0.034 | 0.052 | . | ug/L | 1.1096 | 0.0577 | Recoverable Result | 4440 | D | KAS |  | 2015-05-21 | Spex Organics EN150428007: 10 µl & Accu 215041380: 10 µl
20151690197 | 2015-06-18 08:00 | BROMODICHLOROMETHANE | 32101GCM66 | 0.034 | 0.052 | . | ug/L | 0.99808 | 0.0519 | Recoverable Result | 4440 | D | kas |  | 2015-06-27 | ERA 0406-15-03: 10 µl & Supelco LC13545: 10 µl
20152390224 | 2015-08-27 09:30 | BROMODICHLOROMETHANE | 32101GCM66 | 0.034 | 0.052 | . | ug/L | 1.0712 | 0.0557 | Recoverable Result | 4440 | D | mgu |  | 2015-09-03 | NSI 050515AVOC: 10 µl & Spex Organics EN150428007: 10 µl
20153090111 | 2015-11-05 09:30 | BROMODICHLOROMETHANE | 32101GCM66 | 0.034 | 0.052 | . | ug/L | 1.1288 | 0.0587 | Recoverable Result | 4440 | D | kas |  | 2015-11-12 | Spex Organics EN150428007: 10 µl & Accu 215041380: 10 µl
20153440003 | 2015-12-09 08:00 | BROMODICHLOROMETHANE | 32101GCM66 | 0.034 | 0.052 | . | ug/L | 1.0538 | 0.0548 | Recoverable Result | 4440 | A | kas |  | 2015-12-10 | NSI 050515AVOC: 10 µl & Supelco LC13545: 10 µl
20160490036 | 2016-02-18 09:00 | BROMODICHLOROMETHANE | 32101GCM66 | 0.034 | 0.052 | . | ug/L | 1.2404 | 0.0645 | Recoverable Result | 4440 | D | kas |  | 2016-02-18 | Spex Organics EN150428007: 10 µl & Accu 215041380: 10 µl
20160770093 | 2016-03-17 09:00 | BROMODICHLOROMETHANE | 32101GCM66 | 0.034 | 0.052 | . | ug/L | 1.0269 | 0.0534 | Recoverable Result | 4440 | D | lmu |  | 2016-03-17 | NSI 050515AVOC: 10 µl & Supelco LC13545: 10 µl
20161260157 | 2016-05-05 07:30 | BROMODICHLOROMETHANE | 32101GCM66 | 0.034 | 0.052 | . | ug/L | 1.0885 | 0.0566 | Recoverable Result | 4440 | A | kas |  | 2016-05-13 | Supelco LC13545: 10 µl & Crescent 04EE008: 10 µl
20141840101 | 2014-07-02 08:00 | BROMODICHLOROMETHANE | 32101GCM66 | 0.034 | 0.0674 | . | ug/L | 1.0401 | 0.0701 | Recoverable Result | 4440 | D | dlr |  | 2014-07-11 | Spex Organics C1140417015: 10 µl & ERA 0227-14-06.1A: 10 µl
20142720027 | 2014-09-25 07:30 | BROMODICHLOROMETHANE | 32101GCM66 | 0.034 | 0.0674 | . | ug/L | 0.9362 | 0.0631 | Recoverable Result | 4440 | D | dlr |  | 2014-10-04 | Crescent 03DD004: 10 µl & ERA 0227-14-06.1A: 10 µl
20142890080 | 2014-10-16 08:00 | BROMODICHLOROMETHANE | 32101GCM66 | 0.034 | 0.0674 | . | ug/L | 0.90356 | 0.0609 | Recoverable Result | 4440 | D | dlr |  | 2014-10-21 | ERA 0227-14-06.1A: 10 µl & Supelco LC06438: 10 µl
20150090093 | 2015-01-08 07:30 | BROMODICHLOROMETHANE | 32101GCM66 | 0.034 | 0.0674 | . | ug/L | 0.88279 | 0.0595 | Recoverable Result | 4440 | D | KAS |  | 2015-01-13 | Accu 214031115: 10 µl & ERA 0227-14-06.1A: 10 µl
20141360092 | 2014-05-16 07:30 | BROMODICHLOROMETHANE | 32101GCM66 | 0.034 | 0.068 | . | ug/L | 1.2735 | 0.0866 | Recoverable Result | 4440 | A | dlr |  | 2014-05-30 | NSI 032614: 10 µl & Supelco LC06438: 10 µl
20142060045 | 2014-07-24 07:30 | BROMODICHLOROMETHANE | 32101GCM66 | 0.034 | 0.068 | . | ug/L | 1.2059 | 0.082 | Recoverable Result | 4440 | D | ahe |  | 2014-07-29 | Crescent 03DD004: 10 µl & NSI 032614: 10 µl
20142480009 | 2014-09-04 08:00 | BROMODICHLOROMETHANE | 32101GCM66 | 0.034 | 0.068 | . | ug/L | 1.0162 | 0.0691 | Recoverable Result | 4440 | D | dlr |  | 2014-09-09 | NSI 032614: 10 µl & Spex Organics C1140417015: 10 µl
20142470038 | 2014-09-03 07:15 | BROMODICHLOROMETHANE | 32101GCM66 | 0.034 | 0.068 | . | ug/L | 1.1382 | 0.0774 | Recoverable Result | 4440 | D | dlr | +c | 2014-09-09 | Accu 214031115: 10 µl & NSI 032614: 10 µl
20151270114 | 2015-05-07 07:30 | BROMODICHLOROMETHANE | 32101GCM66 | 0.034 | 0.078 | . | ug/L | 1.1205 | 0.0874 | Recoverable Result | 4440 | D | dlr |  | 2015-05-09 | Spex Organics EN150428007: 15 µl & Crescent 04EE008: 15 µl
20152810126 | 2015-10-08 09:00 | BROMODICHLOROMETHANE | 32101GCM66 | 0.034 | 0.078 | . | ug/L | 1.1846 | 0.0924 | Recoverable Result | 4440 | D | kas |  | 2015-10-16 | ERA 0406-15-03: 15 µl & Spex Organics EN150428007: 15 µl
20153030066 | 2015-10-29 09:00 | BROMODICHLOROMETHANE | 32101GCM66 | 0.034 | 0.078 | . | ug/L | 1.1308 | 0.0882 | Recoverable Result | 4440 | D | kas |  | 2015-11-04 | NSI 050515AVOC: 15 µl & Spex Organics EN150428007: 15 µl
20153510114 | 2015-12-17 08:30 | BROMODICHLOROMETHANE | 32101GCM66 | 0.034 | 0.078 | . | ug/L | 0.89615 | 0.0699 | Recoverable Result | 4440 | D | kas |  | 2015-12-18 | Supelco LC13545: 15 µl & Crescent 04EE008: 15 µl
20160280060 | 2016-01-28 09:00 | BROMODICHLOROMETHANE | 32101GCM66 | 0.034 | 0.078 | . | ug/L | 1.0026 | 0.0782 | Recoverable Result | 4440 | D | kas |  | 2016-02-05 | ERA 0406-15-03: 15 µl & Spex Organics EN150428007: 15 µl
20160910143 | 2016-03-31 06:00 | BROMODICHLOROMETHANE | 32101GCM66 | 0.034 | 0.078 | . | ug/L | 1.0397 | 0.0811 | Recoverable Result | 4440 | D | lmu |  | 2016-04-02 | Supelco LC13545: 15 µl & Accu 215041380: 15 µl
20161050145 | 2016-04-14 07:00 | BROMODICHLOROMETHANE | 32101GCM66 | 0.034 | 0.078 | . | ug/L | 1.2064 | 0.0941 | Recoverable Result | 4440 | D | kas |  | 2016-04-26 | ERA 0406-15-03: 15 µl & Spex Organics EN150428007: 15 µl
20161470002 | 2016-05-25 06:10 | BROMODICHLOROMETHANE | 32101GCM66 | 0.034 | 0.0837 | . | ug/L | 1.0167 | 0.0851 | Recoverable Result | 4440 | A | lmu |  | 2016-05-27 | Phenova B20160319: 15 µl & Supelco LC20141V: 15 µl
20162860092 | 2016-10-12 06:30 | BROMODICHLOROMETHANE | 32101GCM66 | 0.034 | 0.0837 | . | ug/L | 0.99044 | 0.0829 | Recoverable Result | 4440 | A | dlr |  | 2016-10-13 | NSI 041816AVOC: 15 µl & Supelco LC20141V: 15 µl
20161600091 | 2016-06-08 06:00 | BROMODICHLOROMETHANE | 32101GCM66 | 0.034 | 0.087 | . | ug/L | 1.0851 | 0.0944 | Recoverable Result | 4440 | D | kas |  | 2016-06-10 | NSI 041816AVOC: 15 µl & ChemService 5082900: 15 µl
20161820011 | 2016-06-29 07:00 | BROMODICHLOROMETHANE | 32101GCM66 | 0.034 | 0.087 | . | ug/L | 1.1057 | 0.0962 | Recoverable Result | 4440 | D | kas |  | 2016-06-30 | ChemService 5082900: 15 µl & Accu 216041125: 15 µl
20162660007 | 2016-09-21 06:30 | BROMODICHLOROMETHANE | 32101GCM66 | 0.034 | 0.087 | . | ug/L | 1.0322 | 0.0898 | Recoverable Result | 4440 | A | jco |  | 2016-09-28 | Crescent 03FF058: 15 µl & ChemService 5082900: 15 µl
20163280006 | 2016-11-21 07:00 | BROMODICHLOROMETHANE | 32101GCM66 | 0.034 | 0.087 | . | ug/L | 1.0897 | 0.0948 | Recoverable Result | 4440 | A | jco |  | 2016-11-29 | ChemService 5082900: 15 µl & Phenova B20160319: 15 µl
20151620184 | 2015-06-11 07:30 | BROMODICHLOROMETHANE | 32101GCM66 | 0.034 | 0.13 | . | ug/L | 0.89231 | 0.116 | Recoverable Result | 4440 | A | lmu |  | 2015-06-16 | ERA 0406-15-03: 25 µl & Supelco LC13545: 25 µl
20152250274 | 2015-08-13 09:30 | BROMODICHLOROMETHANE | 32101GCM66 | 0.034 | 0.13 | . | ug/L | 1.0077 | 0.131 | Recoverable Result | 4440 | A | mgu |  | 2015-08-15 | Supelco LC13545: 25 µl & Crescent 04EE008: 25 µl
20141770147 | 2014-06-26 08:00 | BROMODICHLOROMETHANE | 32101GCM66 | 0.034 | 0.1348 | . | ug/L | 1.0089 | 0.136 | Recoverable Result | 4440 | D | ahe |  | 2014-07-01 | Accu 214031115: 20 µl & ERA 0227-14-06.1A: 20 µl
20142200168 | 2014-08-07 08:30 | BROMODICHLOROMETHANE | 32101GCM66 | 0.034 | 0.1348 | . | ug/L | 0.97923 | 0.132 | Recoverable Result | 4440 | D | dlr |  | 2014-08-16 | ERA 0227-14-06.1A: 20 µl & Spex Organics C1140417015: 20 µl
20143110111 | 2014-11-06 07:30 | BROMODICHLOROMETHANE | 32101GCM66 | 0.034 | 0.1348 | . | ug/L | 0.89021 | 0.12 | Recoverable Result | 4440 | D | dlr |  | 2014-11-14 | Crescent 03DD004: 20 µl & ERA 0227-14-06.1A: 20 µl
20150510046 | 2015-02-19 07:30 | BROMODICHLOROMETHANE | 32101GCM66 | 0.034 | 0.1348 | . | ug/L | 0.94214 | 0.127 | Recoverable Result | 4440 | D | KAS |  | 2015-03-06 | ERA 0227-14-06.1A: 20 µl & Supelco LC06438: 20 µl
20150930003 | 2015-04-02 06:30 | BROMODICHLOROMETHANE | 32101GCM66 | 0.034 | 0.1348 | . | ug/L | 1.0237 | 0.138 | Recoverable Result | 4440 | D | mgu |  | 2015-04-09 | Accu 214031115: 20 µl & ERA 0227-14-06.1A: 20 µl
20141150020 | 2014-04-24 07:00 | BROMODICHLOROMETHANE | 32101GCM66 | 0.034 | 0.136 | . | ug/L | 1.1176 | 0.152 | Recoverable Result | 4440 | D | ahe |  | 2014-05-01 | Accu 214031115: 20 µl & NSI 032614: 20 µl
20141570084 | 2014-06-05 08:00 | BROMODICHLOROMETHANE | 32101GCM66 | 0.034 | 0.136 | . | ug/L | 1.1103 | 0.151 | Recoverable Result | 4440 | A | dlr |  | 2014-06-10 | NSI 032614: 20 µl & Supelco LC06438: 20 µl
20141490202 | 2014-05-29 08:00 | BROMODICHLOROMETHANE | 32101GCM66 | 0.034 | 0.136 | . | ug/L | 1.0735 | 0.146 | Recoverable Result | 4440 | A | dlr |  | 2014-06-10 | Crescent 03DD004: 20 µl & NSI 032614: 20 µl
20143240097 | 2014-11-19 07:30 | BROMODICHLOROMETHANE | 32101GCM66 | 0.034 | 0.136 | . | ug/L | 1.0074 | 0.137 | Recoverable Result | 4440 | D | dlr |  | 2014-11-22 | NSI 032614: 20 µl & Spex Organics C1140417015: 20 µl
20162440115 | 2016-08-31 06:30 | BROMODICHLOROMETHANE | 32101GCM66 | 0.034 | 0.1395 | . | ug/L | 0.93907 | 0.131 | Recoverable Result | 4440 | D | kas |  | 2016-09-08 | Supelco LC20141V: 25 µl & Accu 216041125: 25 µl
20163220168 | 2016-11-16 07:00 | BROMODICHLOROMETHANE | 32101GCM66 | 0.034 | 0.1395 | . | ug/L | 1.0179 | 0.142 | Recoverable Result | 4440 | A | dlr |  | 2016-11-21 | Crescent 03FF058: 25 µl & Supelco LC20141V: 25 µl
20161740255 | 2016-06-22 06:30 | BROMODICHLOROMETHANE | 32101GCM66 | 0.034 | 0.145 | . | ug/L | 1.069 | 0.155 | Recoverable Result | 4440 | D | kas |  | 2016-06-30 | Crescent 03FF058: 25 µl & ChemService 5082900: 25 µl
20162230172 | 2016-08-10 06:30 | BROMODICHLOROMETHANE | 32101GCM66 | 0.034 | 0.145 | . | ug/L | 1.0276 | 0.149 | Recoverable Result | 4440 | D | kas |  | 2016-08-12 | ChemService 5082900: 25 µl & Phenova B20160319: 25 µl
20162380006 | 2016-08-24 06:15 | BROMODICHLOROMETHANE | 32101GCM66 | 0.034 | 0.145 | . | ug/L | 1.2276 | 0.178 | Recoverable Result | 4440 | A | dlr |  | 2016-08-26 | NSI 041816AVOC: 25 µl & ChemService 5082900: 25 µl
20162020126 | 2016-07-20 06:45 | BROMODICHLOROMETHANE | 32101GCM66 | 0.034 | 0.2232 | . | ug/L | 1.0036 | 0.224 | Recoverable Result | 4440 | A | kas |  | 2016-07-20 | Supelco LC20141V: 40 µl & Accu 216041125: 40 µl
20162150210 | 2016-08-02 06:30 | BROMODICHLOROMETHANE | 32101GCM66 | 0.034 | 0.2232 | . | ug/L | 0.90054 | 0.201 | Recoverable Result | 4440 | D | kas |  | 2016-08-04 | Crescent 03FF058: 40 µl & Supelco LC20141V: 40 µl
20163500004 | 2016-12-14 07:00 | BROMODICHLOROMETHANE | 32101GCM66 | 0.034 | 0.232 | . | ug/L | 1.2457 | 0.289 | Recoverable Result | 4440 | A | lmu |  | 2016-12-16 | NSI 041816AVOC: 40 µl & ChemService 5082900: 40 µl