## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20151380012 | 2015-05-14 07:00 | BROMOETHENE | 50002GCM66 | 0.12 | 0.17798 | . | ug/L | 0.94393 | 0.168 | Recoverable Result | 4440 | D | KAS |  | 2015-05-21 | Spex Organics EN150428007: 10 µl & Accu 215041380: 10 µl
20153090111 | 2015-11-05 09:30 | BROMOETHENE | 50002GCM66 | 0.12 | 0.17798 | . | ug/L | 0.93269 | 0.166 | Recoverable Result | 4440 | D | kas |  | 2015-11-12 | Spex Organics EN150428007: 10 µl & Accu 215041380: 10 µl
20153230147 | 2015-11-19 09:30 | BROMOETHENE | 50002GCM66 | 0.12 | 0.17798 | . | ug/L | 1.0001 | 0.178 | Recoverable Result | 4440 | D | kas |  | 2015-11-20 | Accu 215041380: 10 µl & ERA 0406-15-03: 10 µl
20160490036 | 2016-02-18 09:00 | BROMOETHENE | 50002GCM66 | 0.12 | 0.17798 | . | ug/L | 1.0394 | 0.185 | Recoverable Result | 4440 | D | kas |  | 2016-02-18 | Spex Organics EN150428007: 10 µl & Accu 215041380: 10 µl
20151210035 | 2015-04-30 08:00 | BROMOETHENE | 50002GCM66 | 0.12 | 0.178 | . | ug/L | 0.95506 | 0.17 | Recoverable Result | 4440 | D | dlr |  | 2015-05-09 | Supelco LC13545: 10 µl & Crescent 04EE008: 10 µl
20152040181 | 2015-07-23 08:00 | BROMOETHENE | 50002GCM66 | 0.12 | 0.178 | . | ug/L | 0.79213 | 0.141 | Recoverable Result | 4440 | D | kas |  | 2015-07-31 | Crescent 04EE008: 10 µl & ERA 0406-15-03: 10 µl
20160140041 | 2016-01-14 09:00 | BROMOETHENE | 50002GCM66 | 0.12 | 0.178 | . | ug/L | 1.0112 | 0.18 | Recoverable Result | 4440 | D | kas |  | 2016-01-27 | Crescent 04EE008: 10 µl & NSI 050515AVOC: 10 µl
20161260157 | 2016-05-05 07:30 | BROMOETHENE | 50002GCM66 | 0.12 | 0.178 | . | ug/L | 0.88764 | 0.158 | Recoverable Result | 4440 | A | kas |  | 2016-05-13 | Supelco LC13545: 10 µl & Crescent 04EE008: 10 µl
20141220028 | 2014-05-01 07:30 | BROMOETHENE | 50002GCM66 | 0.12 | 0.24 | . | ug/L | 1.0042 | 0.241 | Recoverable Result | 4440 | D | dlr |  | 2014-05-03 | Crescent 03DD004: 10 µl & Supelco LC06438: 10 µl
20141360092 | 2014-05-16 07:30 | BROMOETHENE | 50002GCM66 | 0.12 | 0.24 | . | ug/L | 1.2208 | 0.293 | Recoverable Result | 4440 | A | dlr |  | 2014-05-30 | NSI 032614: 10 µl & Supelco LC06438: 10 µl
20141640078 | 2014-06-12 08:00 | BROMOETHENE | 50002GCM66 | 0.12 | 0.24 | . | ug/L | 1.075 | 0.258 | Recoverable Result | 4440 | D | lmu |  | 2014-06-18 | Supelco LC06438: 10 µl & Accu 214031115: 10 µl
20141840101 | 2014-07-02 08:00 | BROMOETHENE | 50002GCM66 | 0.12 | 0.24 | . | ug/L | 0.74167 | 0.178 | Recoverable Result | 4440 | D | dlr |  | 2014-07-11 | Spex Organics C1140417015: 10 µl & ERA 0227-14-06.1A: 10 µl
20141990078 | 2014-07-17 07:00 | BROMOETHENE | 50002GCM66 | 0.12 | 0.24 | . | ug/L | 1.2792 | 0.307 | Recoverable Result | 4440 | D | ahe |  | 2014-07-23 | Spex Organics C1140417015: 10 µl & Accu 214031115: 10 µl
20142480009 | 2014-09-04 08:00 | BROMOETHENE | 50002GCM66 | 0.12 | 0.24 | . | ug/L | 1.4167 | 0.34 | Recoverable Result | 4440 | D | dlr |  | 2014-09-09 | NSI 032614: 10 µl & Spex Organics C1140417015: 10 µl
20142890080 | 2014-10-16 08:00 | BROMOETHENE | 50002GCM66 | 0.12 | 0.24 | . | ug/L | 0.89167 | 0.214 | Recoverable Result | 4440 | D | dlr |  | 2014-10-21 | ERA 0227-14-06.1A: 10 µl & Supelco LC06438: 10 µl
20143030098 | 2014-10-30 07:30 | BROMOETHENE | 50002GCM66 | 0.12 | 0.24 | . | ug/L | 0.75833 | 0.182 | Recoverable Result | 4440 | D | dlr |  | 2014-11-06 | Spex Organics C1140417015: 10 µl & Crescent 03DD004: 10 µl
20151480172 | 2015-05-28 07:30 | BROMOETHENE | 50002GCM66 | 0.12 | 0.26697 | . | ug/L | 0.94018 | 0.251 | Recoverable Result | 4440 | A | lmu |  | 2015-06-04 | NSI 050515AVOC: 15 µl & Accu 215041380: 15 µl
20160630052 | 2016-03-03 09:00 | BROMOETHENE | 50002GCM66 | 0.12 | 0.26697 | . | ug/L | 0.97764 | 0.261 | Recoverable Result | 4440 | D | lmu |  | 2016-03-04 | Accu 215041380: 15 µl & ERA 0406-15-03: 15 µl
20160910143 | 2016-03-31 06:00 | BROMOETHENE | 50002GCM66 | 0.12 | 0.26697 | . | ug/L | 1.1012 | 0.294 | Recoverable Result | 4440 | D | lmu |  | 2016-04-02 | Supelco LC13545: 15 µl & Accu 215041380: 15 µl
20151270114 | 2015-05-07 07:30 | BROMOETHENE | 50002GCM66 | 0.12 | 0.267 | . | ug/L | 0.91386 | 0.244 | Recoverable Result | 4440 | D | dlr |  | 2015-05-09 | Spex Organics EN150428007: 15 µl & Crescent 04EE008: 15 µl
20152890011 | 2015-10-15 09:00 | BROMOETHENE | 50002GCM66 | 0.12 | 0.267 | . | ug/L | 0.79775 | 0.213 | Recoverable Result | 4440 | D | kas |  | 2015-10-17 | Crescent 04EE008: 15 µl & NSI 050515AVOC: 15 µl
20153510114 | 2015-12-17 08:30 | BROMOETHENE | 50002GCM66 | 0.12 | 0.267 | . | ug/L | 0.8839 | 0.236 | Recoverable Result | 4440 | D | kas |  | 2015-12-18 | Supelco LC13545: 15 µl & Crescent 04EE008: 15 µl
20161820011 | 2016-06-29 07:00 | BROMOETHENE | 50002GCM66 | 0.12 | 0.2946 | . | ug/L | 0.6687 | 0.197 | Recoverable Result | 4440 | D | kas |  | 2016-06-30 | ChemService 5082900: 15 µl & Accu 216041125: 15 µl
20162300276 | 2016-08-17 07:00 | BROMOETHENE | 50002GCM66 | 0.12 | 0.2946 | . | ug/L | 1.0557 | 0.311 | Recoverable Result | 4440 | D | kas |  | 2016-08-20 | Accu 216041125: 15 µl & Crescent 03FF058: 15 µl
20162800001 | 2016-10-05 07:00 | BROMOETHENE | 50002GCM66 | 0.12 | 0.2946 | . | ug/L | 1.0455 | 0.308 | Recoverable Result | 4440 | A | dlr |  | 2016-10-13 | Accu 216041125: 15 µl & NSI 041816AVOC: 15 µl
20152610008 | 2015-09-17 08:00 | BROMOETHENE | 50002GCM66 | 0.12 | 0.44495 | . | ug/L | 0.92145 | 0.41 | Recoverable Result | 4440 | A | KAS |  | 2015-09-29 | Accu 215041380: 25 µl & ERA 0406-15-03: 25 µl
20151820110 | 2015-07-01 08:00 | BROMOETHENE | 50002GCM66 | 0.12 | 0.445 | . | ug/L | 0.99101 | 0.441 | Recoverable Result | 4440 | D | kas |  | 2015-07-13 | Crescent 04EE008: 25 µl & NSI 050515AVOC: 25 µl
20152250274 | 2015-08-13 09:30 | BROMOETHENE | 50002GCM66 | 0.12 | 0.445 | . | ug/L | 0.93933 | 0.418 | Recoverable Result | 4440 | A | mgu |  | 2015-08-15 | Supelco LC13545: 25 µl & Crescent 04EE008: 25 µl
20141570084 | 2014-06-05 08:00 | BROMOETHENE | 50002GCM66 | 0.12 | 0.48 | . | ug/L | 1.1 | 0.528 | Recoverable Result | 4440 | A | dlr |  | 2014-06-10 | NSI 032614: 20 µl & Supelco LC06438: 20 µl
20142200168 | 2014-08-07 08:30 | BROMOETHENE | 50002GCM66 | 0.12 | 0.48 | . | ug/L | 1.2188 | 0.585 | Recoverable Result | 4440 | D | dlr |  | 2014-08-16 | ERA 0227-14-06.1A: 20 µl & Spex Organics C1140417015: 20 µl
20142270005 | 2014-08-14 07:30 | BROMOETHENE | 50002GCM66 | 0.12 | 0.48 | . | ug/L | 1.3021 | 0.625 | Recoverable Result | 4440 | D | lmu |  | 2014-08-19 | Spex Organics C1140417015: 20 µl & Accu 214031115: 20 µl
20142530090 | 2014-09-10 07:30 | BROMOETHENE | 50002GCM66 | 0.12 | 0.48 | . | ug/L | 0.99583 | 0.478 | Recoverable Result | 4440 | D | dlr |  | 2014-09-21 | Supelco LC06438: 20 µl
20143240097 | 2014-11-19 07:30 | BROMOETHENE | 50002GCM66 | 0.12 | 0.48 | . | ug/L | 0.975 | 0.468 | Recoverable Result | 4440 | D | dlr |  | 2014-11-22 | NSI 032614: 20 µl & Spex Organics C1140417015: 20 µl
20143420010 | 2014-12-08 07:30 | BROMOETHENE | 50002GCM66 | 0.12 | 0.48 | . | ug/L | 0.91875 | 0.441 | Recoverable Result | 4440 | D | KAS |  | 2014-12-17 | Supelco LC06438: 20 µl & Crescent 03DD004: 20 µl
20150510046 | 2015-02-19 07:30 | BROMOETHENE | 50002GCM66 | 0.12 | 0.48 | . | ug/L | 0.70417 | 0.338 | Recoverable Result | 4440 | D | KAS |  | 2015-03-06 | ERA 0227-14-06.1A: 20 µl & Supelco LC06438: 20 µl
20150720068 | 2015-03-12 07:00 | BROMOETHENE | 50002GCM66 | 0.12 | 0.48 | . | ug/L | 1.0667 | 0.512 | Recoverable Result | 4440 | D | KAS |  | 2015-03-19 | Spex Organics C1140417015: 20 µl & Crescent 03DD004: 20 µl
20161340232 | 2016-05-13 06:10 | BROMOETHENE | 50002GCM66 | 0.12 | 0.491 | . | ug/L | 0.96945 | 0.476 | Recoverable Result | 4440 | A | lmu |  | 2016-05-24 | Accu 216041125: 25 µl & Crescent 03FF058: 25 µl
20162440115 | 2016-08-31 06:30 | BROMOETHENE | 50002GCM66 | 0.12 | 0.491 | . | ug/L | 0.77597 | 0.381 | Recoverable Result | 4440 | D | kas |  | 2016-09-08 | Supelco LC20141V: 25 µl & Accu 216041125: 25 µl
20161880113 | 2016-07-06 06:15 | BROMOETHENE | 50002GCM66 | 0.12 | 0.7856 | . | ug/L | 0.98396 | 0.773 | Recoverable Result | 4440 | D | kas |  | 2016-07-14 | Accu 216041125: 40 µl & NSI 041816AVOC: 40 µl
20162020126 | 2016-07-20 06:45 | BROMOETHENE | 50002GCM66 | 0.12 | 0.7856 | . | ug/L | 1.0094 | 0.793 | Recoverable Result | 4440 | A | kas |  | 2016-07-20 | Supelco LC20141V: 40 µl & Accu 216041125: 40 µl
20163420128 | 2016-12-07 07:00 | BROMOETHENE | 50002GCM66 | 0.12 | 0.7856 | . | ug/L | 0.95723 | 0.752 | Recoverable Result | 4440 | A | dlr |  | 2016-12-12 | Accu 216041125: 40 µl & Crescent 03FF058: 40 µl