## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20161260157 | 2016-05-05 07:30 | BUTANE | 81563GCM66 | 0.038 | 0.058 | < | ug/L |  |  | False Negative | 4440 | A | kas | c | 2016-05-13 | Supelco LC13545: 10 µl & Crescent 04EE008: 10 µl
20151380012 | 2015-05-14 07:00 | BUTANE | 81563GCM66 | 0.038 | 0.0573 | . | ug/L | 0.57592 | 0.033 | Recoverable Result | 4440 | D | KAS | n | 2015-05-21 | Spex Organics EN150428007: 10 µl & Accu 215041380: 10 µl
20153090111 | 2015-11-05 09:30 | BUTANE | 81563GCM66 | 0.038 | 0.0573 | . | ug/L | 0.80628 | 0.0462 | Recoverable Result | 4440 | D | kas |  | 2015-11-12 | Spex Organics EN150428007: 10 µl & Accu 215041380: 10 µl
20153230147 | 2015-11-19 09:30 | BUTANE | 81563GCM66 | 0.038 | 0.0573 | . | ug/L | 0.80279 | 0.046 | Recoverable Result | 4440 | D | kas |  | 2015-11-20 | Accu 215041380: 10 µl & ERA 0406-15-03: 10 µl
20160490036 | 2016-02-18 09:00 | BUTANE | 81563GCM66 | 0.038 | 0.0573 | . | ug/L | 0.62827 | 0.036 | Recoverable Result | 4440 | D | kas | n | 2016-02-18 | Spex Organics EN150428007: 10 µl & Accu 215041380: 10 µl
20151210035 | 2015-04-30 08:00 | BUTANE | 81563GCM66 | 0.038 | 0.058 | . | ug/L | 0.95 | 0.0551 | Recoverable Result | 4440 | D | dlr |  | 2015-05-09 | Supelco LC13545: 10 µl & Crescent 04EE008: 10 µl
20152040181 | 2015-07-23 08:00 | BUTANE | 81563GCM66 | 0.038 | 0.058 | . | ug/L | 1.0431 | 0.0605 | Recoverable Result | 4440 | D | kas |  | 2015-07-31 | Crescent 04EE008: 10 µl & ERA 0406-15-03: 10 µl
20160140041 | 2016-01-14 09:00 | BUTANE | 81563GCM66 | 0.038 | 0.058 | . | ug/L | 0.96379 | 0.0559 | Recoverable Result | 4440 | D | kas |  | 2016-01-27 | Crescent 04EE008: 10 µl & NSI 050515AVOC: 10 µl
20151480172 | 2015-05-28 07:30 | BUTANE | 81563GCM66 | 0.038 | 0.08595 | . | ug/L | 0.67946 | 0.0584 | Recoverable Result | 4440 | A | lmu | c | 2015-06-04 | NSI 050515AVOC: 15 µl & Accu 215041380: 15 µl
20160630052 | 2016-03-03 09:00 | BUTANE | 81563GCM66 | 0.038 | 0.08595 | . | ug/L | 0.74113 | 0.0637 | Recoverable Result | 4440 | D | lmu |  | 2016-03-04 | Accu 215041380: 15 µl & ERA 0406-15-03: 15 µl
20160910143 | 2016-03-31 06:00 | BUTANE | 81563GCM66 | 0.038 | 0.08595 | . | ug/L | 0.67016 | 0.0576 | Recoverable Result | 4440 | D | lmu |  | 2016-04-02 | Supelco LC13545: 15 µl & Accu 215041380: 15 µl
20151270114 | 2015-05-07 07:30 | BUTANE | 81563GCM66 | 0.038 | 0.087 | . | ug/L | 0.96092 | 0.0836 | Recoverable Result | 4440 | D | dlr |  | 2015-05-09 | Spex Organics EN150428007: 15 µl & Crescent 04EE008: 15 µl
20152890011 | 2015-10-15 09:00 | BUTANE | 81563GCM66 | 0.038 | 0.087 | . | ug/L | 0.76782 | 0.0668 | Recoverable Result | 4440 | D | kas |  | 2015-10-17 | Crescent 04EE008: 15 µl & NSI 050515AVOC: 15 µl
20153510114 | 2015-12-17 08:30 | BUTANE | 81563GCM66 | 0.038 | 0.087 | . | ug/L | 0.96897 | 0.0843 | Recoverable Result | 4440 | D | kas |  | 2015-12-18 | Supelco LC13545: 15 µl & Crescent 04EE008: 15 µl
20152610008 | 2015-09-17 08:00 | BUTANE | 81563GCM66 | 0.038 | 0.14325 | . | ug/L | 0.56126 | 0.0804 | Recoverable Result | 4440 | A | KAS |  | 2015-09-29 | Accu 215041380: 25 µl & ERA 0406-15-03: 25 µl
20151820110 | 2015-07-01 08:00 | BUTANE | 81563GCM66 | 0.038 | 0.145 | . | ug/L | 0.88276 | 0.128 | Recoverable Result | 4440 | D | kas |  | 2015-07-13 | Crescent 04EE008: 25 µl & NSI 050515AVOC: 25 µl
20152250274 | 2015-08-13 09:30 | BUTANE | 81563GCM66 | 0.038 | 0.145 | . | ug/L | 1.0276 | 0.149 | Recoverable Result | 4440 | A | mgu |  | 2015-08-15 | Supelco LC13545: 25 µl & Crescent 04EE008: 25 µl