## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20151210035 | 2015-04-30 08:00 | CIS-1,2-DICHLOROETHYLENE | 77093GCM66 | 0.022 | 0.034 | . | ug/L | 1.0176 | 0.0346 | Recoverable Result | 4440 | D | dlr |  | 2015-05-09 | Supelco LC13545: 10 µl & Crescent 04EE008: 10 µl
20151690197 | 2015-06-18 08:00 | CIS-1,2-DICHLOROETHYLENE | 77093GCM66 | 0.022 | 0.034 | . | ug/L | 1.0235 | 0.0348 | Recoverable Result | 4440 | D | kas |  | 2015-06-27 | ERA 0406-15-03: 10 µl & Supelco LC13545: 10 µl
20153440003 | 2015-12-09 08:00 | CIS-1,2-DICHLOROETHYLENE | 77093GCM66 | 0.022 | 0.034 | . | ug/L | 1.0235 | 0.0348 | Recoverable Result | 4440 | A | kas |  | 2015-12-10 | NSI 050515AVOC: 10 µl & Supelco LC13545: 10 µl
20160770093 | 2016-03-17 09:00 | CIS-1,2-DICHLOROETHYLENE | 77093GCM66 | 0.022 | 0.034 | . | ug/L | 0.99412 | 0.0338 | Recoverable Result | 4440 | D | lmu |  | 2016-03-17 | NSI 050515AVOC: 10 µl & Supelco LC13545: 10 µl
20161260157 | 2016-05-05 07:30 | CIS-1,2-DICHLOROETHYLENE | 77093GCM66 | 0.022 | 0.034 | . | ug/L | 1.0029 | 0.0341 | Recoverable Result | 4440 | A | kas |  | 2016-05-13 | Supelco LC13545: 10 µl & Crescent 04EE008: 10 µl
20151380012 | 2015-05-14 07:00 | CIS-1,2-DICHLOROETHYLENE | 77093GCM66 | 0.022 | 0.0344 | . | ug/L | 1.0436 | 0.0359 | Recoverable Result | 4440 | D | KAS |  | 2015-05-21 | Spex Organics EN150428007: 10 µl & Accu 215041380: 10 µl
20152390224 | 2015-08-27 09:30 | CIS-1,2-DICHLOROETHYLENE | 77093GCM66 | 0.022 | 0.0344 | . | ug/L | 0.96221 | 0.0331 | Recoverable Result | 4440 | D | mgu |  | 2015-09-03 | NSI 050515AVOC: 10 µl & Spex Organics EN150428007: 10 µl
20153090111 | 2015-11-05 09:30 | CIS-1,2-DICHLOROETHYLENE | 77093GCM66 | 0.022 | 0.0344 | . | ug/L | 1.0029 | 0.0345 | Recoverable Result | 4440 | D | kas |  | 2015-11-12 | Spex Organics EN150428007: 10 µl & Accu 215041380: 10 µl
20160490036 | 2016-02-18 09:00 | CIS-1,2-DICHLOROETHYLENE | 77093GCM66 | 0.022 | 0.0344 | . | ug/L | 0.96802 | 0.0333 | Recoverable Result | 4440 | D | kas |  | 2016-02-18 | Spex Organics EN150428007: 10 µl & Accu 215041380: 10 µl
20141640078 | 2014-06-12 08:00 | CIS-1,2-DICHLOROETHYLENE | 77093GCM66 | 0.022 | 0.03964 | . | ug/L | 1.2866 | 0.051 | Recoverable Result | 4440 | D | lmu |  | 2014-06-18 | Supelco LC06438: 10 µl & Accu 214031115: 10 µl
20141990078 | 2014-07-17 07:00 | CIS-1,2-DICHLOROETHYLENE | 77093GCM66 | 0.022 | 0.03964 | . | ug/L | 1.4001 | 0.0555 | Recoverable Result | 4440 | D | ahe |  | 2014-07-23 | Spex Organics C1140417015: 10 µl & Accu 214031115: 10 µl
20142470038 | 2014-09-03 07:15 | CIS-1,2-DICHLOROETHYLENE | 77093GCM66 | 0.022 | 0.03964 | . | ug/L | 1.2513 | 0.0496 | Recoverable Result | 4440 | D | dlr | +c | 2014-09-09 | Accu 214031115: 10 µl & NSI 032614: 10 µl
20150090093 | 2015-01-08 07:30 | CIS-1,2-DICHLOROETHYLENE | 77093GCM66 | 0.022 | 0.03964 | . | ug/L | 1.0595 | 0.042 | Recoverable Result | 4440 | D | KAS |  | 2015-01-13 | Accu 214031115: 10 µl & ERA 0227-14-06.1A: 10 µl
20141220028 | 2014-05-01 07:30 | CIS-1,2-DICHLOROETHYLENE | 77093GCM66 | 0.022 | 0.042 | . | ug/L | 1.05 | 0.0441 | Recoverable Result | 4440 | D | dlr |  | 2014-05-03 | Crescent 03DD004: 10 µl & Supelco LC06438: 10 µl
20142060045 | 2014-07-24 07:30 | CIS-1,2-DICHLOROETHYLENE | 77093GCM66 | 0.022 | 0.042 | . | ug/L | 1.031 | 0.0433 | Recoverable Result | 4440 | D | ahe |  | 2014-07-29 | Crescent 03DD004: 10 µl & NSI 032614: 10 µl
20142720027 | 2014-09-25 07:30 | CIS-1,2-DICHLOROETHYLENE | 77093GCM66 | 0.022 | 0.042 | . | ug/L | 1.0024 | 0.0421 | Recoverable Result | 4440 | D | dlr |  | 2014-10-04 | Crescent 03DD004: 10 µl & ERA 0227-14-06.1A: 10 µl
20143030098 | 2014-10-30 07:30 | CIS-1,2-DICHLOROETHYLENE | 77093GCM66 | 0.022 | 0.042 | . | ug/L | 0.95952 | 0.0403 | Recoverable Result | 4440 | D | dlr |  | 2014-11-06 | Spex Organics C1140417015: 10 µl & Crescent 03DD004: 10 µl
20153510114 | 2015-12-17 08:30 | CIS-1,2-DICHLOROETHYLENE | 77093GCM66 | 0.022 | 0.051 | . | ug/L | 0.9549 | 0.0487 | Recoverable Result | 4440 | D | kas |  | 2015-12-18 | Supelco LC13545: 15 µl & Crescent 04EE008: 15 µl
20160910143 | 2016-03-31 06:00 | CIS-1,2-DICHLOROETHYLENE | 77093GCM66 | 0.022 | 0.051 | . | ug/L | 1.0196 | 0.052 | Recoverable Result | 4440 | D | lmu |  | 2016-04-02 | Supelco LC13545: 15 µl & Accu 215041380: 15 µl
20162300276 | 2016-08-17 07:00 | CIS-1,2-DICHLOROETHYLENE | 77093GCM66 | 0.022 | 0.051 | . | ug/L | 0.97843 | 0.0499 | Recoverable Result | 4440 | D | kas |  | 2016-08-20 | Accu 216041125: 15 µl & Crescent 03FF058: 15 µl
20162520004 | 2016-09-07 06:30 | CIS-1,2-DICHLOROETHYLENE | 77093GCM66 | 0.022 | 0.051 | . | ug/L | 1.0373 | 0.0529 | Recoverable Result | 4440 | D | kas |  | 2016-09-08 | Phenova B20160319: 15 µl & Crescent 03FF058: 15 µl
20162660007 | 2016-09-21 06:30 | CIS-1,2-DICHLOROETHYLENE | 77093GCM66 | 0.022 | 0.051 | . | ug/L | 0.91176 | 0.0465 | Recoverable Result | 4440 | A | jco |  | 2016-09-28 | Crescent 03FF058: 15 µl & ChemService 5082900: 15 µl
20151270114 | 2015-05-07 07:30 | CIS-1,2-DICHLOROETHYLENE | 77093GCM66 | 0.022 | 0.0516 | . | ug/L | 0.98837 | 0.051 | Recoverable Result | 4440 | D | dlr |  | 2015-05-09 | Spex Organics EN150428007: 15 µl & Crescent 04EE008: 15 µl
20152810126 | 2015-10-08 09:00 | CIS-1,2-DICHLOROETHYLENE | 77093GCM66 | 0.022 | 0.0516 | . | ug/L | 0.98643 | 0.0509 | Recoverable Result | 4440 | D | kas |  | 2015-10-16 | ERA 0406-15-03: 15 µl & Spex Organics EN150428007: 15 µl
20153030066 | 2015-10-29 09:00 | CIS-1,2-DICHLOROETHYLENE | 77093GCM66 | 0.022 | 0.0516 | . | ug/L | 0.94961 | 0.049 | Recoverable Result | 4440 | D | kas |  | 2015-11-04 | NSI 050515AVOC: 15 µl & Spex Organics EN150428007: 15 µl
20160280060 | 2016-01-28 09:00 | CIS-1,2-DICHLOROETHYLENE | 77093GCM66 | 0.022 | 0.0516 | . | ug/L | 0.95155 | 0.0491 | Recoverable Result | 4440 | D | kas |  | 2016-02-05 | ERA 0406-15-03: 15 µl & Spex Organics EN150428007: 15 µl
20161050145 | 2016-04-14 07:00 | CIS-1,2-DICHLOROETHYLENE | 77093GCM66 | 0.022 | 0.0516 | . | ug/L | 1.1376 | 0.0587 | Recoverable Result | 4440 | D | kas |  | 2016-04-26 | ERA 0406-15-03: 15 µl & Spex Organics EN150428007: 15 µl
20141150020 | 2014-04-24 07:00 | CIS-1,2-DICHLOROETHYLENE | 77093GCM66 | 0.022 | 0.07928 | . | ug/L | 1.0066 | 0.0798 | Recoverable Result | 4440 | D | ahe |  | 2014-05-01 | Accu 214031115: 20 µl & NSI 032614: 20 µl
20141770147 | 2014-06-26 08:00 | CIS-1,2-DICHLOROETHYLENE | 77093GCM66 | 0.022 | 0.07928 | . | ug/L | 1.0646 | 0.0844 | Recoverable Result | 4440 | D | ahe |  | 2014-07-01 | Accu 214031115: 20 µl & ERA 0227-14-06.1A: 20 µl
20142270005 | 2014-08-14 07:30 | CIS-1,2-DICHLOROETHYLENE | 77093GCM66 | 0.022 | 0.07928 | . | ug/L | 1.1466 | 0.0909 | Recoverable Result | 4440 | D | lmu |  | 2014-08-19 | Spex Organics C1140417015: 20 µl & Accu 214031115: 20 µl
20150930003 | 2015-04-02 06:30 | CIS-1,2-DICHLOROETHYLENE | 77093GCM66 | 0.022 | 0.07928 | . | ug/L | 0.98764 | 0.0783 | Recoverable Result | 4440 | D | mgu |  | 2015-04-09 | Accu 214031115: 20 µl & ERA 0227-14-06.1A: 20 µl
20141490202 | 2014-05-29 08:00 | CIS-1,2-DICHLOROETHYLENE | 77093GCM66 | 0.022 | 0.084 | . | ug/L | 1.0381 | 0.0872 | Recoverable Result | 4440 | A | dlr |  | 2014-06-10 | Crescent 03DD004: 20 µl & NSI 032614: 20 µl
20143110111 | 2014-11-06 07:30 | CIS-1,2-DICHLOROETHYLENE | 77093GCM66 | 0.022 | 0.084 | . | ug/L | 0.93214 | 0.0783 | Recoverable Result | 4440 | D | dlr |  | 2014-11-14 | Crescent 03DD004: 20 µl & ERA 0227-14-06.1A: 20 µl
20143420010 | 2014-12-08 07:30 | CIS-1,2-DICHLOROETHYLENE | 77093GCM66 | 0.022 | 0.084 | . | ug/L | 0.95 | 0.0798 | Recoverable Result | 4440 | D | KAS |  | 2014-12-17 | Supelco LC06438: 20 µl & Crescent 03DD004: 20 µl
20150720068 | 2015-03-12 07:00 | CIS-1,2-DICHLOROETHYLENE | 77093GCM66 | 0.022 | 0.084 | . | ug/L | 1.0274 | 0.0863 | Recoverable Result | 4440 | D | KAS |  | 2015-03-19 | Spex Organics C1140417015: 20 µl & Crescent 03DD004: 20 µl
20151620184 | 2015-06-11 07:30 | CIS-1,2-DICHLOROETHYLENE | 77093GCM66 | 0.022 | 0.085 | . | ug/L | 0.98824 | 0.084 | Recoverable Result | 4440 | A | lmu |  | 2015-06-16 | ERA 0406-15-03: 25 µl & Supelco LC13545: 25 µl
20152250274 | 2015-08-13 09:30 | CIS-1,2-DICHLOROETHYLENE | 77093GCM66 | 0.022 | 0.085 | . | ug/L | 0.99059 | 0.0842 | Recoverable Result | 4440 | A | mgu |  | 2015-08-15 | Supelco LC13545: 25 µl & Crescent 04EE008: 25 µl
20161340232 | 2016-05-13 06:10 | CIS-1,2-DICHLOROETHYLENE | 77093GCM66 | 0.022 | 0.085 | . | ug/L | 0.92941 | 0.079 | Recoverable Result | 4440 | A | lmu |  | 2016-05-24 | Accu 216041125: 25 µl & Crescent 03FF058: 25 µl
20161680363 | 2016-06-15 07:00 | CIS-1,2-DICHLOROETHYLENE | 77093GCM66 | 0.022 | 0.085 | . | ug/L | 1.0071 | 0.0856 | Recoverable Result | 4440 | D | dlr |  | 2016-06-21 | Phenova B20160319: 25 µl & Crescent 03FF058: 25 µl
20161740255 | 2016-06-22 06:30 | CIS-1,2-DICHLOROETHYLENE | 77093GCM66 | 0.022 | 0.085 | . | ug/L | 0.96941 | 0.0824 | Recoverable Result | 4440 | D | kas |  | 2016-06-30 | Crescent 03FF058: 25 µl & ChemService 5082900: 25 µl
20163220168 | 2016-11-16 07:00 | CIS-1,2-DICHLOROETHYLENE | 77093GCM66 | 0.025 | 0.085 | . | ug/L | 0.96471 | 0.082 | Recoverable Result | 4440 | A | dlr |  | 2016-11-21 | Crescent 03FF058: 25 µl & Supelco LC20141V: 25 µl
20162150210 | 2016-08-02 06:30 | CIS-1,2-DICHLOROETHYLENE | 77093GCM66 | 0.022 | 0.136 | . | ug/L | 1.0074 | 0.137 | Recoverable Result | 4440 | D | kas |  | 2016-08-04 | Crescent 03FF058: 40 µl & Supelco LC20141V: 40 µl
20163420128 | 2016-12-07 07:00 | CIS-1,2-DICHLOROETHYLENE | 77093GCM66 | 0.025 | 0.136 | . | ug/L | 1.0515 | 0.143 | Recoverable Result | 4440 | A | dlr |  | 2016-12-12 | Accu 216041125: 40 µl & Crescent 03FF058: 40 µl