## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20151210035 | 2015-04-30 08:00 | CIS-1,3-DICHLOROPROPENE | 34704GCM66 | 0.1 | 0.15 | . | ug/L | 1.0467 | 0.157 | Recoverable Result | 4440 | D | dlr |  | 2015-05-09 | Supelco LC13545: 10 µl & Crescent 04EE008: 10 µl
20151690197 | 2015-06-18 08:00 | CIS-1,3-DICHLOROPROPENE | 34704GCM66 | 0.1 | 0.15 | . | ug/L | 0.84667 | 0.127 | Recoverable Result | 4440 | D | kas |  | 2015-06-27 | ERA 0406-15-03: 10 µl & Supelco LC13545: 10 µl
20153440003 | 2015-12-09 08:00 | CIS-1,3-DICHLOROPROPENE | 34704GCM66 | 0.1 | 0.15 | . | ug/L | 0.85333 | 0.128 | Recoverable Result | 4440 | A | kas |  | 2015-12-10 | NSI 050515AVOC: 10 µl & Supelco LC13545: 10 µl
20160770093 | 2016-03-17 09:00 | CIS-1,3-DICHLOROPROPENE | 34704GCM66 | 0.1 | 0.15 | . | ug/L | 1.14 | 0.171 | Recoverable Result | 4440 | D | lmu |  | 2016-03-17 | NSI 050515AVOC: 10 µl & Supelco LC13545: 10 µl
20161260157 | 2016-05-05 07:30 | CIS-1,3-DICHLOROPROPENE | 34704GCM66 | 0.1 | 0.15 | . | ug/L | 1.0667 | 0.16 | Recoverable Result | 4440 | A | kas |  | 2016-05-13 | Supelco LC13545: 10 µl & Crescent 04EE008: 10 µl
20151380012 | 2015-05-14 07:00 | CIS-1,3-DICHLOROPROPENE | 34704GCM66 | 0.1 | 0.1504 | . | ug/L | 1.0838 | 0.163 | Recoverable Result | 4440 | D | KAS |  | 2015-05-21 | Spex Organics EN150428007: 10 µl & Accu 215041380: 10 µl
20152390224 | 2015-08-27 09:30 | CIS-1,3-DICHLOROPROPENE | 34704GCM66 | 0.1 | 0.1504 | . | ug/L | 1.0239 | 0.154 | Recoverable Result | 4440 | D | mgu |  | 2015-09-03 | NSI 050515AVOC: 10 µl & Spex Organics EN150428007: 10 µl
20153090111 | 2015-11-05 09:30 | CIS-1,3-DICHLOROPROPENE | 34704GCM66 | 0.1 | 0.1504 | . | ug/L | 1.0838 | 0.163 | Recoverable Result | 4440 | D | kas |  | 2015-11-12 | Spex Organics EN150428007: 10 µl & Accu 215041380: 10 µl
20160490036 | 2016-02-18 09:00 | CIS-1,3-DICHLOROPROPENE | 34704GCM66 | 0.1 | 0.1504 | . | ug/L | 1.0904 | 0.164 | Recoverable Result | 4440 | D | kas |  | 2016-02-18 | Spex Organics EN150428007: 10 µl & Accu 215041380: 10 µl
20141840101 | 2014-07-02 08:00 | CIS-1,3-DICHLOROPROPENE | 34704GCM66 | 0.1 | 0.2 | . | ug/L | 0.455 | 0.091 | Recoverable Result | 4440 | D | dlr | n | 2014-07-11 | Spex Organics C1140417015: 10 µl & ERA 0227-14-06.1A: 10 µl
20141990078 | 2014-07-17 07:00 | CIS-1,3-DICHLOROPROPENE | 34704GCM66 | 0.1 | 0.2 | . | ug/L | 0.45 | 0.09 | Recoverable Result | 4440 | D | ahe | n | 2014-07-23 | Spex Organics C1140417015: 10 µl & Accu 214031115: 10 µl
20142480009 | 2014-09-04 08:00 | CIS-1,3-DICHLOROPROPENE | 34704GCM66 | 0.1 | 0.2 | . | ug/L | 0.505 | 0.101 | Recoverable Result | 4440 | D | dlr |  | 2014-09-09 | NSI 032614: 10 µl & Spex Organics C1140417015: 10 µl
20143030098 | 2014-10-30 07:30 | CIS-1,3-DICHLOROPROPENE | 34704GCM66 | 0.1 | 0.2 | . | ug/L | 0.5 | 0.1 | Recoverable Result | 4440 | D | dlr |  | 2014-11-06 | Spex Organics C1140417015: 10 µl & Crescent 03DD004: 10 µl
20141220028 | 2014-05-01 07:30 | CIS-1,3-DICHLOROPROPENE | 34704GCM66 | 0.1 | 0.2004 | . | ug/L | 1.1527 | 0.231 | Recoverable Result | 4440 | D | dlr |  | 2014-05-03 | Crescent 03DD004: 10 µl & Supelco LC06438: 10 µl
20141360092 | 2014-05-16 07:30 | CIS-1,3-DICHLOROPROPENE | 34704GCM66 | 0.1 | 0.2004 | . | ug/L | 1.0429 | 0.209 | Recoverable Result | 4440 | A | dlr |  | 2014-05-30 | NSI 032614: 10 µl & Supelco LC06438: 10 µl
20141640078 | 2014-06-12 08:00 | CIS-1,3-DICHLOROPROPENE | 34704GCM66 | 0.1 | 0.2004 | . | ug/L | 1.1627 | 0.233 | Recoverable Result | 4440 | D | lmu |  | 2014-06-18 | Supelco LC06438: 10 µl & Accu 214031115: 10 µl
20142890080 | 2014-10-16 08:00 | CIS-1,3-DICHLOROPROPENE | 34704GCM66 | 0.1 | 0.2004 | . | ug/L | 0.95309 | 0.191 | Recoverable Result | 4440 | D | dlr |  | 2014-10-21 | ERA 0227-14-06.1A: 10 µl & Supelco LC06438: 10 µl
20153510114 | 2015-12-17 08:30 | CIS-1,3-DICHLOROPROPENE | 34704GCM66 | 0.1 | 0.225 | . | ug/L | 1.0044 | 0.226 | Recoverable Result | 4440 | D | kas |  | 2015-12-18 | Supelco LC13545: 15 µl & Crescent 04EE008: 15 µl
20160910143 | 2016-03-31 06:00 | CIS-1,3-DICHLOROPROPENE | 34704GCM66 | 0.1 | 0.225 | . | ug/L | 1.0178 | 0.229 | Recoverable Result | 4440 | D | lmu |  | 2016-04-02 | Supelco LC13545: 15 µl & Accu 215041380: 15 µl
20151270114 | 2015-05-07 07:30 | CIS-1,3-DICHLOROPROPENE | 34704GCM66 | 0.1 | 0.2256 | . | ug/L | 1.0816 | 0.244 | Recoverable Result | 4440 | D | dlr |  | 2015-05-09 | Spex Organics EN150428007: 15 µl & Crescent 04EE008: 15 µl
20152810126 | 2015-10-08 09:00 | CIS-1,3-DICHLOROPROPENE | 34704GCM66 | 0.1 | 0.2256 | . | ug/L | 1.0151 | 0.229 | Recoverable Result | 4440 | D | kas |  | 2015-10-16 | ERA 0406-15-03: 15 µl & Spex Organics EN150428007: 15 µl
20153030066 | 2015-10-29 09:00 | CIS-1,3-DICHLOROPROPENE | 34704GCM66 | 0.1 | 0.2256 | . | ug/L | 1.0417 | 0.235 | Recoverable Result | 4440 | D | kas |  | 2015-11-04 | NSI 050515AVOC: 15 µl & Spex Organics EN150428007: 15 µl
20160280060 | 2016-01-28 09:00 | CIS-1,3-DICHLOROPROPENE | 34704GCM66 | 0.1 | 0.2256 | . | ug/L | 0.8156 | 0.184 | Recoverable Result | 4440 | D | kas |  | 2016-02-05 | ERA 0406-15-03: 15 µl & Spex Organics EN150428007: 15 µl
20161050145 | 2016-04-14 07:00 | CIS-1,3-DICHLOROPROPENE | 34704GCM66 | 0.1 | 0.2256 | . | ug/L | 0.98404 | 0.222 | Recoverable Result | 4440 | D | kas |  | 2016-04-26 | ERA 0406-15-03: 15 µl & Spex Organics EN150428007: 15 µl
20162300276 | 2016-08-17 07:00 | CIS-1,3-DICHLOROPROPENE | 34704GCM66 | 0.1 | 0.243 | . | ug/L | 0.88889 | 0.216 | Recoverable Result | 4440 | D | kas |  | 2016-08-20 | Accu 216041125: 15 µl & Crescent 03FF058: 15 µl
20162520004 | 2016-09-07 06:30 | CIS-1,3-DICHLOROPROPENE | 34704GCM66 | 0.1 | 0.243 | . | ug/L | 0.88066 | 0.214 | Recoverable Result | 4440 | D | kas |  | 2016-09-08 | Phenova B20160319: 15 µl & Crescent 03FF058: 15 µl
20162660007 | 2016-09-21 06:30 | CIS-1,3-DICHLOROPROPENE | 34704GCM66 | 0.1 | 0.243 | . | ug/L | 0.7284 | 0.177 | Recoverable Result | 4440 | A | jco |  | 2016-09-28 | Crescent 03FF058: 15 µl & ChemService 5082900: 15 µl
20161600091 | 2016-06-08 06:00 | CIS-1,3-DICHLOROPROPENE | 34704GCM66 | 0.1 | 0.249 | . | ug/L | 0.93574 | 0.233 | Recoverable Result | 4440 | D | dlr |  | 2016-06-15 | NSI 041816AVOC: 15 µl & ChemService 5082900: 15 µl
20162100019 | 2016-07-27 06:00 | CIS-1,3-DICHLOROPROPENE | 34704GCM66 | 0.1 | 0.249 | . | ug/L | 1.0964 | 0.273 | Recoverable Result | 4440 | A | kas |  | 2016-07-29 | Phenova B20160319: 15 µl & NSI 041816AVOC: 15 µl
20162860092 | 2016-10-12 06:30 | CIS-1,3-DICHLOROPROPENE | 34704GCM66 | 0.1 | 0.249 | . | ug/L | 1.004 | 0.25 | Recoverable Result | 4440 | A | dlr |  | 2016-10-13 | NSI 041816AVOC: 15 µl & Supelco LC20141V: 15 µl
20162800001 | 2016-10-05 07:00 | CIS-1,3-DICHLOROPROPENE | 34704GCM66 | 0.1 | 0.249 | . | ug/L | 1.2651 | 0.315 | Recoverable Result | 4440 | A | dlr |  | 2016-10-13 | Accu 216041125: 15 µl & NSI 041816AVOC: 15 µl
20151620184 | 2015-06-11 07:30 | CIS-1,3-DICHLOROPROPENE | 34704GCM66 | 0.1 | 0.375 | . | ug/L | 0.72267 | 0.271 | Recoverable Result | 4440 | A | lmu |  | 2015-06-16 | ERA 0406-15-03: 25 µl & Supelco LC13545: 25 µl
20152250274 | 2015-08-13 09:30 | CIS-1,3-DICHLOROPROPENE | 34704GCM66 | 0.1 | 0.375 | . | ug/L | 0.84 | 0.315 | Recoverable Result | 4440 | A | mgu |  | 2015-08-15 | Supelco LC13545: 25 µl & Crescent 04EE008: 25 µl
20142200168 | 2014-08-07 08:30 | CIS-1,3-DICHLOROPROPENE | 34704GCM66 | 0.1 | 0.4 | . | ug/L | 0.47 | 0.188 | Recoverable Result | 4440 | D | dlr |  | 2014-08-16 | ERA 0227-14-06.1A: 20 µl & Spex Organics C1140417015: 20 µl
20142270005 | 2014-08-14 07:30 | CIS-1,3-DICHLOROPROPENE | 34704GCM66 | 0.1 | 0.4 | . | ug/L | 0.54 | 0.216 | Recoverable Result | 4440 | D | lmu |  | 2014-08-19 | Spex Organics C1140417015: 20 µl & Accu 214031115: 20 µl
20143240097 | 2014-11-19 07:30 | CIS-1,3-DICHLOROPROPENE | 34704GCM66 | 0.1 | 0.4 | . | ug/L | 0.49 | 0.196 | Recoverable Result | 4440 | D | dlr |  | 2014-11-22 | NSI 032614: 20 µl & Spex Organics C1140417015: 20 µl
20150720068 | 2015-03-12 07:00 | CIS-1,3-DICHLOROPROPENE | 34704GCM66 | 0.1 | 0.4 | . | ug/L | 0.475 | 0.19 | Recoverable Result | 4440 | D | KAS |  | 2015-03-19 | Spex Organics C1140417015: 20 µl & Crescent 03DD004: 20 µl
20141570084 | 2014-06-05 08:00 | CIS-1,3-DICHLOROPROPENE | 34704GCM66 | 0.1 | 0.4008 | . | ug/L | 0.91816 | 0.368 | Recoverable Result | 4440 | A | dlr |  | 2014-06-10 | NSI 032614: 20 µl & Supelco LC06438: 20 µl
20142530090 | 2014-09-10 07:30 | CIS-1,3-DICHLOROPROPENE | 34704GCM66 | 0.1 | 0.4008 | . | ug/L | 0.97804 | 0.392 | Recoverable Result | 4440 | D | dlr |  | 2014-09-21 | Supelco LC06438: 20 µl
20143420010 | 2014-12-08 07:30 | CIS-1,3-DICHLOROPROPENE | 34704GCM66 | 0.1 | 0.4008 | . | ug/L | 0.91317 | 0.366 | Recoverable Result | 4440 | D | KAS |  | 2014-12-17 | Supelco LC06438: 20 µl & Crescent 03DD004: 20 µl
20150510046 | 2015-02-19 07:30 | CIS-1,3-DICHLOROPROPENE | 34704GCM66 | 0.1 | 0.4008 | . | ug/L | 0.8508 | 0.341 | Recoverable Result | 4440 | D | KAS |  | 2015-03-06 | ERA 0227-14-06.1A: 20 µl & Supelco LC06438: 20 µl
20161340232 | 2016-05-13 06:10 | CIS-1,3-DICHLOROPROPENE | 34704GCM66 | 0.1 | 0.405 | . | ug/L | 0.74074 | 0.3 | Recoverable Result | 4440 | A | lmu |  | 2016-05-24 | Accu 216041125: 25 µl & Crescent 03FF058: 25 µl
20161680363 | 2016-06-15 07:00 | CIS-1,3-DICHLOROPROPENE | 34704GCM66 | 0.1 | 0.405 | . | ug/L | 0.79506 | 0.322 | Recoverable Result | 4440 | D | dlr |  | 2016-06-21 | Phenova B20160319: 25 µl & Crescent 03FF058: 25 µl
20161740255 | 2016-06-22 06:30 | CIS-1,3-DICHLOROPROPENE | 34704GCM66 | 0.1 | 0.405 | . | ug/L | 0.75556 | 0.306 | Recoverable Result | 4440 | D | kas |  | 2016-06-30 | Crescent 03FF058: 25 µl & ChemService 5082900: 25 µl
20163220168 | 2016-11-16 07:00 | CIS-1,3-DICHLOROPROPENE | 34704GCM66 | 0.1 | 0.405 | . | ug/L | 0.70864 | 0.287 | Recoverable Result | 4440 | A | dlr |  | 2016-11-21 | Crescent 03FF058: 25 µl & Supelco LC20141V: 25 µl
20162380006 | 2016-08-24 06:15 | CIS-1,3-DICHLOROPROPENE | 34704GCM66 | 0.1 | 0.415 | . | ug/L | 0.86024 | 0.357 | Recoverable Result | 4440 | A | dlr |  | 2016-08-26 | NSI 041816AVOC: 25 µl & ChemService 5082900: 25 µl
20162150210 | 2016-08-02 06:30 | CIS-1,3-DICHLOROPROPENE | 34704GCM66 | 0.1 | 0.648 | . | ug/L | 0.73148 | 0.474 | Recoverable Result | 4440 | D | kas |  | 2016-08-04 | Crescent 03FF058: 40 µl & Supelco LC20141V: 40 µl
20163420128 | 2016-12-07 07:00 | CIS-1,3-DICHLOROPROPENE | 34704GCM66 | 0.1 | 0.648 | . | ug/L | 0.81481 | 0.528 | Recoverable Result | 4440 | A | dlr |  | 2016-12-12 | Accu 216041125: 40 µl & Crescent 03FF058: 40 µl
20161880113 | 2016-07-06 06:15 | CIS-1,3-DICHLOROPROPENE | 34704GCM66 | 0.1 | 0.664 | . | ug/L | 0.98494 | 0.654 | Recoverable Result | 4440 | D | kas |  | 2016-07-14 | Accu 216041125: 40 µl & NSI 041816AVOC: 40 µl
20163500004 | 2016-12-14 07:00 | CIS-1,3-DICHLOROPROPENE | 34704GCM66 | 0.1 | 0.664 | . | ug/L | 0.91566 | 0.608 | Recoverable Result | 4440 | A | lmu |  | 2016-12-16 | NSI 041816AVOC: 40 µl & ChemService 5082900: 40 µl