## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20151210035 | 2015-04-30 08:00 | DIBROMOMETHANE | 30217GCM66 | 0.05 | 0.074 | . | ug/L | 0.95405 | 0.0706 | Recoverable Result | 4440 | D | dlr |  | 2015-05-09 | Supelco LC13545: 10 µl & Crescent 04EE008: 10 µl
20152040181 | 2015-07-23 08:00 | DIBROMOMETHANE | 30217GCM66 | 0.05 | 0.074 | . | ug/L | 0.83514 | 0.0618 | Recoverable Result | 4440 | D | kas |  | 2015-07-31 | Crescent 04EE008: 10 µl & ERA 0406-15-03: 10 µl
20160140041 | 2016-01-14 09:00 | DIBROMOMETHANE | 30217GCM66 | 0.05 | 0.074 | . | ug/L | 0.98243 | 0.0727 | Recoverable Result | 4440 | D | kas |  | 2016-01-27 | Crescent 04EE008: 10 µl & NSI 050515AVOC: 10 µl
20161260157 | 2016-05-05 07:30 | DIBROMOMETHANE | 30217GCM66 | 0.05 | 0.074 | . | ug/L | 1.0838 | 0.0802 | Recoverable Result | 4440 | A | kas |  | 2016-05-13 | Supelco LC13545: 10 µl & Crescent 04EE008: 10 µl
20151380012 | 2015-05-14 07:00 | DIBROMOMETHANE | 30217GCM66 | 0.05 | 0.07494 | . | ug/L | 0.88604 | 0.0664 | Recoverable Result | 4440 | D | KAS |  | 2015-05-21 | Spex Organics EN150428007: 10 µl & Accu 215041380: 10 µl
20153090111 | 2015-11-05 09:30 | DIBROMOMETHANE | 30217GCM66 | 0.05 | 0.07494 | . | ug/L | 0.93275 | 0.0699 | Recoverable Result | 4440 | D | kas |  | 2015-11-12 | Spex Organics EN150428007: 10 µl & Accu 215041380: 10 µl
20153230147 | 2015-11-19 09:30 | DIBROMOMETHANE | 30217GCM66 | 0.05 | 0.07494 | . | ug/L | 0.93942 | 0.0704 | Recoverable Result | 4440 | D | kas |  | 2015-11-20 | Accu 215041380: 10 µl & ERA 0406-15-03: 10 µl
20160490036 | 2016-02-18 09:00 | DIBROMOMETHANE | 30217GCM66 | 0.05 | 0.07494 | . | ug/L | 0.95009 | 0.0712 | Recoverable Result | 4440 | D | kas |  | 2016-02-18 | Spex Organics EN150428007: 10 µl & Accu 215041380: 10 µl
20141360092 | 2014-05-16 07:30 | DIBROMOMETHANE | 30217GCM66 | 0.05 | 0.1 | . | ug/L | 0.89 | 0.089 | Recoverable Result | 4440 | A | dlr |  | 2014-05-30 | NSI 032614: 10 µl & Supelco LC06438: 10 µl
20142060045 | 2014-07-24 07:30 | DIBROMOMETHANE | 30217GCM66 | 0.05 | 0.1 | . | ug/L | 1.08 | 0.108 | Recoverable Result | 4440 | D | ahe |  | 2014-07-29 | Crescent 03DD004: 10 µl & NSI 032614: 10 µl
20142480009 | 2014-09-04 08:00 | DIBROMOMETHANE | 30217GCM66 | 0.05 | 0.1 | . | ug/L | 1.08 | 0.108 | Recoverable Result | 4440 | D | dlr |  | 2014-09-09 | NSI 032614: 10 µl & Spex Organics C1140417015: 10 µl
20142470038 | 2014-09-03 07:15 | DIBROMOMETHANE | 30217GCM66 | 0.05 | 0.1 | . | ug/L | 1.22 | 0.122 | Recoverable Result | 4440 | D | dlr | +c | 2014-09-09 | Accu 214031115: 10 µl & NSI 032614: 10 µl
20141840101 | 2014-07-02 08:00 | DIBROMOMETHANE | 30217GCM66 | 0.05 | 0.1028 | . | ug/L | 1.0409 | 0.107 | Recoverable Result | 4440 | D | dlr |  | 2014-07-11 | Spex Organics C1140417015: 10 µl & ERA 0227-14-06.1A: 10 µl
20142720027 | 2014-09-25 07:30 | DIBROMOMETHANE | 30217GCM66 | 0.05 | 0.1028 | . | ug/L | 1.0311 | 0.106 | Recoverable Result | 4440 | D | dlr |  | 2014-10-04 | Crescent 03DD004: 10 µl & ERA 0227-14-06.1A: 10 µl
20142890080 | 2014-10-16 08:00 | DIBROMOMETHANE | 30217GCM66 | 0.05 | 0.1028 | . | ug/L | 0.94747 | 0.0974 | Recoverable Result | 4440 | D | dlr |  | 2014-10-21 | ERA 0227-14-06.1A: 10 µl & Supelco LC06438: 10 µl
20150090093 | 2015-01-08 07:30 | DIBROMOMETHANE | 30217GCM66 | 0.05 | 0.1028 | . | ug/L | 0.89689 | 0.0922 | Recoverable Result | 4440 | D | KAS |  | 2015-01-13 | Accu 214031115: 10 µl & ERA 0227-14-06.1A: 10 µl
20151270114 | 2015-05-07 07:30 | DIBROMOMETHANE | 30217GCM66 | 0.05 | 0.111 | . | ug/L | 0.98198 | 0.109 | Recoverable Result | 4440 | D | dlr |  | 2015-05-09 | Spex Organics EN150428007: 15 µl & Crescent 04EE008: 15 µl
20152890011 | 2015-10-15 09:00 | DIBROMOMETHANE | 30217GCM66 | 0.05 | 0.111 | . | ug/L | 0.96396 | 0.107 | Recoverable Result | 4440 | D | kas |  | 2015-10-17 | Crescent 04EE008: 15 µl & NSI 050515AVOC: 15 µl
20153510114 | 2015-12-17 08:30 | DIBROMOMETHANE | 30217GCM66 | 0.05 | 0.111 | . | ug/L | 1 | 0.111 | Recoverable Result | 4440 | D | kas |  | 2015-12-18 | Supelco LC13545: 15 µl & Crescent 04EE008: 15 µl
20151480172 | 2015-05-28 07:30 | DIBROMOMETHANE | 30217GCM66 | 0.05 | 0.11241 | . | ug/L | 0.78285 | 0.088 | Recoverable Result | 4440 | A | lmu |  | 2015-06-04 | NSI 050515AVOC: 15 µl & Accu 215041380: 15 µl
20160630052 | 2016-03-03 09:00 | DIBROMOMETHANE | 30217GCM66 | 0.05 | 0.11241 | . | ug/L | 0.88248 | 0.0992 | Recoverable Result | 4440 | D | lmu |  | 2016-03-04 | Accu 215041380: 15 µl & ERA 0406-15-03: 15 µl
20160910143 | 2016-03-31 06:00 | DIBROMOMETHANE | 30217GCM66 | 0.05 | 0.11241 | . | ug/L | 0.90739 | 0.102 | Recoverable Result | 4440 | D | lmu |  | 2016-04-02 | Supelco LC13545: 15 µl & Accu 215041380: 15 µl
20162300276 | 2016-08-17 07:00 | DIBROMOMETHANE | 30217GCM66 | 0.05 | 0.123 | . | ug/L | 1.0407 | 0.128 | Recoverable Result | 4440 | D | kas |  | 2016-08-20 | Accu 216041125: 15 µl & Crescent 03FF058: 15 µl
20162520004 | 2016-09-07 06:30 | DIBROMOMETHANE | 30217GCM66 | 0.05 | 0.123 | . | ug/L | 1.0488 | 0.129 | Recoverable Result | 4440 | D | kas |  | 2016-09-08 | Phenova B20160319: 15 µl & Crescent 03FF058: 15 µl
20162660007 | 2016-09-21 06:30 | DIBROMOMETHANE | 30217GCM66 | 0.05 | 0.123 | . | ug/L | 1 | 0.123 | Recoverable Result | 4440 | A | jco |  | 2016-09-28 | Crescent 03FF058: 15 µl & ChemService 5082900: 15 µl
20151820110 | 2015-07-01 08:00 | DIBROMOMETHANE | 30217GCM66 | 0.05 | 0.185 | . | ug/L | 0.96757 | 0.179 | Recoverable Result | 4440 | D | kas |  | 2015-07-13 | Crescent 04EE008: 25 µl & NSI 050515AVOC: 25 µl
20152250274 | 2015-08-13 09:30 | DIBROMOMETHANE | 30217GCM66 | 0.05 | 0.185 | . | ug/L | 0.93514 | 0.173 | Recoverable Result | 4440 | A | mgu |  | 2015-08-15 | Supelco LC13545: 25 µl & Crescent 04EE008: 25 µl
20152610008 | 2015-09-17 08:00 | DIBROMOMETHANE | 30217GCM66 | 0.05 | 0.18735 | . | ug/L | 0.88604 | 0.166 | Recoverable Result | 4440 | A | KAS |  | 2015-09-29 | Accu 215041380: 25 µl & ERA 0406-15-03: 25 µl
20141150020 | 2014-04-24 07:00 | DIBROMOMETHANE | 30217GCM66 | 0.05 | 0.2 | . | ug/L | 1.025 | 0.205 | Recoverable Result | 4440 | D | ahe |  | 2014-05-01 | Accu 214031115: 20 µl & NSI 032614: 20 µl
20141570084 | 2014-06-05 08:00 | DIBROMOMETHANE | 30217GCM66 | 0.05 | 0.2 | . | ug/L | 1.085 | 0.217 | Recoverable Result | 4440 | A | dlr |  | 2014-06-10 | NSI 032614: 20 µl & Supelco LC06438: 20 µl
20141490202 | 2014-05-29 08:00 | DIBROMOMETHANE | 30217GCM66 | 0.05 | 0.2 | . | ug/L | 1.085 | 0.217 | Recoverable Result | 4440 | A | dlr |  | 2014-06-10 | Crescent 03DD004: 20 µl & NSI 032614: 20 µl
20143240097 | 2014-11-19 07:30 | DIBROMOMETHANE | 30217GCM66 | 0.05 | 0.2 | . | ug/L | 0.98 | 0.196 | Recoverable Result | 4440 | D | dlr |  | 2014-11-22 | NSI 032614: 20 µl & Spex Organics C1140417015: 20 µl
20161340232 | 2016-05-13 06:10 | DIBROMOMETHANE | 30217GCM66 | 0.05 | 0.205 | . | ug/L | 0.89756 | 0.184 | Recoverable Result | 4440 | A | lmu |  | 2016-05-24 | Accu 216041125: 25 µl & Crescent 03FF058: 25 µl
20161680363 | 2016-06-15 07:00 | DIBROMOMETHANE | 30217GCM66 | 0.05 | 0.205 | . | ug/L | 0.96098 | 0.197 | Recoverable Result | 4440 | D | dlr |  | 2016-06-21 | Phenova B20160319: 25 µl & Crescent 03FF058: 25 µl
20161740255 | 2016-06-22 06:30 | DIBROMOMETHANE | 30217GCM66 | 0.05 | 0.205 | . | ug/L | 0.91707 | 0.188 | Recoverable Result | 4440 | D | kas |  | 2016-06-30 | Crescent 03FF058: 25 µl & ChemService 5082900: 25 µl
20163220168 | 2016-11-16 07:00 | DIBROMOMETHANE | 30217GCM66 | 0.05 | 0.205 | . | ug/L | 0.96585 | 0.198 | Recoverable Result | 4440 | A | dlr |  | 2016-11-21 | Crescent 03FF058: 25 µl & Supelco LC20141V: 25 µl
20141770147 | 2014-06-26 08:00 | DIBROMOMETHANE | 30217GCM66 | 0.05 | 0.2056 | . | ug/L | 1.1187 | 0.23 | Recoverable Result | 4440 | D | ahe |  | 2014-07-01 | Accu 214031115: 20 µl & ERA 0227-14-06.1A: 20 µl
20142200168 | 2014-08-07 08:30 | DIBROMOMETHANE | 30217GCM66 | 0.05 | 0.2056 | . | ug/L | 0.99708 | 0.205 | Recoverable Result | 4440 | D | dlr |  | 2014-08-16 | ERA 0227-14-06.1A: 20 µl & Spex Organics C1140417015: 20 µl
20143110111 | 2014-11-06 07:30 | DIBROMOMETHANE | 30217GCM66 | 0.05 | 0.2056 | . | ug/L | 0.95331 | 0.196 | Recoverable Result | 4440 | D | dlr |  | 2014-11-14 | Crescent 03DD004: 20 µl & ERA 0227-14-06.1A: 20 µl
20150510046 | 2015-02-19 07:30 | DIBROMOMETHANE | 30217GCM66 | 0.05 | 0.2056 | . | ug/L | 0.9679 | 0.199 | Recoverable Result | 4440 | D | KAS |  | 2015-03-06 | ERA 0227-14-06.1A: 20 µl & Supelco LC06438: 20 µl
20150930003 | 2015-04-02 06:30 | DIBROMOMETHANE | 30217GCM66 | 0.05 | 0.2056 | . | ug/L | 1.0457 | 0.215 | Recoverable Result | 4440 | D | mgu |  | 2015-04-09 | Accu 214031115: 20 µl & ERA 0227-14-06.1A: 20 µl
20162150210 | 2016-08-02 06:30 | DIBROMOMETHANE | 30217GCM66 | 0.05 | 0.328 | . | ug/L | 0.89634 | 0.294 | Recoverable Result | 4440 | D | kas |  | 2016-08-04 | Crescent 03FF058: 40 µl & Supelco LC20141V: 40 µl
20163420128 | 2016-12-07 07:00 | DIBROMOMETHANE | 30217GCM66 | 0.05 | 0.328 | . | ug/L | 0.99085 | 0.325 | Recoverable Result | 4440 | A | dlr |  | 2016-12-12 | Accu 216041125: 40 µl & Crescent 03FF058: 40 µl