## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20151380012 | 2015-05-14 07:00 | DICHLORODIFLUOROMETHANE | 34668GCM66 | 0.1 | 0.1495 | E | ug/L | 0.79599 | 0.119 | Estimated Values | 4440 | D | KAS | mc | 2015-05-21 | Spex Organics EN150428007: 10 µl & Accu 215041380: 10 µl
20153090111 | 2015-11-05 09:30 | DICHLORODIFLUOROMETHANE | 34668GCM66 | 0.1 | 0.1495 | E | ug/L | 0.76254 | 0.114 | Estimated Values | 4440 | D | kas | mc | 2015-11-12 | Spex Organics EN150428007: 10 µl & Accu 215041380: 10 µl
20153230147 | 2015-11-19 09:30 | DICHLORODIFLUOROMETHANE | 34668GCM66 | 0.1 | 0.1495 | E | ug/L | 0.7893 | 0.118 | Estimated Values | 4440 | D | kas | mc | 2015-11-20 | Accu 215041380: 10 µl & ERA 0406-15-03: 10 µl
20160490036 | 2016-02-18 09:00 | DICHLORODIFLUOROMETHANE | 34668GCM66 | 0.1 | 0.1495 | E | ug/L | 0.70234 | 0.105 | Estimated Values | 4440 | D | kas | mc | 2016-02-18 | Spex Organics EN150428007: 10 µl & Accu 215041380: 10 µl
20151210035 | 2015-04-30 08:00 | DICHLORODIFLUOROMETHANE | 34668GCM66 | 0.1 | 0.15 | E | ug/L | 0.75333 | 0.113 | Estimated Values | 4440 | D | dlr | mc | 2015-05-09 | Supelco LC13545: 10 µl & Crescent 04EE008: 10 µl
20152040181 | 2015-07-23 08:00 | DICHLORODIFLUOROMETHANE | 34668GCM66 | 0.1 | 0.15 | E | ug/L | 0.63333 | 0.095 | Estimated Values | 4440 | D | kas | mnc | 2015-07-31 | Crescent 04EE008: 10 µl & ERA 0406-15-03: 10 µl
20160140041 | 2016-01-14 09:00 | DICHLORODIFLUOROMETHANE | 34668GCM66 | 0.1 | 0.15 | E | ug/L | 0.68 | 0.102 | Estimated Values | 4440 | D | kas | mc | 2016-01-27 | Crescent 04EE008: 10 µl & NSI 050515AVOC: 10 µl
20161260157 | 2016-05-05 07:30 | DICHLORODIFLUOROMETHANE | 34668GCM66 | 0.1 | 0.15 | E | ug/L | 0.50667 | 0.076 | Estimated Values | 4440 | A | kas | mnc | 2016-05-13 | Supelco LC13545: 10 µl & Crescent 04EE008: 10 µl
20141840101 | 2014-07-02 08:00 | DICHLORODIFLUOROMETHANE | 34668GCM66 | 0.1 | 0.2 | E | ug/L | 1.07 | 0.214 | Estimated Values | 4440 | D | dlr | mc | 2014-07-11 | Spex Organics C1140417015: 10 µl & ERA 0227-14-06.1A: 10 µl
20142720027 | 2014-09-25 07:30 | DICHLORODIFLUOROMETHANE | 34668GCM66 | 0.1 | 0.2 | E | ug/L | 1.085 | 0.217 | Estimated Values | 4440 | D | dlr | mc | 2014-10-04 | Crescent 03DD004: 10 µl & ERA 0227-14-06.1A: 10 µl
20142890080 | 2014-10-16 08:00 | DICHLORODIFLUOROMETHANE | 34668GCM66 | 0.1 | 0.2 | E | ug/L | 1.175 | 0.235 | Estimated Values | 4440 | D | dlr | mc | 2014-10-21 | ERA 0227-14-06.1A: 10 µl & Supelco LC06438: 10 µl
20150090093 | 2015-01-08 07:30 | DICHLORODIFLUOROMETHANE | 34668GCM66 | 0.1 | 0.2 | E | ug/L | 1.2 | 0.24 | Estimated Values | 4440 | D | KAS | mc | 2015-01-13 | Accu 214031115: 10 µl & ERA 0227-14-06.1A: 10 µl
20141360092 | 2014-05-16 07:30 | DICHLORODIFLUOROMETHANE | 34668GCM66 | 0.1 | 0.202 | E | ug/L | 1.3564 | 0.274 | Estimated Values | 4440 | A | dlr | mc | 2014-05-30 | NSI 032614: 10 µl & Supelco LC06438: 10 µl
20142060045 | 2014-07-24 07:30 | DICHLORODIFLUOROMETHANE | 34668GCM66 | 0.1 | 0.202 | E | ug/L | 1.4752 | 0.298 | Estimated Values | 4440 | D | ahe | mc | 2014-07-29 | Crescent 03DD004: 10 µl & NSI 032614: 10 µl
20142480009 | 2014-09-04 08:00 | DICHLORODIFLUOROMETHANE | 34668GCM66 | 0.1 | 0.202 | E | ug/L | 1.6683 | 0.337 | Estimated Values | 4440 | D | dlr | mc | 2014-09-09 | NSI 032614: 10 µl & Spex Organics C1140417015: 10 µl
20142470038 | 2014-09-03 07:15 | DICHLORODIFLUOROMETHANE | 34668GCM66 | 0.1 | 0.202 | E | ug/L | 1.7525 | 0.354 | Estimated Values | 4440 | D | dlr | +mc | 2014-09-09 | Accu 214031115: 10 µl & NSI 032614: 10 µl
20151480172 | 2015-05-28 07:30 | DICHLORODIFLUOROMETHANE | 34668GCM66 | 0.1 | 0.22425 | E | ug/L | 0.7893 | 0.177 | Estimated Values | 4440 | A | lmu | mc | 2015-06-04 | NSI 050515AVOC: 15 µl & Accu 215041380: 15 µl
20160630052 | 2016-03-03 09:00 | DICHLORODIFLUOROMETHANE | 34668GCM66 | 0.1 | 0.22425 | E | ug/L | 0.65998 | 0.148 | Estimated Values | 4440 | D | lmu | mc | 2016-03-04 | Accu 215041380: 15 µl & ERA 0406-15-03: 15 µl
20160910143 | 2016-03-31 06:00 | DICHLORODIFLUOROMETHANE | 34668GCM66 | 0.1 | 0.22425 | E | ug/L | 0.78038 | 0.175 | Estimated Values | 4440 | D | lmu | mc | 2016-04-02 | Supelco LC13545: 15 µl & Accu 215041380: 15 µl
20151270114 | 2015-05-07 07:30 | DICHLORODIFLUOROMETHANE | 34668GCM66 | 0.1 | 0.225 | E | ug/L | 0.76444 | 0.172 | Estimated Values | 4440 | D | dlr | mc | 2015-05-09 | Spex Organics EN150428007: 15 µl & Crescent 04EE008: 15 µl
20152890011 | 2015-10-15 09:00 | DICHLORODIFLUOROMETHANE | 34668GCM66 | 0.1 | 0.225 | E | ug/L | 0.59556 | 0.134 | Estimated Values | 4440 | D | kas | mc | 2015-10-17 | Crescent 04EE008: 15 µl & NSI 050515AVOC: 15 µl
20153510114 | 2015-12-17 08:30 | DICHLORODIFLUOROMETHANE | 34668GCM66 | 0.1 | 0.225 | E | ug/L | 0.68444 | 0.154 | Estimated Values | 4440 | D | kas | mc | 2015-12-18 | Supelco LC13545: 15 µl & Crescent 04EE008: 15 µl
20161600091 | 2016-06-08 06:00 | DICHLORODIFLUOROMETHANE | 34668GCM66 | 0.1 | 0.249 | E | ug/L | 0.63454 | 0.158 | Estimated Values | 4440 | D | kas | mc | 2016-06-10 | NSI 041816AVOC: 15 µl & ChemService 5082900: 15 µl
20162100019 | 2016-07-27 06:00 | DICHLORODIFLUOROMETHANE | 34668GCM66 | 0.1 | 0.249 | E | ug/L | 0.60643 | 0.151 | Estimated Values | 4440 | A | kas | mc | 2016-07-29 | Phenova B20160319: 15 µl & NSI 041816AVOC: 15 µl
20162300276 | 2016-08-17 07:00 | DICHLORODIFLUOROMETHANE | 34668GCM66 | 0.1 | 0.249 | E | ug/L | 0.66265 | 0.165 | Estimated Values | 4440 | D | kas | mc | 2016-08-20 | Accu 216041125: 15 µl & Crescent 03FF058: 15 µl
20162520004 | 2016-09-07 06:30 | DICHLORODIFLUOROMETHANE | 34668GCM66 | 0.1 | 0.249 | E | ug/L | 0.69076 | 0.172 | Estimated Values | 4440 | D | kas | mc | 2016-09-08 | Phenova B20160319: 15 µl & Crescent 03FF058: 15 µl
20162660007 | 2016-09-21 06:30 | DICHLORODIFLUOROMETHANE | 34668GCM66 | 0.1 | 0.249 | E | ug/L | 0.69478 | 0.173 | Estimated Values | 4440 | A | jco | mc | 2016-09-28 | Crescent 03FF058: 15 µl & ChemService 5082900: 15 µl
20162860092 | 2016-10-12 06:30 | DICHLORODIFLUOROMETHANE | 34668GCM66 | 0.1 | 0.249 | E | ug/L | 0.55422 | 0.138 | Estimated Values | 4440 | A | dlr | mc | 2016-10-13 | NSI 041816AVOC: 15 µl & Supelco LC20141V: 15 µl
20162800001 | 2016-10-05 07:00 | DICHLORODIFLUOROMETHANE | 34668GCM66 | 0.1 | 0.249 | E | ug/L | 0.63052 | 0.157 | Estimated Values | 4440 | A | dlr | mc | 2016-10-13 | Accu 216041125: 15 µl & NSI 041816AVOC: 15 µl
20152610008 | 2015-09-17 08:00 | DICHLORODIFLUOROMETHANE | 34668GCM66 | 0.1 | 0.37375 | E | ug/L | 0.59666 | 0.223 | Estimated Values | 4440 | A | KAS | mc | 2015-09-29 | Accu 215041380: 25 µl & ERA 0406-15-03: 25 µl
20151820110 | 2015-07-01 08:00 | DICHLORODIFLUOROMETHANE | 34668GCM66 | 0.1 | 0.375 | E | ug/L | 0.63467 | 0.238 | Estimated Values | 4440 | D | kas | mc | 2015-07-13 | Crescent 04EE008: 25 µl & NSI 050515AVOC: 25 µl
20152250274 | 2015-08-13 09:30 | DICHLORODIFLUOROMETHANE | 34668GCM66 | 0.1 | 0.375 | E | ug/L | 0.72533 | 0.272 | Estimated Values | 4440 | A | mgu | mc | 2015-08-15 | Supelco LC13545: 25 µl & Crescent 04EE008: 25 µl
20141770147 | 2014-06-26 08:00 | DICHLORODIFLUOROMETHANE | 34668GCM66 | 0.1 | 0.4 | E | ug/L | 1.5975 | 0.639 | Estimated Values | 4440 | D | ahe | mc | 2014-07-01 | Accu 214031115: 20 µl & ERA 0227-14-06.1A: 20 µl
20142200168 | 2014-08-07 08:30 | DICHLORODIFLUOROMETHANE | 34668GCM66 | 0.1 | 0.4 | E | ug/L | 1.43 | 0.572 | Estimated Values | 4440 | D | dlr | mc | 2014-08-16 | ERA 0227-14-06.1A: 20 µl & Spex Organics C1140417015: 20 µl
20143110111 | 2014-11-06 07:30 | DICHLORODIFLUOROMETHANE | 34668GCM66 | 0.1 | 0.4 | E | ug/L | 1.105 | 0.442 | Estimated Values | 4440 | D | dlr | mc | 2014-11-14 | Crescent 03DD004: 20 µl & ERA 0227-14-06.1A: 20 µl
20150510046 | 2015-02-19 07:30 | DICHLORODIFLUOROMETHANE | 34668GCM66 | 0.1 | 0.4 | E | ug/L | 1.22 | 0.488 | Estimated Values | 4440 | D | KAS | mc | 2015-03-06 | ERA 0227-14-06.1A: 20 µl & Supelco LC06438: 20 µl
20150930003 | 2015-04-02 06:30 | DICHLORODIFLUOROMETHANE | 34668GCM66 | 0.1 | 0.4 | E | ug/L | 0.9575 | 0.383 | Estimated Values | 4440 | D | mgu | mc | 2015-04-09 | Accu 214031115: 20 µl & ERA 0227-14-06.1A: 20 µl
20141150020 | 2014-04-24 07:00 | DICHLORODIFLUOROMETHANE | 34668GCM66 | 0.1 | 0.404 | E | ug/L | 1.3812 | 0.558 | Estimated Values | 4440 | D | ahe | mc | 2014-05-01 | Accu 214031115: 20 µl & NSI 032614: 20 µl
20141570084 | 2014-06-05 08:00 | DICHLORODIFLUOROMETHANE | 34668GCM66 | 0.1 | 0.404 | E | ug/L | 1.5173 | 0.613 | Estimated Values | 4440 | A | dlr | mc | 2014-06-10 | NSI 032614: 20 µl & Supelco LC06438: 20 µl
20141490202 | 2014-05-29 08:00 | DICHLORODIFLUOROMETHANE | 34668GCM66 | 0.1 | 0.404 | E | ug/L | 1.4505 | 0.586 | Estimated Values | 4440 | A | dlr | mc | 2014-06-10 | Crescent 03DD004: 20 µl & NSI 032614: 20 µl
20143240097 | 2014-11-19 07:30 | DICHLORODIFLUOROMETHANE | 34668GCM66 | 0.1 | 0.404 | E | ug/L | 1.4109 | 0.57 | Estimated Values | 4440 | D | dlr | mc | 2014-11-22 | NSI 032614: 20 µl & Spex Organics C1140417015: 20 µl
20161340232 | 2016-05-13 06:10 | DICHLORODIFLUOROMETHANE | 34668GCM66 | 0.1 | 0.415 | E | ug/L | 0.62169 | 0.258 | Estimated Values | 4440 | A | lmu | mc | 2016-05-24 | Accu 216041125: 25 µl & Crescent 03FF058: 25 µl
20161680363 | 2016-06-15 07:00 | DICHLORODIFLUOROMETHANE | 34668GCM66 | 0.1 | 0.415 | E | ug/L | 0.62169 | 0.258 | Estimated Values | 4440 | D | dlr | mc | 2016-06-21 | Phenova B20160319: 25 µl & Crescent 03FF058: 25 µl
20161740255 | 2016-06-22 06:30 | DICHLORODIFLUOROMETHANE | 34668GCM66 | 0.1 | 0.415 | E | ug/L | 0.64096 | 0.266 | Estimated Values | 4440 | D | kas | mc | 2016-06-30 | Crescent 03FF058: 25 µl & ChemService 5082900: 25 µl
20162380006 | 2016-08-24 06:15 | DICHLORODIFLUOROMETHANE | 34668GCM66 | 0.1 | 0.415 | E | ug/L | 0.54458 | 0.226 | Estimated Values | 4440 | A | dlr | mc | 2016-08-26 | NSI 041816AVOC: 25 µl & ChemService 5082900: 25 µl
20163220168 | 2016-11-16 07:00 | DICHLORODIFLUOROMETHANE | 34668GCM66 | 0.1 | 0.415 | E | ug/L | 0.4988 | 0.207 | Estimated Values | 4440 | A | dlr | mc | 2016-11-21 | Crescent 03FF058: 25 µl & Supelco LC20141V: 25 µl
20161880113 | 2016-07-06 06:15 | DICHLORODIFLUOROMETHANE | 34668GCM66 | 0.1 | 0.664 | E | ug/L | 0.6506 | 0.432 | Estimated Values | 4440 | D | kas | mc | 2016-07-14 | Accu 216041125: 40 µl & NSI 041816AVOC: 40 µl
20162150210 | 2016-08-02 06:30 | DICHLORODIFLUOROMETHANE | 34668GCM66 | 0.1 | 0.664 | E | ug/L | 0.7259 | 0.482 | Estimated Values | 4440 | D | kas | mc | 2016-08-04 | Crescent 03FF058: 40 µl & Supelco LC20141V: 40 µl
20163420128 | 2016-12-07 07:00 | DICHLORODIFLUOROMETHANE | 34668GCM66 | 0.1 | 0.664 | E | ug/L | 0.62952 | 0.418 | Estimated Values | 4440 | A | dlr | mc | 2016-12-12 | Accu 216041125: 40 µl & Crescent 03FF058: 40 µl
20163500004 | 2016-12-14 07:00 | DICHLORODIFLUOROMETHANE | 34668GCM66 | 0.1 | 0.664 | E | ug/L | 0.52259 | 0.347 | Estimated Values | 4440 | A | lmu | mc | 2016-12-16 | NSI 041816AVOC: 40 µl & ChemService 5082900: 40 µl