## OBSP Data
Method | analytename | Parm+Method Code | Login Date | Laboratory ID | REPORTING LEVEL | Expected Conc. | Remark Code | Lab Value | reportunit | Pct Recovery | labequipment | analystsinitials | rlq | Analysis Date | spikemix
4440 | ETHYL METHACRYLATE | 73570GCM66 | 2014-06-26 08:00 | 20141770147 | 0.2 | 0.8 | . | 0.75 | ug/L | 0.9375 | D | ahe |  | 2014-07-01 | Accu 214031115: 20 µl & ERA 0227-14-06.1A: 20 µl
4440 | ETHYL METHACRYLATE | 73570GCM66 | 2015-01-08 07:30 | 20150090093 | 0.4 | 0.4 | . | 0.39 | ug/L | 0.975 | D | KAS | n | 2015-01-13 | Accu 214031115: 10 µl & ERA 0227-14-06.1A: 10 µl
4440 | ETHYL METHACRYLATE | 73570GCM66 | 2015-04-02 06:30 | 20150930003 | 0.4 | 0.8 | . | 0.66 | ug/L | 0.825 | D | mgu |  | 2015-04-09 | Accu 214031115: 20 µl & ERA 0227-14-06.1A: 20 µl
4440 | ETHYL METHACRYLATE | 73570GCM66 | 2014-04-24 07:00 | 20141150020 | 0.2 | 0.8 | . | 0.62 | ug/L | 0.775 | D | ahe |  | 2014-05-01 | Accu 214031115: 20 µl & NSI 032614: 20 µl
4440 | ETHYL METHACRYLATE | 73570GCM66 | 2014-09-03 07:15 | 20142470038 | 0.2 | 0.4 | . | 0.47 | ug/L | 1.175 | D | dlr | +c | 2014-09-09 | Accu 214031115: 10 µl & NSI 032614: 10 µl
4440 | ETHYL METHACRYLATE | 73570GCM66 | 2015-09-17 08:00 | 20152610008 | 0.4 | 1.495 | . | 1.38 | ug/L | 0.92308 | A | KAS |  | 2015-09-29 | Accu 215041380: 25 µl & ERA 0406-15-03: 25 µl
4440 | ETHYL METHACRYLATE | 73570GCM66 | 2015-11-19 09:30 | 20153230147 | 0.4 | 0.598 | . | 0.53 | ug/L | 0.88629 | D | kas |  | 2015-11-20 | Accu 215041380: 10 µl & ERA 0406-15-03: 10 µl
4440 | ETHYL METHACRYLATE | 73570GCM66 | 2016-03-03 09:00 | 20160630052 | 0.4 | 0.897 | . | 0.82 | ug/L | 0.91416 | D | lmu |  | 2016-03-04 | Accu 215041380: 15 µl & ERA 0406-15-03: 15 µl
4440 | ETHYL METHACRYLATE | 73570GCM66 | 2016-06-29 07:00 | 20161820011 | 0.4 | 0.999 | . | 0.92 | ug/L | 0.92092 | D | kas |  | 2016-06-30 | ChemService 5082900: 15 µl & Accu 216041125: 15 µl
4440 | ETHYL METHACRYLATE | 73570GCM66 | 2016-08-10 06:30 | 20162230172 | 0.4 | 1.665 | . | 1.43 | ug/L | 0.85886 | D | kas |  | 2016-08-12 | ChemService 5082900: 25 µl & Phenova B20160319: 25 µl
4440 | ETHYL METHACRYLATE | 73570GCM66 | 2016-11-21 07:00 | 20163280006 | 0.4 | 0.999 | . | 0.9 | ug/L | 0.9009 | A | jco |  | 2016-11-29 | ChemService 5082900: 15 µl & Phenova B20160319: 15 µl
4440 | ETHYL METHACRYLATE | 73570GCM66 | 2014-09-25 07:30 | 20142720027 | 0.4 | 0.398 | . | 0.36 | ug/L | 0.90452 | D | dlr |  | 2014-10-04 | Crescent 03DD004: 10 µl & ERA 0227-14-06.1A: 10 µl
4440 | ETHYL METHACRYLATE | 73570GCM66 | 2014-11-06 07:30 | 20143110111 | 0.4 | 0.796 | . | 0.74 | ug/L | 0.92965 | D | dlr |  | 2014-11-14 | Crescent 03DD004: 20 µl & ERA 0227-14-06.1A: 20 µl
4440 | ETHYL METHACRYLATE | 73570GCM66 | 2014-05-29 08:00 | 20141490202 | 0.2 | 0.796 | . | 0.62 | ug/L | 0.77889 | A | dlr |  | 2014-06-10 | Crescent 03DD004: 20 µl & NSI 032614: 20 µl
4440 | ETHYL METHACRYLATE | 73570GCM66 | 2014-07-24 07:30 | 20142060045 | 0.2 | 0.398 | . | 0.4 | ug/L | 1.005 | D | ahe |  | 2014-07-29 | Crescent 03DD004: 10 µl & NSI 032614: 10 µl
4440 | ETHYL METHACRYLATE | 73570GCM66 | 2014-05-01 07:30 | 20141220028 | 0.2 | 0.398 | . | 0.41 | ug/L | 1.0302 | D | dlr |  | 2014-05-03 | Crescent 03DD004: 10 µl & Supelco LC06438: 10 µl
4440 | ETHYL METHACRYLATE | 73570GCM66 | 2016-06-22 06:30 | 20161740255 | 0.4 | 1.665 | . | 1.58 | ug/L | 0.94895 | D | kas |  | 2016-06-30 | Crescent 03FF058: 25 µl & ChemService 5082900: 25 µl
4440 | ETHYL METHACRYLATE | 73570GCM66 | 2016-09-21 06:30 | 20162660007 | 0.4 | 0.999 | . | 0.94 | ug/L | 0.94094 | A | jco |  | 2016-09-28 | Crescent 03FF058: 15 µl & ChemService 5082900: 15 µl
4440 | ETHYL METHACRYLATE | 73570GCM66 | 2016-08-02 06:30 | 20162150210 | 0.4 | 2.668 | . | 2.31 | ug/L | 0.86582 | D | kas |  | 2016-08-04 | Crescent 03FF058: 40 µl & Supelco LC20141V: 40 µl
4440 | ETHYL METHACRYLATE | 73570GCM66 | 2016-11-16 07:00 | 20163220168 | 0.4 | 1.6675 | . | 1.6 | ug/L | 0.95952 | A | dlr |  | 2016-11-21 | Crescent 03FF058: 25 µl & Supelco LC20141V: 25 µl
4440 | ETHYL METHACRYLATE | 73570GCM66 | 2015-07-23 08:00 | 20152040181 | 0.4 | 0.598 | . | 0.54 | ug/L | 0.90301 | D | kas |  | 2015-07-31 | Crescent 04EE008: 10 µl & ERA 0406-15-03: 10 µl
4440 | ETHYL METHACRYLATE | 73570GCM66 | 2015-07-01 08:00 | 20151820110 | 0.4 | 1.5 | . | 1.4 | ug/L | 0.93333 | D | kas |  | 2015-07-13 | Crescent 04EE008: 25 µl & NSI 050515AVOC: 25 µl
4440 | ETHYL METHACRYLATE | 73570GCM66 | 2015-10-15 09:00 | 20152890011 | 0.4 | 0.9 | . | 0.91 | ug/L | 1.0111 | D | kas |  | 2015-10-17 | Crescent 04EE008: 15 µl & NSI 050515AVOC: 15 µl
4440 | ETHYL METHACRYLATE | 73570GCM66 | 2016-01-14 09:00 | 20160140041 | 0.4 | 0.6 | . | 0.53 | ug/L | 0.88333 | D | kas |  | 2016-01-27 | Crescent 04EE008: 10 µl & NSI 050515AVOC: 10 µl
4440 | ETHYL METHACRYLATE | 73570GCM66 | 2015-10-08 09:00 | 20152810126 | 0.4 | 0.897 | . | 0.74 | ug/L | 0.82497 | D | kas |  | 2015-10-16 | ERA 0406-15-03: 15 µl & Spex Organics EN150428007: 15 µl
4440 | ETHYL METHACRYLATE | 73570GCM66 | 2016-01-28 09:00 | 20160280060 | 0.4 | 0.897 | . | 0.76 | ug/L | 0.84727 | D | kas |  | 2016-02-05 | ERA 0406-15-03: 15 µl & Spex Organics EN150428007: 15 µl
4440 | ETHYL METHACRYLATE | 73570GCM66 | 2016-04-14 07:00 | 20161050145 | 0.4 | 0.897 | . | 0.84 | ug/L | 0.93645 | D | kas |  | 2016-04-26 | ERA 0406-15-03: 15 µl & Spex Organics EN150428007: 15 µl
4440 | ETHYL METHACRYLATE | 73570GCM66 | 2015-06-11 07:30 | 20151620184 | 0.4 | 1.495 | . | 1.13 | ug/L | 0.75585 | A | lmu |  | 2015-06-16 | ERA 0406-15-03: 25 µl & Supelco LC13545: 25 µl
4440 | ETHYL METHACRYLATE | 73570GCM66 | 2015-06-18 08:00 | 20151690197 | 0.4 | 0.598 | . | 0.57 | ug/L | 0.95318 | D | kas |  | 2015-06-27 | ERA 0406-15-03: 10 µl & Supelco LC13545: 10 µl
4440 | ETHYL METHACRYLATE | 73570GCM66 | 2016-06-08 06:00 | 20161600091 | 0.4 | 0.999 | . | 0.84 | ug/L | 0.84084 | D | kas |  | 2016-06-10 | NSI 041816AVOC: 15 µl & ChemService 5082900: 15 µl
4440 | ETHYL METHACRYLATE | 73570GCM66 | 2016-08-24 06:15 | 20162380006 | 0.4 | 1.665 | . | 1.59 | ug/L | 0.95495 | A | dlr |  | 2016-08-26 | NSI 041816AVOC: 25 µl & ChemService 5082900: 25 µl
4440 | ETHYL METHACRYLATE | 73570GCM66 | 2016-12-14 07:00 | 20163500004 | 0.4 | 2.664 | . | 2.7 | ug/L | 1.0135 | A | lmu |  | 2016-12-16 | NSI 041816AVOC: 40 µl & ChemService 5082900: 40 µl
4440 | ETHYL METHACRYLATE | 73570GCM66 | 2016-10-12 06:30 | 20162860092 | 0.4 | 1.0005 | . | 1 | ug/L | 0.9995 | A | dlr |  | 2016-10-13 | NSI 041816AVOC: 15 µl & Supelco LC20141V: 15 µl
4440 | ETHYL METHACRYLATE | 73570GCM66 | 2015-05-28 07:30 | 20151480172 | 0.4 | 0.9 | . | 0.79 | ug/L | 0.87778 | A | lmu |  | 2015-06-04 | NSI 050515AVOC: 15 µl & Accu 215041380: 15 µl
4440 | ETHYL METHACRYLATE | 73570GCM66 | 2015-08-27 09:30 | 20152390224 | 0.4 | 0.6 | . | 0.56 | ug/L | 0.93333 | D | mgu |  | 2015-09-03 | NSI 050515AVOC: 10 µl & Spex Organics EN150428007: 10 µl
4440 | ETHYL METHACRYLATE | 73570GCM66 | 2015-10-29 09:00 | 20153030066 | 0.4 | 0.9 | . | 0.85 | ug/L | 0.94444 | D | kas |  | 2015-11-04 | NSI 050515AVOC: 15 µl & Spex Organics EN150428007: 15 µl
4440 | ETHYL METHACRYLATE | 73570GCM66 | 2015-12-09 08:00 | 20153440003 | 0.4 | 0.6 | . | 0.66 | ug/L | 1.1 | A | kas |  | 2015-12-10 | NSI 050515AVOC: 10 µl & Supelco LC13545: 10 µl
4440 | ETHYL METHACRYLATE | 73570GCM66 | 2016-03-17 09:00 | 20160770093 | 0.4 | 0.6 | . | 0.58 | ug/L | 0.96667 | D | lmu |  | 2016-03-17 | NSI 050515AVOC: 10 µl & Supelco LC13545: 10 µl
4440 | ETHYL METHACRYLATE | 73570GCM66 | 2016-05-25 06:10 | 20161470002 | 0.4 | 1.0005 | . | 0.85 | ug/L | 0.84958 | A | lmu |  | 2016-05-27 | Phenova B20160319: 15 µl & Supelco LC20141V: 15 µl
4440 | ETHYL METHACRYLATE | 73570GCM66 | 2014-07-17 07:00 | 20141990078 | 0.2 | 0.4 | . | 0.41 | ug/L | 1.025 | D | ahe |  | 2014-07-23 | Spex Organics C1140417015: 10 µl & Accu 214031115: 10 µl
4440 | ETHYL METHACRYLATE | 73570GCM66 | 2014-08-14 07:30 | 20142270005 | 0.2 | 0.8 | . | 0.78 | ug/L | 0.975 | D | lmu |  | 2014-08-19 | Spex Organics C1140417015: 20 µl & Accu 214031115: 20 µl
4440 | ETHYL METHACRYLATE | 73570GCM66 | 2014-10-30 07:30 | 20143030098 | 0.4 | 0.398 | . | 0.45 | ug/L | 1.1307 | D | dlr |  | 2014-11-06 | Spex Organics C1140417015: 10 µl & Crescent 03DD004: 10 µl
4440 | ETHYL METHACRYLATE | 73570GCM66 | 2015-03-12 07:00 | 20150720068 | 0.4 | 0.796 | . | 0.72 | ug/L | 0.90452 | D | KAS |  | 2015-03-19 | Spex Organics C1140417015: 20 µl & Crescent 03DD004: 20 µl
4440 | ETHYL METHACRYLATE | 73570GCM66 | 2014-06-12 08:00 | 20141640078 | 0.2 | 0.4 | . | 0.44 | ug/L | 1.1 | D | lmu |  | 2014-06-18 | Supelco LC06438: 10 µl & Accu 214031115: 10 µl
4440 | ETHYL METHACRYLATE | 73570GCM66 | 2014-12-08 07:30 | 20143420010 | 0.4 | 0.796 | . | 0.71 | ug/L | 0.89196 | D | KAS |  | 2014-12-17 | Supelco LC06438: 20 µl & Crescent 03DD004: 20 µl
4440 | ETHYL METHACRYLATE | 73570GCM66 | 2016-07-20 06:45 | 20162020126 | 0.4 | 2.668 | . | 2.47 | ug/L | 0.92579 | A | kas |  | 2016-07-20 | Supelco LC20141V: 40 µl & Accu 216041125: 40 µl
4440 | ETHYL METHACRYLATE | 73570GCM66 | 2016-08-31 06:30 | 20162440115 | 0.4 | 1.6675 | . | 1.32 | ug/L | 0.7916 | D | kas |  | 2016-09-08 | Supelco LC20141V: 25 µl & Accu 216041125: 25 µl