## OBSP Data
Method | analytename | Parm+Method Code | Login Date | Laboratory ID | REPORTING LEVEL | Expected Conc. | Remark Code | Lab Value | reportunit | Pct Recovery | labequipment | analystsinitials | rlq | Analysis Date | spikemix
4440 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2014-06-26 08:00 | 20141770147 | 0.042 | 0.16 | . | 0.158 | ug/L | 0.9875 | D | ahe |  | 2014-07-01 | Accu 214031115: 20 µl & ERA 0227-14-06.1A: 20 µl
4440 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2015-01-08 07:30 | 20150090093 | 0.042 | 0.08 | . | 0.0859 | ug/L | 1.0737 | D | KAS |  | 2015-01-13 | Accu 214031115: 10 µl & ERA 0227-14-06.1A: 10 µl
4440 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2015-04-02 06:30 | 20150930003 | 0.042 | 0.16 | . | 0.142 | ug/L | 0.8875 | D | mgu |  | 2015-04-09 | Accu 214031115: 20 µl & ERA 0227-14-06.1A: 20 µl
4440 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2014-04-24 07:00 | 20141150020 | 0.042 | 0.16 | . | 0.143 | ug/L | 0.89375 | D | ahe |  | 2014-05-01 | Accu 214031115: 20 µl & NSI 032614: 20 µl
4440 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2014-09-03 07:15 | 20142470038 | 0.042 | 0.08 | . | 0.101 | ug/L | 1.2625 | D | dlr | +c | 2014-09-09 | Accu 214031115: 10 µl & NSI 032614: 10 µl
4440 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2015-09-17 08:00 | 20152610008 | 0.042 | 0.16055 | . | 0.132 | ug/L | 0.82217 | A | KAS |  | 2015-09-29 | Accu 215041380: 25 µl & ERA 0406-15-03: 25 µl
4440 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2015-11-19 09:30 | 20153230147 | 0.042 | 0.06422 | . | 0.0582 | ug/L | 0.90626 | D | kas |  | 2015-11-20 | Accu 215041380: 10 µl & ERA 0406-15-03: 10 µl
4440 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2016-03-03 09:00 | 20160630052 | 0.042 | 0.09633 | . | 0.0763 | ug/L | 0.79207 | D | lmu |  | 2016-03-04 | Accu 215041380: 15 µl & ERA 0406-15-03: 15 µl
4440 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2016-05-13 06:10 | 20161340232 | 0.042 | 0.175 | . | 0.138 | ug/L | 0.78857 | A | lmu |  | 2016-05-24 | Accu 216041125: 25 µl & Crescent 03FF058: 25 µl
4440 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2016-08-17 07:00 | 20162300276 | 0.042 | 0.105 | . | 0.0914 | ug/L | 0.87048 | D | kas |  | 2016-08-20 | Accu 216041125: 15 µl & Crescent 03FF058: 15 µl
4440 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2016-12-07 07:00 | 20163420128 | 0.042 | 0.28 | . | 0.254 | ug/L | 0.90714 | A | dlr |  | 2016-12-12 | Accu 216041125: 40 µl & Crescent 03FF058: 40 µl
4440 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2016-07-06 06:15 | 20161880113 | 0.042 | 0.28 | . | 0.239 | ug/L | 0.85357 | D | kas |  | 2016-07-14 | Accu 216041125: 40 µl & NSI 041816AVOC: 40 µl
4440 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2016-10-05 07:00 | 20162800001 | 0.042 | 0.105 | . | 0.0948 | ug/L | 0.90286 | A | dlr |  | 2016-10-13 | Accu 216041125: 15 µl & NSI 041816AVOC: 15 µl
4440 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2014-09-25 07:30 | 20142720027 | 0.042 | 0.084 | . | 0.0759 | ug/L | 0.90357 | D | dlr |  | 2014-10-04 | Crescent 03DD004: 10 µl & ERA 0227-14-06.1A: 10 µl
4440 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2014-11-06 07:30 | 20143110111 | 0.042 | 0.168 | . | 0.142 | ug/L | 0.84524 | D | dlr |  | 2014-11-14 | Crescent 03DD004: 20 µl & ERA 0227-14-06.1A: 20 µl
4440 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2014-05-29 08:00 | 20141490202 | 0.042 | 0.168 | . | 0.134 | ug/L | 0.79762 | A | dlr |  | 2014-06-10 | Crescent 03DD004: 20 µl & NSI 032614: 20 µl
4440 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2014-07-24 07:30 | 20142060045 | 0.042 | 0.084 | . | 0.0804 | ug/L | 0.95714 | D | ahe |  | 2014-07-29 | Crescent 03DD004: 10 µl & NSI 032614: 10 µl
4440 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2014-05-01 07:30 | 20141220028 | 0.042 | 0.084 | . | 0.0987 | ug/L | 1.175 | D | dlr |  | 2014-05-03 | Crescent 03DD004: 10 µl & Supelco LC06438: 10 µl
4440 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2016-06-22 06:30 | 20161740255 | 0.042 | 0.175 | . | 0.143 | ug/L | 0.81714 | D | kas |  | 2016-06-30 | Crescent 03FF058: 25 µl & ChemService 5082900: 25 µl
4440 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2016-09-21 06:30 | 20162660007 | 0.042 | 0.105 | . | 0.0878 | ug/L | 0.83619 | A | jco |  | 2016-09-28 | Crescent 03FF058: 15 µl & ChemService 5082900: 15 µl
4440 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2016-08-02 06:30 | 20162150210 | 0.042 | 0.28 | . | 0.222 | ug/L | 0.79286 | D | kas |  | 2016-08-04 | Crescent 03FF058: 40 µl & Supelco LC20141V: 40 µl
4440 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2016-11-16 07:00 | 20163220168 | 0.042 | 0.175 | . | 0.151 | ug/L | 0.86286 | A | dlr |  | 2016-11-21 | Crescent 03FF058: 25 µl & Supelco LC20141V: 25 µl
4440 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2015-07-23 08:00 | 20152040181 | 0.042 | 0.064 | . | 0.059 | ug/L | 0.92187 | D | kas | @c | 2015-08-07 | Crescent 04EE008: 10 µl & ERA 0406-15-03: 10 µl
4440 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2015-07-01 08:00 | 20151820110 | 0.042 | 0.16 | . | 0.128 | ug/L | 0.8 | D | kas |  | 2015-07-13 | Crescent 04EE008: 25 µl & NSI 050515AVOC: 25 µl
4440 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2015-10-15 09:00 | 20152890011 | 0.042 | 0.096 | . | 0.0813 | ug/L | 0.84688 | D | kas |  | 2015-10-17 | Crescent 04EE008: 15 µl & NSI 050515AVOC: 15 µl
4440 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2016-01-14 09:00 | 20160140041 | 0.042 | 0.064 | . | 0.0613 | ug/L | 0.95781 | D | kas |  | 2016-01-27 | Crescent 04EE008: 10 µl & NSI 050515AVOC: 10 µl
4440 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2016-06-08 06:00 | 20161600091 | 0.042 | 0.105 | . | 0.0918 | ug/L | 0.87429 | D | kas |  | 2016-06-10 | NSI 041816AVOC: 15 µl & ChemService 5082900: 15 µl
4440 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2016-08-24 06:15 | 20162380006 | 0.042 | 0.175 | . | 0.139 | ug/L | 0.79429 | A | dlr |  | 2016-08-26 | NSI 041816AVOC: 25 µl & ChemService 5082900: 25 µl
4440 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2016-12-14 07:00 | 20163500004 | 0.042 | 0.28 | . | 0.234 | ug/L | 0.83571 | A | lmu |  | 2016-12-16 | NSI 041816AVOC: 40 µl & ChemService 5082900: 40 µl
4440 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2016-10-12 06:30 | 20162860092 | 0.042 | 0.105 | . | 0.0935 | ug/L | 0.89048 | A | dlr |  | 2016-10-13 | NSI 041816AVOC: 15 µl & Supelco LC20141V: 15 µl
4440 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2015-05-28 07:30 | 20151480172 | 0.042 | 0.09633 | . | 0.0827 | ug/L | 0.85851 | A | lmu |  | 2015-06-04 | NSI 050515AVOC: 15 µl & Accu 215041380: 15 µl
4440 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2016-06-15 07:00 | 20161680363 | 0.042 | 0.175 | . | 0.151 | ug/L | 0.86286 | D | dlr |  | 2016-06-21 | Phenova B20160319: 25 µl & Crescent 03FF058: 25 µl
4440 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2016-09-07 06:30 | 20162520004 | 0.042 | 0.105 | . | 0.0772 | ug/L | 0.73524 | D | kas |  | 2016-09-08 | Phenova B20160319: 15 µl & Crescent 03FF058: 15 µl
4440 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2016-07-27 06:00 | 20162100019 | 0.042 | 0.105 | . | 0.0848 | ug/L | 0.80762 | A | kas |  | 2016-07-29 | Phenova B20160319: 15 µl & NSI 041816AVOC: 15 µl
4440 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2014-07-17 07:00 | 20141990078 | 0.042 | 0.08 | . | 0.0958 | ug/L | 1.1975 | D | ahe |  | 2014-07-23 | Spex Organics C1140417015: 10 µl & Accu 214031115: 10 µl
4440 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2014-08-14 07:30 | 20142270005 | 0.042 | 0.16 | . | 0.164 | ug/L | 1.025 | D | lmu |  | 2014-08-19 | Spex Organics C1140417015: 20 µl & Accu 214031115: 20 µl
4440 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2014-10-30 07:30 | 20143030098 | 0.042 | 0.084 | . | 0.0809 | ug/L | 0.9631 | D | dlr |  | 2014-11-06 | Spex Organics C1140417015: 10 µl & Crescent 03DD004: 10 µl
4440 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2015-03-12 07:00 | 20150720068 | 0.042 | 0.168 | . | 0.148 | ug/L | 0.88095 | D | KAS |  | 2015-03-19 | Spex Organics C1140417015: 20 µl & Crescent 03DD004: 20 µl
4440 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2015-05-14 07:00 | 20151380012 | 0.042 | 0.06422 | . | 0.0641 | ug/L | 0.99813 | D | KAS |  | 2015-05-21 | Spex Organics EN150428007: 10 µl & Accu 215041380: 10 µl
4440 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2015-11-05 09:30 | 20153090111 | 0.042 | 0.06422 | . | 0.0602 | ug/L | 0.9374 | D | kas |  | 2015-11-12 | Spex Organics EN150428007: 10 µl & Accu 215041380: 10 µl
4440 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2016-02-18 09:00 | 20160490036 | 0.042 | 0.06422 | . | 0.0538 | ug/L | 0.83775 | D | kas |  | 2016-02-18 | Spex Organics EN150428007: 10 µl & Accu 215041380: 10 µl
4440 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2015-05-07 07:30 | 20151270114 | 0.042 | 0.096 | . | 0.0866 | ug/L | 0.90208 | D | dlr |  | 2015-05-09 | Spex Organics EN150428007: 15 µl & Crescent 04EE008: 15 µl
4440 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2014-06-12 08:00 | 20141640078 | 0.042 | 0.08 | . | 0.0729 | ug/L | 0.91125 | D | lmu |  | 2014-06-18 | Supelco LC06438: 10 µl & Accu 214031115: 10 µl
4440 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2014-12-08 07:30 | 20143420010 | 0.042 | 0.168 | . | 0.165 | ug/L | 0.98214 | D | KAS |  | 2014-12-17 | Supelco LC06438: 20 µl & Crescent 03DD004: 20 µl
4440 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2016-03-31 06:00 | 20160910143 | 0.042 | 0.09633 | . | 0.0802 | ug/L | 0.83255 | D | lmu |  | 2016-04-02 | Supelco LC13545: 15 µl & Accu 215041380: 15 µl
4440 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2015-04-30 08:00 | 20151210035 | 0.042 | 0.064 | . | 0.0597 | ug/L | 0.93281 | D | dlr |  | 2015-05-09 | Supelco LC13545: 10 µl & Crescent 04EE008: 10 µl
4440 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2015-08-13 09:30 | 20152250274 | 0.042 | 0.16 | . | 0.133 | ug/L | 0.83125 | A | mgu |  | 2015-08-15 | Supelco LC13545: 25 µl & Crescent 04EE008: 25 µl
4440 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2015-12-17 08:30 | 20153510114 | 0.042 | 0.096 | . | 0.0807 | ug/L | 0.84062 | D | kas |  | 2015-12-18 | Supelco LC13545: 15 µl & Crescent 04EE008: 15 µl
4440 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2016-05-05 07:30 | 20161260157 | 0.042 | 0.064 | . | 0.0567 | ug/L | 0.88594 | A | kas |  | 2016-05-13 | Supelco LC13545: 10 µl & Crescent 04EE008: 10 µl