## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20151210035 | 2015-04-30 08:00 | NAPHTHALENE | 34696GCM66 | 0.18 | 0.268 | . | ug/L | 0.75746 | 0.203 | Recoverable Result | 4440 | D | dlr |  | 2015-05-09 | Supelco LC13545: 10 µl & Crescent 04EE008: 10 µl
20152040181 | 2015-07-23 08:00 | NAPHTHALENE | 34696GCM66 | 0.18 | 0.268 | . | ug/L | 0.8097 | 0.217 | Recoverable Result | 4440 | D | kas | @c | 2015-08-07 | Crescent 04EE008: 10 µl & ERA 0406-15-03: 10 µl
20160140041 | 2016-01-14 09:00 | NAPHTHALENE | 34696GCM66 | 0.26 | 0.268 | . | ug/L | 0.77239 | 0.207 | Recoverable Result | 4440 | D | kas | n | 2016-01-27 | Crescent 04EE008: 10 µl & NSI 050515AVOC: 10 µl
20161260157 | 2016-05-05 07:30 | NAPHTHALENE | 34696GCM66 | 0.26 | 0.268 | . | ug/L | 0.80224 | 0.215 | Recoverable Result | 4440 | A | kas | n | 2016-05-13 | Supelco LC13545: 10 µl & Crescent 04EE008: 10 µl
20151380012 | 2015-05-14 07:00 | NAPHTHALENE | 34696GCM66 | 0.18 | 0.2722 | . | ug/L | 0.80456 | 0.219 | Recoverable Result | 4440 | D | KAS |  | 2015-05-21 | Spex Organics EN150428007: 10 µl & Accu 215041380: 10 µl
20153090111 | 2015-11-05 09:30 | NAPHTHALENE | 34696GCM66 | 0.26 | 0.2722 | . | ug/L | 0.77149 | 0.21 | Recoverable Result | 4440 | D | kas | n | 2015-11-12 | Spex Organics EN150428007: 10 µl & Accu 215041380: 10 µl
20153230147 | 2015-11-19 09:30 | NAPHTHALENE | 34696GCM66 | 0.26 | 0.2722 | . | ug/L | 0.8964 | 0.244 | Recoverable Result | 4440 | D | kas | n | 2015-11-20 | Accu 215041380: 10 µl & ERA 0406-15-03: 10 µl
20160490036 | 2016-02-18 09:00 | NAPHTHALENE | 34696GCM66 | 0.26 | 0.2722 | . | ug/L | 0.66863 | 0.182 | Recoverable Result | 4440 | D | kas | n | 2016-02-18 | Spex Organics EN150428007: 10 µl & Accu 215041380: 10 µl
20141840101 | 2014-07-02 08:00 | NAPHTHALENE | 34696GCM66 | 0.18 | 0.36 | . | ug/L | 0.79167 | 0.285 | Recoverable Result | 4440 | D | dlr |  | 2014-07-11 | Spex Organics C1140417015: 10 µl & ERA 0227-14-06.1A: 10 µl
20141990078 | 2014-07-17 07:00 | NAPHTHALENE | 34696GCM66 | 0.18 | 0.36 | . | ug/L | 0.75278 | 0.271 | Recoverable Result | 4440 | D | ahe |  | 2014-07-23 | Spex Organics C1140417015: 10 µl & Accu 214031115: 10 µl
20142480009 | 2014-09-04 08:00 | NAPHTHALENE | 34696GCM66 | 0.18 | 0.36 | . | ug/L | 1.0444 | 0.376 | Recoverable Result | 4440 | D | dlr |  | 2014-09-09 | NSI 032614: 10 µl & Spex Organics C1140417015: 10 µl
20143030098 | 2014-10-30 07:30 | NAPHTHALENE | 34696GCM66 | 0.18 | 0.36 | . | ug/L | 0.83611 | 0.301 | Recoverable Result | 4440 | D | dlr |  | 2014-11-06 | Spex Organics C1140417015: 10 µl & Crescent 03DD004: 10 µl
20141220028 | 2014-05-01 07:30 | NAPHTHALENE | 34696GCM66 | 0.18 | 0.3602 | . | ug/L | 0.76069 | 0.274 | Recoverable Result | 4440 | D | dlr |  | 2014-05-03 | Crescent 03DD004: 10 µl & Supelco LC06438: 10 µl
20141360092 | 2014-05-16 07:30 | NAPHTHALENE | 34696GCM66 | 0.18 | 0.3602 | . | ug/L | 0.63298 | 0.228 | Recoverable Result | 4440 | A | dlr |  | 2014-05-30 | NSI 032614: 10 µl & Supelco LC06438: 10 µl
20141640078 | 2014-06-12 08:00 | NAPHTHALENE | 34696GCM66 | 0.18 | 0.3602 | . | ug/L | 0.7357 | 0.265 | Recoverable Result | 4440 | D | lmu |  | 2014-06-18 | Supelco LC06438: 10 µl & Accu 214031115: 10 µl
20142890080 | 2014-10-16 08:00 | NAPHTHALENE | 34696GCM66 | 0.18 | 0.3602 | . | ug/L | 0.81066 | 0.292 | Recoverable Result | 4440 | D | dlr |  | 2014-10-21 | ERA 0227-14-06.1A: 10 µl & Supelco LC06438: 10 µl
20151270114 | 2015-05-07 07:30 | NAPHTHALENE | 34696GCM66 | 0.18 | 0.402 | . | ug/L | 0.76368 | 0.307 | Recoverable Result | 4440 | D | dlr |  | 2015-05-09 | Spex Organics EN150428007: 15 µl & Crescent 04EE008: 15 µl
20152890011 | 2015-10-15 09:00 | NAPHTHALENE | 34696GCM66 | 0.26 | 0.402 | . | ug/L | 0.84826 | 0.341 | Recoverable Result | 4440 | D | kas |  | 2015-10-17 | Crescent 04EE008: 15 µl & NSI 050515AVOC: 15 µl
20153510114 | 2015-12-17 08:30 | NAPHTHALENE | 34696GCM66 | 0.26 | 0.402 | . | ug/L | 0.90547 | 0.364 | Recoverable Result | 4440 | D | kas |  | 2015-12-18 | Supelco LC13545: 15 µl & Crescent 04EE008: 15 µl
20151480172 | 2015-05-28 07:30 | NAPHTHALENE | 34696GCM66 | 0.18 | 0.4083 | . | ug/L | 0.71026 | 0.29 | Recoverable Result | 4440 | A | lmu |  | 2015-06-04 | NSI 050515AVOC: 15 µl & Accu 215041380: 15 µl
20160630052 | 2016-03-03 09:00 | NAPHTHALENE | 34696GCM66 | 0.26 | 0.4083 | . | ug/L | 0.60005 | 0.245 | Recoverable Result | 4440 | D | lmu | n | 2016-03-04 | Accu 215041380: 15 µl & ERA 0406-15-03: 15 µl
20160910143 | 2016-03-31 06:00 | NAPHTHALENE | 34696GCM66 | 0.26 | 0.4083 | . | ug/L | 0.67352 | 0.275 | Recoverable Result | 4440 | D | lmu |  | 2016-04-02 | Supelco LC13545: 15 µl & Accu 215041380: 15 µl
20161470002 | 2016-05-25 06:10 | NAPHTHALENE | 34696GCM66 | 0.26 | 0.45 | . | ug/L | 0.84222 | 0.379 | Recoverable Result | 4440 | A | lmu |  | 2016-05-27 | Phenova B20160319: 15 µl & Supelco LC20141V: 15 µl
20161600091 | 2016-06-08 06:00 | NAPHTHALENE | 34696GCM66 | 0.26 | 0.45 | . | ug/L | 0.79556 | 0.358 | Recoverable Result | 4440 | D | kas |  | 2016-06-10 | NSI 041816AVOC: 15 µl & ChemService 5082900: 15 µl
20161820011 | 2016-06-29 07:00 | NAPHTHALENE | 34696GCM66 | 0.26 | 0.45 | . | ug/L | 0.76889 | 0.346 | Recoverable Result | 4440 | D | kas |  | 2016-06-30 | ChemService 5082900: 15 µl & Accu 216041125: 15 µl
20162660007 | 2016-09-21 06:30 | NAPHTHALENE | 34696GCM66 | 0.26 | 0.45 | . | ug/L | 0.74889 | 0.337 | Recoverable Result | 4440 | A | jco |  | 2016-09-28 | Crescent 03FF058: 15 µl & ChemService 5082900: 15 µl
20162860092 | 2016-10-12 06:30 | NAPHTHALENE | 34696GCM66 | 0.26 | 0.45 | . | ug/L | 0.68889 | 0.31 | Recoverable Result | 4440 | A | dlr |  | 2016-10-13 | NSI 041816AVOC: 15 µl & Supelco LC20141V: 15 µl
20163280006 | 2016-11-21 07:00 | NAPHTHALENE | 34696GCM66 | 0.26 | 0.45 | . | ug/L | 0.86667 | 0.39 | Recoverable Result | 4440 | A | jco |  | 2016-11-29 | ChemService 5082900: 15 µl & Phenova B20160319: 15 µl
20151820110 | 2015-07-01 08:00 | NAPHTHALENE | 34696GCM66 | 0.18 | 0.67 | . | ug/L | 0.73134 | 0.49 | Recoverable Result | 4440 | D | kas |  | 2015-07-13 | Crescent 04EE008: 25 µl & NSI 050515AVOC: 25 µl
20152250274 | 2015-08-13 09:30 | NAPHTHALENE | 34696GCM66 | 0.18 | 0.67 | . | ug/L | 0.91343 | 0.612 | Recoverable Result | 4440 | A | mgu |  | 2015-08-15 | Supelco LC13545: 25 µl & Crescent 04EE008: 25 µl
20152610008 | 2015-09-17 08:00 | NAPHTHALENE | 34696GCM66 | 0.18 | 0.6805 | . | ug/L | 0.84497 | 0.575 | Recoverable Result | 4440 | A | KAS |  | 2015-09-29 | Accu 215041380: 25 µl & ERA 0406-15-03: 25 µl
20142200168 | 2014-08-07 08:30 | NAPHTHALENE | 34696GCM66 | 0.18 | 0.72 | . | ug/L | 0.78611 | 0.566 | Recoverable Result | 4440 | D | dlr |  | 2014-08-16 | ERA 0227-14-06.1A: 20 µl & Spex Organics C1140417015: 20 µl
20142270005 | 2014-08-14 07:30 | NAPHTHALENE | 34696GCM66 | 0.18 | 0.72 | . | ug/L | 0.83056 | 0.598 | Recoverable Result | 4440 | D | lmu |  | 2014-08-19 | Spex Organics C1140417015: 20 µl & Accu 214031115: 20 µl
20143240097 | 2014-11-19 07:30 | NAPHTHALENE | 34696GCM66 | 0.18 | 0.72 | . | ug/L | 0.70833 | 0.51 | Recoverable Result | 4440 | D | dlr |  | 2014-11-22 | NSI 032614: 20 µl & Spex Organics C1140417015: 20 µl
20150720068 | 2015-03-12 07:00 | NAPHTHALENE | 34696GCM66 | 0.18 | 0.72 | . | ug/L | 0.76528 | 0.551 | Recoverable Result | 4440 | D | KAS |  | 2015-03-19 | Spex Organics C1140417015: 20 µl & Crescent 03DD004: 20 µl
20141570084 | 2014-06-05 08:00 | NAPHTHALENE | 34696GCM66 | 0.18 | 0.7204 | . | ug/L | 0.82593 | 0.595 | Recoverable Result | 4440 | A | dlr |  | 2014-06-10 | NSI 032614: 20 µl & Supelco LC06438: 20 µl
20142530090 | 2014-09-10 07:30 | NAPHTHALENE | 34696GCM66 | 0.18 | 0.7204 | . | ug/L | 0.63992 | 0.461 | Recoverable Result | 4440 | D | dlr |  | 2014-09-21 | Supelco LC06438: 20 µl
20143420010 | 2014-12-08 07:30 | NAPHTHALENE | 34696GCM66 | 0.18 | 0.7204 | . | ug/L | 0.7482 | 0.539 | Recoverable Result | 4440 | D | KAS |  | 2014-12-17 | Supelco LC06438: 20 µl & Crescent 03DD004: 20 µl
20150510046 | 2015-02-19 07:30 | NAPHTHALENE | 34696GCM66 | 0.18 | 0.7204 | . | ug/L | 0.70378 | 0.507 | Recoverable Result | 4440 | D | KAS |  | 2015-03-06 | ERA 0227-14-06.1A: 20 µl & Supelco LC06438: 20 µl
20161740255 | 2016-06-22 06:30 | NAPHTHALENE | 34696GCM66 | 0.26 | 0.75 | . | ug/L | 0.74133 | 0.556 | Recoverable Result | 4440 | D | kas |  | 2016-06-30 | Crescent 03FF058: 25 µl & ChemService 5082900: 25 µl
20162230172 | 2016-08-10 06:30 | NAPHTHALENE | 34696GCM66 | 0.26 | 0.75 | . | ug/L | 0.78933 | 0.592 | Recoverable Result | 4440 | D | kas |  | 2016-08-12 | ChemService 5082900: 25 µl & Phenova B20160319: 25 µl
20162380006 | 2016-08-24 06:15 | NAPHTHALENE | 34696GCM66 | 0.26 | 0.75 | . | ug/L | 0.74267 | 0.557 | Recoverable Result | 4440 | A | dlr |  | 2016-08-26 | NSI 041816AVOC: 25 µl & ChemService 5082900: 25 µl
20162440115 | 2016-08-31 06:30 | NAPHTHALENE | 34696GCM66 | 0.26 | 0.75 | . | ug/L | 0.784 | 0.588 | Recoverable Result | 4440 | D | kas |  | 2016-09-08 | Supelco LC20141V: 25 µl & Accu 216041125: 25 µl
20163220168 | 2016-11-16 07:00 | NAPHTHALENE | 34696GCM66 | 0.26 | 0.75 | . | ug/L | 0.86667 | 0.65 | Recoverable Result | 4440 | A | dlr |  | 2016-11-21 | Crescent 03FF058: 25 µl & Supelco LC20141V: 25 µl
20162020126 | 2016-07-20 06:45 | NAPHTHALENE | 34696GCM66 | 0.26 | 1.2 | . | ug/L | 0.84167 | 1.01 | Recoverable Result | 4440 | A | kas |  | 2016-07-20 | Supelco LC20141V: 40 µl & Accu 216041125: 40 µl
20162150210 | 2016-08-02 06:30 | NAPHTHALENE | 34696GCM66 | 0.26 | 1.2 | . | ug/L | 0.7025 | 0.843 | Recoverable Result | 4440 | D | kas |  | 2016-08-04 | Crescent 03FF058: 40 µl & Supelco LC20141V: 40 µl
20163500004 | 2016-12-14 07:00 | NAPHTHALENE | 34696GCM66 | 0.26 | 1.2 | . | ug/L | 0.875 | 1.05 | Recoverable Result | 4440 | A | lmu |  | 2016-12-16 | NSI 041816AVOC: 40 µl & ChemService 5082900: 40 µl